## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Adjusted Signal | Mean | Detection Limits: Calc. Low...11 | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low...21
CHR_US_V1_Plate1_Plate_23L0EAA195 | S1 | Ang-2 | A01 | 1 |  | 10000 | 81624 | 81624 | 81074 | 4.3703 | 81074 | 0.95939 | 101.2332 | 100.4984 | 10123.3169 | 10049.8445 | 1.0339 | Above Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 160 | Ang-2 | B07 | 1 | 10 |  | 200 | 200 | 203 | 4.3703 | 202.5 | 1.7459 |  |  | 13.9756 | 16.889 | 24.3953 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 160 | Ang-2 | B08 | 1 | 10 |  | 205 | 205 | 203 | 4.3703 | 202.5 | 1.7459 |  |  | 19.8023 | 16.889 | 24.3953 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 162 | Ang-2 | C08 | 1 | 10 |  | 191 | 191 | 182 | 4.3703 | 181.5 | 7.4022 |  |  | 3.4782 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 163 | Ang-2 | D08 | 1 | 10 |  | 194 | 194 | 188 | 4.3703 | 188 | 4.5134 |  |  | 6.9793 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 164 | Ang-2 | E08 | 1 | 10 |  | 202 | 202 | 194 | 4.3703 | 193.5 | 6.2123 |  |  | 16.3066 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 166 | Ang-2 | G08 | 1 | 10 |  | 194 | 194 | 188 | 4.3703 | 188 | 4.5134 |  |  | 6.9793 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 221 | Ang-2 | A09 | 1 | 10 |  | 217 | 217 | 222 | 4.3703 | 222 | 3.1852 |  |  | 33.7787 | 39.5994 | 20.7875 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 223 | Ang-2 | B10 | 1 | 10 |  | 210 | 210 | 211 | 4.3703 | 210.5 | 0.33592 |  |  | 25.6269 | 26.2093 | 3.1423 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 223 | Ang-2 | B09 | 1 | 10 |  | 211 | 211 | 211 | 4.3703 | 210.5 | 0.33592 |  |  | 26.7916 | 26.2093 | 3.1423 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 228 | Ang-2 | C10 | 1 | 10 |  | 195 | 195 | 190 | 4.3703 | 189.5 | 4.1046 |  |  | 8.1458 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 233 | Ang-2 | G10 | 1 | 10 |  | 199 | 199 | 193 | 4.3703 | 193 | 4.3965 |  |  | 12.8099 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 234 | Ang-2 | H10 | 1 | 10 |  | 199 | 199 | 203 | 4.3703 | 202.5 | 2.4443 |  |  | 12.8099 | 16.8887 | 34.1542 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 234 | Ang-2 | H09 | 1 | 10 |  | 206 | 206 | 203 | 4.3703 | 202.5 | 2.4443 |  |  | 20.9674 | 16.8887 | 34.1542 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 309 | Ang-2 | A11 | 1 | 10 |  | 211 | 211 | 218 | 4.3703 | 218 | 4.5411 |  |  | 26.7916 | 34.9419 | 32.9868 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 309 | Ang-2 | A12 | 1 | 10 |  | 225 | 225 | 218 | 4.3703 | 218 | 4.5411 |  |  | 43.0922 | 34.9419 | 32.9868 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 314 | Ang-2 | C12 | 1 | 10 |  | 202 | 202 | 193 | 4.3703 | 192.5 | 6.9792 |  |  | 16.3066 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 316 | Ang-2 | D11 | 1 | 10 |  | 207 | 207 | 203 | 4.3703 | 202.5 | 3.1427 |  |  | 22.1324 | 16.8883 | 43.914 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 316 | Ang-2 | D12 | 1 | 10 |  | 198 | 198 | 203 | 4.3703 | 202.5 | 3.1427 |  |  | 11.6441 | 16.8883 | 43.914 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 317 | Ang-2 | E12 | 1 | 10 |  | 199 | 199 | 322 | 4.3703 | 321.5 | 53.8853 |  |  | 12.8099 | 155.2352 | 129.7513 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 318 | Ang-2 | F12 | 1 | 10 |  | 209 | 209 | 198 | 4.3703 | 198 | 7.8567 |  |  | 24.4622 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 321 | Ang-2 | G12 | 1 | 10 |  | 211 | 211 | 275 | 4.3703 | 274.5 | 32.715 |  |  | 26.7916 | 100.6451 | 103.7751 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | Blank | Ang-2 | H01 | 1 |  | 0 | 191 | 191 | 190 | 4.3703 | 189.5 | 1.1194 |  |  | 0.34782 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S7 | Ang-2 | G01 | 1 |  | 2.4414 | 217 | 217 | 212 | 4.3703 | 211.5 | 3.6776 | 138.3577 | 112.1201 | 3.3779 | 2.7373 | 33.0945 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S7 | Ang-2 | G02 | 1 |  | 2.4414 | 206 | 206 | 212 | 4.3703 | 211.5 | 3.6776 | 85.8825 | 112.1201 | 2.0967 | 2.7373 | 33.0945 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 162 | Ang-2 | C07 | 1 | 10 |  | 172 | 172 | 182 | 4.3703 | 181.5 | 7.4022 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 163 | Ang-2 | D07 | 1 | 10 |  | 182 | 182 | 188 | 4.3703 | 188 | 4.5134 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 164 | Ang-2 | E07 | 1 | 10 |  | 185 | 185 | 194 | 4.3703 | 193.5 | 6.2123 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 166 | Ang-2 | G07 | 1 | 10 |  | 182 | 182 | 188 | 4.3703 | 188 | 4.5134 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 228 | Ang-2 | C09 | 1 | 10 |  | 184 | 184 | 190 | 4.3703 | 189.5 | 4.1046 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 229 | Ang-2 | D10 | 1 | 10 |  | 185 | 185 | 182 | 4.3703 | 182 | 2.3311 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 229 | Ang-2 | D09 | 1 | 10 |  | 179 | 179 | 182 | 4.3703 | 182 | 2.3311 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 230 | Ang-2 | E09 | 1 | 10 |  | 177 | 177 | 181 | 4.3703 | 180.5 | 2.7422 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 230 | Ang-2 | E10 | 1 | 10 |  | 184 | 184 | 181 | 4.3703 | 180.5 | 2.7422 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 232 | Ang-2 | F09 | 1 | 10 |  | 181 | 181 | 182 | 4.3703 | 181.5 | 0.38959 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 232 | Ang-2 | F10 | 1 | 10 |  | 182 | 182 | 182 | 4.3703 | 181.5 | 0.38959 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 233 | Ang-2 | G09 | 1 | 10 |  | 187 | 187 | 193 | 4.3703 | 193 | 4.3965 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 314 | Ang-2 | C11 | 1 | 10 |  | 183 | 183 | 193 | 4.3703 | 192.5 | 6.9792 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 318 | Ang-2 | F11 | 1 | 10 |  | 187 | 187 | 198 | 4.3703 | 198 | 7.8567 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 526 | Ang-2 | E04 | 1 | 10 |  | 169 | 169 | 173 | 4.3703 | 172.5 | 2.8694 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 526 | Ang-2 | E03 | 1 | 10 |  | 176 | 176 | 173 | 4.3703 | 172.5 | 2.8694 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 527 | Ang-2 | F03 | 1 | 10 |  | 172 | 172 | 168 | 4.3703 | 167.5 | 3.7994 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 527 | Ang-2 | F04 | 1 | 10 |  | 163 | 163 | 168 | 4.3703 | 167.5 | 3.7994 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 530 | Ang-2 | H04 | 1 | 10 |  | 176 | 176 | 174 | 4.3703 | 173.5 | 2.0378 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 530 | Ang-2 | H03 | 1 | 10 |  | 171 | 171 | 174 | 4.3703 | 173.5 | 2.0378 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 76 | Ang-2 | C06 | 1 | 10 |  | 177 | 177 | 171 | 4.3703 | 171 | 4.9622 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 76 | Ang-2 | C05 | 1 | 10 |  | 165 | 165 | 171 | 4.3703 | 171 | 4.9622 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 81 | Ang-2 | E05 | 1 | 10 |  | 155 | 155 | 165 | 4.3703 | 165 | 8.571 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 81 | Ang-2 | E06 | 1 | 10 |  | 175 | 175 | 165 | 4.3703 | 165 | 8.571 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 82 | Ang-2 | F05 | 1 | 10 |  | 176 | 176 | 177 | 4.3703 | 177 | 0.79899 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 82 | Ang-2 | F06 | 1 | 10 |  | 178 | 178 | 177 | 4.3703 | 177 | 0.79899 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | Blank | Ang-2 | H02 | 1 |  | 0 | 188 | 188 | 190 | 4.3703 | 189.5 | 1.1194 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 159 | Ang-2 | A08 | 1 | 10 |  | 374 | 374 | 364 | 4.3703 | 364 | 3.8852 |  |  | 216.3339 | 204.7135 | 8.0277 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 159 | Ang-2 | A07 | 1 | 10 |  | 354 | 354 | 364 | 4.3703 | 364 | 3.8852 |  |  | 193.0931 | 204.7135 | 8.0277 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 165 | Ang-2 | F08 | 1 | 10 |  | 1535 | 1535 | 1537 | 4.3703 | 1537 | 0.18402 |  |  | 1564.5835 | 1566.9065 | 0.20966 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 165 | Ang-2 | F07 | 1 | 10 |  | 1539 | 1539 | 1537 | 4.3703 | 1537 | 0.18402 |  |  | 1569.2294 | 1566.9065 | 0.20966 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 167 | Ang-2 | H08 | 1 | 10 |  | 239 | 239 | 235 | 4.3703 | 234.5 | 2.7138 |  |  | 59.3852 | 54.1485 | 13.6768 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 167 | Ang-2 | H07 | 1 | 10 |  | 230 | 230 | 235 | 4.3703 | 234.5 | 2.7138 |  |  | 48.9118 | 54.1485 | 13.6768 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 221 | Ang-2 | A10 | 1 | 10 |  | 227 | 227 | 222 | 4.3703 | 222 | 3.1852 |  |  | 45.4201 | 39.5994 | 20.7875 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 312 | Ang-2 | B12 | 1 | 10 |  | 227 | 227 | 239 | 4.3703 | 239 | 7.1007 |  |  | 45.4201 | 59.3833 | 33.2532 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 312 | Ang-2 | B11 | 1 | 10 |  | 251 | 251 | 239 | 4.3703 | 239 | 7.1007 |  |  | 73.3464 | 59.3833 | 33.2532 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 317 | Ang-2 | E11 | 1 | 10 |  | 444 | 444 | 322 | 4.3703 | 321.5 | 53.8853 |  |  | 297.6604 | 155.2352 | 129.7513 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 321 | Ang-2 | G11 | 1 | 10 |  | 338 | 338 | 275 | 4.3703 | 274.5 | 32.715 |  |  | 174.4986 | 100.6451 | 103.7751 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 523 | Ang-2 | B03 | 1 | 10 |  | 633 | 633 | 690 | 4.3703 | 690 | 11.6826 |  |  | 517.1676 | 583.3553 | 16.0457 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 523 | Ang-2 | B04 | 1 | 10 |  | 747 | 747 | 690 | 4.3703 | 690 | 11.6826 |  |  | 649.5429 | 583.3553 | 16.0457 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 524 | Ang-2 | C03 | 1 | 10 |  | 377 | 377 | 407 | 4.3703 | 407 | 10.4242 |  |  | 219.8198 | 254.6743 | 19.3548 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 524 | Ang-2 | C04 | 1 | 10 |  | 437 | 437 | 407 | 4.3703 | 407 | 10.4242 |  |  | 289.5287 | 254.6743 | 19.3548 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 525 | Ang-2 | D04 | 1 | 10 |  | 294 | 294 | 288 | 4.3703 | 287.5 | 3.1974 |  |  | 123.3525 | 115.7949 | 9.2302 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 525 | Ang-2 | D03 | 1 | 10 |  | 281 | 281 | 288 | 4.3703 | 287.5 | 3.1974 |  |  | 108.2373 | 115.7949 | 9.2302 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 528 | Ang-2 | G04 | 1 | 10 |  | 1420 | 1420 | 1277 | 4.3703 | 1276.5 | 15.8981 |  |  | 1431.0197 | 1264.3784 | 18.6389 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 528 | Ang-2 | G03 | 1 | 10 |  | 1133 | 1133 | 1277 | 4.3703 | 1276.5 | 15.8981 |  |  | 1097.7371 | 1264.3784 | 18.6389 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 70 | Ang-2 | A05 | 1 | 10 |  | 300 | 300 | 292 | 4.3703 | 291.5 | 4.1238 |  |  | 130.3281 | 120.4455 | 11.6037 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 70 | Ang-2 | A06 | 1 | 10 |  | 283 | 283 | 292 | 4.3703 | 291.5 | 4.1238 |  |  | 110.5629 | 120.4455 | 11.6037 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 74 | Ang-2 | B06 | 1 | 10 |  | 2387 | 2387 | 2331 | 4.3703 | 2330.5 | 3.4286 |  |  | 2554.5771 | 2488.8997 | 3.7318 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 74 | Ang-2 | B05 | 1 | 10 |  | 2274 | 2274 | 2331 | 4.3703 | 2330.5 | 3.4286 |  |  | 2423.2224 | 2488.8997 | 3.7318 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 77 | Ang-2 | D06 | 1 | 10 |  | 1062 | 1062 | 1023 | 4.3703 | 1022.5 | 5.4632 |  |  | 1015.2951 | 969.4306 | 6.6908 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 77 | Ang-2 | D05 | 1 | 10 |  | 983 | 983 | 1023 | 4.3703 | 1022.5 | 5.4632 |  |  | 923.5661 | 969.4306 | 6.6908 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 83 | Ang-2 | G05 | 1 | 10 |  | 573 | 573 | 577 | 4.3703 | 576.5 | 0.85859 |  |  | 447.4906 | 451.5552 | 1.273 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 83 | Ang-2 | G06 | 1 | 10 |  | 580 | 580 | 577 | 4.3703 | 576.5 | 0.85859 |  |  | 455.6198 | 451.5552 | 1.273 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 84 | Ang-2 | H06 | 1 | 10 |  | 510 | 510 | 493 | 4.3703 | 493 | 4.8766 |  |  | 374.3229 | 354.5773 | 7.8754 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 84 | Ang-2 | H05 | 1 | 10 |  | 476 | 476 | 493 | 4.3703 | 493 | 4.8766 |  |  | 334.8317 | 354.5773 | 7.8754 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC | Ang-2 | H11 | 1 | 10 |  | 259 | 259 | 267 | 4.3703 | 266.5 | 3.98 |  |  | 82.6522 | 91.3748 | 13.5 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC | Ang-2 | A03 | 1 | 10 |  | 348 | 348 | 300 | 4.3703 | 299.5 | 22.9013 |  |  | 186.1204 | 129.7334 | 61.467 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC | Ang-2 | A04 | 1 | 10 |  | 251 | 251 | 300 | 4.3703 | 299.5 | 22.9013 |  |  | 73.3464 | 129.7334 | 61.467 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC | Ang-2 | H12 | 1 | 10 |  | 274 | 274 | 267 | 4.3703 | 266.5 | 3.98 |  |  | 100.0974 | 91.3748 | 13.5 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S1 | Ang-2 | A02 | 1 |  | 10000 | 80524 | 80524 | 81074 | 4.3703 | 81074 | 0.95939 | 99.7637 | 100.4984 | 9976.3722 | 10049.8445 | 1.0339 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S2 | Ang-2 | B01 | 1 |  | 2500 | 21152 | 21152 | 20968 | 4.3703 | 20968 | 1.241 | 98.7724 | 97.8906 | 2469.3105 | 2447.2653 | 1.2739 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S2 | Ang-2 | B02 | 1 |  | 2500 | 20784 | 20784 | 20968 | 4.3703 | 20968 | 1.241 | 97.0088 | 97.8906 | 2425.2201 | 2447.2653 | 1.2739 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S3 | Ang-2 | C02 | 1 |  | 625 | 5564 | 5564 | 5628 | 4.3703 | 5628 | 1.6082 | 100.0936 | 101.2895 | 625.5849 | 633.0591 | 1.6697 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S3 | Ang-2 | C01 | 1 |  | 625 | 5692 | 5692 | 5628 | 4.3703 | 5628 | 1.6082 | 102.4853 | 101.2895 | 640.5333 | 633.0591 | 1.6697 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S4 | Ang-2 | D02 | 1 |  | 156.25 | 1579 | 1579 | 1563 | 4.3703 | 1563 | 1.4477 | 103.4041 | 102.2147 | 161.5689 | 159.7105 | 1.6456 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S4 | Ang-2 | D01 | 1 |  | 156.25 | 1547 | 1547 | 1563 | 4.3703 | 1563 | 1.4477 | 101.0254 | 102.2147 | 157.8521 | 159.7105 | 1.6456 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S5 | Ang-2 | E01 | 1 |  | 39.0625 | 516 | 516 | 521 | 4.3703 | 520.5 | 1.2227 | 97.6107 | 98.9486 | 38.1292 | 38.6518 | 1.9123 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S5 | Ang-2 | E02 | 1 |  | 39.0625 | 525 | 525 | 521 | 4.3703 | 520.5 | 1.2227 | 100.2866 | 98.9486 | 39.1745 | 38.6518 | 1.9123 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S6 | Ang-2 | F01 | 1 |  | 9.7656 | 271 | 271 | 265 | 4.3703 | 265 | 3.202 | 98.9273 | 91.7815 | 9.6609 | 8.963 | 11.0104 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S6 | Ang-2 | F02 | 1 |  | 9.7656 | 259 | 259 | 265 | 4.3703 | 265 | 3.202 | 84.6358 | 91.7815 | 8.2652 | 8.963 | 11.0104 | In Detection Range | 10000 | 4.37

## LongData
Plate Name | Sample | Dilution | Concentration | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low...21
CHR_US_V1_Plate1_Plate_23L0EAA195 | S1 |  | 10000 | 100.4984 | 10123.3169 | 10049.8445 | 1.0339 | Above Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 160 | 10 |  |  | 13.9756 | 16.889 | 24.3953 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 160 | 10 |  |  | 19.8023 | 16.889 | 24.3953 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 162 | 10 |  |  | 3.4782 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 163 | 10 |  |  | 6.9793 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 164 | 10 |  |  | 16.3066 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 166 | 10 |  |  | 6.9793 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 221 | 10 |  |  | 33.7787 | 39.5994 | 20.7875 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 223 | 10 |  |  | 25.6269 | 26.2093 | 3.1423 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 223 | 10 |  |  | 26.7916 | 26.2093 | 3.1423 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 228 | 10 |  |  | 8.1458 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 233 | 10 |  |  | 12.8099 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 234 | 10 |  |  | 12.8099 | 16.8887 | 34.1542 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 234 | 10 |  |  | 20.9674 | 16.8887 | 34.1542 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 309 | 10 |  |  | 26.7916 | 34.9419 | 32.9868 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 309 | 10 |  |  | 43.0922 | 34.9419 | 32.9868 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 314 | 10 |  |  | 16.3066 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 316 | 10 |  |  | 22.1324 | 16.8883 | 43.914 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 316 | 10 |  |  | 11.6441 | 16.8883 | 43.914 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 317 | 10 |  |  | 12.8099 | 155.2352 | 129.7513 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 318 | 10 |  |  | 24.4622 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 321 | 10 |  |  | 26.7916 | 100.6451 | 103.7751 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | Blank |  | 0 |  | 0.34782 |  |  | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S7 |  | 2.4414 | 112.1201 | 3.3779 | 2.7373 | 33.0945 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S7 |  | 2.4414 | 112.1201 | 2.0967 | 2.7373 | 33.0945 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 162 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 163 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 164 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 166 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 228 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 229 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 229 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 230 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 230 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 232 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 232 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 233 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 314 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 318 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 526 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 526 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 527 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 527 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 530 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 530 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 76 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 76 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 81 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 81 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 82 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 82 | 10 | [5 empty] | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | Blank |  | 0 |  |  |  |  | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 159 | 10 |  |  | 216.3339 | 204.7135 | 8.0277 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 159 | 10 |  |  | 193.0931 | 204.7135 | 8.0277 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 165 | 10 |  |  | 1564.5835 | 1566.9065 | 0.20966 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 165 | 10 |  |  | 1569.2294 | 1566.9065 | 0.20966 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 167 | 10 |  |  | 59.3852 | 54.1485 | 13.6768 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 167 | 10 |  |  | 48.9118 | 54.1485 | 13.6768 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 221 | 10 |  |  | 45.4201 | 39.5994 | 20.7875 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 312 | 10 |  |  | 45.4201 | 59.3833 | 33.2532 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 312 | 10 |  |  | 73.3464 | 59.3833 | 33.2532 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 317 | 10 |  |  | 297.6604 | 155.2352 | 129.7513 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 321 | 10 |  |  | 174.4986 | 100.6451 | 103.7751 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 523 | 10 |  |  | 517.1676 | 583.3553 | 16.0457 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 523 | 10 |  |  | 649.5429 | 583.3553 | 16.0457 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 524 | 10 |  |  | 219.8198 | 254.6743 | 19.3548 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 524 | 10 |  |  | 289.5287 | 254.6743 | 19.3548 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 525 | 10 |  |  | 123.3525 | 115.7949 | 9.2302 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 525 | 10 |  |  | 108.2373 | 115.7949 | 9.2302 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 528 | 10 |  |  | 1431.0197 | 1264.3784 | 18.6389 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 528 | 10 |  |  | 1097.7371 | 1264.3784 | 18.6389 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 70 | 10 |  |  | 130.3281 | 120.4455 | 11.6037 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 70 | 10 |  |  | 110.5629 | 120.4455 | 11.6037 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 74 | 10 |  |  | 2554.5771 | 2488.8997 | 3.7318 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 74 | 10 |  |  | 2423.2224 | 2488.8997 | 3.7318 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 77 | 10 |  |  | 1015.2951 | 969.4306 | 6.6908 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 77 | 10 |  |  | 923.5661 | 969.4306 | 6.6908 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 83 | 10 |  |  | 447.4906 | 451.5552 | 1.273 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 83 | 10 |  |  | 455.6198 | 451.5552 | 1.273 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 84 | 10 |  |  | 374.3229 | 354.5773 | 7.8754 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 84 | 10 |  |  | 334.8317 | 354.5773 | 7.8754 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC | 10 |  |  | 82.6522 | 91.3748 | 13.5 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC | 10 |  |  | 186.1204 | 129.7334 | 61.467 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC | 10 |  |  | 73.3464 | 129.7334 | 61.467 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC | 10 |  |  | 100.0974 | 91.3748 | 13.5 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S1 |  | 10000 | 100.4984 | 9976.3722 | 10049.8445 | 1.0339 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S2 |  | 2500 | 97.8906 | 2469.3105 | 2447.2653 | 1.2739 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S2 |  | 2500 | 97.8906 | 2425.2201 | 2447.2653 | 1.2739 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S3 |  | 625 | 101.2895 | 625.5849 | 633.0591 | 1.6697 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S3 |  | 625 | 101.2895 | 640.5333 | 633.0591 | 1.6697 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S4 |  | 156.25 | 102.2147 | 161.5689 | 159.7105 | 1.6456 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S4 |  | 156.25 | 102.2147 | 157.8521 | 159.7105 | 1.6456 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S5 |  | 39.0625 | 98.9486 | 38.1292 | 38.6518 | 1.9123 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S5 |  | 39.0625 | 98.9486 | 39.1745 | 38.6518 | 1.9123 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S6 |  | 9.7656 | 91.7815 | 9.6609 | 8.963 | 11.0104 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S6 |  | 9.7656 | 91.7815 | 8.2652 | 8.963 | 11.0104 | In Detection Range | 10000 | 4.37

## WideData
Sample | Calc. Conc. Mean
S1 | 10049.8445
160 | 16.889
162
163
164
166
221 | 39.5994
223 | 26.2093
228
233
234 | 16.8887
309 | 34.9419
314
316 | 16.8883
317 | 155.2352
318
321 | 100.6451
S7 | 2.7373
229
230
232
526
527
530
76
81
82
159 | 204.7135
165 | 1566.9065
167 | 54.1485
312 | 59.3833
523 | 583.3553
524 | 254.6743
525 | 115.7949
528 | 1264.3784
70 | 120.4455
74 | 2488.8997
77 | 969.4306
83 | 451.5552
84 | 354.5773
QC | 91.3748
S2 | 2447.2653
S3 | 633.0591
S4 | 159.7105
S5 | 38.6518
S6 | 8.963

## WideSampleData
Sample | Calc. Conc. Mean
160 | 16.889
162
163
164
166
221 | 39.5994
223 | 26.2093
228
233
234 | 16.8887
309 | 34.9419
314
316 | 16.8883
317 | 155.2352
318
321 | 100.6451
229
230
232
526
527
530
76
81
82
159 | 204.7135
165 | 1566.9065
167 | 54.1485
312 | 59.3833
523 | 583.3553
524 | 254.6743
525 | 115.7949
528 | 1264.3784
70 | 120.4455
74 | 2488.8997
77 | 969.4306
83 | 451.5552
84 | 354.5773

## LLODs
Sample | Assay | Well | Signal | Calc. Concentration | Detection Range
S1 | Ang-2 | A01 | 81624 | 10123.3169 | Above Fit Curve Range
160 | Ang-2 | B07 | 200 | 13.9756 | Below Detection Range
160 | Ang-2 | B08 | 205 | 19.8023 | Below Detection Range
162 | Ang-2 | C08 | 191 | 3.4782 | Below Detection Range
163 | Ang-2 | D08 | 194 | 6.9793 | Below Detection Range
164 | Ang-2 | E08 | 202 | 16.3066 | Below Detection Range
166 | Ang-2 | G08 | 194 | 6.9793 | Below Detection Range
221 | Ang-2 | A09 | 217 | 33.7787 | Below Detection Range
223 | Ang-2 | B10 | 210 | 25.6269 | Below Detection Range
223 | Ang-2 | B09 | 211 | 26.7916 | Below Detection Range
228 | Ang-2 | C10 | 195 | 8.1458 | Below Detection Range
233 | Ang-2 | G10 | 199 | 12.8099 | Below Detection Range
234 | Ang-2 | H10 | 199 | 12.8099 | Below Detection Range
234 | Ang-2 | H09 | 206 | 20.9674 | Below Detection Range
309 | Ang-2 | A11 | 211 | 26.7916 | Below Detection Range
309 | Ang-2 | A12 | 225 | 43.0922 | Below Detection Range
314 | Ang-2 | C12 | 202 | 16.3066 | Below Detection Range
316 | Ang-2 | D11 | 207 | 22.1324 | Below Detection Range
316 | Ang-2 | D12 | 198 | 11.6441 | Below Detection Range
317 | Ang-2 | E12 | 199 | 12.8099 | Below Detection Range
318 | Ang-2 | F12 | 209 | 24.4622 | Below Detection Range
321 | Ang-2 | G12 | 211 | 26.7916 | Below Detection Range
Blank | Ang-2 | H01 | 191 | 0.34782 | Below Detection Range
S7 | Ang-2 | G01 | 217 | 3.3779 | Below Detection Range
S7 | Ang-2 | G02 | 206 | 2.0967 | Below Detection Range
162 | Ang-2 | C07 | 172 |  | Below Fit Curve Range
163 | Ang-2 | D07 | 182 |  | Below Fit Curve Range
164 | Ang-2 | E07 | 185 |  | Below Fit Curve Range
166 | Ang-2 | G07 | 182 |  | Below Fit Curve Range
228 | Ang-2 | C09 | 184 |  | Below Fit Curve Range
229 | Ang-2 | D10 | 185 |  | Below Fit Curve Range
229 | Ang-2 | D09 | 179 |  | Below Fit Curve Range
230 | Ang-2 | E09 | 177 |  | Below Fit Curve Range
230 | Ang-2 | E10 | 184 |  | Below Fit Curve Range
232 | Ang-2 | F09 | 181 |  | Below Fit Curve Range
232 | Ang-2 | F10 | 182 |  | Below Fit Curve Range
233 | Ang-2 | G09 | 187 |  | Below Fit Curve Range
314 | Ang-2 | C11 | 183 |  | Below Fit Curve Range
318 | Ang-2 | F11 | 187 |  | Below Fit Curve Range
526 | Ang-2 | E04 | 169 |  | Below Fit Curve Range
526 | Ang-2 | E03 | 176 |  | Below Fit Curve Range
527 | Ang-2 | F03 | 172 |  | Below Fit Curve Range
527 | Ang-2 | F04 | 163 |  | Below Fit Curve Range
530 | Ang-2 | H04 | 176 |  | Below Fit Curve Range
530 | Ang-2 | H03 | 171 |  | Below Fit Curve Range
76 | Ang-2 | C06 | 177 |  | Below Fit Curve Range
76 | Ang-2 | C05 | 165 |  | Below Fit Curve Range
81 | Ang-2 | E05 | 155 |  | Below Fit Curve Range
81 | Ang-2 | E06 | 175 |  | Below Fit Curve Range
82 | Ang-2 | F05 | 176 |  | Below Fit Curve Range
82 | Ang-2 | F06 | 178 |  | Below Fit Curve Range
Blank | Ang-2 | H02 | 188 |  | Below Fit Curve Range
159 | Ang-2 | A08 | 374 | 216.3339 | In Detection Range
159 | Ang-2 | A07 | 354 | 193.0931 | In Detection Range
165 | Ang-2 | F08 | 1535 | 1564.5835 | In Detection Range
165 | Ang-2 | F07 | 1539 | 1569.2294 | In Detection Range
167 | Ang-2 | H08 | 239 | 59.3852 | In Detection Range
167 | Ang-2 | H07 | 230 | 48.9118 | In Detection Range
221 | Ang-2 | A10 | 227 | 45.4201 | In Detection Range
312 | Ang-2 | B12 | 227 | 45.4201 | In Detection Range
312 | Ang-2 | B11 | 251 | 73.3464 | In Detection Range
317 | Ang-2 | E11 | 444 | 297.6604 | In Detection Range
321 | Ang-2 | G11 | 338 | 174.4986 | In Detection Range
523 | Ang-2 | B03 | 633 | 517.1676 | In Detection Range
523 | Ang-2 | B04 | 747 | 649.5429 | In Detection Range
524 | Ang-2 | C03 | 377 | 219.8198 | In Detection Range
524 | Ang-2 | C04 | 437 | 289.5287 | In Detection Range
525 | Ang-2 | D04 | 294 | 123.3525 | In Detection Range
525 | Ang-2 | D03 | 281 | 108.2373 | In Detection Range
528 | Ang-2 | G04 | 1420 | 1431.0197 | In Detection Range
528 | Ang-2 | G03 | 1133 | 1097.7371 | In Detection Range
70 | Ang-2 | A05 | 300 | 130.3281 | In Detection Range
70 | Ang-2 | A06 | 283 | 110.5629 | In Detection Range
74 | Ang-2 | B06 | 2387 | 2554.5771 | In Detection Range
74 | Ang-2 | B05 | 2274 | 2423.2224 | In Detection Range
77 | Ang-2 | D06 | 1062 | 1015.2951 | In Detection Range
77 | Ang-2 | D05 | 983 | 923.5661 | In Detection Range
83 | Ang-2 | G05 | 573 | 447.4906 | In Detection Range
83 | Ang-2 | G06 | 580 | 455.6198 | In Detection Range
84 | Ang-2 | H06 | 510 | 374.3229 | In Detection Range
84 | Ang-2 | H05 | 476 | 334.8317 | In Detection Range
QC | Ang-2 | H11 | 259 | 82.6522 | In Detection Range
QC | Ang-2 | A03 | 348 | 186.1204 | In Detection Range
QC | Ang-2 | A04 | 251 | 73.3464 | In Detection Range
QC | Ang-2 | H12 | 274 | 100.0974 | In Detection Range
S1 | Ang-2 | A02 | 80524 | 9976.3722 | In Detection Range
S2 | Ang-2 | B01 | 21152 | 2469.3105 | In Detection Range
S2 | Ang-2 | B02 | 20784 | 2425.2201 | In Detection Range
S3 | Ang-2 | C02 | 5564 | 625.5849 | In Detection Range
S3 | Ang-2 | C01 | 5692 | 640.5333 | In Detection Range
S4 | Ang-2 | D02 | 1579 | 161.5689 | In Detection Range
S4 | Ang-2 | D01 | 1547 | 157.8521 | In Detection Range
S5 | Ang-2 | E01 | 516 | 38.1292 | In Detection Range
S5 | Ang-2 | E02 | 525 | 39.1745 | In Detection Range
S6 | Ang-2 | F01 | 271 | 9.6609 | In Detection Range
S6 | Ang-2 | F02 | 259 | 8.2652 | In Detection Range

## LLODS_count
Below Detection Range | Below Fit Curve Range | In Detection Range
21 | 26 | 29

## IntraplateCVs
Sample | Calc. Conc. CV | n =
S1 | 1.0339 | 2
160 | 24.3953 | 2
162 |  | 2
163 |  | 2
164 |  | 2
166 |  | 2
221 | 20.7875 | 2
223 | 3.1423 | 2
228 |  | 2
233 |  | 2
234 | 34.1542 | 2
309 | 32.9868 | 2
314 |  | 2
316 | 43.914 | 2
317 | 129.7513 | 2
318 |  | 2
321 | 103.7751 | 2
S7 | 33.0945 | 2
229 |  | 2
230 |  | 2
232 |  | 2
526 |  | 2
527 |  | 2
530 |  | 2
76 |  | 2
81 |  | 2
82 |  | 2
159 | 8.0277 | 2
165 | 0.20966 | 2
167 | 13.6768 | 2
312 | 33.2532 | 2
523 | 16.0457 | 2
524 | 19.3548 | 2
525 | 9.2302 | 2
528 | 18.6389 | 2
70 | 11.6037 | 2
74 | 3.7318 | 2
77 | 6.6908 | 2
83 | 1.273 | 2
84 | 7.8754 | 2
QC | 13.5 | 2
S2 | 1.2739 | 2
S3 | 1.6697 | 2
S4 | 1.6456 | 2
S5 | 1.9123 | 2
S6 | 11.0104 | 2