## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14A0902_Set8 | 123_V1 | TNF-RI | B03 | 1 | 10 |  | 49798 | 49798 | 49798 | 49798 | NaN |  |  | 3035.5701620794798 | 3035.5701620794798 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 124_V2 | TNF-RI | C03 | 1 | 10 |  | 42082 | 42082 | 42082 | 42082 | NaN |  |  | 2558.5600020063098 | 2558.5600020063098 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 125_V1 | TNF-RI | D03 | 1 | 10 |  | 305229 | 305229 | 305229 | 305229 | NaN |  |  | 19689.894638459002 | 19689.894638459002 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 125_V2 | TNF-RI | E03 | 1 | 10 |  | 340661 | 340661 | 340661 | 340661 | NaN |  |  | 22129.220809407499 | 22129.220809407499 | NaN | Above Fit Curve Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 126_V2 | TNF-RI | F03 | 1 | 10 |  | 306989 | 306989 | 306989 | 306989 | NaN |  |  | 19810.3075041435 | 19810.3075041435 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 127_V2 | TNF-RI | G03 | 1 | 10 |  | 125518 | 125518 | 125518 | 125518 | NaN |  |  | 7802.0847691830604 | 7802.0847691830604 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 129_V1 | TNF-RI | H03 | 1 | 10 |  | 17591 | 17591 | 17591 | 17591 | NaN |  |  | 1057.16198082752 | 1057.16198082752 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 129_V2 | TNF-RI | B04 | 1 | 10 |  | 18213 | 18213 | 18213 | 18213 | NaN |  |  | 1095.02128358398 | 1095.02128358398 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 130_V1 | TNF-RI | C04 | 1 | 10 |  | 16760 | 16760 | 16760 | 16760 | NaN |  |  | 1006.6075161712 | 1006.6075161712 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 130_V2 | TNF-RI | D04 | 1 | 10 |  | 25977 | 25977 | 25977 | 25977 | NaN |  |  | 1568.8942585437201 | 1568.8942585437201 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 132_V2 | TNF-RI | E04 | 1 | 10 |  | 14640 | 14640 | 14640 | 14640 | NaN |  |  | 877.77601479889597 | 877.77601479889597 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 133_V1 | TNF-RI | F04 | 1 | 10 |  | 9946 | 9946 | 9946 | 9946 | NaN |  |  | 593.31616838807201 | 593.31616838807201 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 134_V2 | TNF-RI | G04 | 1 | 10 |  | 10931 | 10931 | 10931 | 10931 | NaN |  |  | 652.90895005730897 | 652.90895005730897 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 135_V1 | TNF-RI | H04 | 1 | 10 |  | 23538 | 23538 | 23538 | 23538 | NaN |  |  | 1419.7824248608599 | 1419.7824248608599 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 135_V2 | TNF-RI | A05 | 1 | 10 |  | 33804 | 33804 | 33804 | 33804 | NaN |  |  | 2048.81627500373 | 2048.81627500373 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 136_V1 | TNF-RI | B05 | 1 | 10 |  | 15679 | 15679 | 15679 | 15679 | NaN |  |  | 940.88989903643903 | 940.88989903643903 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 136_V2 | TNF-RI | C05 | 1 | 10 |  | 16205 | 16205 | 16205 | 16205 | NaN |  |  | 972.86064235908395 | 972.86064235908395 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 137_V1 | TNF-RI | D05 | 1 | 10 |  | 42481 | 42481 | 42481 | 42481 | NaN |  |  | 2583.1831336856699 | 2583.1831336856699 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 138_V1 | TNF-RI | E05 | 1 | 10 |  | 53714 | 53714 | 53714 | 53714 | NaN |  |  | 3278.3238486195701 | 3278.3238486195701 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 138_V2 | TNF-RI | F05 | 1 | 10 |  | 23760 | 23760 | 23760 | 23760 | NaN |  |  | 1433.34565084371 | 1433.34565084371 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 139_V1 | TNF-RI | G05 | 1 | 10 |  | 60277 | 60277 | 60277 | 60277 | NaN |  |  | 3686.1376594609101 | 3686.1376594609101 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 139_V2 | TNF-RI | H05 | 1 | 10 |  | 53006 | 53006 | 53006 | 53006 | NaN |  |  | 3234.4023352723402 | 3234.4023352723402 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 140_V1 | TNF-RI | A06 | 1 | 10 |  | 50109 | 50109 | 50109 | 50109 | NaN |  |  | 3054.8330320652599 | 3054.8330320652599 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 140_V2 | TNF-RI | B06 | 1 | 10 |  | 51440 | 51440 | 51440 | 51440 | NaN |  |  | 3137.3046347835202 | 3137.3046347835202 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 312_V1 | TNF-RI | C06 | 1 | 10 |  | 27893 | 27893 | 27893 | 27893 | NaN |  |  | 1686.18197722625 | 1686.18197722625 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 313_V1 | TNF-RI | D06 | 1 | 10 |  | 83353 | 83353 | 83353 | 83353 | NaN |  |  | 5129.34708768171 | 5129.34708768171 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 313_V2 | TNF-RI | E06 | 1 | 10 |  | 55854 | 55854 | 55854 | 55854 | NaN |  |  | 3411.1672245536101 | 3411.1672245536101 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 314_V1 | TNF-RI | F06 | 1 | 10 |  | 28749 | 28749 | 28749 | 28749 | NaN |  |  | 1738.6235098765601 | 1738.6235098765601 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 315_V1 | TNF-RI | G06 | 1 | 10 |  | 140070 | 140070 | 140070 | 140070 | NaN |  |  | 8734.8912995544106 | 8734.8912995544106 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 315_V2 | TNF-RI | H06 | 1 | 10 |  | 98603 | 98603 | 98603 | 98603 | NaN |  |  | 6090.7822405422803 | 6090.7822405422803 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 317_V2 | TNF-RI | A07 | 1 | 10 |  | 24807 | 24807 | 24807 | 24807 | NaN |  |  | 1497.3374063501799 | 1497.3374063501799 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 318_V1 | TNF-RI | B07 | 1 | 10 |  | 22223 | 22223 | 22223 | 22223 | NaN |  |  | 1339.47980040063 | 1339.47980040063 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 319_V2 | TNF-RI | C07 | 1 | 10 |  | 21112 | 21112 | 21112 | 21112 | NaN |  |  | 1271.68648870126 | 1271.68648870126 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 321_V1 | TNF-RI | D07 | 1 | 10 |  | 45637 | 45637 | 45637 | 45637 | NaN |  |  | 2778.11481631989 | 2778.11481631989 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 322_V1 | TNF-RI | E07 | 1 | 10 |  | 17094 | 17094 | 17094 | 17094 | NaN |  |  | 1026.9230176603401 | 1026.9230176603401 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 322_V2 | TNF-RI | F07 | 1 | 10 |  | 21136 | 21136 | 21136 | 21136 | NaN |  |  | 1273.15046166515 | 1273.15046166515 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 323_V1 | TNF-RI | G07 | 1 | 10 |  | 36394 | 36394 | 36394 | 36394 | NaN |  |  | 2208.0723504797902 | 2208.0723504797902 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 323_V2 | TNF-RI | H07 | 1 | 10 |  | 27322 | 27322 | 27322 | 27322 | NaN |  |  | 1651.21472308435 | 1651.21472308435 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 324_V1 | TNF-RI | A08 | 1 | 10 |  | 45752 | 45752 | 45752 | 45752 | NaN |  |  | 2785.2234374296299 | 2785.2234374296299 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 324_V2 | TNF-RI | B08 | 1 | 10 |  | 34588 | 34588 | 34588 | 34588 | NaN |  |  | 2097.0007917521598 | 2097.0007917521598 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 325_V1 | TNF-RI | C08 | 1 | 10 |  | 65293 | 65293 | 65293 | 65293 | NaN |  |  | 3998.6279391467301 | 3998.6279391467301 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 325_V2 | TNF-RI | D08 | 1 | 10 |  | 40804 | 40804 | 40804 | 40804 | NaN |  |  | 2479.7244221124502 | 2479.7244221124502 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 326_V1 | TNF-RI | E08 | 1 | 10 |  | 18655 | 18655 | 18655 | 18655 | NaN |  |  | 1121.9344807155601 | 1121.9344807155601 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 326_V2 | TNF-RI | F08 | 1 | 10 |  | 16941 | 16941 | 16941 | 16941 | NaN |  |  | 1017.61620669151 | 1017.61620669151 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 327_V1 | TNF-RI | G08 | 1 | 10 |  | 32326 | 32326 | 32326 | 32326 | NaN |  |  | 1958.03302872266 | 1958.03302872266 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 328_V1 | TNF-RI | H08 | 1 | 10 |  | 18097 | 18097 | 18097 | 18097 | NaN |  |  | 1087.9594562883599 | 1087.9594562883599 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 329_V2 | TNF-RI | A09 | 1 | 10 |  | 119269 | 119269 | 119269 | 119269 | NaN |  |  | 7403.1365095859901 | 7403.1365095859901 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 513_V1 | TNF-RI | B09 | 1 | 10 |  | 16536 | 16536 | 16536 | 16536 | NaN |  |  | 992.98550545382898 | 992.98550545382898 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 513_V2 | TNF-RI | C09 | 1 | 10 |  | 17930 | 17930 | 17930 | 17930 | NaN |  |  | 1077.79386327422 | 1077.79386327422 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 514_V1 | TNF-RI | D09 | 1 | 10 |  | 195841 | 195841 | 195841 | 195841 | NaN |  |  | 12358.495750832 | 12358.495750832 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 514_V2 | TNF-RI | E09 | 1 | 10 |  | 144891 | 144891 | 144891 | 144891 | NaN |  |  | 9045.0867475845098 | 9045.0867475845098 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 515_V1 | TNF-RI | F09 | 1 | 10 |  | 52112 | 52112 | 52112 | 52112 | NaN |  |  | 3178.9625013055902 | 3178.9625013055902 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 515_V2 | TNF-RI | G09 | 1 | 10 |  | 30770 | 30770 | 30770 | 30770 | NaN |  |  | 1862.53666931313 | 1862.53666931313 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 516_V1 | TNF-RI | H09 | 1 | 10 |  | 50587 | 50587 | 50587 | 50587 | NaN |  |  | 3084.4450687168701 | 3084.4450687168701 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 517_V1 | TNF-RI | A10 | 1 | 10 |  | 14036 | 14036 | 14036 | 14036 | NaN |  |  | 841.10960706405206 | 841.10960706405206 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 518_V1 | TNF-RI | B10 | 1 | 10 |  | 45793 | 45793 | 45793 | 45793 | NaN |  |  | 2787.7579099099098 | 2787.7579099099098 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 518_V2 | TNF-RI | C10 | 1 | 10 |  | 28352 | 28352 | 28352 | 28352 | NaN |  |  | 1714.2987533924299 | 1714.2987533924299 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 519_V1 | TNF-RI | D10 | 1 | 10 |  | 18113 | 18113 | 18113 | 18113 | NaN |  |  | 1088.9334675288501 | 1088.9334675288501 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 519_V2 | TNF-RI | E10 | 1 | 10 |  | 16505 | 16505 | 16505 | 16505 | NaN |  |  | 991.10049190766097 | 991.10049190766097 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 520_V1 | TNF-RI | F10 | 1 | 10 |  | 34248 | 34248 | 34248 | 34248 | NaN |  |  | 2076.1020049968502 | 2076.1020049968502 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 520_V2 | TNF-RI | G10 | 1 | 10 |  | 39486 | 39486 | 39486 | 39486 | NaN |  |  | 2398.4736307788498 | 2398.4736307788498 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 521_V1 | TNF-RI | H10 | 1 | 10 |  | 81288 | 81288 | 81288 | 81288 | NaN |  |  | 4999.62266862462 | 4999.62266862462 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 522_V1 | TNF-RI | A11 | 1 | 10 |  | 193907 | 193907 | 193907 | 193907 | NaN |  |  | 12231.551692373099 | 12231.551692373099 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 522_V2 | TNF-RI | B11 | 1 | 10 |  | 133663 | 133663 | 133663 | 133663 | NaN |  |  | 8323.5423509418797 | 8323.5423509418797 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 573_V1 | TNF-RI | C11 | 1 | 10 |  | 34011 | 34011 | 34011 | 34011 | NaN |  |  | 2061.5365302370401 | 2061.5365302370401 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 574_V1 | TNF-RI | D11 | 1 | 10 |  | 22278 | 22278 | 22278 | 22278 | NaN |  |  | 1342.8371460908299 | 1342.8371460908299 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 574_V2 | TNF-RI | E11 | 1 | 10 |  | 17867 | 17867 | 17867 | 17867 | NaN |  |  | 1073.95924754098 | 1073.95924754098 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 575_V1 | TNF-RI | F11 | 1 | 10 |  | 23081 | 23081 | 23081 | 23081 | NaN |  |  | 1391.8675480263901 | 1391.8675480263901 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 575_V2 | TNF-RI | G11 | 1 | 10 |  | 26323 | 26323 | 26323 | 26323 | NaN |  |  | 1590.0649723020899 | 1590.0649723020899 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 576_V1 | TNF-RI | A12 | 1 | 10 |  | 24471 | 24471 | 24471 | 24471 | NaN |  |  | 1476.7969629326501 | 1476.7969629326501 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 576_V2 | TNF-RI | B12 | 1 | 10 |  | 24611 | 24611 | 24611 | 24611 | NaN |  |  | 1485.35497733394 | 1485.35497733394 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | BLANK | TNF-RI | E12 | 1 |  |  | 65 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | BLANK | TNF-RI | F12 | 1 |  |  | 61 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | BLANK | TNF-RI | G12 | 1 |  |  | 66 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | BLANK | TNF-RI | D12 | 1 |  |  | 62 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | BLANK | TNF-RI | C12 | 1 |  |  | 60 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | QC | TNF-RI | H11 | 1 | 10 |  | 55192 | 55304 | 55192 | 55303.5 | 0.28512627990018702 |  |  | 3370.05888033267 | 3376.9820288082801 | 0.28992782268328698 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | QC | TNF-RI | A03 | 1 | 10 |  | 57726 | 57519 | 57726 | 57519 | 0.50894870809859405 |  |  | 3527.4797358586302 | 3514.6140334871002 | 0.51769129155882998 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | QC | TNF-RI | A04 | 1 | 10 |  | 57312 | 57519 | 57312 | 57519 | 0.50894870809859405 |  |  | 3501.7483311155802 | 3514.6140334871002 | 0.51769129155882998 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | QC | TNF-RI | H12 | 1 | 10 |  | 55415 | 55304 | 55415 | 55303.5 | 0.28512627990018702 |  |  | 3383.9051772838902 | 3376.9820288082801 | 0.28992782268328698 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 318202 | 309284 | 318202 | 309283.5 | 4.0780266829703002 | 102.8965 | 99.842085345173004 | 2057.9308443973 | 1996.8417069034599 | 4.3264864940869199 | Above Fit Curve Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 300365 | 309284 | 300365 | 309283.5 | 4.0780266829703002 | 96.7876 | 99.842085345173004 | 1935.75256940961 | 1996.8417069034599 | 4.3264864940869199 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD2 | TNF-RI | B01 | 1 |  | 500 | 83137 | 81976 | 83137 | 81975.5 | 2.0037804620848298 | 102.3155 | 100.85634109991901 | 511.577263258588 | 504.28170549959799 | 2.0459748222706402 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD2 | TNF-RI | B02 | 1 |  | 500 | 80814 | 81976 | 80814 | 81975.5 | 2.0037804620848298 | 99.3972 | 100.85634109991901 | 496.986147740609 | 504.28170549959799 | 2.0459748222706402 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD3 | TNF-RI | C02 | 1 |  | 125 | 20152 | 20521 | 20152 | 20521 | 2.5429794089745701 | 97.0517 | 98.851684031328105 | 121.31462860358501 | 123.56460503916 | 2.5751283623667498 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD3 | TNF-RI | C01 | 1 |  | 125 | 20890 | 20521 | 20890 | 20521 | 2.5429794089745701 | 100.6517 | 98.851684031328105 | 125.81458147473499 | 123.56460503916 | 2.5751283623667498 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 5293 | 5339 | 5293 | 5339 | 1.2184645789316699 | 100.0594 | 100.94453629504299 | 31.268567529590999 | 31.545167592200901 | 1.24003639781856 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 5385 | 5339 | 5385 | 5339 | 1.2184645789316699 | 101.8297 | 100.94453629504299 | 31.821767654810799 | 31.545167592200901 | 1.24003639781856 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1442 | 1382 | 1442 | 1382 | 6.13985627658362 | 105.0608 | 100.49056259832901 | 8.2078769256923092 | 7.8508252029944501 | 6.4317746944027601 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1322 | 1382 | 1322 | 1382 | 6.13985627658362 | 95.9203 | 100.49056259832901 | 7.4937734802965901 | 7.8508252029944501 | 6.4317746944027601 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 387 | 378 | 387 | 378 | 3.3671751485073602 | 99.915 | 97.199089391775104 | 1.9514656312505301 | 1.8984197146830999 | 3.9516158654454201 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 369 | 378 | 369 | 378 | 3.3671751485073602 | 94.4831 | 97.199089391775104 | 1.8453737981156799 | 1.8984197146830999 | 3.9516158654454201 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 144 | 141 | 144 | 141 | 3.0089650263257299 | 107.2859 | 103.696063129769 | 0.52385704806267996 | 0.50632843325082599 | 4.8958745289853001 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 138 | 141 | 138 | 141 | 3.0089650263257299 | 100.1062 | 103.696063129769 | 0.48879981843897202 | 0.50632843325082599 | 4.8958745289853001 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD8 | TNF-RI | H02 | 1 |  | 0 | 52 | 54 | 52 | 53.5 | 3.96508475431708 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD8 | TNF-RI | H01 | 1 |  | 0 | 55 | 54 | 55 | 53.5 | 3.96508475431708 |  | NaN | 6.9309728674374496E-3 | NaN | NaN | Below Detection Range | 2000 | 0.21647

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14A0902_Set8 | 123 | V1 | TNF-RI | B03 | 1 | 10 |  | 49798 | 49798 | 49798 | 49798 | NaN |  |  | 3035.5701620794798 | 3035.5701620794798 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 124 | V2 | TNF-RI | C03 | 1 | 10 |  | 42082 | 42082 | 42082 | 42082 | NaN |  |  | 2558.5600020063098 | 2558.5600020063098 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 125 | V1 | TNF-RI | D03 | 1 | 10 |  | 305229 | 305229 | 305229 | 305229 | NaN |  |  | 19689.894638459002 | 19689.894638459002 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 125 | V2 | TNF-RI | E03 | 1 | 10 |  | 340661 | 340661 | 340661 | 340661 | NaN |  |  | 22129.220809407499 | 22129.220809407499 | NaN | Above Fit Curve Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 126 | V2 | TNF-RI | F03 | 1 | 10 |  | 306989 | 306989 | 306989 | 306989 | NaN |  |  | 19810.3075041435 | 19810.3075041435 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 127 | V2 | TNF-RI | G03 | 1 | 10 |  | 125518 | 125518 | 125518 | 125518 | NaN |  |  | 7802.0847691830604 | 7802.0847691830604 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 129 | V1 | TNF-RI | H03 | 1 | 10 |  | 17591 | 17591 | 17591 | 17591 | NaN |  |  | 1057.16198082752 | 1057.16198082752 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 129 | V2 | TNF-RI | B04 | 1 | 10 |  | 18213 | 18213 | 18213 | 18213 | NaN |  |  | 1095.02128358398 | 1095.02128358398 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 130 | V1 | TNF-RI | C04 | 1 | 10 |  | 16760 | 16760 | 16760 | 16760 | NaN |  |  | 1006.6075161712 | 1006.6075161712 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 130 | V2 | TNF-RI | D04 | 1 | 10 |  | 25977 | 25977 | 25977 | 25977 | NaN |  |  | 1568.8942585437201 | 1568.8942585437201 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 132 | V2 | TNF-RI | E04 | 1 | 10 |  | 14640 | 14640 | 14640 | 14640 | NaN |  |  | 877.77601479889597 | 877.77601479889597 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 133 | V1 | TNF-RI | F04 | 1 | 10 |  | 9946 | 9946 | 9946 | 9946 | NaN |  |  | 593.31616838807201 | 593.31616838807201 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 134 | V2 | TNF-RI | G04 | 1 | 10 |  | 10931 | 10931 | 10931 | 10931 | NaN |  |  | 652.90895005730897 | 652.90895005730897 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 135 | V1 | TNF-RI | H04 | 1 | 10 |  | 23538 | 23538 | 23538 | 23538 | NaN |  |  | 1419.7824248608599 | 1419.7824248608599 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 135 | V2 | TNF-RI | A05 | 1 | 10 |  | 33804 | 33804 | 33804 | 33804 | NaN |  |  | 2048.81627500373 | 2048.81627500373 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 136 | V1 | TNF-RI | B05 | 1 | 10 |  | 15679 | 15679 | 15679 | 15679 | NaN |  |  | 940.88989903643903 | 940.88989903643903 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 136 | V2 | TNF-RI | C05 | 1 | 10 |  | 16205 | 16205 | 16205 | 16205 | NaN |  |  | 972.86064235908395 | 972.86064235908395 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 137 | V1 | TNF-RI | D05 | 1 | 10 |  | 42481 | 42481 | 42481 | 42481 | NaN |  |  | 2583.1831336856699 | 2583.1831336856699 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 138 | V1 | TNF-RI | E05 | 1 | 10 |  | 53714 | 53714 | 53714 | 53714 | NaN |  |  | 3278.3238486195701 | 3278.3238486195701 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 138 | V2 | TNF-RI | F05 | 1 | 10 |  | 23760 | 23760 | 23760 | 23760 | NaN |  |  | 1433.34565084371 | 1433.34565084371 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 139 | V1 | TNF-RI | G05 | 1 | 10 |  | 60277 | 60277 | 60277 | 60277 | NaN |  |  | 3686.1376594609101 | 3686.1376594609101 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 139 | V2 | TNF-RI | H05 | 1 | 10 |  | 53006 | 53006 | 53006 | 53006 | NaN |  |  | 3234.4023352723402 | 3234.4023352723402 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 140 | V1 | TNF-RI | A06 | 1 | 10 |  | 50109 | 50109 | 50109 | 50109 | NaN |  |  | 3054.8330320652599 | 3054.8330320652599 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 140 | V2 | TNF-RI | B06 | 1 | 10 |  | 51440 | 51440 | 51440 | 51440 | NaN |  |  | 3137.3046347835202 | 3137.3046347835202 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 312 | V1 | TNF-RI | C06 | 1 | 10 |  | 27893 | 27893 | 27893 | 27893 | NaN |  |  | 1686.18197722625 | 1686.18197722625 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 313 | V1 | TNF-RI | D06 | 1 | 10 |  | 83353 | 83353 | 83353 | 83353 | NaN |  |  | 5129.34708768171 | 5129.34708768171 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 313 | V2 | TNF-RI | E06 | 1 | 10 |  | 55854 | 55854 | 55854 | 55854 | NaN |  |  | 3411.1672245536101 | 3411.1672245536101 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 314 | V1 | TNF-RI | F06 | 1 | 10 |  | 28749 | 28749 | 28749 | 28749 | NaN |  |  | 1738.6235098765601 | 1738.6235098765601 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 315 | V1 | TNF-RI | G06 | 1 | 10 |  | 140070 | 140070 | 140070 | 140070 | NaN |  |  | 8734.8912995544106 | 8734.8912995544106 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 315 | V2 | TNF-RI | H06 | 1 | 10 |  | 98603 | 98603 | 98603 | 98603 | NaN |  |  | 6090.7822405422803 | 6090.7822405422803 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 317 | V2 | TNF-RI | A07 | 1 | 10 |  | 24807 | 24807 | 24807 | 24807 | NaN |  |  | 1497.3374063501799 | 1497.3374063501799 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 318 | V1 | TNF-RI | B07 | 1 | 10 |  | 22223 | 22223 | 22223 | 22223 | NaN |  |  | 1339.47980040063 | 1339.47980040063 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 319 | V2 | TNF-RI | C07 | 1 | 10 |  | 21112 | 21112 | 21112 | 21112 | NaN |  |  | 1271.68648870126 | 1271.68648870126 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 321 | V1 | TNF-RI | D07 | 1 | 10 |  | 45637 | 45637 | 45637 | 45637 | NaN |  |  | 2778.11481631989 | 2778.11481631989 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 322 | V1 | TNF-RI | E07 | 1 | 10 |  | 17094 | 17094 | 17094 | 17094 | NaN |  |  | 1026.9230176603401 | 1026.9230176603401 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 322 | V2 | TNF-RI | F07 | 1 | 10 |  | 21136 | 21136 | 21136 | 21136 | NaN |  |  | 1273.15046166515 | 1273.15046166515 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 323 | V1 | TNF-RI | G07 | 1 | 10 |  | 36394 | 36394 | 36394 | 36394 | NaN |  |  | 2208.0723504797902 | 2208.0723504797902 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 323 | V2 | TNF-RI | H07 | 1 | 10 |  | 27322 | 27322 | 27322 | 27322 | NaN |  |  | 1651.21472308435 | 1651.21472308435 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 324 | V1 | TNF-RI | A08 | 1 | 10 |  | 45752 | 45752 | 45752 | 45752 | NaN |  |  | 2785.2234374296299 | 2785.2234374296299 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 324 | V2 | TNF-RI | B08 | 1 | 10 |  | 34588 | 34588 | 34588 | 34588 | NaN |  |  | 2097.0007917521598 | 2097.0007917521598 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 325 | V1 | TNF-RI | C08 | 1 | 10 |  | 65293 | 65293 | 65293 | 65293 | NaN |  |  | 3998.6279391467301 | 3998.6279391467301 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 325 | V2 | TNF-RI | D08 | 1 | 10 |  | 40804 | 40804 | 40804 | 40804 | NaN |  |  | 2479.7244221124502 | 2479.7244221124502 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 326 | V1 | TNF-RI | E08 | 1 | 10 |  | 18655 | 18655 | 18655 | 18655 | NaN |  |  | 1121.9344807155601 | 1121.9344807155601 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 326 | V2 | TNF-RI | F08 | 1 | 10 |  | 16941 | 16941 | 16941 | 16941 | NaN |  |  | 1017.61620669151 | 1017.61620669151 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 327 | V1 | TNF-RI | G08 | 1 | 10 |  | 32326 | 32326 | 32326 | 32326 | NaN |  |  | 1958.03302872266 | 1958.03302872266 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 328 | V1 | TNF-RI | H08 | 1 | 10 |  | 18097 | 18097 | 18097 | 18097 | NaN |  |  | 1087.9594562883599 | 1087.9594562883599 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 329 | V2 | TNF-RI | A09 | 1 | 10 |  | 119269 | 119269 | 119269 | 119269 | NaN |  |  | 7403.1365095859901 | 7403.1365095859901 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 513 | V1 | TNF-RI | B09 | 1 | 10 |  | 16536 | 16536 | 16536 | 16536 | NaN |  |  | 992.98550545382898 | 992.98550545382898 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 513 | V2 | TNF-RI | C09 | 1 | 10 |  | 17930 | 17930 | 17930 | 17930 | NaN |  |  | 1077.79386327422 | 1077.79386327422 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 514 | V1 | TNF-RI | D09 | 1 | 10 |  | 195841 | 195841 | 195841 | 195841 | NaN |  |  | 12358.495750832 | 12358.495750832 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 514 | V2 | TNF-RI | E09 | 1 | 10 |  | 144891 | 144891 | 144891 | 144891 | NaN |  |  | 9045.0867475845098 | 9045.0867475845098 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 515 | V1 | TNF-RI | F09 | 1 | 10 |  | 52112 | 52112 | 52112 | 52112 | NaN |  |  | 3178.9625013055902 | 3178.9625013055902 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 515 | V2 | TNF-RI | G09 | 1 | 10 |  | 30770 | 30770 | 30770 | 30770 | NaN |  |  | 1862.53666931313 | 1862.53666931313 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 516 | V1 | TNF-RI | H09 | 1 | 10 |  | 50587 | 50587 | 50587 | 50587 | NaN |  |  | 3084.4450687168701 | 3084.4450687168701 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 517 | V1 | TNF-RI | A10 | 1 | 10 |  | 14036 | 14036 | 14036 | 14036 | NaN |  |  | 841.10960706405206 | 841.10960706405206 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 518 | V1 | TNF-RI | B10 | 1 | 10 |  | 45793 | 45793 | 45793 | 45793 | NaN |  |  | 2787.7579099099098 | 2787.7579099099098 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 518 | V2 | TNF-RI | C10 | 1 | 10 |  | 28352 | 28352 | 28352 | 28352 | NaN |  |  | 1714.2987533924299 | 1714.2987533924299 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 519 | V1 | TNF-RI | D10 | 1 | 10 |  | 18113 | 18113 | 18113 | 18113 | NaN |  |  | 1088.9334675288501 | 1088.9334675288501 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 519 | V2 | TNF-RI | E10 | 1 | 10 |  | 16505 | 16505 | 16505 | 16505 | NaN |  |  | 991.10049190766097 | 991.10049190766097 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 520 | V1 | TNF-RI | F10 | 1 | 10 |  | 34248 | 34248 | 34248 | 34248 | NaN |  |  | 2076.1020049968502 | 2076.1020049968502 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 520 | V2 | TNF-RI | G10 | 1 | 10 |  | 39486 | 39486 | 39486 | 39486 | NaN |  |  | 2398.4736307788498 | 2398.4736307788498 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 521 | V1 | TNF-RI | H10 | 1 | 10 |  | 81288 | 81288 | 81288 | 81288 | NaN |  |  | 4999.62266862462 | 4999.62266862462 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 522 | V1 | TNF-RI | A11 | 1 | 10 |  | 193907 | 193907 | 193907 | 193907 | NaN |  |  | 12231.551692373099 | 12231.551692373099 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 522 | V2 | TNF-RI | B11 | 1 | 10 |  | 133663 | 133663 | 133663 | 133663 | NaN |  |  | 8323.5423509418797 | 8323.5423509418797 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 573 | V1 | TNF-RI | C11 | 1 | 10 |  | 34011 | 34011 | 34011 | 34011 | NaN |  |  | 2061.5365302370401 | 2061.5365302370401 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 574 | V1 | TNF-RI | D11 | 1 | 10 |  | 22278 | 22278 | 22278 | 22278 | NaN |  |  | 1342.8371460908299 | 1342.8371460908299 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 574 | V2 | TNF-RI | E11 | 1 | 10 |  | 17867 | 17867 | 17867 | 17867 | NaN |  |  | 1073.95924754098 | 1073.95924754098 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 575 | V1 | TNF-RI | F11 | 1 | 10 |  | 23081 | 23081 | 23081 | 23081 | NaN |  |  | 1391.8675480263901 | 1391.8675480263901 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 575 | V2 | TNF-RI | G11 | 1 | 10 |  | 26323 | 26323 | 26323 | 26323 | NaN |  |  | 1590.0649723020899 | 1590.0649723020899 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 576 | V1 | TNF-RI | A12 | 1 | 10 |  | 24471 | 24471 | 24471 | 24471 | NaN |  |  | 1476.7969629326501 | 1476.7969629326501 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | 576 | V2 | TNF-RI | B12 | 1 | 10 |  | 24611 | 24611 | 24611 | 24611 | NaN |  |  | 1485.35497733394 | 1485.35497733394 | NaN | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | BLANK |  | TNF-RI | E12 | 1 |  |  | 65 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | BLANK |  | TNF-RI | F12 | 1 |  |  | 61 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | BLANK |  | TNF-RI | G12 | 1 |  |  | 66 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | BLANK |  | TNF-RI | D12 | 1 |  |  | 62 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | BLANK |  | TNF-RI | C12 | 1 |  |  | 60 | 63 |  |  | 4.1217130909378303 | [5 empty] | Unknown Range
Plate_23M14A0902_Set8 | QC |  | TNF-RI | H11 | 1 | 10 |  | 55192 | 55304 | 55192 | 55303.5 | 0.28512627990018702 |  |  | 3370.05888033267 | 3376.9820288082801 | 0.28992782268328698 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | QC |  | TNF-RI | A03 | 1 | 10 |  | 57726 | 57519 | 57726 | 57519 | 0.50894870809859405 |  |  | 3527.4797358586302 | 3514.6140334871002 | 0.51769129155882998 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | QC |  | TNF-RI | A04 | 1 | 10 |  | 57312 | 57519 | 57312 | 57519 | 0.50894870809859405 |  |  | 3501.7483311155802 | 3514.6140334871002 | 0.51769129155882998 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | QC |  | TNF-RI | H12 | 1 | 10 |  | 55415 | 55304 | 55415 | 55303.5 | 0.28512627990018702 |  |  | 3383.9051772838902 | 3376.9820288082801 | 0.28992782268328698 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 318202 | 309284 | 318202 | 309283.5 | 4.0780266829703002 | 102.8965 | 99.842085345173004 | 2057.9308443973 | 1996.8417069034599 | 4.3264864940869199 | Above Fit Curve Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 300365 | 309284 | 300365 | 309283.5 | 4.0780266829703002 | 96.7876 | 99.842085345173004 | 1935.75256940961 | 1996.8417069034599 | 4.3264864940869199 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 83137 | 81976 | 83137 | 81975.5 | 2.0037804620848298 | 102.3155 | 100.85634109991901 | 511.577263258588 | 504.28170549959799 | 2.0459748222706402 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 80814 | 81976 | 80814 | 81975.5 | 2.0037804620848298 | 99.3972 | 100.85634109991901 | 496.986147740609 | 504.28170549959799 | 2.0459748222706402 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 20152 | 20521 | 20152 | 20521 | 2.5429794089745701 | 97.0517 | 98.851684031328105 | 121.31462860358501 | 123.56460503916 | 2.5751283623667498 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 20890 | 20521 | 20890 | 20521 | 2.5429794089745701 | 100.6517 | 98.851684031328105 | 125.81458147473499 | 123.56460503916 | 2.5751283623667498 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 5293 | 5339 | 5293 | 5339 | 1.2184645789316699 | 100.0594 | 100.94453629504299 | 31.268567529590999 | 31.545167592200901 | 1.24003639781856 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 5385 | 5339 | 5385 | 5339 | 1.2184645789316699 | 101.8297 | 100.94453629504299 | 31.821767654810799 | 31.545167592200901 | 1.24003639781856 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1442 | 1382 | 1442 | 1382 | 6.13985627658362 | 105.0608 | 100.49056259832901 | 8.2078769256923092 | 7.8508252029944501 | 6.4317746944027601 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1322 | 1382 | 1322 | 1382 | 6.13985627658362 | 95.9203 | 100.49056259832901 | 7.4937734802965901 | 7.8508252029944501 | 6.4317746944027601 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 387 | 378 | 387 | 378 | 3.3671751485073602 | 99.915 | 97.199089391775104 | 1.9514656312505301 | 1.8984197146830999 | 3.9516158654454201 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 369 | 378 | 369 | 378 | 3.3671751485073602 | 94.4831 | 97.199089391775104 | 1.8453737981156799 | 1.8984197146830999 | 3.9516158654454201 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 144 | 141 | 144 | 141 | 3.0089650263257299 | 107.2859 | 103.696063129769 | 0.52385704806267996 | 0.50632843325082599 | 4.8958745289853001 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 138 | 141 | 138 | 141 | 3.0089650263257299 | 100.1062 | 103.696063129769 | 0.48879981843897202 | 0.50632843325082599 | 4.8958745289853001 | In Detection Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 52 | 54 | 52 | 53.5 | 3.96508475431708 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.21647
Plate_23M14A0902_Set8 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 55 | 54 | 55 | 53.5 | 3.96508475431708 |  | NaN | 6.9309728674374496E-3 | NaN | NaN | Below Detection Range | 2000 | 0.21647

## WideData
Sample | TNF-RI_V1 | TNF-RI_V2 | Sample | n | TNF-RI | Sample | TNF-RI
123 | 3035.5701620794798 |  | STD1 | 2 | 1996.8417069034599 | QC | 3445.798
124 |  | 2558.5600020063098 | STD2 | 2 | 504.28170549959799
125 | 19689.894638459002 | 22129.220809407499 | STD3 | 2 | 123.56460503916
126 |  | 19810.3075041435 | STD4 | 2 | 31.545167592200901
127 |  | 7802.0847691830604 | STD5 | 2 | 7.8508252029944501
129 | 1057.16198082752 | 1095.02128358398 | STD6 | 2 | 1.8984197146830999
130 | 1006.6075161712 | 1568.8942585437201 | STD7 | 2 | 0.50632843325082599
132 |  | 877.77601479889597 | STD8 | 2 | NaN
133 | 593.31616838807201
134 |  | 652.90895005730897
135 | 1419.7824248608599 | 2048.81627500373
136 | 940.88989903643903 | 972.86064235908395
137 | 2583.1831336856699
138 | 3278.3238486195701 | 1433.34565084371
139 | 3686.1376594609101 | 3234.4023352723402
140 | 3054.8330320652599 | 3137.3046347835202
312 | 1686.18197722625
313 | 5129.34708768171 | 3411.1672245536101
314 | 1738.6235098765601
315 | 8734.8912995544106 | 6090.7822405422803
317 |  | 1497.3374063501799
318 | 1339.47980040063
319 |  | 1271.68648870126
321 | 2778.11481631989
322 | 1026.9230176603401 | 1273.15046166515
323 | 2208.0723504797902 | 1651.21472308435
324 | 2785.2234374296299 | 2097.0007917521598
325 | 3998.6279391467301 | 2479.7244221124502
326 | 1121.9344807155601 | 1017.61620669151
327 | 1958.03302872266
328 | 1087.9594562883599
329 |  | 7403.1365095859901
513 | 992.98550545382898 | 1077.79386327422
514 | 12358.495750832 | 9045.0867475845098
515 | 3178.9625013055902 | 1862.53666931313
516 | 3084.4450687168701
517 | 841.10960706405206
518 | 2787.7579099099098 | 1714.2987533924299
519 | 1088.9334675288501 | 991.10049190766097
520 | 2076.1020049968502 | 2398.4736307788498
521 | 4999.62266862462
522 | 12231.551692373099 | 8323.5423509418797
573 | 2061.5365302370401
574 | 1342.8371460908299 | 1073.95924754098
575 | 1391.8675480263901 | 1590.0649723020899
576 | 1476.7969629326501 | 1485.35497733394

## WideSampleData
Sample | TNF-RI_V1 | TNF-RI_V2
123 | 3035.5701620794798
124 |  | 2558.5600020063098
125 | 19689.894638459002 | 22129.220809407499
126 |  | 19810.3075041435
127 |  | 7802.0847691830604
129 | 1057.16198082752 | 1095.02128358398
130 | 1006.6075161712 | 1568.8942585437201
132 |  | 877.77601479889597
133 | 593.31616838807201
134 |  | 652.90895005730897
135 | 1419.7824248608599 | 2048.81627500373
136 | 940.88989903643903 | 972.86064235908395
137 | 2583.1831336856699
138 | 3278.3238486195701 | 1433.34565084371
139 | 3686.1376594609101 | 3234.4023352723402
140 | 3054.8330320652599 | 3137.3046347835202
312 | 1686.18197722625
313 | 5129.34708768171 | 3411.1672245536101
314 | 1738.6235098765601
315 | 8734.8912995544106 | 6090.7822405422803
317 |  | 1497.3374063501799
318 | 1339.47980040063
319 |  | 1271.68648870126
321 | 2778.11481631989
322 | 1026.9230176603401 | 1273.15046166515
323 | 2208.0723504797902 | 1651.21472308435
324 | 2785.2234374296299 | 2097.0007917521598
325 | 3998.6279391467301 | 2479.7244221124502
326 | 1121.9344807155601 | 1017.61620669151
327 | 1958.03302872266
328 | 1087.9594562883599
329 |  | 7403.1365095859901
513 | 992.98550545382898 | 1077.79386327422
514 | 12358.495750832 | 9045.0867475845098
515 | 3178.9625013055902 | 1862.53666931313
516 | 3084.4450687168701
517 | 841.10960706405206
518 | 2787.7579099099098 | 1714.2987533924299
519 | 1088.9334675288501 | 991.10049190766097
520 | 2076.1020049968502 | 2398.4736307788498
521 | 4999.62266862462
522 | 12231.551692373099 | 8323.5423509418797
573 | 2061.5365302370401
574 | 1342.8371460908299 | 1073.95924754098
575 | 1391.8675480263901 | 1590.0649723020899
576 | 1476.7969629326501 | 1485.35497733394

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | Above Fit Curve Range | In Detection Range
123 | V1 | B03 | 49798 | TNF-RI | 3035.5701620794798 | In Detection Range | STD1 | A01 | 318202 | TNF-RI | 2057.9308443973 | Above Fit Curve Range | QC | H11 | 55192 | TNF-RI | 3370.05888033267 | In Detection Range | 1 | 70
124 | V2 | C03 | 42082 | TNF-RI | 2558.5600020063098 | In Detection Range | STD1 | A02 | 300365 | TNF-RI | 1935.75256940961 | In Detection Range | QC | A03 | 57726 | TNF-RI | 3527.4797358586302 | In Detection Range
125 | V1 | D03 | 305229 | TNF-RI | 19689.894638459002 | In Detection Range | STD2 | B01 | 83137 | TNF-RI | 511.577263258588 | In Detection Range | QC | A04 | 57312 | TNF-RI | 3501.7483311155802 | In Detection Range
125 | V2 | E03 | 340661 | TNF-RI | 22129.220809407499 | Above Fit Curve Range | STD2 | B02 | 80814 | TNF-RI | 496.986147740609 | In Detection Range | QC | H12 | 55415 | TNF-RI | 3383.9051772838902 | In Detection Range
126 | V2 | F03 | 306989 | TNF-RI | 19810.3075041435 | In Detection Range | STD3 | C02 | 20152 | TNF-RI | 121.31462860358501 | In Detection Range
127 | V2 | G03 | 125518 | TNF-RI | 7802.0847691830604 | In Detection Range | STD3 | C01 | 20890 | TNF-RI | 125.81458147473499 | In Detection Range
129 | V1 | H03 | 17591 | TNF-RI | 1057.16198082752 | In Detection Range | STD4 | D02 | 5293 | TNF-RI | 31.268567529590999 | In Detection Range
129 | V2 | B04 | 18213 | TNF-RI | 1095.02128358398 | In Detection Range | STD4 | D01 | 5385 | TNF-RI | 31.821767654810799 | In Detection Range
130 | V1 | C04 | 16760 | TNF-RI | 1006.6075161712 | In Detection Range | STD5 | E01 | 1442 | TNF-RI | 8.2078769256923092 | In Detection Range
130 | V2 | D04 | 25977 | TNF-RI | 1568.8942585437201 | In Detection Range | STD5 | E02 | 1322 | TNF-RI | 7.4937734802965901 | In Detection Range
132 | V2 | E04 | 14640 | TNF-RI | 877.77601479889597 | In Detection Range | STD6 | F01 | 387 | TNF-RI | 1.9514656312505301 | In Detection Range
133 | V1 | F04 | 9946 | TNF-RI | 593.31616838807201 | In Detection Range | STD6 | F02 | 369 | TNF-RI | 1.8453737981156799 | In Detection Range
134 | V2 | G04 | 10931 | TNF-RI | 652.90895005730897 | In Detection Range | STD7 | G01 | 144 | TNF-RI | 0.52385704806267996 | In Detection Range
135 | V1 | H04 | 23538 | TNF-RI | 1419.7824248608599 | In Detection Range | STD7 | G02 | 138 | TNF-RI | 0.48879981843897202 | In Detection Range
135 | V2 | A05 | 33804 | TNF-RI | 2048.81627500373 | In Detection Range | STD8 | H02 | 52 | TNF-RI | NaN | Below Fit Curve Range
136 | V1 | B05 | 15679 | TNF-RI | 940.88989903643903 | In Detection Range | STD8 | H01 | 55 | TNF-RI | 6.9309728674374496E-3 | Below Detection Range
136 | V2 | C05 | 16205 | TNF-RI | 972.86064235908395 | In Detection Range
137 | V1 | D05 | 42481 | TNF-RI | 2583.1831336856699 | In Detection Range
138 | V1 | E05 | 53714 | TNF-RI | 3278.3238486195701 | In Detection Range
138 | V2 | F05 | 23760 | TNF-RI | 1433.34565084371 | In Detection Range
139 | V1 | G05 | 60277 | TNF-RI | 3686.1376594609101 | In Detection Range
139 | V2 | H05 | 53006 | TNF-RI | 3234.4023352723402 | In Detection Range
140 | V1 | A06 | 50109 | TNF-RI | 3054.8330320652599 | In Detection Range
140 | V2 | B06 | 51440 | TNF-RI | 3137.3046347835202 | In Detection Range
312 | V1 | C06 | 27893 | TNF-RI | 1686.18197722625 | In Detection Range
313 | V1 | D06 | 83353 | TNF-RI | 5129.34708768171 | In Detection Range
313 | V2 | E06 | 55854 | TNF-RI | 3411.1672245536101 | In Detection Range
314 | V1 | F06 | 28749 | TNF-RI | 1738.6235098765601 | In Detection Range
315 | V1 | G06 | 140070 | TNF-RI | 8734.8912995544106 | In Detection Range
315 | V2 | H06 | 98603 | TNF-RI | 6090.7822405422803 | In Detection Range
317 | V2 | A07 | 24807 | TNF-RI | 1497.3374063501799 | In Detection Range
318 | V1 | B07 | 22223 | TNF-RI | 1339.47980040063 | In Detection Range
319 | V2 | C07 | 21112 | TNF-RI | 1271.68648870126 | In Detection Range
321 | V1 | D07 | 45637 | TNF-RI | 2778.11481631989 | In Detection Range
322 | V1 | E07 | 17094 | TNF-RI | 1026.9230176603401 | In Detection Range
322 | V2 | F07 | 21136 | TNF-RI | 1273.15046166515 | In Detection Range
323 | V1 | G07 | 36394 | TNF-RI | 2208.0723504797902 | In Detection Range
323 | V2 | H07 | 27322 | TNF-RI | 1651.21472308435 | In Detection Range
324 | V1 | A08 | 45752 | TNF-RI | 2785.2234374296299 | In Detection Range
324 | V2 | B08 | 34588 | TNF-RI | 2097.0007917521598 | In Detection Range
325 | V1 | C08 | 65293 | TNF-RI | 3998.6279391467301 | In Detection Range
325 | V2 | D08 | 40804 | TNF-RI | 2479.7244221124502 | In Detection Range
326 | V1 | E08 | 18655 | TNF-RI | 1121.9344807155601 | In Detection Range
326 | V2 | F08 | 16941 | TNF-RI | 1017.61620669151 | In Detection Range
327 | V1 | G08 | 32326 | TNF-RI | 1958.03302872266 | In Detection Range
328 | V1 | H08 | 18097 | TNF-RI | 1087.9594562883599 | In Detection Range
329 | V2 | A09 | 119269 | TNF-RI | 7403.1365095859901 | In Detection Range
513 | V1 | B09 | 16536 | TNF-RI | 992.98550545382898 | In Detection Range
513 | V2 | C09 | 17930 | TNF-RI | 1077.79386327422 | In Detection Range
514 | V1 | D09 | 195841 | TNF-RI | 12358.495750832 | In Detection Range
514 | V2 | E09 | 144891 | TNF-RI | 9045.0867475845098 | In Detection Range
515 | V1 | F09 | 52112 | TNF-RI | 3178.9625013055902 | In Detection Range
515 | V2 | G09 | 30770 | TNF-RI | 1862.53666931313 | In Detection Range
516 | V1 | H09 | 50587 | TNF-RI | 3084.4450687168701 | In Detection Range
517 | V1 | A10 | 14036 | TNF-RI | 841.10960706405206 | In Detection Range
518 | V1 | B10 | 45793 | TNF-RI | 2787.7579099099098 | In Detection Range
518 | V2 | C10 | 28352 | TNF-RI | 1714.2987533924299 | In Detection Range
519 | V1 | D10 | 18113 | TNF-RI | 1088.9334675288501 | In Detection Range
519 | V2 | E10 | 16505 | TNF-RI | 991.10049190766097 | In Detection Range
520 | V1 | F10 | 34248 | TNF-RI | 2076.1020049968502 | In Detection Range
520 | V2 | G10 | 39486 | TNF-RI | 2398.4736307788498 | In Detection Range
521 | V1 | H10 | 81288 | TNF-RI | 4999.62266862462 | In Detection Range
522 | V1 | A11 | 193907 | TNF-RI | 12231.551692373099 | In Detection Range
522 | V2 | B11 | 133663 | TNF-RI | 8323.5423509418797 | In Detection Range
573 | V1 | C11 | 34011 | TNF-RI | 2061.5365302370401 | In Detection Range
574 | V1 | D11 | 22278 | TNF-RI | 1342.8371460908299 | In Detection Range
574 | V2 | E11 | 17867 | TNF-RI | 1073.95924754098 | In Detection Range
575 | V1 | F11 | 23081 | TNF-RI | 1391.8675480263901 | In Detection Range
575 | V2 | G11 | 26323 | TNF-RI | 1590.0649723020899 | In Detection Range
576 | V1 | A12 | 24471 | TNF-RI | 1476.7969629326501 | In Detection Range
576 | V2 | B12 | 24611 | TNF-RI | 1485.35497733394 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
123 | V1 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 4.3264864940869199 | 2 | QC | TNF-RI | 0.40381 | 4
124 | V2 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 2.0459748222706402 | 2
125 | V1 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 2.5751283623667498 | 2
125 | V2 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 1.24003639781856 | 2
126 | V2 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 6.4317746944027601 | 2
127 | V2 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 3.9516158654454201 | 2
129 | V1 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 4.8958745289853001 | 2
129 | V2 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
130 | V1 | TNF-RI | NaN | 1
130 | V2 | TNF-RI | NaN | 1
132 | V2 | TNF-RI | NaN | 1
133 | V1 | TNF-RI | NaN | 1
134 | V2 | TNF-RI | NaN | 1
135 | V1 | TNF-RI | NaN | 1
135 | V2 | TNF-RI | NaN | 1
136 | V1 | TNF-RI | NaN | 1
136 | V2 | TNF-RI | NaN | 1
137 | V1 | TNF-RI | NaN | 1
138 | V1 | TNF-RI | NaN | 1
138 | V2 | TNF-RI | NaN | 1
139 | V1 | TNF-RI | NaN | 1
139 | V2 | TNF-RI | NaN | 1
140 | V1 | TNF-RI | NaN | 1
140 | V2 | TNF-RI | NaN | 1
312 | V1 | TNF-RI | NaN | 1
313 | V1 | TNF-RI | NaN | 1
313 | V2 | TNF-RI | NaN | 1
314 | V1 | TNF-RI | NaN | 1
315 | V1 | TNF-RI | NaN | 1
315 | V2 | TNF-RI | NaN | 1
317 | V2 | TNF-RI | NaN | 1
318 | V1 | TNF-RI | NaN | 1
319 | V2 | TNF-RI | NaN | 1
321 | V1 | TNF-RI | NaN | 1
322 | V1 | TNF-RI | NaN | 1
322 | V2 | TNF-RI | NaN | 1
323 | V1 | TNF-RI | NaN | 1
323 | V2 | TNF-RI | NaN | 1
324 | V1 | TNF-RI | NaN | 1
324 | V2 | TNF-RI | NaN | 1
325 | V1 | TNF-RI | NaN | 1
325 | V2 | TNF-RI | NaN | 1
326 | V1 | TNF-RI | NaN | 1
326 | V2 | TNF-RI | NaN | 1
327 | V1 | TNF-RI | NaN | 1
328 | V1 | TNF-RI | NaN | 1
329 | V2 | TNF-RI | NaN | 1
513 | V1 | TNF-RI | NaN | 1
513 | V2 | TNF-RI | NaN | 1
514 | V1 | TNF-RI | NaN | 1
514 | V2 | TNF-RI | NaN | 1
515 | V1 | TNF-RI | NaN | 1
515 | V2 | TNF-RI | NaN | 1
516 | V1 | TNF-RI | NaN | 1
517 | V1 | TNF-RI | NaN | 1
518 | V1 | TNF-RI | NaN | 1
518 | V2 | TNF-RI | NaN | 1
519 | V1 | TNF-RI | NaN | 1
519 | V2 | TNF-RI | NaN | 1
520 | V1 | TNF-RI | NaN | 1
520 | V2 | TNF-RI | NaN | 1
521 | V1 | TNF-RI | NaN | 1
522 | V1 | TNF-RI | NaN | 1
522 | V2 | TNF-RI | NaN | 1
573 | V1 | TNF-RI | NaN | 1
574 | V1 | TNF-RI | NaN | 1
574 | V2 | TNF-RI | NaN | 1
575 | V1 | TNF-RI | NaN | 1
575 | V2 | TNF-RI | NaN | 1
576 | V1 | TNF-RI | NaN | 1
576 | V2 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].