## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14A6E80_Set7 | 106_V2 | TNF-RI | B03 | 1 | 10 |  | 24573 | 24573 | 24573 | 24573 | NaN |  |  | 1320.8634948419301 | 1320.8634948419301 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 107_V1 | TNF-RI | C03 | 1 | 10 |  | 42993 | 42993 | 42993 | 42993 | NaN |  |  | 2290.4075022054399 | 2290.4075022054399 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 107_V2 | TNF-RI | D03 | 1 | 10 |  | 37329 | 37329 | 37329 | 37329 | NaN |  |  | 1992.7387192994199 | 1992.7387192994199 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 109_V1 | TNF-RI | E03 | 1 | 10 |  | 76692 | 76692 | 76692 | 76692 | NaN |  |  | 4061.6789405506502 | 4061.6789405506502 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 110_V1 | TNF-RI | F03 | 1 | 10 |  | 45132 | 45132 | 45132 | 45132 | NaN |  |  | 2402.77413590675 | 2402.77413590675 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 110_V2 | TNF-RI | G03 | 1 | 10 |  | 48286 | 48286 | 48286 | 48286 | NaN |  |  | 2568.43619901993 | 2568.43619901993 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 111_V1 | TNF-RI | H03 | 1 | 10 |  | 99800 | 99800 | 99800 | 99800 | NaN |  |  | 5281.6506712057599 | 5281.6506712057599 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 111_V2 | TNF-RI | B04 | 1 | 10 |  | 59052 | 59052 | 59052 | 59052 | NaN |  |  | 3133.9273052856702 | 3133.9273052856702 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 112_V1 | TNF-RI | C04 | 1 | 10 |  | 39862 | 39862 | 39862 | 39862 | NaN |  |  | 2125.88756333826 | 2125.88756333826 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 112_V2 | TNF-RI | D04 | 1 | 10 |  | 38442 | 38442 | 38442 | 38442 | NaN |  |  | 2051.2510037543402 | 2051.2510037543402 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 113_V1 | TNF-RI | E04 | 1 | 10 |  | 35747 | 35747 | 35747 | 35747 | NaN |  |  | 1909.5494158798399 | 1909.5494158798399 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 113_V2 | TNF-RI | F04 | 1 | 10 |  | 31552 | 31552 | 31552 | 31552 | NaN |  |  | 1688.80659947304 | 1688.80659947304 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 114_V1 | TNF-RI | G04 | 1 | 10 |  | 64389 | 64389 | 64389 | 64389 | NaN |  |  | 3414.39702294265 | 3414.39702294265 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 115_V1 | TNF-RI | H04 | 1 | 10 |  | 90026 | 90026 | 90026 | 90026 | NaN |  |  | 4764.84703538351 | 4764.84703538351 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 115_V2 | TNF-RI | A05 | 1 | 10 |  | 89823 | 89823 | 89823 | 89823 | NaN |  |  | 4754.1264651193096 | 4754.1264651193096 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 116_V1 | TNF-RI | B05 | 1 | 10 |  | 64571 | 64571 | 64571 | 64571 | NaN |  |  | 3423.96422163036 | 3423.96422163036 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 116_V2 | TNF-RI | C05 | 1 | 10 |  | 35909 | 35909 | 35909 | 35909 | NaN |  |  | 1918.06939601727 | 1918.06939601727 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 117_V1 | TNF-RI | D05 | 1 | 10 |  | 73767 | 73767 | 73767 | 73767 | NaN |  |  | 3907.6762717342299 | 3907.6762717342299 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 117_V2 | TNF-RI | E05 | 1 | 10 |  | 30229 | 30229 | 30229 | 30229 | NaN |  |  | 1619.1341590667901 | 1619.1341590667901 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 118_V2 | TNF-RI | F05 | 1 | 10 |  | 64808 | 64808 | 64808 | 64808 | NaN |  |  | 3436.4229117459899 | 3436.4229117459899 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 119_V1 | TNF-RI | G05 | 1 | 10 |  | 77400 | 77400 | 77400 | 77400 | NaN |  |  | 4098.9676118752805 | 4098.9676118752805 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 120_V1 | TNF-RI | H05 | 1 | 10 |  | 49656 | 49656 | 49656 | 49656 | NaN |  |  | 2640.3898767298401 | 2640.3898767298401 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 120_V2 | TNF-RI | A06 | 1 | 10 |  | 26252 | 26252 | 26252 | 26252 | NaN |  |  | 1409.4861268406701 | 1409.4861268406701 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 122_V1 | TNF-RI | B06 | 1 | 10 |  | 449751 | 449751 | 449751 | 449751 | NaN |  |  | 25187.943483921001 | 25187.943483921001 | NaN | Above Fit Curve Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 289_V1 | TNF-RI | C06 | 1 | 10 |  | 94156 | 94156 | 94156 | 94156 | NaN |  |  | 4983.0683088830001 | 4983.0683088830001 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 289_V2 | TNF-RI | D06 | 1 | 10 |  | 59895 | 59895 | 59895 | 59895 | NaN |  |  | 3178.2193217756399 | 3178.2193217756399 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 291_V1 | TNF-RI | E06 | 1 | 10 |  | 239674 | 239674 | 239674 | 239674 | NaN |  |  | 12869.1593172756 | 12869.1593172756 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 292_V1 | TNF-RI | F06 | 1 | 10 |  | 189141 | 189141 | 189141 | 189141 | NaN |  |  | 10080.687301456799 | 10080.687301456799 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 292_V2 | TNF-RI | G06 | 1 | 10 |  | 322835 | 322835 | 322835 | 322835 | NaN |  |  | 17596.378626047801 | 17596.378626047801 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 293_V1 | TNF-RI | H06 | 1 | 10 |  | 48476 | 48476 | 48476 | 48476 | NaN |  |  | 2578.4152737198601 | 2578.4152737198601 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 293_V2 | TNF-RI | A07 | 1 | 10 |  | 33517 | 33517 | 33517 | 33517 | NaN |  |  | 1792.2360304676899 | 1792.2360304676899 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 294_V2 | TNF-RI | B07 | 1 | 10 |  | 38353 | 38353 | 38353 | 38353 | NaN |  |  | 2046.57253133722 | 2046.57253133722 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 297_V2 | TNF-RI | C07 | 1 | 10 |  | 21559 | 21559 | 21559 | 21559 | NaN |  |  | 1161.56197236137 | 1161.56197236137 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 298_V2 | TNF-RI | D07 | 1 | 10 |  | 25152 | 25152 | 25152 | 25152 | NaN |  |  | 1351.4335591659999 | 1351.4335591659999 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 299_V1 | TNF-RI | E07 | 1 | 10 |  | 37765 | 37765 | 37765 | 37765 | NaN |  |  | 2015.66132123386 | 2015.66132123386 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 299_V2 | TNF-RI | F07 | 1 | 10 |  | 33318 | 33318 | 33318 | 33318 | NaN |  |  | 1781.76409896833 | 1781.76409896833 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 301_V2 | TNF-RI | G07 | 1 | 10 |  | 107011 | 107011 | 107011 | 107011 | NaN |  |  | 5663.7845186671302 | 5663.7845186671302 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 302_V1 | TNF-RI | H07 | 1 | 10 |  | 40350 | 40350 | 40350 | 40350 | NaN |  |  | 2151.53379682887 | 2151.53379682887 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 303_V2 | TNF-RI | A08 | 1 | 10 |  | 337061 | 337061 | 337061 | 337061 | NaN |  |  | 18423.6807295037 | 18423.6807295037 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 304_V1 | TNF-RI | B08 | 1 | 10 |  | 89328 | 89328 | 89328 | 89328 | NaN |  |  | 4727.9873076231797 | 4727.9873076231797 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 306_V1 | TNF-RI | C08 | 1 | 10 |  | 99155 | 99155 | 99155 | 99155 | NaN |  |  | 5247.5064002994204 | 5247.5064002994204 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 306_V2 | TNF-RI | D08 | 1 | 10 |  | 64728 | 64728 | 64728 | 64728 | NaN |  |  | 3432.21740791004 | 3432.21740791004 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 308_V1 | TNF-RI | E08 | 1 | 10 |  | 37861 | 37861 | 37861 | 37861 | NaN |  |  | 2020.7082616605301 | 2020.7082616605301 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 308_V2 | TNF-RI | F08 | 1 | 10 |  | 33572 | 33572 | 33572 | 33572 | NaN |  |  | 1795.13018551499 | 1795.13018551499 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 309_V1 | TNF-RI | G08 | 1 | 10 |  | 33620 | 33620 | 33620 | 33620 | NaN |  |  | 1797.6559594031601 | 1797.6559594031601 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 310_V1 | TNF-RI | H08 | 1 | 10 |  | 116268 | 116268 | 116268 | 116268 | NaN |  |  | 6155.4948581746903 | 6155.4948581746903 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 310_V2 | TNF-RI | A09 | 1 | 10 |  | 111017 | 111017 | 111017 | 111017 | NaN |  |  | 5876.4097960423396 | 5876.4097960423396 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 311_V1 | TNF-RI | B09 | 1 | 10 |  | 82820 | 82820 | 82820 | 82820 | NaN |  |  | 4384.5946226282103 | 4384.5946226282103 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 311_V2 | TNF-RI | C09 | 1 | 10 |  | 71258 | 71258 | 71258 | 71258 | NaN |  |  | 3775.6369208941801 | 3775.6369208941801 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 497_V1 | TNF-RI | D09 | 1 | 10 |  | 152893 | 152893 | 152893 | 152893 | NaN |  |  | 8115.3096611833298 | 8115.3096611833298 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 497_V2 | TNF-RI | E09 | 1 | 10 |  | 161884 | 161884 | 161884 | 161884 | NaN |  |  | 8600.2775305817904 | 8600.2775305817904 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 498_V2 | TNF-RI | F09 | 1 | 10 |  | 40311 | 40311 | 40311 | 40311 | NaN |  |  | 2149.4842615746502 | 2149.4842615746502 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 499_V1 | TNF-RI | G09 | 1 | 10 |  | 30390 | 30390 | 30390 | 30390 | NaN |  |  | 1627.6144684190799 | 1627.6144684190799 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 499_V2 | TNF-RI | H09 | 1 | 10 |  | 26576 | 26576 | 26576 | 26576 | NaN |  |  | 1426.5792611581401 | 1426.5792611581401 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 500_V2 | TNF-RI | A10 | 1 | 10 |  | 28634 | 28634 | 28634 | 28634 | NaN |  |  | 1535.09433011753 | 1535.09433011753 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 501_V2 | TNF-RI | B10 | 1 | 10 |  | 39229 | 39229 | 39229 | 39229 | NaN |  |  | 2092.6184403929301 | 2092.6184403929301 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 502_V1 | TNF-RI | C10 | 1 | 10 |  | 62941 | 62941 | 62941 | 62941 | NaN |  |  | 3338.2869677199001 | 3338.2869677199001 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 502_V2 | TNF-RI | D10 | 1 | 10 |  | 61160 | 61160 | 61160 | 61160 | NaN |  |  | 3244.6896024349498 | 3244.6896024349498 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 503_V1 | TNF-RI | E10 | 1 | 10 |  | 35285 | 35285 | 35285 | 35285 | NaN |  |  | 1885.25005168241 | 1885.25005168241 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 503_V2 | TNF-RI | F10 | 1 | 10 |  | 28585 | 28585 | 28585 | 28585 | NaN |  |  | 1532.5117316978599 | 1532.5117316978599 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 504_V1 | TNF-RI | G10 | 1 | 10 |  | 67393 | 67393 | 67393 | 67393 | NaN |  |  | 3572.3356162909199 | 3572.3356162909199 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 504_V2 | TNF-RI | H10 | 1 | 10 |  | 42546 | 42546 | 42546 | 42546 | NaN |  |  | 2266.9230620223202 | 2266.9230620223202 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 505_V1 | TNF-RI | A11 | 1 | 10 |  | 36332 | 36332 | 36332 | 36332 | NaN |  |  | 1940.3146473423701 | 1940.3146473423701 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 506_V2 | TNF-RI | B11 | 1 | 10 |  | 29316 | 29316 | 29316 | 29316 | NaN |  |  | 1571.0347428533501 | 1571.0347428533501 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 507_V1 | TNF-RI | C11 | 1 | 10 |  | 105004 | 105004 | 105004 | 105004 | NaN |  |  | 5557.3508546138701 | 5557.3508546138701 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 507_V2 | TNF-RI | D11 | 1 | 10 |  | 119983 | 119983 | 119983 | 119983 | NaN |  |  | 6353.2117214024402 | 6353.2117214024402 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 508_V1 | TNF-RI | E11 | 1 | 10 |  | 15217 | 15217 | 15217 | 15217 | NaN |  |  | 825.13886401545994 | 825.13886401545994 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 508_V2 | TNF-RI | F11 | 1 | 10 |  | 17184 | 17184 | 17184 | 17184 | NaN |  |  | 929.69915178041902 | 929.69915178041902 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 509_V1 | TNF-RI | G11 | 1 | 10 |  | 16613 | 16613 | 16613 | 16613 | NaN |  |  | 899.36950115669299 | 899.36950115669299 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 510_V2 | TNF-RI | A12 | 1 | 10 |  | 34109 | 34109 | 34109 | 34109 | NaN |  |  | 1823.3854986751401 | 1823.3854986751401 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 511_V1 | TNF-RI | B12 | 1 | 10 |  | 43510 | 43510 | 43510 | 43510 | NaN |  |  | 2317.5684214618 | 2317.5684214618 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | BLANK | TNF-RI | E12 | 1 |  |  | 65 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | BLANK | TNF-RI | F12 | 1 |  |  | 58 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | BLANK | TNF-RI | G12 | 1 |  |  | 65 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | BLANK | TNF-RI | D12 | 1 |  |  | 57 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | BLANK | TNF-RI | C12 | 1 |  |  | 61 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | QC | TNF-RI | H11 | 1 | 10 |  | 75219 | 76090 | 75219 | 76089.5 | 1.61792744865688 |  |  | 3984.11488532251 | 4029.9540875907501 | 1.60861439428609 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | QC | TNF-RI | A03 | 1 | 10 |  | 84812 | 82881 | 84812 | 82881 | 3.29490038602628 |  |  | 4489.6498320029696 | 4387.8315528511303 | 3.2816389950168499 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | QC | TNF-RI | A04 | 1 | 10 |  | 80950 | 82881 | 80950 | 82881 | 3.29490038602628 |  |  | 4286.0132736993 | 4387.8315528511303 | 3.2816389950168499 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | QC | TNF-RI | H12 | 1 | 10 |  | 76960 | 76090 | 76960 | 76089.5 | 1.61792744865688 |  |  | 4075.7932898589802 | 4029.9540875907501 | 1.60861439428609 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 376130 | 364137 | 376130 | 364136.5 | 4.6579703930591103 | 103.6275 | 100.08128578588401 | 2072.5492653620399 | 2001.6257157176899 | 5.0109790762113597 | Above Fit Curve Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 352143 | 364137 | 352143 | 364136.5 | 4.6579703930591103 | 96.5351 | 100.08128578588401 | 1930.7021660733401 | 2001.6257157176899 | 5.0109790762113597 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD2 | TNF-RI | B01 | 1 |  | 500 | 94800 | 93916 | 94800 | 93916 | 1.33115208179417 | 100.3423 | 99.407725416584697 | 501.71159092266203 | 497.03862708292297 | 1.32958858296843 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD2 | TNF-RI | B02 | 1 |  | 500 | 93032 | 93916 | 93032 | 93916 | 1.33115208179417 | 98.4731 | 99.407725416584697 | 492.36566324318397 | 497.03862708292297 | 1.32958858296843 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD3 | TNF-RI | C02 | 1 |  | 125 | 24877 | 23583 | 24877 | 23582.5 | 7.7629575171927101 | 106.9532 | 101.481425622454 | 133.691528485476 | 126.85178202806701 | 7.6253262260990402 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD3 | TNF-RI | C01 | 1 |  | 125 | 22288 | 23583 | 22288 | 23582.5 | 7.7629575171927101 | 96.0096 | 101.481425622454 | 120.01203557065899 | 126.85178202806701 | 7.6253262260990402 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 5850 | 5665 | 5850 | 5665 | 4.6183496741221903 | 103.2169 | 99.999278387825498 | 32.255279963029203 | 31.2497744961954 | 4.5504311348224498 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 5480 | 5665 | 5480 | 5665 | 4.6183496741221903 | 96.7817 | 99.999278387825498 | 30.2442690293616 | 31.2497744961954 | 4.5504311348224498 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1367 | 1405 | 1367 | 1404.5 | 3.7759351077957302 | 96.9245 | 99.626590181623797 | 7.5722247060424701 | 7.7833273579393598 | 3.83568902650571 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1442 | 1405 | 1442 | 1404.5 | 3.7759351077957302 | 102.3287 | 99.626590181623797 | 7.9944300098362397 | 7.7833273579393598 | 3.83568902650571 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 339 | 373 | 339 | 372.5 | 12.718430695167401 | 86.7266 | 96.751356458773202 | 1.6938785109855701 | 1.8896749308354099 | 14.6532055803549 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 406 | 373 | 406 | 372.5 | 12.718430695167401 | 106.7761 | 96.751356458773202 | 2.0854713506852498 | 1.8896749308354099 | 14.6532055803549 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 136 | 141 | 136 | 141 | 5.0149417105428897 | 99.9722 | 106.167713560175 | 0.488145286472634 | 0.518397038868044 | 8.2528323496136196 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 146 | 141 | 146 | 141 | 5.0149417105428897 | 112.3633 | 106.167713560175 | 0.54864879126345401 | 0.518397038868044 | 8.2528323496136196 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD8 | TNF-RI | H02 | 1 |  | 0 | 55 | 57 | 55 | 57 | 4.9621528504319103 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD8 | TNF-RI | H01 | 1 |  | 0 | 59 | 57 | 59 | 57 | 4.9621528504319103 |  | NaN | 9.9914576892346594E-3 | NaN | NaN | Below Detection Range | 2000 | 0.2379

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14A6E80_Set7 | 106 | V2 | TNF-RI | B03 | 1 | 10 |  | 24573 | 24573 | 24573 | 24573 | NaN |  |  | 1320.8634948419301 | 1320.8634948419301 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 107 | V1 | TNF-RI | C03 | 1 | 10 |  | 42993 | 42993 | 42993 | 42993 | NaN |  |  | 2290.4075022054399 | 2290.4075022054399 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 107 | V2 | TNF-RI | D03 | 1 | 10 |  | 37329 | 37329 | 37329 | 37329 | NaN |  |  | 1992.7387192994199 | 1992.7387192994199 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 109 | V1 | TNF-RI | E03 | 1 | 10 |  | 76692 | 76692 | 76692 | 76692 | NaN |  |  | 4061.6789405506502 | 4061.6789405506502 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 110 | V1 | TNF-RI | F03 | 1 | 10 |  | 45132 | 45132 | 45132 | 45132 | NaN |  |  | 2402.77413590675 | 2402.77413590675 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 110 | V2 | TNF-RI | G03 | 1 | 10 |  | 48286 | 48286 | 48286 | 48286 | NaN |  |  | 2568.43619901993 | 2568.43619901993 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 111 | V1 | TNF-RI | H03 | 1 | 10 |  | 99800 | 99800 | 99800 | 99800 | NaN |  |  | 5281.6506712057599 | 5281.6506712057599 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 111 | V2 | TNF-RI | B04 | 1 | 10 |  | 59052 | 59052 | 59052 | 59052 | NaN |  |  | 3133.9273052856702 | 3133.9273052856702 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 112 | V1 | TNF-RI | C04 | 1 | 10 |  | 39862 | 39862 | 39862 | 39862 | NaN |  |  | 2125.88756333826 | 2125.88756333826 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 112 | V2 | TNF-RI | D04 | 1 | 10 |  | 38442 | 38442 | 38442 | 38442 | NaN |  |  | 2051.2510037543402 | 2051.2510037543402 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 113 | V1 | TNF-RI | E04 | 1 | 10 |  | 35747 | 35747 | 35747 | 35747 | NaN |  |  | 1909.5494158798399 | 1909.5494158798399 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 113 | V2 | TNF-RI | F04 | 1 | 10 |  | 31552 | 31552 | 31552 | 31552 | NaN |  |  | 1688.80659947304 | 1688.80659947304 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 114 | V1 | TNF-RI | G04 | 1 | 10 |  | 64389 | 64389 | 64389 | 64389 | NaN |  |  | 3414.39702294265 | 3414.39702294265 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 115 | V1 | TNF-RI | H04 | 1 | 10 |  | 90026 | 90026 | 90026 | 90026 | NaN |  |  | 4764.84703538351 | 4764.84703538351 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 115 | V2 | TNF-RI | A05 | 1 | 10 |  | 89823 | 89823 | 89823 | 89823 | NaN |  |  | 4754.1264651193096 | 4754.1264651193096 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 116 | V1 | TNF-RI | B05 | 1 | 10 |  | 64571 | 64571 | 64571 | 64571 | NaN |  |  | 3423.96422163036 | 3423.96422163036 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 116 | V2 | TNF-RI | C05 | 1 | 10 |  | 35909 | 35909 | 35909 | 35909 | NaN |  |  | 1918.06939601727 | 1918.06939601727 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 117 | V1 | TNF-RI | D05 | 1 | 10 |  | 73767 | 73767 | 73767 | 73767 | NaN |  |  | 3907.6762717342299 | 3907.6762717342299 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 117 | V2 | TNF-RI | E05 | 1 | 10 |  | 30229 | 30229 | 30229 | 30229 | NaN |  |  | 1619.1341590667901 | 1619.1341590667901 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 118 | V2 | TNF-RI | F05 | 1 | 10 |  | 64808 | 64808 | 64808 | 64808 | NaN |  |  | 3436.4229117459899 | 3436.4229117459899 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 119 | V1 | TNF-RI | G05 | 1 | 10 |  | 77400 | 77400 | 77400 | 77400 | NaN |  |  | 4098.9676118752805 | 4098.9676118752805 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 120 | V1 | TNF-RI | H05 | 1 | 10 |  | 49656 | 49656 | 49656 | 49656 | NaN |  |  | 2640.3898767298401 | 2640.3898767298401 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 120 | V2 | TNF-RI | A06 | 1 | 10 |  | 26252 | 26252 | 26252 | 26252 | NaN |  |  | 1409.4861268406701 | 1409.4861268406701 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 122 | V1 | TNF-RI | B06 | 1 | 10 |  | 449751 | 449751 | 449751 | 449751 | NaN |  |  | 25187.943483921001 | 25187.943483921001 | NaN | Above Fit Curve Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 289 | V1 | TNF-RI | C06 | 1 | 10 |  | 94156 | 94156 | 94156 | 94156 | NaN |  |  | 4983.0683088830001 | 4983.0683088830001 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 289 | V2 | TNF-RI | D06 | 1 | 10 |  | 59895 | 59895 | 59895 | 59895 | NaN |  |  | 3178.2193217756399 | 3178.2193217756399 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 291 | V1 | TNF-RI | E06 | 1 | 10 |  | 239674 | 239674 | 239674 | 239674 | NaN |  |  | 12869.1593172756 | 12869.1593172756 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 292 | V1 | TNF-RI | F06 | 1 | 10 |  | 189141 | 189141 | 189141 | 189141 | NaN |  |  | 10080.687301456799 | 10080.687301456799 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 292 | V2 | TNF-RI | G06 | 1 | 10 |  | 322835 | 322835 | 322835 | 322835 | NaN |  |  | 17596.378626047801 | 17596.378626047801 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 293 | V1 | TNF-RI | H06 | 1 | 10 |  | 48476 | 48476 | 48476 | 48476 | NaN |  |  | 2578.4152737198601 | 2578.4152737198601 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 293 | V2 | TNF-RI | A07 | 1 | 10 |  | 33517 | 33517 | 33517 | 33517 | NaN |  |  | 1792.2360304676899 | 1792.2360304676899 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 294 | V2 | TNF-RI | B07 | 1 | 10 |  | 38353 | 38353 | 38353 | 38353 | NaN |  |  | 2046.57253133722 | 2046.57253133722 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 297 | V2 | TNF-RI | C07 | 1 | 10 |  | 21559 | 21559 | 21559 | 21559 | NaN |  |  | 1161.56197236137 | 1161.56197236137 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 298 | V2 | TNF-RI | D07 | 1 | 10 |  | 25152 | 25152 | 25152 | 25152 | NaN |  |  | 1351.4335591659999 | 1351.4335591659999 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 299 | V1 | TNF-RI | E07 | 1 | 10 |  | 37765 | 37765 | 37765 | 37765 | NaN |  |  | 2015.66132123386 | 2015.66132123386 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 299 | V2 | TNF-RI | F07 | 1 | 10 |  | 33318 | 33318 | 33318 | 33318 | NaN |  |  | 1781.76409896833 | 1781.76409896833 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 301 | V2 | TNF-RI | G07 | 1 | 10 |  | 107011 | 107011 | 107011 | 107011 | NaN |  |  | 5663.7845186671302 | 5663.7845186671302 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 302 | V1 | TNF-RI | H07 | 1 | 10 |  | 40350 | 40350 | 40350 | 40350 | NaN |  |  | 2151.53379682887 | 2151.53379682887 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 303 | V2 | TNF-RI | A08 | 1 | 10 |  | 337061 | 337061 | 337061 | 337061 | NaN |  |  | 18423.6807295037 | 18423.6807295037 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 304 | V1 | TNF-RI | B08 | 1 | 10 |  | 89328 | 89328 | 89328 | 89328 | NaN |  |  | 4727.9873076231797 | 4727.9873076231797 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 306 | V1 | TNF-RI | C08 | 1 | 10 |  | 99155 | 99155 | 99155 | 99155 | NaN |  |  | 5247.5064002994204 | 5247.5064002994204 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 306 | V2 | TNF-RI | D08 | 1 | 10 |  | 64728 | 64728 | 64728 | 64728 | NaN |  |  | 3432.21740791004 | 3432.21740791004 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 308 | V1 | TNF-RI | E08 | 1 | 10 |  | 37861 | 37861 | 37861 | 37861 | NaN |  |  | 2020.7082616605301 | 2020.7082616605301 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 308 | V2 | TNF-RI | F08 | 1 | 10 |  | 33572 | 33572 | 33572 | 33572 | NaN |  |  | 1795.13018551499 | 1795.13018551499 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 309 | V1 | TNF-RI | G08 | 1 | 10 |  | 33620 | 33620 | 33620 | 33620 | NaN |  |  | 1797.6559594031601 | 1797.6559594031601 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 310 | V1 | TNF-RI | H08 | 1 | 10 |  | 116268 | 116268 | 116268 | 116268 | NaN |  |  | 6155.4948581746903 | 6155.4948581746903 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 310 | V2 | TNF-RI | A09 | 1 | 10 |  | 111017 | 111017 | 111017 | 111017 | NaN |  |  | 5876.4097960423396 | 5876.4097960423396 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 311 | V1 | TNF-RI | B09 | 1 | 10 |  | 82820 | 82820 | 82820 | 82820 | NaN |  |  | 4384.5946226282103 | 4384.5946226282103 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 311 | V2 | TNF-RI | C09 | 1 | 10 |  | 71258 | 71258 | 71258 | 71258 | NaN |  |  | 3775.6369208941801 | 3775.6369208941801 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 497 | V1 | TNF-RI | D09 | 1 | 10 |  | 152893 | 152893 | 152893 | 152893 | NaN |  |  | 8115.3096611833298 | 8115.3096611833298 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 497 | V2 | TNF-RI | E09 | 1 | 10 |  | 161884 | 161884 | 161884 | 161884 | NaN |  |  | 8600.2775305817904 | 8600.2775305817904 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 498 | V2 | TNF-RI | F09 | 1 | 10 |  | 40311 | 40311 | 40311 | 40311 | NaN |  |  | 2149.4842615746502 | 2149.4842615746502 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 499 | V1 | TNF-RI | G09 | 1 | 10 |  | 30390 | 30390 | 30390 | 30390 | NaN |  |  | 1627.6144684190799 | 1627.6144684190799 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 499 | V2 | TNF-RI | H09 | 1 | 10 |  | 26576 | 26576 | 26576 | 26576 | NaN |  |  | 1426.5792611581401 | 1426.5792611581401 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 500 | V2 | TNF-RI | A10 | 1 | 10 |  | 28634 | 28634 | 28634 | 28634 | NaN |  |  | 1535.09433011753 | 1535.09433011753 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 501 | V2 | TNF-RI | B10 | 1 | 10 |  | 39229 | 39229 | 39229 | 39229 | NaN |  |  | 2092.6184403929301 | 2092.6184403929301 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 502 | V1 | TNF-RI | C10 | 1 | 10 |  | 62941 | 62941 | 62941 | 62941 | NaN |  |  | 3338.2869677199001 | 3338.2869677199001 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 502 | V2 | TNF-RI | D10 | 1 | 10 |  | 61160 | 61160 | 61160 | 61160 | NaN |  |  | 3244.6896024349498 | 3244.6896024349498 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 503 | V1 | TNF-RI | E10 | 1 | 10 |  | 35285 | 35285 | 35285 | 35285 | NaN |  |  | 1885.25005168241 | 1885.25005168241 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 503 | V2 | TNF-RI | F10 | 1 | 10 |  | 28585 | 28585 | 28585 | 28585 | NaN |  |  | 1532.5117316978599 | 1532.5117316978599 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 504 | V1 | TNF-RI | G10 | 1 | 10 |  | 67393 | 67393 | 67393 | 67393 | NaN |  |  | 3572.3356162909199 | 3572.3356162909199 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 504 | V2 | TNF-RI | H10 | 1 | 10 |  | 42546 | 42546 | 42546 | 42546 | NaN |  |  | 2266.9230620223202 | 2266.9230620223202 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 505 | V1 | TNF-RI | A11 | 1 | 10 |  | 36332 | 36332 | 36332 | 36332 | NaN |  |  | 1940.3146473423701 | 1940.3146473423701 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 506 | V2 | TNF-RI | B11 | 1 | 10 |  | 29316 | 29316 | 29316 | 29316 | NaN |  |  | 1571.0347428533501 | 1571.0347428533501 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 507 | V1 | TNF-RI | C11 | 1 | 10 |  | 105004 | 105004 | 105004 | 105004 | NaN |  |  | 5557.3508546138701 | 5557.3508546138701 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 507 | V2 | TNF-RI | D11 | 1 | 10 |  | 119983 | 119983 | 119983 | 119983 | NaN |  |  | 6353.2117214024402 | 6353.2117214024402 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 508 | V1 | TNF-RI | E11 | 1 | 10 |  | 15217 | 15217 | 15217 | 15217 | NaN |  |  | 825.13886401545994 | 825.13886401545994 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 508 | V2 | TNF-RI | F11 | 1 | 10 |  | 17184 | 17184 | 17184 | 17184 | NaN |  |  | 929.69915178041902 | 929.69915178041902 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 509 | V1 | TNF-RI | G11 | 1 | 10 |  | 16613 | 16613 | 16613 | 16613 | NaN |  |  | 899.36950115669299 | 899.36950115669299 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 510 | V2 | TNF-RI | A12 | 1 | 10 |  | 34109 | 34109 | 34109 | 34109 | NaN |  |  | 1823.3854986751401 | 1823.3854986751401 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | 511 | V1 | TNF-RI | B12 | 1 | 10 |  | 43510 | 43510 | 43510 | 43510 | NaN |  |  | 2317.5684214618 | 2317.5684214618 | NaN | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | BLANK |  | TNF-RI | E12 | 1 |  |  | 65 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | BLANK |  | TNF-RI | F12 | 1 |  |  | 58 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | BLANK |  | TNF-RI | G12 | 1 |  |  | 65 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | BLANK |  | TNF-RI | D12 | 1 |  |  | 57 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | BLANK |  | TNF-RI | C12 | 1 |  |  | 61 | 61 |  |  | 6.1573345364107004 | [5 empty] | Unknown Range
Plate_23M14A6E80_Set7 | QC |  | TNF-RI | H11 | 1 | 10 |  | 75219 | 76090 | 75219 | 76089.5 | 1.61792744865688 |  |  | 3984.11488532251 | 4029.9540875907501 | 1.60861439428609 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | QC |  | TNF-RI | A03 | 1 | 10 |  | 84812 | 82881 | 84812 | 82881 | 3.29490038602628 |  |  | 4489.6498320029696 | 4387.8315528511303 | 3.2816389950168499 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | QC |  | TNF-RI | A04 | 1 | 10 |  | 80950 | 82881 | 80950 | 82881 | 3.29490038602628 |  |  | 4286.0132736993 | 4387.8315528511303 | 3.2816389950168499 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | QC |  | TNF-RI | H12 | 1 | 10 |  | 76960 | 76090 | 76960 | 76089.5 | 1.61792744865688 |  |  | 4075.7932898589802 | 4029.9540875907501 | 1.60861439428609 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 376130 | 364137 | 376130 | 364136.5 | 4.6579703930591103 | 103.6275 | 100.08128578588401 | 2072.5492653620399 | 2001.6257157176899 | 5.0109790762113597 | Above Fit Curve Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 352143 | 364137 | 352143 | 364136.5 | 4.6579703930591103 | 96.5351 | 100.08128578588401 | 1930.7021660733401 | 2001.6257157176899 | 5.0109790762113597 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 94800 | 93916 | 94800 | 93916 | 1.33115208179417 | 100.3423 | 99.407725416584697 | 501.71159092266203 | 497.03862708292297 | 1.32958858296843 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 93032 | 93916 | 93032 | 93916 | 1.33115208179417 | 98.4731 | 99.407725416584697 | 492.36566324318397 | 497.03862708292297 | 1.32958858296843 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 24877 | 23583 | 24877 | 23582.5 | 7.7629575171927101 | 106.9532 | 101.481425622454 | 133.691528485476 | 126.85178202806701 | 7.6253262260990402 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 22288 | 23583 | 22288 | 23582.5 | 7.7629575171927101 | 96.0096 | 101.481425622454 | 120.01203557065899 | 126.85178202806701 | 7.6253262260990402 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 5850 | 5665 | 5850 | 5665 | 4.6183496741221903 | 103.2169 | 99.999278387825498 | 32.255279963029203 | 31.2497744961954 | 4.5504311348224498 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 5480 | 5665 | 5480 | 5665 | 4.6183496741221903 | 96.7817 | 99.999278387825498 | 30.2442690293616 | 31.2497744961954 | 4.5504311348224498 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1367 | 1405 | 1367 | 1404.5 | 3.7759351077957302 | 96.9245 | 99.626590181623797 | 7.5722247060424701 | 7.7833273579393598 | 3.83568902650571 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1442 | 1405 | 1442 | 1404.5 | 3.7759351077957302 | 102.3287 | 99.626590181623797 | 7.9944300098362397 | 7.7833273579393598 | 3.83568902650571 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 339 | 373 | 339 | 372.5 | 12.718430695167401 | 86.7266 | 96.751356458773202 | 1.6938785109855701 | 1.8896749308354099 | 14.6532055803549 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 406 | 373 | 406 | 372.5 | 12.718430695167401 | 106.7761 | 96.751356458773202 | 2.0854713506852498 | 1.8896749308354099 | 14.6532055803549 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 136 | 141 | 136 | 141 | 5.0149417105428897 | 99.9722 | 106.167713560175 | 0.488145286472634 | 0.518397038868044 | 8.2528323496136196 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 146 | 141 | 146 | 141 | 5.0149417105428897 | 112.3633 | 106.167713560175 | 0.54864879126345401 | 0.518397038868044 | 8.2528323496136196 | In Detection Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 55 | 57 | 55 | 57 | 4.9621528504319103 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.2379
Plate_23M14A6E80_Set7 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 59 | 57 | 59 | 57 | 4.9621528504319103 |  | NaN | 9.9914576892346594E-3 | NaN | NaN | Below Detection Range | 2000 | 0.2379

## WideData
Sample | TNF-RI_V2 | TNF-RI_V1 | Sample | n | TNF-RI | Sample | TNF-RI
106 | 1320.8634948419301 |  | STD1 | 2 | 2001.6257157176899 | QC | 4208.8928
107 | 1992.7387192994199 | 2290.4075022054399 | STD2 | 2 | 497.03862708292297
109 |  | 4061.6789405506502 | STD3 | 2 | 126.85178202806701
110 | 2568.43619901993 | 2402.77413590675 | STD4 | 2 | 31.2497744961954
111 | 3133.9273052856702 | 5281.6506712057599 | STD5 | 2 | 7.7833273579393598
112 | 2051.2510037543402 | 2125.88756333826 | STD6 | 2 | 1.8896749308354099
113 | 1688.80659947304 | 1909.5494158798399 | STD7 | 2 | 0.518397038868044
114 |  | 3414.39702294265 | STD8 | 2 | NaN
115 | 4754.1264651193096 | 4764.84703538351
116 | 1918.06939601727 | 3423.96422163036
117 | 1619.1341590667901 | 3907.6762717342299
118 | 3436.4229117459899
119 |  | 4098.9676118752805
120 | 1409.4861268406701 | 2640.3898767298401
122 |  | 25187.943483921001
289 | 3178.2193217756399 | 4983.0683088830001
291 |  | 12869.1593172756
292 | 17596.378626047801 | 10080.687301456799
293 | 1792.2360304676899 | 2578.4152737198601
294 | 2046.57253133722
297 | 1161.56197236137
298 | 1351.4335591659999
299 | 1781.76409896833 | 2015.66132123386
301 | 5663.7845186671302
302 |  | 2151.53379682887
303 | 18423.6807295037
304 |  | 4727.9873076231797
306 | 3432.21740791004 | 5247.5064002994204
308 | 1795.13018551499 | 2020.7082616605301
309 |  | 1797.6559594031601
310 | 5876.4097960423396 | 6155.4948581746903
311 | 3775.6369208941801 | 4384.5946226282103
497 | 8600.2775305817904 | 8115.3096611833298
498 | 2149.4842615746502
499 | 1426.5792611581401 | 1627.6144684190799
500 | 1535.09433011753
501 | 2092.6184403929301
502 | 3244.6896024349498 | 3338.2869677199001
503 | 1532.5117316978599 | 1885.25005168241
504 | 2266.9230620223202 | 3572.3356162909199
505 |  | 1940.3146473423701
506 | 1571.0347428533501
507 | 6353.2117214024402 | 5557.3508546138701
508 | 929.69915178041902 | 825.13886401545994
509 |  | 899.36950115669299
510 | 1823.3854986751401
511 |  | 2317.5684214618

## WideSampleData
Sample | TNF-RI_V2 | TNF-RI_V1
106 | 1320.8634948419301
107 | 1992.7387192994199 | 2290.4075022054399
109 |  | 4061.6789405506502
110 | 2568.43619901993 | 2402.77413590675
111 | 3133.9273052856702 | 5281.6506712057599
112 | 2051.2510037543402 | 2125.88756333826
113 | 1688.80659947304 | 1909.5494158798399
114 |  | 3414.39702294265
115 | 4754.1264651193096 | 4764.84703538351
116 | 1918.06939601727 | 3423.96422163036
117 | 1619.1341590667901 | 3907.6762717342299
118 | 3436.4229117459899
119 |  | 4098.9676118752805
120 | 1409.4861268406701 | 2640.3898767298401
122 |  | 25187.943483921001
289 | 3178.2193217756399 | 4983.0683088830001
291 |  | 12869.1593172756
292 | 17596.378626047801 | 10080.687301456799
293 | 1792.2360304676899 | 2578.4152737198601
294 | 2046.57253133722
297 | 1161.56197236137
298 | 1351.4335591659999
299 | 1781.76409896833 | 2015.66132123386
301 | 5663.7845186671302
302 |  | 2151.53379682887
303 | 18423.6807295037
304 |  | 4727.9873076231797
306 | 3432.21740791004 | 5247.5064002994204
308 | 1795.13018551499 | 2020.7082616605301
309 |  | 1797.6559594031601
310 | 5876.4097960423396 | 6155.4948581746903
311 | 3775.6369208941801 | 4384.5946226282103
497 | 8600.2775305817904 | 8115.3096611833298
498 | 2149.4842615746502
499 | 1426.5792611581401 | 1627.6144684190799
500 | 1535.09433011753
501 | 2092.6184403929301
502 | 3244.6896024349498 | 3338.2869677199001
503 | 1532.5117316978599 | 1885.25005168241
504 | 2266.9230620223202 | 3572.3356162909199
505 |  | 1940.3146473423701
506 | 1571.0347428533501
507 | 6353.2117214024402 | 5557.3508546138701
508 | 929.69915178041902 | 825.13886401545994
509 |  | 899.36950115669299
510 | 1823.3854986751401
511 |  | 2317.5684214618

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | Above Fit Curve Range | In Detection Range
106 | V2 | B03 | 24573 | TNF-RI | 1320.8634948419301 | In Detection Range | STD1 | A01 | 376130 | TNF-RI | 2072.5492653620399 | Above Fit Curve Range | QC | H11 | 75219 | TNF-RI | 3984.11488532251 | In Detection Range | 1 | 70
107 | V1 | C03 | 42993 | TNF-RI | 2290.4075022054399 | In Detection Range | STD1 | A02 | 352143 | TNF-RI | 1930.7021660733401 | In Detection Range | QC | A03 | 84812 | TNF-RI | 4489.6498320029696 | In Detection Range
107 | V2 | D03 | 37329 | TNF-RI | 1992.7387192994199 | In Detection Range | STD2 | B01 | 94800 | TNF-RI | 501.71159092266203 | In Detection Range | QC | A04 | 80950 | TNF-RI | 4286.0132736993 | In Detection Range
109 | V1 | E03 | 76692 | TNF-RI | 4061.6789405506502 | In Detection Range | STD2 | B02 | 93032 | TNF-RI | 492.36566324318397 | In Detection Range | QC | H12 | 76960 | TNF-RI | 4075.7932898589802 | In Detection Range
110 | V1 | F03 | 45132 | TNF-RI | 2402.77413590675 | In Detection Range | STD3 | C02 | 24877 | TNF-RI | 133.691528485476 | In Detection Range
110 | V2 | G03 | 48286 | TNF-RI | 2568.43619901993 | In Detection Range | STD3 | C01 | 22288 | TNF-RI | 120.01203557065899 | In Detection Range
111 | V1 | H03 | 99800 | TNF-RI | 5281.6506712057599 | In Detection Range | STD4 | D02 | 5850 | TNF-RI | 32.255279963029203 | In Detection Range
111 | V2 | B04 | 59052 | TNF-RI | 3133.9273052856702 | In Detection Range | STD4 | D01 | 5480 | TNF-RI | 30.2442690293616 | In Detection Range
112 | V1 | C04 | 39862 | TNF-RI | 2125.88756333826 | In Detection Range | STD5 | E01 | 1367 | TNF-RI | 7.5722247060424701 | In Detection Range
112 | V2 | D04 | 38442 | TNF-RI | 2051.2510037543402 | In Detection Range | STD5 | E02 | 1442 | TNF-RI | 7.9944300098362397 | In Detection Range
113 | V1 | E04 | 35747 | TNF-RI | 1909.5494158798399 | In Detection Range | STD6 | F01 | 339 | TNF-RI | 1.6938785109855701 | In Detection Range
113 | V2 | F04 | 31552 | TNF-RI | 1688.80659947304 | In Detection Range | STD6 | F02 | 406 | TNF-RI | 2.0854713506852498 | In Detection Range
114 | V1 | G04 | 64389 | TNF-RI | 3414.39702294265 | In Detection Range | STD7 | G01 | 136 | TNF-RI | 0.488145286472634 | In Detection Range
115 | V1 | H04 | 90026 | TNF-RI | 4764.84703538351 | In Detection Range | STD7 | G02 | 146 | TNF-RI | 0.54864879126345401 | In Detection Range
115 | V2 | A05 | 89823 | TNF-RI | 4754.1264651193096 | In Detection Range | STD8 | H02 | 55 | TNF-RI | NaN | Below Fit Curve Range
116 | V1 | B05 | 64571 | TNF-RI | 3423.96422163036 | In Detection Range | STD8 | H01 | 59 | TNF-RI | 9.9914576892346594E-3 | Below Detection Range
116 | V2 | C05 | 35909 | TNF-RI | 1918.06939601727 | In Detection Range
117 | V1 | D05 | 73767 | TNF-RI | 3907.6762717342299 | In Detection Range
117 | V2 | E05 | 30229 | TNF-RI | 1619.1341590667901 | In Detection Range
118 | V2 | F05 | 64808 | TNF-RI | 3436.4229117459899 | In Detection Range
119 | V1 | G05 | 77400 | TNF-RI | 4098.9676118752805 | In Detection Range
120 | V1 | H05 | 49656 | TNF-RI | 2640.3898767298401 | In Detection Range
120 | V2 | A06 | 26252 | TNF-RI | 1409.4861268406701 | In Detection Range
122 | V1 | B06 | 449751 | TNF-RI | 25187.943483921001 | Above Fit Curve Range
289 | V1 | C06 | 94156 | TNF-RI | 4983.0683088830001 | In Detection Range
289 | V2 | D06 | 59895 | TNF-RI | 3178.2193217756399 | In Detection Range
291 | V1 | E06 | 239674 | TNF-RI | 12869.1593172756 | In Detection Range
292 | V1 | F06 | 189141 | TNF-RI | 10080.687301456799 | In Detection Range
292 | V2 | G06 | 322835 | TNF-RI | 17596.378626047801 | In Detection Range
293 | V1 | H06 | 48476 | TNF-RI | 2578.4152737198601 | In Detection Range
293 | V2 | A07 | 33517 | TNF-RI | 1792.2360304676899 | In Detection Range
294 | V2 | B07 | 38353 | TNF-RI | 2046.57253133722 | In Detection Range
297 | V2 | C07 | 21559 | TNF-RI | 1161.56197236137 | In Detection Range
298 | V2 | D07 | 25152 | TNF-RI | 1351.4335591659999 | In Detection Range
299 | V1 | E07 | 37765 | TNF-RI | 2015.66132123386 | In Detection Range
299 | V2 | F07 | 33318 | TNF-RI | 1781.76409896833 | In Detection Range
301 | V2 | G07 | 107011 | TNF-RI | 5663.7845186671302 | In Detection Range
302 | V1 | H07 | 40350 | TNF-RI | 2151.53379682887 | In Detection Range
303 | V2 | A08 | 337061 | TNF-RI | 18423.6807295037 | In Detection Range
304 | V1 | B08 | 89328 | TNF-RI | 4727.9873076231797 | In Detection Range
306 | V1 | C08 | 99155 | TNF-RI | 5247.5064002994204 | In Detection Range
306 | V2 | D08 | 64728 | TNF-RI | 3432.21740791004 | In Detection Range
308 | V1 | E08 | 37861 | TNF-RI | 2020.7082616605301 | In Detection Range
308 | V2 | F08 | 33572 | TNF-RI | 1795.13018551499 | In Detection Range
309 | V1 | G08 | 33620 | TNF-RI | 1797.6559594031601 | In Detection Range
310 | V1 | H08 | 116268 | TNF-RI | 6155.4948581746903 | In Detection Range
310 | V2 | A09 | 111017 | TNF-RI | 5876.4097960423396 | In Detection Range
311 | V1 | B09 | 82820 | TNF-RI | 4384.5946226282103 | In Detection Range
311 | V2 | C09 | 71258 | TNF-RI | 3775.6369208941801 | In Detection Range
497 | V1 | D09 | 152893 | TNF-RI | 8115.3096611833298 | In Detection Range
497 | V2 | E09 | 161884 | TNF-RI | 8600.2775305817904 | In Detection Range
498 | V2 | F09 | 40311 | TNF-RI | 2149.4842615746502 | In Detection Range
499 | V1 | G09 | 30390 | TNF-RI | 1627.6144684190799 | In Detection Range
499 | V2 | H09 | 26576 | TNF-RI | 1426.5792611581401 | In Detection Range
500 | V2 | A10 | 28634 | TNF-RI | 1535.09433011753 | In Detection Range
501 | V2 | B10 | 39229 | TNF-RI | 2092.6184403929301 | In Detection Range
502 | V1 | C10 | 62941 | TNF-RI | 3338.2869677199001 | In Detection Range
502 | V2 | D10 | 61160 | TNF-RI | 3244.6896024349498 | In Detection Range
503 | V1 | E10 | 35285 | TNF-RI | 1885.25005168241 | In Detection Range
503 | V2 | F10 | 28585 | TNF-RI | 1532.5117316978599 | In Detection Range
504 | V1 | G10 | 67393 | TNF-RI | 3572.3356162909199 | In Detection Range
504 | V2 | H10 | 42546 | TNF-RI | 2266.9230620223202 | In Detection Range
505 | V1 | A11 | 36332 | TNF-RI | 1940.3146473423701 | In Detection Range
506 | V2 | B11 | 29316 | TNF-RI | 1571.0347428533501 | In Detection Range
507 | V1 | C11 | 105004 | TNF-RI | 5557.3508546138701 | In Detection Range
507 | V2 | D11 | 119983 | TNF-RI | 6353.2117214024402 | In Detection Range
508 | V1 | E11 | 15217 | TNF-RI | 825.13886401545994 | In Detection Range
508 | V2 | F11 | 17184 | TNF-RI | 929.69915178041902 | In Detection Range
509 | V1 | G11 | 16613 | TNF-RI | 899.36950115669299 | In Detection Range
510 | V2 | A12 | 34109 | TNF-RI | 1823.3854986751401 | In Detection Range
511 | V1 | B12 | 43510 | TNF-RI | 2317.5684214618 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
106 | V2 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 5.0109790762113597 | 2 | QC | TNF-RI | 2.4451 | 4
107 | V1 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 1.32958858296843 | 2
107 | V2 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 7.6253262260990402 | 2
109 | V1 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 4.5504311348224498 | 2
110 | V1 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 3.83568902650571 | 2
110 | V2 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 14.6532055803549 | 2
111 | V1 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 8.2528323496136196 | 2
111 | V2 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
112 | V1 | TNF-RI | NaN | 1
112 | V2 | TNF-RI | NaN | 1
113 | V1 | TNF-RI | NaN | 1
113 | V2 | TNF-RI | NaN | 1
114 | V1 | TNF-RI | NaN | 1
115 | V1 | TNF-RI | NaN | 1
115 | V2 | TNF-RI | NaN | 1
116 | V1 | TNF-RI | NaN | 1
116 | V2 | TNF-RI | NaN | 1
117 | V1 | TNF-RI | NaN | 1
117 | V2 | TNF-RI | NaN | 1
118 | V2 | TNF-RI | NaN | 1
119 | V1 | TNF-RI | NaN | 1
120 | V1 | TNF-RI | NaN | 1
120 | V2 | TNF-RI | NaN | 1
122 | V1 | TNF-RI | NaN | 1
289 | V1 | TNF-RI | NaN | 1
289 | V2 | TNF-RI | NaN | 1
291 | V1 | TNF-RI | NaN | 1
292 | V1 | TNF-RI | NaN | 1
292 | V2 | TNF-RI | NaN | 1
293 | V1 | TNF-RI | NaN | 1
293 | V2 | TNF-RI | NaN | 1
294 | V2 | TNF-RI | NaN | 1
297 | V2 | TNF-RI | NaN | 1
298 | V2 | TNF-RI | NaN | 1
299 | V1 | TNF-RI | NaN | 1
299 | V2 | TNF-RI | NaN | 1
301 | V2 | TNF-RI | NaN | 1
302 | V1 | TNF-RI | NaN | 1
303 | V2 | TNF-RI | NaN | 1
304 | V1 | TNF-RI | NaN | 1
306 | V1 | TNF-RI | NaN | 1
306 | V2 | TNF-RI | NaN | 1
308 | V1 | TNF-RI | NaN | 1
308 | V2 | TNF-RI | NaN | 1
309 | V1 | TNF-RI | NaN | 1
310 | V1 | TNF-RI | NaN | 1
310 | V2 | TNF-RI | NaN | 1
311 | V1 | TNF-RI | NaN | 1
311 | V2 | TNF-RI | NaN | 1
497 | V1 | TNF-RI | NaN | 1
497 | V2 | TNF-RI | NaN | 1
498 | V2 | TNF-RI | NaN | 1
499 | V1 | TNF-RI | NaN | 1
499 | V2 | TNF-RI | NaN | 1
500 | V2 | TNF-RI | NaN | 1
501 | V2 | TNF-RI | NaN | 1
502 | V1 | TNF-RI | NaN | 1
502 | V2 | TNF-RI | NaN | 1
503 | V1 | TNF-RI | NaN | 1
503 | V2 | TNF-RI | NaN | 1
504 | V1 | TNF-RI | NaN | 1
504 | V2 | TNF-RI | NaN | 1
505 | V1 | TNF-RI | NaN | 1
506 | V2 | TNF-RI | NaN | 1
507 | V1 | TNF-RI | NaN | 1
507 | V2 | TNF-RI | NaN | 1
508 | V1 | TNF-RI | NaN | 1
508 | V2 | TNF-RI | NaN | 1
509 | V1 | TNF-RI | NaN | 1
510 | V2 | TNF-RI | NaN | 1
511 | V1 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].