## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14AK901_Set6 | 100_V1 | TNF-RI | C05 | 1 | 10 |  | 114819 | 114819 | 114819 | 114819 | NaN |  |  | 4764.5157167523603 | 4764.5157167523603 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 100_V2 | TNF-RI | D05 | 1 | 10 |  | 120777 | 120777 | 120777 | 120777 | NaN |  |  | 5009.5474304467798 | 5009.5474304467798 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 101_V1 | TNF-RI | E05 | 1 | 10 |  | 40112 | 40112 | 40112 | 40112 | NaN |  |  | 1681.76539830821 | 1681.76539830821 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 101_V2 | TNF-RI | F05 | 1 | 10 |  | 44014 | 44014 | 44014 | 44014 | NaN |  |  | 1843.6014161906 | 1843.6014161906 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 102_V1 | TNF-RI | G05 | 1 | 10 |  | 77883 | 77883 | 77883 | 77883 | NaN |  |  | 3243.51630043453 | 3243.51630043453 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 102_V2 | TNF-RI | H05 | 1 | 10 |  | 58955 | 58955 | 58955 | 58955 | NaN |  |  | 2462.0581924212302 | 2462.0581924212302 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 104_V1 | TNF-RI | A06 | 1 | 10 |  | 46380 | 46380 | 46380 | 46380 | NaN |  |  | 1941.65950222985 | 1941.65950222985 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 105_V1 | TNF-RI | B06 | 1 | 10 |  | 109092 | 109092 | 109092 | 109092 | NaN |  |  | 4528.9189448717298 | 4528.9189448717298 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 105_V2 | TNF-RI | C06 | 1 | 10 |  | 96739 | 96739 | 96739 | 96739 | NaN |  |  | 4020.4847291689598 | 4020.4847291689598 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 273_V1 | TNF-RI | D06 | 1 | 10 |  | 188474 | 188474 | 188474 | 188474 | NaN |  |  | 7790.89185043625 | 7790.89185043625 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 273_V2 | TNF-RI | E06 | 1 | 10 |  | 143165 | 143165 | 143165 | 143165 | NaN |  |  | 5929.8001055023897 | 5929.8001055023897 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 274_V1 | TNF-RI | F06 | 1 | 10 |  | 101950 | 101950 | 101950 | 101950 | NaN |  |  | 4235.0098642879802 | 4235.0098642879802 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 274_V2 | TNF-RI | G06 | 1 | 10 |  | 141151 | 141151 | 141151 | 141151 | NaN |  |  | 5847.04092309102 | 5847.04092309102 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 275_V1 | TNF-RI | H06 | 1 | 10 |  | 218813 | 218813 | 218813 | 218813 | NaN |  |  | 9036.8343057690108 | 9036.8343057690108 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 276_V2 | TNF-RI | A07 | 1 | 10 |  | 94528 | 94528 | 94528 | 94528 | NaN |  |  | 3929.44006464125 | 3929.44006464125 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 277_V1 | TNF-RI | B07 | 1 | 10 |  | 156173 | 156173 | 156173 | 156173 | NaN |  |  | 6464.2332931040601 | 6464.2332931040601 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 278_V1 | TNF-RI | C07 | 1 | 10 |  | 88357 | 88357 | 88357 | 88357 | NaN |  |  | 3675.2515718848399 | 3675.2515718848399 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 278_V2 | TNF-RI | D07 | 1 | 10 |  | 36028 | 36028 | 36028 | 36028 | NaN |  |  | 1512.2044530442299 | 1512.2044530442299 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 279_V1 | TNF-RI | E07 | 1 | 10 |  | 58896 | 58896 | 58896 | 58896 | NaN |  |  | 2459.6192064161801 | 2459.6192064161801 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 279_V2 | TNF-RI | F07 | 1 | 10 |  | 55205 | 55205 | 55205 | 55205 | NaN |  |  | 2306.99200550061 | 2306.99200550061 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 280_V2 | TNF-RI | G07 | 1 | 10 |  | 47609 | 47609 | 47609 | 47609 | NaN |  |  | 1992.57504329689 | 1992.57504329689 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 281_V1 | TNF-RI | H07 | 1 | 10 |  | 39769 | 39769 | 39769 | 39769 | NaN |  |  | 1667.53185806438 | 1667.53185806438 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 281_V2 | TNF-RI | A08 | 1 | 10 |  | 45043 | 45043 | 45043 | 45043 | NaN |  |  | 1886.2543480619499 | 1886.2543480619499 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 282_V1 | TNF-RI | B08 | 1 | 10 |  | 42806 | 42806 | 42806 | 42806 | NaN |  |  | 1793.51582977261 | 1793.51582977261 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 282_V2 | TNF-RI | C08 | 1 | 10 |  | 22859 | 22859 | 22859 | 22859 | NaN |  |  | 963.86438065870504 | 963.86438065870504 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 283_V1 | TNF-RI | D08 | 1 | 10 |  | 128145 | 128145 | 128145 | 128145 | NaN |  |  | 5312.4838004199501 | 5312.4838004199501 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 283_V2 | TNF-RI | E08 | 1 | 10 |  | 106863 | 106863 | 106863 | 106863 | NaN |  |  | 4437.2035147131801 | 4437.2035147131801 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 284_V1 | TNF-RI | F08 | 1 | 10 |  | 29679 | 29679 | 29679 | 29679 | NaN |  |  | 1248.1834481958399 | 1248.1834481958399 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 285_V2 | TNF-RI | G08 | 1 | 10 |  | 68881 | 68881 | 68881 | 68881 | NaN |  |  | 2872.09172340541 | 2872.09172340541 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 286_V1 | TNF-RI | H08 | 1 | 10 |  | 66715 | 66715 | 66715 | 66715 | NaN |  |  | 2782.6633724396502 | 2782.6633724396502 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 286_V2 | TNF-RI | A09 | 1 | 10 |  | 67584 | 67584 | 67584 | 67584 | NaN |  |  | 2818.5450079602101 | 2818.5450079602101 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 287_V2 | TNF-RI | B09 | 1 | 10 |  | 53585 | 53585 | 53585 | 53585 | NaN |  |  | 2239.9732626303398 | 2239.9732626303398 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 480_V1 | TNF-RI | C09 | 1 | 10 |  | 330780 | 330780 | 330780 | 330780 | NaN |  |  | 13639.1751804585 | 13639.1751804585 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 480_V2 | TNF-RI | D09 | 1 | 10 |  | 197688 | 197688 | 197688 | 197688 | NaN |  |  | 8169.2798647088703 | 8169.2798647088703 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 481_V2 | TNF-RI | E09 | 1 | 10 |  | 31746 | 31746 | 31746 | 31746 | NaN |  |  | 1334.2009710042 | 1334.2009710042 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 482_V1 | TNF-RI | F09 | 1 | 10 |  | 55070 | 55070 | 55070 | 55070 | NaN |  |  | 2301.4078278687398 | 2301.4078278687398 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 483_V1 | TNF-RI | G09 | 1 | 10 |  | 31307 | 31307 | 31307 | 31307 | NaN |  |  | 1315.93743910178 | 1315.93743910178 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 484_V1 | TNF-RI | H09 | 1 | 10 |  | 69022 | 69022 | 69022 | 69022 | NaN |  |  | 2877.9123948636402 | 2877.9123948636402 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 484_V2 | TNF-RI | A10 | 1 | 10 |  | 80299 | 80299 | 80299 | 80299 | NaN |  |  | 3343.1403812557101 | 3343.1403812557101 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 485_V1 | TNF-RI | B10 | 1 | 10 |  | 36561 | 36561 | 36561 | 36561 | NaN |  |  | 1534.34481638341 | 1534.34481638341 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 486_V1 | TNF-RI | C10 | 1 | 10 |  | 20707 | 20707 | 20707 | 20707 | NaN |  |  | 873.95911180036001 | 873.95911180036001 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 487_V1 | TNF-RI | D10 | 1 | 10 |  | 44173 | 44173 | 44173 | 44173 | NaN |  |  | 1850.1927565224501 | 1850.1927565224501 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 488_V1 | TNF-RI | E10 | 1 | 10 |  | 63028 | 63028 | 63028 | 63028 | NaN |  |  | 2630.3785395099699 | 2630.3785395099699 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 488_V2 | TNF-RI | F10 | 1 | 10 |  | 46726 | 46726 | 46726 | 46726 | NaN |  |  | 1955.9950837676499 | 1955.9950837676499 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 489_V1 | TNF-RI | G10 | 1 | 10 |  | 27955 | 27955 | 27955 | 27955 | NaN |  |  | 1176.38900378481 | 1176.38900378481 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 490_V1 | TNF-RI | H10 | 1 | 10 |  | 153785 | 153785 | 153785 | 153785 | NaN |  |  | 6366.1328910126003 | 6366.1328910126003 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 490_V2 | TNF-RI | A11 | 1 | 10 |  | 105465 | 105465 | 105465 | 105465 | NaN |  |  | 4379.67497777072 | 4379.67497777072 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 491_V1 | TNF-RI | B11 | 1 | 10 |  | 26466 | 26466 | 26466 | 26466 | NaN |  |  | 1114.34100060529 | 1114.34100060529 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 491_V2 | TNF-RI | C11 | 1 | 10 |  | 26692 | 26692 | 26692 | 26692 | NaN |  |  | 1123.7611132908801 | 1123.7611132908801 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 492_V1 | TNF-RI | D11 | 1 | 10 |  | 24354 | 24354 | 24354 | 24354 | NaN |  |  | 1026.2634655281399 | 1026.2634655281399 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 493_V2 | TNF-RI | E11 | 1 | 10 |  | 93962 | 93962 | 93962 | 93962 | NaN |  |  | 3906.1309872596098 | 3906.1309872596098 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 494_V1 | TNF-RI | F11 | 1 | 10 |  | 63541 | 63541 | 63541 | 63541 | NaN |  |  | 2651.5716661961401 | 2651.5716661961401 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 495_V1 | TNF-RI | G11 | 1 | 10 |  | 59157 | 59157 | 59157 | 59157 | NaN |  |  | 2470.4084498980101 | 2470.4084498980101 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 495_V2 | TNF-RI | A12 | 1 | 10 |  | 55267 | 55267 | 55267 | 55267 | NaN |  |  | 2309.5565476844199 | 2309.5565476844199 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 496_V2 | TNF-RI | B12 | 1 | 10 |  | 71161 | 71161 | 71161 | 71161 | NaN |  |  | 2966.20101305651 | 2966.20101305651 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 90_V1 | TNF-RI | B03 | 1 | 10 |  | 104308 | 104308 | 104308 | 104308 | NaN |  |  | 4332.06023887828 | 4332.06023887828 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 91_V1 | TNF-RI | C03 | 1 | 10 |  | 303689 | 303689 | 303689 | 303689 | NaN |  |  | 12524.6507400679 | 12524.6507400679 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 92_V1 | TNF-RI | D03 | 1 | 10 |  | 175600 | 175600 | 175600 | 175600 | NaN |  |  | 7262.1804217563003 | 7262.1804217563003 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 92_V2 | TNF-RI | E03 | 1 | 10 |  | 85734 | 85734 | 85734 | 85734 | NaN |  |  | 3567.1702066078101 | 3567.1702066078101 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 93_V1 | TNF-RI | F03 | 1 | 10 |  | 220311 | 220311 | 220311 | 220311 | NaN |  |  | 9098.3571034471206 | 9098.3571034471206 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 93_V2 | TNF-RI | G03 | 1 | 10 |  | 137065 | 137065 | 137065 | 137065 | NaN |  |  | 5679.1255798472102 | 5679.1255798472102 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 94_V2 | TNF-RI | H03 | 1 | 10 |  | 28442 | 28442 | 28442 | 28442 | NaN |  |  | 1196.67457400596 | 1196.67457400596 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 95_V1 | TNF-RI | B04 | 1 | 10 |  | 53866 | 53866 | 53866 | 53866 | NaN |  |  | 2251.5994793684999 | 2251.5994793684999 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 95_V2 | TNF-RI | C04 | 1 | 10 |  | 55858 | 55858 | 55858 | 55858 | NaN |  |  | 2334.0010728341499 | 2334.0010728341499 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 96_V1 | TNF-RI | D04 | 1 | 10 |  | 50620 | 50620 | 50620 | 50620 | NaN |  |  | 2117.2618402773801 | 2117.2618402773801 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 96_V2 | TNF-RI | E04 | 1 | 10 |  | 29504 | 29504 | 29504 | 29504 | NaN |  |  | 1240.89789734076 | 1240.89789734076 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 97_V1 | TNF-RI | F04 | 1 | 10 |  | 31578 | 31578 | 31578 | 31578 | NaN |  |  | 1327.21206777577 | 1327.21206777577 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 97_V2 | TNF-RI | G04 | 1 | 10 |  | 43822 | 43822 | 43822 | 43822 | NaN |  |  | 1835.6417393501599 | 1835.6417393501599 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 98_V1 | TNF-RI | H04 | 1 | 10 |  | 363759 | 363759 | 363759 | 363759 | NaN |  |  | 14997.051350366 | 14997.051350366 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 98_V2 | TNF-RI | A05 | 1 | 10 |  | 318089 | 318089 | 318089 | 318089 | NaN |  |  | 13116.9709505918 | 13116.9709505918 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 99_V1 | TNF-RI | B05 | 1 | 10 |  | 69038 | 69038 | 69038 | 69038 | NaN |  |  | 2878.5728902021701 | 2878.5728902021701 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | BLANK | TNF-RI | E12 | 1 |  |  | 64 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | BLANK | TNF-RI | F12 | 1 |  |  | 68 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | BLANK | TNF-RI | G12 | 1 |  |  | 67 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | BLANK | TNF-RI | D12 | 1 |  |  | 64 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | BLANK | TNF-RI | C12 | 1 |  |  | 66 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | QC | TNF-RI | H11 | 1 | 10 |  | 111637 | 108425 | 111637 | 108425 | 4.1894894741456099 |  |  | 4633.62332049409 | 4501.46392933883 | 4.1520182389684903 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | QC | TNF-RI | A03 | 1 | 10 |  | 113815 | 113042 | 113815 | 113041.5 | 0.96769256467367204 |  |  | 4723.2181138188598 | 4691.3997092441396 | 0.95915978325142504 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | QC | TNF-RI | A04 | 1 | 10 |  | 112268 | 113042 | 112268 | 113041.5 | 0.96769256467367204 |  |  | 4659.5813046694202 | 4691.3997092441396 | 0.95915978325142504 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | QC | TNF-RI | H12 | 1 | 10 |  | 105213 | 108425 | 105213 | 108425 | 4.1894894741456099 |  |  | 4369.30453818357 | 4501.46392933883 | 4.1520182389684903 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 494476 | 484802 | 494476 | 484801.5 | 2.8221466124132202 | 101.9703 | 99.9689130902145 | 2039.40547795784 | 1999.3782618042901 | 2.8312317398765998 | Above Fit Curve Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 475127 | 484802 | 475127 | 484801.5 | 2.8221466124132202 | 97.9676 | 99.9689130902145 | 1959.3510456507299 | 1999.3782618042901 | 2.8312317398765998 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD2 | TNF-RI | B01 | 1 |  | 500 | 124336 | 120858 | 124336 | 120857.5 | 4.0703654110955503 | 103.1177 | 100.25694568761701 | 515.58870010543399 | 501.28472843808697 | 4.0354053455394103 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD2 | TNF-RI | B02 | 1 |  | 500 | 117379 | 120858 | 117379 | 120857.5 | 4.0703654110955503 | 97.3962 | 100.25694568761701 | 486.98075677073899 | 501.28472843808697 | 4.0354053455394103 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD3 | TNF-RI | C02 | 1 |  | 125 | 28102 | 29522 | 28102 | 29522 | 6.8023279539658397 | 94.601 | 99.330517281947905 | 118.251257808945 | 124.163146602434 | 6.7336190647337801 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD3 | TNF-RI | C01 | 1 |  | 125 | 30942 | 29522 | 30942 | 29522 | 6.8023279539658397 | 104.06 | 99.330517281947905 | 130.075035395924 | 124.163146602434 | 6.7336190647337801 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 7294 | 7381 | 7294 | 7380.5 | 1.6574686423043501 | 99.3048 | 100.476624385554 | 31.032754589334601 | 31.398945120485902 | 1.6493280700337101 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 7467 | 7381 | 7467 | 7380.5 | 1.6574686423043501 | 101.6484 | 100.476624385554 | 31.765135651637099 | 31.398945120485902 | 1.6493280700337101 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1865 | 1861 | 1865 | 1860.5 | 0.34205649183976999 | 100.9658 | 100.717554982313 | 7.8879540149940004 | 7.8685589829932603 | 0.34858628317307599 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1856 | 1861 | 1856 | 1860.5 | 0.34205649183976999 | 100.4693 | 100.717554982313 | 7.8491639509925299 | 7.8685589829932603 | 0.34858628317307599 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 495 | 492 | 495 | 491.5 | 1.0070696781904001 | 99.3942 | 98.607433089076295 | 1.94129339941288 | 1.9259264275210199 | 1.1284013631846901 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 488 | 492 | 488 | 491.5 | 1.0070696781904001 | 97.8206 | 98.607433089076295 | 1.9105594556291501 | 1.9259264275210199 | 1.1284013631846901 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 170 | 168 | 170 | 167.5 | 2.1107665110046101 | 103.3361 | 101.047305965828 | 0.50457065564709003 | 0.49339504866127099 | 3.2032536625530099 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 165 | 168 | 165 | 167.5 | 2.1107665110046101 | 98.7585 | 101.047305965828 | 0.482219441675452 | 0.49339504866127099 | 3.2032536625530099 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD8 | TNF-RI | H02 | 1 |  | 0 | 60 | 59 | 60 | 58.5 | 3.6261886214694701 |  | NaN | 6.8718651266084698E-3 | NaN | NaN | Below Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD8 | TNF-RI | H01 | 1 |  | 0 | 57 | 59 | 57 | 58.5 | 3.6261886214694701 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.17223

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14AK901_Set6 | 100 | V1 | TNF-RI | C05 | 1 | 10 |  | 114819 | 114819 | 114819 | 114819 | NaN |  |  | 4764.5157167523603 | 4764.5157167523603 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 100 | V2 | TNF-RI | D05 | 1 | 10 |  | 120777 | 120777 | 120777 | 120777 | NaN |  |  | 5009.5474304467798 | 5009.5474304467798 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 101 | V1 | TNF-RI | E05 | 1 | 10 |  | 40112 | 40112 | 40112 | 40112 | NaN |  |  | 1681.76539830821 | 1681.76539830821 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 101 | V2 | TNF-RI | F05 | 1 | 10 |  | 44014 | 44014 | 44014 | 44014 | NaN |  |  | 1843.6014161906 | 1843.6014161906 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 102 | V1 | TNF-RI | G05 | 1 | 10 |  | 77883 | 77883 | 77883 | 77883 | NaN |  |  | 3243.51630043453 | 3243.51630043453 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 102 | V2 | TNF-RI | H05 | 1 | 10 |  | 58955 | 58955 | 58955 | 58955 | NaN |  |  | 2462.0581924212302 | 2462.0581924212302 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 104 | V1 | TNF-RI | A06 | 1 | 10 |  | 46380 | 46380 | 46380 | 46380 | NaN |  |  | 1941.65950222985 | 1941.65950222985 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 105 | V1 | TNF-RI | B06 | 1 | 10 |  | 109092 | 109092 | 109092 | 109092 | NaN |  |  | 4528.9189448717298 | 4528.9189448717298 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 105 | V2 | TNF-RI | C06 | 1 | 10 |  | 96739 | 96739 | 96739 | 96739 | NaN |  |  | 4020.4847291689598 | 4020.4847291689598 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 273 | V1 | TNF-RI | D06 | 1 | 10 |  | 188474 | 188474 | 188474 | 188474 | NaN |  |  | 7790.89185043625 | 7790.89185043625 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 273 | V2 | TNF-RI | E06 | 1 | 10 |  | 143165 | 143165 | 143165 | 143165 | NaN |  |  | 5929.8001055023897 | 5929.8001055023897 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 274 | V1 | TNF-RI | F06 | 1 | 10 |  | 101950 | 101950 | 101950 | 101950 | NaN |  |  | 4235.0098642879802 | 4235.0098642879802 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 274 | V2 | TNF-RI | G06 | 1 | 10 |  | 141151 | 141151 | 141151 | 141151 | NaN |  |  | 5847.04092309102 | 5847.04092309102 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 275 | V1 | TNF-RI | H06 | 1 | 10 |  | 218813 | 218813 | 218813 | 218813 | NaN |  |  | 9036.8343057690108 | 9036.8343057690108 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 276 | V2 | TNF-RI | A07 | 1 | 10 |  | 94528 | 94528 | 94528 | 94528 | NaN |  |  | 3929.44006464125 | 3929.44006464125 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 277 | V1 | TNF-RI | B07 | 1 | 10 |  | 156173 | 156173 | 156173 | 156173 | NaN |  |  | 6464.2332931040601 | 6464.2332931040601 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 278 | V1 | TNF-RI | C07 | 1 | 10 |  | 88357 | 88357 | 88357 | 88357 | NaN |  |  | 3675.2515718848399 | 3675.2515718848399 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 278 | V2 | TNF-RI | D07 | 1 | 10 |  | 36028 | 36028 | 36028 | 36028 | NaN |  |  | 1512.2044530442299 | 1512.2044530442299 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 279 | V1 | TNF-RI | E07 | 1 | 10 |  | 58896 | 58896 | 58896 | 58896 | NaN |  |  | 2459.6192064161801 | 2459.6192064161801 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 279 | V2 | TNF-RI | F07 | 1 | 10 |  | 55205 | 55205 | 55205 | 55205 | NaN |  |  | 2306.99200550061 | 2306.99200550061 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 280 | V2 | TNF-RI | G07 | 1 | 10 |  | 47609 | 47609 | 47609 | 47609 | NaN |  |  | 1992.57504329689 | 1992.57504329689 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 281 | V1 | TNF-RI | H07 | 1 | 10 |  | 39769 | 39769 | 39769 | 39769 | NaN |  |  | 1667.53185806438 | 1667.53185806438 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 281 | V2 | TNF-RI | A08 | 1 | 10 |  | 45043 | 45043 | 45043 | 45043 | NaN |  |  | 1886.2543480619499 | 1886.2543480619499 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 282 | V1 | TNF-RI | B08 | 1 | 10 |  | 42806 | 42806 | 42806 | 42806 | NaN |  |  | 1793.51582977261 | 1793.51582977261 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 282 | V2 | TNF-RI | C08 | 1 | 10 |  | 22859 | 22859 | 22859 | 22859 | NaN |  |  | 963.86438065870504 | 963.86438065870504 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 283 | V1 | TNF-RI | D08 | 1 | 10 |  | 128145 | 128145 | 128145 | 128145 | NaN |  |  | 5312.4838004199501 | 5312.4838004199501 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 283 | V2 | TNF-RI | E08 | 1 | 10 |  | 106863 | 106863 | 106863 | 106863 | NaN |  |  | 4437.2035147131801 | 4437.2035147131801 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 284 | V1 | TNF-RI | F08 | 1 | 10 |  | 29679 | 29679 | 29679 | 29679 | NaN |  |  | 1248.1834481958399 | 1248.1834481958399 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 285 | V2 | TNF-RI | G08 | 1 | 10 |  | 68881 | 68881 | 68881 | 68881 | NaN |  |  | 2872.09172340541 | 2872.09172340541 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 286 | V1 | TNF-RI | H08 | 1 | 10 |  | 66715 | 66715 | 66715 | 66715 | NaN |  |  | 2782.6633724396502 | 2782.6633724396502 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 286 | V2 | TNF-RI | A09 | 1 | 10 |  | 67584 | 67584 | 67584 | 67584 | NaN |  |  | 2818.5450079602101 | 2818.5450079602101 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 287 | V2 | TNF-RI | B09 | 1 | 10 |  | 53585 | 53585 | 53585 | 53585 | NaN |  |  | 2239.9732626303398 | 2239.9732626303398 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 480 | V1 | TNF-RI | C09 | 1 | 10 |  | 330780 | 330780 | 330780 | 330780 | NaN |  |  | 13639.1751804585 | 13639.1751804585 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 480 | V2 | TNF-RI | D09 | 1 | 10 |  | 197688 | 197688 | 197688 | 197688 | NaN |  |  | 8169.2798647088703 | 8169.2798647088703 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 481 | V2 | TNF-RI | E09 | 1 | 10 |  | 31746 | 31746 | 31746 | 31746 | NaN |  |  | 1334.2009710042 | 1334.2009710042 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 482 | V1 | TNF-RI | F09 | 1 | 10 |  | 55070 | 55070 | 55070 | 55070 | NaN |  |  | 2301.4078278687398 | 2301.4078278687398 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 483 | V1 | TNF-RI | G09 | 1 | 10 |  | 31307 | 31307 | 31307 | 31307 | NaN |  |  | 1315.93743910178 | 1315.93743910178 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 484 | V1 | TNF-RI | H09 | 1 | 10 |  | 69022 | 69022 | 69022 | 69022 | NaN |  |  | 2877.9123948636402 | 2877.9123948636402 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 484 | V2 | TNF-RI | A10 | 1 | 10 |  | 80299 | 80299 | 80299 | 80299 | NaN |  |  | 3343.1403812557101 | 3343.1403812557101 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 485 | V1 | TNF-RI | B10 | 1 | 10 |  | 36561 | 36561 | 36561 | 36561 | NaN |  |  | 1534.34481638341 | 1534.34481638341 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 486 | V1 | TNF-RI | C10 | 1 | 10 |  | 20707 | 20707 | 20707 | 20707 | NaN |  |  | 873.95911180036001 | 873.95911180036001 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 487 | V1 | TNF-RI | D10 | 1 | 10 |  | 44173 | 44173 | 44173 | 44173 | NaN |  |  | 1850.1927565224501 | 1850.1927565224501 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 488 | V1 | TNF-RI | E10 | 1 | 10 |  | 63028 | 63028 | 63028 | 63028 | NaN |  |  | 2630.3785395099699 | 2630.3785395099699 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 488 | V2 | TNF-RI | F10 | 1 | 10 |  | 46726 | 46726 | 46726 | 46726 | NaN |  |  | 1955.9950837676499 | 1955.9950837676499 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 489 | V1 | TNF-RI | G10 | 1 | 10 |  | 27955 | 27955 | 27955 | 27955 | NaN |  |  | 1176.38900378481 | 1176.38900378481 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 490 | V1 | TNF-RI | H10 | 1 | 10 |  | 153785 | 153785 | 153785 | 153785 | NaN |  |  | 6366.1328910126003 | 6366.1328910126003 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 490 | V2 | TNF-RI | A11 | 1 | 10 |  | 105465 | 105465 | 105465 | 105465 | NaN |  |  | 4379.67497777072 | 4379.67497777072 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 491 | V1 | TNF-RI | B11 | 1 | 10 |  | 26466 | 26466 | 26466 | 26466 | NaN |  |  | 1114.34100060529 | 1114.34100060529 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 491 | V2 | TNF-RI | C11 | 1 | 10 |  | 26692 | 26692 | 26692 | 26692 | NaN |  |  | 1123.7611132908801 | 1123.7611132908801 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 492 | V1 | TNF-RI | D11 | 1 | 10 |  | 24354 | 24354 | 24354 | 24354 | NaN |  |  | 1026.2634655281399 | 1026.2634655281399 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 493 | V2 | TNF-RI | E11 | 1 | 10 |  | 93962 | 93962 | 93962 | 93962 | NaN |  |  | 3906.1309872596098 | 3906.1309872596098 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 494 | V1 | TNF-RI | F11 | 1 | 10 |  | 63541 | 63541 | 63541 | 63541 | NaN |  |  | 2651.5716661961401 | 2651.5716661961401 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 495 | V1 | TNF-RI | G11 | 1 | 10 |  | 59157 | 59157 | 59157 | 59157 | NaN |  |  | 2470.4084498980101 | 2470.4084498980101 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 495 | V2 | TNF-RI | A12 | 1 | 10 |  | 55267 | 55267 | 55267 | 55267 | NaN |  |  | 2309.5565476844199 | 2309.5565476844199 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 496 | V2 | TNF-RI | B12 | 1 | 10 |  | 71161 | 71161 | 71161 | 71161 | NaN |  |  | 2966.20101305651 | 2966.20101305651 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 90 | V1 | TNF-RI | B03 | 1 | 10 |  | 104308 | 104308 | 104308 | 104308 | NaN |  |  | 4332.06023887828 | 4332.06023887828 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 91 | V1 | TNF-RI | C03 | 1 | 10 |  | 303689 | 303689 | 303689 | 303689 | NaN |  |  | 12524.6507400679 | 12524.6507400679 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 92 | V1 | TNF-RI | D03 | 1 | 10 |  | 175600 | 175600 | 175600 | 175600 | NaN |  |  | 7262.1804217563003 | 7262.1804217563003 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 92 | V2 | TNF-RI | E03 | 1 | 10 |  | 85734 | 85734 | 85734 | 85734 | NaN |  |  | 3567.1702066078101 | 3567.1702066078101 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 93 | V1 | TNF-RI | F03 | 1 | 10 |  | 220311 | 220311 | 220311 | 220311 | NaN |  |  | 9098.3571034471206 | 9098.3571034471206 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 93 | V2 | TNF-RI | G03 | 1 | 10 |  | 137065 | 137065 | 137065 | 137065 | NaN |  |  | 5679.1255798472102 | 5679.1255798472102 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 94 | V2 | TNF-RI | H03 | 1 | 10 |  | 28442 | 28442 | 28442 | 28442 | NaN |  |  | 1196.67457400596 | 1196.67457400596 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 95 | V1 | TNF-RI | B04 | 1 | 10 |  | 53866 | 53866 | 53866 | 53866 | NaN |  |  | 2251.5994793684999 | 2251.5994793684999 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 95 | V2 | TNF-RI | C04 | 1 | 10 |  | 55858 | 55858 | 55858 | 55858 | NaN |  |  | 2334.0010728341499 | 2334.0010728341499 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 96 | V1 | TNF-RI | D04 | 1 | 10 |  | 50620 | 50620 | 50620 | 50620 | NaN |  |  | 2117.2618402773801 | 2117.2618402773801 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 96 | V2 | TNF-RI | E04 | 1 | 10 |  | 29504 | 29504 | 29504 | 29504 | NaN |  |  | 1240.89789734076 | 1240.89789734076 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 97 | V1 | TNF-RI | F04 | 1 | 10 |  | 31578 | 31578 | 31578 | 31578 | NaN |  |  | 1327.21206777577 | 1327.21206777577 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 97 | V2 | TNF-RI | G04 | 1 | 10 |  | 43822 | 43822 | 43822 | 43822 | NaN |  |  | 1835.6417393501599 | 1835.6417393501599 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 98 | V1 | TNF-RI | H04 | 1 | 10 |  | 363759 | 363759 | 363759 | 363759 | NaN |  |  | 14997.051350366 | 14997.051350366 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 98 | V2 | TNF-RI | A05 | 1 | 10 |  | 318089 | 318089 | 318089 | 318089 | NaN |  |  | 13116.9709505918 | 13116.9709505918 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | 99 | V1 | TNF-RI | B05 | 1 | 10 |  | 69038 | 69038 | 69038 | 69038 | NaN |  |  | 2878.5728902021701 | 2878.5728902021701 | NaN | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | BLANK |  | TNF-RI | E12 | 1 |  |  | 64 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | BLANK |  | TNF-RI | F12 | 1 |  |  | 68 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | BLANK |  | TNF-RI | G12 | 1 |  |  | 67 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | BLANK |  | TNF-RI | D12 | 1 |  |  | 64 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | BLANK |  | TNF-RI | C12 | 1 |  |  | 66 | 66 |  |  | 2.7186236808508002 | [5 empty] | Unknown Range
Plate_23M14AK901_Set6 | QC |  | TNF-RI | H11 | 1 | 10 |  | 111637 | 108425 | 111637 | 108425 | 4.1894894741456099 |  |  | 4633.62332049409 | 4501.46392933883 | 4.1520182389684903 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | QC |  | TNF-RI | A03 | 1 | 10 |  | 113815 | 113042 | 113815 | 113041.5 | 0.96769256467367204 |  |  | 4723.2181138188598 | 4691.3997092441396 | 0.95915978325142504 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | QC |  | TNF-RI | A04 | 1 | 10 |  | 112268 | 113042 | 112268 | 113041.5 | 0.96769256467367204 |  |  | 4659.5813046694202 | 4691.3997092441396 | 0.95915978325142504 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | QC |  | TNF-RI | H12 | 1 | 10 |  | 105213 | 108425 | 105213 | 108425 | 4.1894894741456099 |  |  | 4369.30453818357 | 4501.46392933883 | 4.1520182389684903 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 494476 | 484802 | 494476 | 484801.5 | 2.8221466124132202 | 101.9703 | 99.9689130902145 | 2039.40547795784 | 1999.3782618042901 | 2.8312317398765998 | Above Fit Curve Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 475127 | 484802 | 475127 | 484801.5 | 2.8221466124132202 | 97.9676 | 99.9689130902145 | 1959.3510456507299 | 1999.3782618042901 | 2.8312317398765998 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 124336 | 120858 | 124336 | 120857.5 | 4.0703654110955503 | 103.1177 | 100.25694568761701 | 515.58870010543399 | 501.28472843808697 | 4.0354053455394103 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 117379 | 120858 | 117379 | 120857.5 | 4.0703654110955503 | 97.3962 | 100.25694568761701 | 486.98075677073899 | 501.28472843808697 | 4.0354053455394103 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 28102 | 29522 | 28102 | 29522 | 6.8023279539658397 | 94.601 | 99.330517281947905 | 118.251257808945 | 124.163146602434 | 6.7336190647337801 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 30942 | 29522 | 30942 | 29522 | 6.8023279539658397 | 104.06 | 99.330517281947905 | 130.075035395924 | 124.163146602434 | 6.7336190647337801 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 7294 | 7381 | 7294 | 7380.5 | 1.6574686423043501 | 99.3048 | 100.476624385554 | 31.032754589334601 | 31.398945120485902 | 1.6493280700337101 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 7467 | 7381 | 7467 | 7380.5 | 1.6574686423043501 | 101.6484 | 100.476624385554 | 31.765135651637099 | 31.398945120485902 | 1.6493280700337101 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1865 | 1861 | 1865 | 1860.5 | 0.34205649183976999 | 100.9658 | 100.717554982313 | 7.8879540149940004 | 7.8685589829932603 | 0.34858628317307599 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1856 | 1861 | 1856 | 1860.5 | 0.34205649183976999 | 100.4693 | 100.717554982313 | 7.8491639509925299 | 7.8685589829932603 | 0.34858628317307599 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 495 | 492 | 495 | 491.5 | 1.0070696781904001 | 99.3942 | 98.607433089076295 | 1.94129339941288 | 1.9259264275210199 | 1.1284013631846901 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 488 | 492 | 488 | 491.5 | 1.0070696781904001 | 97.8206 | 98.607433089076295 | 1.9105594556291501 | 1.9259264275210199 | 1.1284013631846901 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 170 | 168 | 170 | 167.5 | 2.1107665110046101 | 103.3361 | 101.047305965828 | 0.50457065564709003 | 0.49339504866127099 | 3.2032536625530099 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 165 | 168 | 165 | 167.5 | 2.1107665110046101 | 98.7585 | 101.047305965828 | 0.482219441675452 | 0.49339504866127099 | 3.2032536625530099 | In Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 60 | 59 | 60 | 58.5 | 3.6261886214694701 |  | NaN | 6.8718651266084698E-3 | NaN | NaN | Below Detection Range | 2000 | 0.17223
Plate_23M14AK901_Set6 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 57 | 59 | 57 | 58.5 | 3.6261886214694701 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.17223

## WideData
Sample | TNF-RI_V1 | TNF-RI_V2 | Sample | n | TNF-RI | Sample | TNF-RI
90 | 4332.06023887828 |  | STD1 | 2 | 1999.3782618042901 | QC | 4596.4318
91 | 12524.6507400679 |  | STD2 | 2 | 501.28472843808697
92 | 7262.1804217563003 | 3567.1702066078101 | STD3 | 2 | 124.163146602434
93 | 9098.3571034471206 | 5679.1255798472102 | STD4 | 2 | 31.398945120485902
94 |  | 1196.67457400596 | STD5 | 2 | 7.8685589829932603
95 | 2251.5994793684999 | 2334.0010728341499 | STD6 | 2 | 1.9259264275210199
96 | 2117.2618402773801 | 1240.89789734076 | STD7 | 2 | 0.49339504866127099
97 | 1327.21206777577 | 1835.6417393501599 | STD8 | 2 | NaN
98 | 14997.051350366 | 13116.9709505918
99 | 2878.5728902021701
100 | 4764.5157167523603 | 5009.5474304467798
101 | 1681.76539830821 | 1843.6014161906
102 | 3243.51630043453 | 2462.0581924212302
104 | 1941.65950222985
105 | 4528.9189448717298 | 4020.4847291689598
273 | 7790.89185043625 | 5929.8001055023897
274 | 4235.0098642879802 | 5847.04092309102
275 | 9036.8343057690108
276 |  | 3929.44006464125
277 | 6464.2332931040601
278 | 3675.2515718848399 | 1512.2044530442299
279 | 2459.6192064161801 | 2306.99200550061
280 |  | 1992.57504329689
281 | 1667.53185806438 | 1886.2543480619499
282 | 1793.51582977261 | 963.86438065870504
283 | 5312.4838004199501 | 4437.2035147131801
284 | 1248.1834481958399
285 |  | 2872.09172340541
286 | 2782.6633724396502 | 2818.5450079602101
287 |  | 2239.9732626303398
480 | 13639.1751804585 | 8169.2798647088703
481 |  | 1334.2009710042
482 | 2301.4078278687398
483 | 1315.93743910178
484 | 2877.9123948636402 | 3343.1403812557101
485 | 1534.34481638341
486 | 873.95911180036001
487 | 1850.1927565224501
488 | 2630.3785395099699 | 1955.9950837676499
489 | 1176.38900378481
490 | 6366.1328910126003 | 4379.67497777072
491 | 1114.34100060529 | 1123.7611132908801
492 | 1026.2634655281399
493 |  | 3906.1309872596098
494 | 2651.5716661961401
495 | 2470.4084498980101 | 2309.5565476844199
496 |  | 2966.20101305651

## WideSampleData
Sample | TNF-RI_V1 | TNF-RI_V2
90 | 4332.06023887828
91 | 12524.6507400679
92 | 7262.1804217563003 | 3567.1702066078101
93 | 9098.3571034471206 | 5679.1255798472102
94 |  | 1196.67457400596
95 | 2251.5994793684999 | 2334.0010728341499
96 | 2117.2618402773801 | 1240.89789734076
97 | 1327.21206777577 | 1835.6417393501599
98 | 14997.051350366 | 13116.9709505918
99 | 2878.5728902021701
100 | 4764.5157167523603 | 5009.5474304467798
101 | 1681.76539830821 | 1843.6014161906
102 | 3243.51630043453 | 2462.0581924212302
104 | 1941.65950222985
105 | 4528.9189448717298 | 4020.4847291689598
273 | 7790.89185043625 | 5929.8001055023897
274 | 4235.0098642879802 | 5847.04092309102
275 | 9036.8343057690108
276 |  | 3929.44006464125
277 | 6464.2332931040601
278 | 3675.2515718848399 | 1512.2044530442299
279 | 2459.6192064161801 | 2306.99200550061
280 |  | 1992.57504329689
281 | 1667.53185806438 | 1886.2543480619499
282 | 1793.51582977261 | 963.86438065870504
283 | 5312.4838004199501 | 4437.2035147131801
284 | 1248.1834481958399
285 |  | 2872.09172340541
286 | 2782.6633724396502 | 2818.5450079602101
287 |  | 2239.9732626303398
480 | 13639.1751804585 | 8169.2798647088703
481 |  | 1334.2009710042
482 | 2301.4078278687398
483 | 1315.93743910178
484 | 2877.9123948636402 | 3343.1403812557101
485 | 1534.34481638341
486 | 873.95911180036001
487 | 1850.1927565224501
488 | 2630.3785395099699 | 1955.9950837676499
489 | 1176.38900378481
490 | 6366.1328910126003 | 4379.67497777072
491 | 1114.34100060529 | 1123.7611132908801
492 | 1026.2634655281399
493 |  | 3906.1309872596098
494 | 2651.5716661961401
495 | 2470.4084498980101 | 2309.5565476844199
496 |  | 2966.20101305651

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | In Detection Range
90 | V1 | B03 | 104308 | TNF-RI | 4332.06023887828 | In Detection Range | STD1 | A01 | 494476 | TNF-RI | 2039.40547795784 | Above Fit Curve Range | QC | H11 | 111637 | TNF-RI | 4633.62332049409 | In Detection Range | 71
91 | V1 | C03 | 303689 | TNF-RI | 12524.6507400679 | In Detection Range | STD1 | A02 | 475127 | TNF-RI | 1959.3510456507299 | In Detection Range | QC | A03 | 113815 | TNF-RI | 4723.2181138188598 | In Detection Range
92 | V1 | D03 | 175600 | TNF-RI | 7262.1804217563003 | In Detection Range | STD2 | B01 | 124336 | TNF-RI | 515.58870010543399 | In Detection Range | QC | A04 | 112268 | TNF-RI | 4659.5813046694202 | In Detection Range
92 | V2 | E03 | 85734 | TNF-RI | 3567.1702066078101 | In Detection Range | STD2 | B02 | 117379 | TNF-RI | 486.98075677073899 | In Detection Range | QC | H12 | 105213 | TNF-RI | 4369.30453818357 | In Detection Range
93 | V1 | F03 | 220311 | TNF-RI | 9098.3571034471206 | In Detection Range | STD3 | C02 | 28102 | TNF-RI | 118.251257808945 | In Detection Range
93 | V2 | G03 | 137065 | TNF-RI | 5679.1255798472102 | In Detection Range | STD3 | C01 | 30942 | TNF-RI | 130.075035395924 | In Detection Range
94 | V2 | H03 | 28442 | TNF-RI | 1196.67457400596 | In Detection Range | STD4 | D02 | 7294 | TNF-RI | 31.032754589334601 | In Detection Range
95 | V1 | B04 | 53866 | TNF-RI | 2251.5994793684999 | In Detection Range | STD4 | D01 | 7467 | TNF-RI | 31.765135651637099 | In Detection Range
95 | V2 | C04 | 55858 | TNF-RI | 2334.0010728341499 | In Detection Range | STD5 | E01 | 1865 | TNF-RI | 7.8879540149940004 | In Detection Range
96 | V1 | D04 | 50620 | TNF-RI | 2117.2618402773801 | In Detection Range | STD5 | E02 | 1856 | TNF-RI | 7.8491639509925299 | In Detection Range
96 | V2 | E04 | 29504 | TNF-RI | 1240.89789734076 | In Detection Range | STD6 | F01 | 495 | TNF-RI | 1.94129339941288 | In Detection Range
97 | V1 | F04 | 31578 | TNF-RI | 1327.21206777577 | In Detection Range | STD6 | F02 | 488 | TNF-RI | 1.9105594556291501 | In Detection Range
97 | V2 | G04 | 43822 | TNF-RI | 1835.6417393501599 | In Detection Range | STD7 | G01 | 170 | TNF-RI | 0.50457065564709003 | In Detection Range
98 | V1 | H04 | 363759 | TNF-RI | 14997.051350366 | In Detection Range | STD7 | G02 | 165 | TNF-RI | 0.482219441675452 | In Detection Range
98 | V2 | A05 | 318089 | TNF-RI | 13116.9709505918 | In Detection Range | STD8 | H02 | 60 | TNF-RI | 6.8718651266084698E-3 | Below Detection Range
99 | V1 | B05 | 69038 | TNF-RI | 2878.5728902021701 | In Detection Range | STD8 | H01 | 57 | TNF-RI | NaN | Below Fit Curve Range
100 | V1 | C05 | 114819 | TNF-RI | 4764.5157167523603 | In Detection Range
100 | V2 | D05 | 120777 | TNF-RI | 5009.5474304467798 | In Detection Range
101 | V1 | E05 | 40112 | TNF-RI | 1681.76539830821 | In Detection Range
101 | V2 | F05 | 44014 | TNF-RI | 1843.6014161906 | In Detection Range
102 | V1 | G05 | 77883 | TNF-RI | 3243.51630043453 | In Detection Range
102 | V2 | H05 | 58955 | TNF-RI | 2462.0581924212302 | In Detection Range
104 | V1 | A06 | 46380 | TNF-RI | 1941.65950222985 | In Detection Range
105 | V1 | B06 | 109092 | TNF-RI | 4528.9189448717298 | In Detection Range
105 | V2 | C06 | 96739 | TNF-RI | 4020.4847291689598 | In Detection Range
273 | V1 | D06 | 188474 | TNF-RI | 7790.89185043625 | In Detection Range
273 | V2 | E06 | 143165 | TNF-RI | 5929.8001055023897 | In Detection Range
274 | V1 | F06 | 101950 | TNF-RI | 4235.0098642879802 | In Detection Range
274 | V2 | G06 | 141151 | TNF-RI | 5847.04092309102 | In Detection Range
275 | V1 | H06 | 218813 | TNF-RI | 9036.8343057690108 | In Detection Range
276 | V2 | A07 | 94528 | TNF-RI | 3929.44006464125 | In Detection Range
277 | V1 | B07 | 156173 | TNF-RI | 6464.2332931040601 | In Detection Range
278 | V1 | C07 | 88357 | TNF-RI | 3675.2515718848399 | In Detection Range
278 | V2 | D07 | 36028 | TNF-RI | 1512.2044530442299 | In Detection Range
279 | V1 | E07 | 58896 | TNF-RI | 2459.6192064161801 | In Detection Range
279 | V2 | F07 | 55205 | TNF-RI | 2306.99200550061 | In Detection Range
280 | V2 | G07 | 47609 | TNF-RI | 1992.57504329689 | In Detection Range
281 | V1 | H07 | 39769 | TNF-RI | 1667.53185806438 | In Detection Range
281 | V2 | A08 | 45043 | TNF-RI | 1886.2543480619499 | In Detection Range
282 | V1 | B08 | 42806 | TNF-RI | 1793.51582977261 | In Detection Range
282 | V2 | C08 | 22859 | TNF-RI | 963.86438065870504 | In Detection Range
283 | V1 | D08 | 128145 | TNF-RI | 5312.4838004199501 | In Detection Range
283 | V2 | E08 | 106863 | TNF-RI | 4437.2035147131801 | In Detection Range
284 | V1 | F08 | 29679 | TNF-RI | 1248.1834481958399 | In Detection Range
285 | V2 | G08 | 68881 | TNF-RI | 2872.09172340541 | In Detection Range
286 | V1 | H08 | 66715 | TNF-RI | 2782.6633724396502 | In Detection Range
286 | V2 | A09 | 67584 | TNF-RI | 2818.5450079602101 | In Detection Range
287 | V2 | B09 | 53585 | TNF-RI | 2239.9732626303398 | In Detection Range
480 | V1 | C09 | 330780 | TNF-RI | 13639.1751804585 | In Detection Range
480 | V2 | D09 | 197688 | TNF-RI | 8169.2798647088703 | In Detection Range
481 | V2 | E09 | 31746 | TNF-RI | 1334.2009710042 | In Detection Range
482 | V1 | F09 | 55070 | TNF-RI | 2301.4078278687398 | In Detection Range
483 | V1 | G09 | 31307 | TNF-RI | 1315.93743910178 | In Detection Range
484 | V1 | H09 | 69022 | TNF-RI | 2877.9123948636402 | In Detection Range
484 | V2 | A10 | 80299 | TNF-RI | 3343.1403812557101 | In Detection Range
485 | V1 | B10 | 36561 | TNF-RI | 1534.34481638341 | In Detection Range
486 | V1 | C10 | 20707 | TNF-RI | 873.95911180036001 | In Detection Range
487 | V1 | D10 | 44173 | TNF-RI | 1850.1927565224501 | In Detection Range
488 | V1 | E10 | 63028 | TNF-RI | 2630.3785395099699 | In Detection Range
488 | V2 | F10 | 46726 | TNF-RI | 1955.9950837676499 | In Detection Range
489 | V1 | G10 | 27955 | TNF-RI | 1176.38900378481 | In Detection Range
490 | V1 | H10 | 153785 | TNF-RI | 6366.1328910126003 | In Detection Range
490 | V2 | A11 | 105465 | TNF-RI | 4379.67497777072 | In Detection Range
491 | V1 | B11 | 26466 | TNF-RI | 1114.34100060529 | In Detection Range
491 | V2 | C11 | 26692 | TNF-RI | 1123.7611132908801 | In Detection Range
492 | V1 | D11 | 24354 | TNF-RI | 1026.2634655281399 | In Detection Range
493 | V2 | E11 | 93962 | TNF-RI | 3906.1309872596098 | In Detection Range
494 | V1 | F11 | 63541 | TNF-RI | 2651.5716661961401 | In Detection Range
495 | V1 | G11 | 59157 | TNF-RI | 2470.4084498980101 | In Detection Range
495 | V2 | A12 | 55267 | TNF-RI | 2309.5565476844199 | In Detection Range
496 | V2 | B12 | 71161 | TNF-RI | 2966.20101305651 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
90 | V1 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 2.8312317398765998 | 2 | QC | TNF-RI | 2.5556 | 4
91 | V1 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 4.0354053455394103 | 2
92 | V1 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 6.7336190647337801 | 2
92 | V2 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 1.6493280700337101 | 2
93 | V1 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 0.34858628317307599 | 2
93 | V2 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 1.1284013631846901 | 2
94 | V2 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 3.2032536625530099 | 2
95 | V1 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
95 | V2 | TNF-RI | NaN | 1
96 | V1 | TNF-RI | NaN | 1
96 | V2 | TNF-RI | NaN | 1
97 | V1 | TNF-RI | NaN | 1
97 | V2 | TNF-RI | NaN | 1
98 | V1 | TNF-RI | NaN | 1
98 | V2 | TNF-RI | NaN | 1
99 | V1 | TNF-RI | NaN | 1
100 | V1 | TNF-RI | NaN | 1
100 | V2 | TNF-RI | NaN | 1
101 | V1 | TNF-RI | NaN | 1
101 | V2 | TNF-RI | NaN | 1
102 | V1 | TNF-RI | NaN | 1
102 | V2 | TNF-RI | NaN | 1
104 | V1 | TNF-RI | NaN | 1
105 | V1 | TNF-RI | NaN | 1
105 | V2 | TNF-RI | NaN | 1
273 | V1 | TNF-RI | NaN | 1
273 | V2 | TNF-RI | NaN | 1
274 | V1 | TNF-RI | NaN | 1
274 | V2 | TNF-RI | NaN | 1
275 | V1 | TNF-RI | NaN | 1
276 | V2 | TNF-RI | NaN | 1
277 | V1 | TNF-RI | NaN | 1
278 | V1 | TNF-RI | NaN | 1
278 | V2 | TNF-RI | NaN | 1
279 | V1 | TNF-RI | NaN | 1
279 | V2 | TNF-RI | NaN | 1
280 | V2 | TNF-RI | NaN | 1
281 | V1 | TNF-RI | NaN | 1
281 | V2 | TNF-RI | NaN | 1
282 | V1 | TNF-RI | NaN | 1
282 | V2 | TNF-RI | NaN | 1
283 | V1 | TNF-RI | NaN | 1
283 | V2 | TNF-RI | NaN | 1
284 | V1 | TNF-RI | NaN | 1
285 | V2 | TNF-RI | NaN | 1
286 | V1 | TNF-RI | NaN | 1
286 | V2 | TNF-RI | NaN | 1
287 | V2 | TNF-RI | NaN | 1
480 | V1 | TNF-RI | NaN | 1
480 | V2 | TNF-RI | NaN | 1
481 | V2 | TNF-RI | NaN | 1
482 | V1 | TNF-RI | NaN | 1
483 | V1 | TNF-RI | NaN | 1
484 | V1 | TNF-RI | NaN | 1
484 | V2 | TNF-RI | NaN | 1
485 | V1 | TNF-RI | NaN | 1
486 | V1 | TNF-RI | NaN | 1
487 | V1 | TNF-RI | NaN | 1
488 | V1 | TNF-RI | NaN | 1
488 | V2 | TNF-RI | NaN | 1
489 | V1 | TNF-RI | NaN | 1
490 | V1 | TNF-RI | NaN | 1
490 | V2 | TNF-RI | NaN | 1
491 | V1 | TNF-RI | NaN | 1
491 | V2 | TNF-RI | NaN | 1
492 | V1 | TNF-RI | NaN | 1
493 | V2 | TNF-RI | NaN | 1
494 | V1 | TNF-RI | NaN | 1
495 | V1 | TNF-RI | NaN | 1
495 | V2 | TNF-RI | NaN | 1
496 | V2 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].