## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14ALI84_Set5 | 257_V1 | TNF-RI | C06 | 1 | 10 |  | 31110 | 31110 | 31110 | 31110 | NaN |  |  | 1802.6520391312899 | 1802.6520391312899 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 257_V2 | TNF-RI | D06 | 1 | 10 |  | 45806 | 45806 | 45806 | 45806 | NaN |  |  | 2635.3648552519799 | 2635.3648552519799 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 258_V1 | TNF-RI | E06 | 1 | 10 |  | 38875 | 38875 | 38875 | 38875 | NaN |  |  | 2242.9381112985998 | 2242.9381112985998 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 258_V2 | TNF-RI | F06 | 1 | 10 |  | 38161 | 38161 | 38161 | 38161 | NaN |  |  | 2202.4894460281398 | 2202.4894460281398 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 259_V1 | TNF-RI | G06 | 1 | 10 |  | 61639 | 61639 | 61639 | 61639 | NaN |  |  | 3531.5475377960702 | 3531.5475377960702 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 259_V2 | TNF-RI | H06 | 1 | 10 |  | 52902 | 52902 | 52902 | 52902 | NaN |  |  | 3036.9522585746199 | 3036.9522585746199 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 260_V1 | TNF-RI | A07 | 1 | 10 |  | 59064 | 59064 | 59064 | 59064 | NaN |  |  | 3385.7414621991802 | 3385.7414621991802 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 260_V2 | TNF-RI | B07 | 1 | 10 |  | 40548 | 40548 | 40548 | 40548 | NaN |  |  | 2337.6945109158 | 2337.6945109158 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 261_V1 | TNF-RI | C07 | 1 | 10 |  | 62450 | 62450 | 62450 | 62450 | NaN |  |  | 3577.4781046707599 | 3577.4781046707599 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 262_V1 | TNF-RI | D07 | 1 | 10 |  | 29799 | 29799 | 29799 | 29799 | NaN |  |  | 1728.20578016845 | 1728.20578016845 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 262_V2 | TNF-RI | E07 | 1 | 10 |  | 41647 | 41647 | 41647 | 41647 | NaN |  |  | 2399.9268234122801 | 2399.9268234122801 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 263_V1 | TNF-RI | F07 | 1 | 10 |  | 101605 | 101605 | 101605 | 101605 | NaN |  |  | 5804.1715228472603 | 5804.1715228472603 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 265_V1 | TNF-RI | G07 | 1 | 10 |  | 108816 | 108816 | 108816 | 108816 | NaN |  |  | 6216.9529529953898 | 6216.9529529953898 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 265_V2 | TNF-RI | H07 | 1 | 10 |  | 59551 | 59551 | 59551 | 59551 | NaN |  |  | 3413.31422427599 | 3413.31422427599 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 266_V1 | TNF-RI | A08 | 1 | 10 |  | 33280 | 33280 | 33280 | 33280 | NaN |  |  | 1925.7954321525201 | 1925.7954321525201 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 266_V2 | TNF-RI | B08 | 1 | 10 |  | 49100 | 49100 | 49100 | 49100 | NaN |  |  | 2821.7887793273599 | 2821.7887793273599 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 267_V1 | TNF-RI | C08 | 1 | 10 |  | 98631 | 98631 | 98631 | 98631 | NaN |  |  | 5634.2167051711704 | 5634.2167051711704 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 268_V1 | TNF-RI | D08 | 1 | 10 |  | 269186 | 269186 | 269186 | 269186 | NaN |  |  | 15744.6467766347 | 15744.6467766347 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 268_V2 | TNF-RI | E08 | 1 | 10 |  | 145369 | 145369 | 145369 | 145369 | NaN |  |  | 8326.5252490652401 | 8326.5252490652401 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 269_V2 | TNF-RI | F08 | 1 | 10 |  | 29553 | 29553 | 29553 | 29553 | NaN |  |  | 1714.23185450866 | 1714.23185450866 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 270_V1 | TNF-RI | G08 | 1 | 10 |  | 36753 | 36753 | 36753 | 36753 | NaN |  |  | 2122.7075917407301 | 2122.7075917407301 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 270_V2 | TNF-RI | H08 | 1 | 10 |  | 23498 | 23498 | 23498 | 23498 | NaN |  |  | 1369.7124898854399 | 1369.7124898854399 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 271_V1 | TNF-RI | A09 | 1 | 10 |  | 64271 | 64271 | 64271 | 64271 | NaN |  |  | 3680.62673180199 | 3680.62673180199 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 271_V2 | TNF-RI | B09 | 1 | 10 |  | 32188 | 32188 | 32188 | 32188 | NaN |  |  | 1863.8384135777201 | 1863.8384135777201 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 462_V1 | TNF-RI | C09 | 1 | 10 |  | 30343 | 30343 | 30343 | 30343 | NaN |  |  | 1759.10219358212 | 1759.10219358212 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 462_V2 | TNF-RI | D09 | 1 | 10 |  | 39284 | 39284 | 39284 | 39284 | NaN |  |  | 2266.1058279562999 | 2266.1058279562999 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 463_V2 | TNF-RI | E09 | 1 | 10 |  | 35108 | 35108 | 35108 | 35108 | NaN |  |  | 2029.4629482704399 | 2029.4629482704399 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 464_V1 | TNF-RI | F09 | 1 | 10 |  | 66633 | 66633 | 66633 | 66633 | NaN |  |  | 3814.4589715930701 | 3814.4589715930701 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 464_V2 | TNF-RI | G09 | 1 | 10 |  | 55663 | 55663 | 55663 | 55663 | NaN |  |  | 3193.2170180768198 | 3193.2170180768198 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 465_V1 | TNF-RI | H09 | 1 | 10 |  | 36303 | 36303 | 36303 | 36303 | NaN |  |  | 2097.2037612137201 | 2097.2037612137201 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 465_V2 | TNF-RI | A10 | 1 | 10 |  | 31647 | 31647 | 31647 | 31647 | NaN |  |  | 1833.13478784993 | 1833.13478784993 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 466_V1 | TNF-RI | B10 | 1 | 10 |  | 123614 | 123614 | 123614 | 123614 | NaN |  |  | 7067.3580794919699 | 7067.3580794919699 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 467_V1 | TNF-RI | C10 | 1 | 10 |  | 264983 | 264983 | 264983 | 264983 | NaN |  |  | 15484.8964119621 | 15484.8964119621 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 468_V2 | TNF-RI | D10 | 1 | 10 |  | 43763 | 43763 | 43763 | 43763 | NaN |  |  | 2519.7237973400502 | 2519.7237973400502 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 469_V1 | TNF-RI | E10 | 1 | 10 |  | 232512 | 232512 | 232512 | 232512 | NaN |  |  | 13498.133965728 | 13498.133965728 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 470_V1 | TNF-RI | F10 | 1 | 10 |  | 234110 | 234110 | 234110 | 234110 | NaN |  |  | 13595.0990055983 | 13595.0990055983 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 470_V2 | TNF-RI | G10 | 1 | 10 |  | 176936 | 176936 | 176936 | 176936 | NaN |  |  | 10174.846691738399 | 10174.846691738399 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 471_V2 | TNF-RI | H10 | 1 | 10 |  | 58907 | 58907 | 58907 | 58907 | NaN |  |  | 3376.8527755980199 | 3376.8527755980199 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 472_V2 | TNF-RI | A11 | 1 | 10 |  | 24761 | 24761 | 24761 | 24761 | NaN |  |  | 1441.67797376516 | 1441.67797376516 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 473_V1 | TNF-RI | B11 | 1 | 10 |  | 35264 | 35264 | 35264 | 35264 | NaN |  |  | 2038.30730920172 | 2038.30730920172 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 473_V2 | TNF-RI | C11 | 1 | 10 |  | 28688 | 28688 | 28688 | 28688 | NaN |  |  | 1665.08354978795 | 1665.08354978795 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 474_V2 | TNF-RI | D11 | 1 | 10 |  | 40547 | 40547 | 40547 | 40547 | NaN |  |  | 2337.6378800643101 | 2337.6378800643101 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 475_V1 | TNF-RI | E11 | 1 | 10 |  | 12830 | 12830 | 12830 | 12830 | NaN |  |  | 758.35957533378405 | 758.35957533378405 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 476_V2 | TNF-RI | F11 | 1 | 10 |  | 99320 | 99320 | 99320 | 99320 | NaN |  |  | 5673.5764759620097 | 5673.5764759620097 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 477_V1 | TNF-RI | G11 | 1 | 10 |  | 29508 | 29508 | 29508 | 29508 | NaN |  |  | 1711.6754841166801 | 1711.6754841166801 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 478_V2 | TNF-RI | A12 | 1 | 10 |  | 39227 | 39227 | 39227 | 39227 | NaN |  |  | 2262.87717834369 | 2262.87717834369 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 479_V1 | TNF-RI | B12 | 1 | 10 |  | 120253 | 120253 | 120253 | 120253 | NaN |  |  | 6873.7987429283503 | 6873.7987429283503 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 479_V2 | TNF-RI | C12 | 1 | 10 |  | 46830 | 46830 | 46830 | 46830 | NaN |  |  | 2693.3208584757199 | 2693.3208584757199 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 70_V1 | TNF-RI | B03 | 1 | 10 |  | 42662 | 42662 | 42662 | 42662 | NaN |  |  | 2457.3944628894901 | 2457.3944628894901 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 70_V2 | TNF-RI | C03 | 1 | 10 |  | 43768 | 43768 | 43768 | 43768 | NaN |  |  | 2520.00683932109 | 2520.00683932109 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 71_V1 | TNF-RI | D03 | 1 | 10 |  | 67934 | 67934 | 67934 | 67934 | NaN |  |  | 3888.19516287647 | 3888.19516287647 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 71_V2 | TNF-RI | E03 | 1 | 10 |  | 43993 | 43993 | 43993 | 43993 | NaN |  |  | 2532.7435910863201 | 2532.7435910863201 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 72_V1 | TNF-RI | F03 | 1 | 10 |  | 42194 | 42194 | 42194 | 42194 | NaN |  |  | 2430.8979577235 | 2430.8979577235 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 73_V1 | TNF-RI | G03 | 1 | 10 |  | 39138 | 39138 | 39138 | 39138 | NaN |  |  | 2257.83588742756 | 2257.83588742756 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 74_V1 | TNF-RI | H03 | 1 | 10 |  | 60448 | 60448 | 60448 | 60448 | NaN |  |  | 3464.1037193286602 | 3464.1037193286602 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 74_V2 | TNF-RI | B04 | 1 | 10 |  | 42769 | 42769 | 42769 | 42769 | NaN |  |  | 2463.4522224482298 | 2463.4522224482298 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 76_V1 | TNF-RI | C04 | 1 | 10 |  | 45634 | 45634 | 45634 | 45634 | NaN |  |  | 2625.6297186116599 | 2625.6297186116599 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 77_V1 | TNF-RI | D04 | 1 | 10 |  | 113318 | 113318 | 113318 | 113318 | NaN |  |  | 6475.1847782609402 | 6475.1847782609402 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 79_V1 | TNF-RI | E04 | 1 | 10 |  | 67590 | 67590 | 67590 | 67590 | NaN |  |  | 3868.6969169143999 | 3868.6969169143999 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 80_V1 | TNF-RI | F04 | 1 | 10 |  | 22716 | 22716 | 22716 | 22716 | NaN |  |  | 1325.12181179958 | 1325.12181179958 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 80_V2 | TNF-RI | G04 | 1 | 10 |  | 26187 | 26187 | 26187 | 26187 | NaN |  |  | 1522.86015688353 | 1522.86015688353 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 81_V1 | TNF-RI | H04 | 1 | 10 |  | 58114 | 58114 | 58114 | 58114 | NaN |  |  | 3331.9583599738498 | 3331.9583599738498 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 81_V2 | TNF-RI | A05 | 1 | 10 |  | 40670 | 40670 | 40670 | 40670 | NaN |  |  | 2344.6034101726 | 2344.6034101726 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 82_V1 | TNF-RI | B05 | 1 | 10 |  | 30514 | 30514 | 30514 | 30514 | NaN |  |  | 1768.8126560042999 | 1768.8126560042999 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 83_V1 | TNF-RI | C05 | 1 | 10 |  | 52677 | 52677 | 52677 | 52677 | NaN |  |  | 3024.2186703380298 | 3024.2186703380298 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 83_V2 | TNF-RI | D05 | 1 | 10 |  | 33036 | 33036 | 33036 | 33036 | NaN |  |  | 1911.95353588698 | 1911.95353588698 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 84_V1 | TNF-RI | E05 | 1 | 10 |  | 62759 | 62759 | 62759 | 62759 | NaN |  |  | 3594.9793639848399 | 3594.9793639848399 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 84_V2 | TNF-RI | F05 | 1 | 10 |  | 167956 | 167956 | 167956 | 167956 | NaN |  |  | 9646.3332654153801 | 9646.3332654153801 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 85_V2 | TNF-RI | G05 | 1 | 10 |  | 113535 | 113535 | 113535 | 113535 | NaN |  |  | 6487.6422516123803 | 6487.6422516123803 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 86_V2 | TNF-RI | H05 | 1 | 10 |  | 52843 | 52843 | 52843 | 52843 | NaN |  |  | 3033.6132204249002 | 3033.6132204249002 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 87_V2 | TNF-RI | A06 | 1 | 10 |  | 38418 | 38418 | 38418 | 38418 | NaN |  |  | 2217.0493482809002 | 2217.0493482809002 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 89_V2 | TNF-RI | B06 | 1 | 10 |  | 26103 | 26103 | 26103 | 26103 | NaN |  |  | 1518.07998300606 | 1518.07998300606 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | BLANK | TNF-RI | E12 | 1 |  |  | 51 | 54 |  |  | 6.33196212609678 | [5 empty] | Unknown Range
Plate_23M14ALI84_Set5 | BLANK | TNF-RI | F12 | 1 |  |  | 51 | 54 |  |  | 6.33196212609678 | [5 empty] | Unknown Range
Plate_23M14ALI84_Set5 | BLANK | TNF-RI | G12 | 1 |  |  | 58 | 54 |  |  | 6.33196212609678 | [5 empty] | Unknown Range
Plate_23M14ALI84_Set5 | BLANK | TNF-RI | D12 | 1 |  |  | 55 | 54 |  |  | 6.33196212609678 | [5 empty] | Unknown Range
Plate_23M14ALI84_Set5 | QC | TNF-RI | H11 | 1 | 10 |  | 70896 | 67097 | 70896 | 67096.5 | 8.0083229829224702 |  |  | 4056.1318876782302 | 3840.7921718807002 | 7.92899831519148 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | QC | TNF-RI | A03 | 1 | 10 |  | 73303 | 71873 | 73303 | 71872.5 | 2.8147518188106799 |  |  | 4192.66942733825 | 4111.5275412520004 | 2.7909810801063899 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | QC | TNF-RI | A04 | 1 | 10 |  | 70442 | 71873 | 70442 | 71872.5 | 2.8147518188106799 |  |  | 4030.38565516575 | 4111.5275412520004 | 2.7909810801063899 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | QC | TNF-RI | H12 | 1 | 10 |  | 63297 | 67097 | 63297 | 67096.5 | 8.0083229829224702 |  |  | 3625.4524560831801 | 3840.7921718807002 | 7.92899831519148 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 338383 | 336513 | 338383 | 336512.5 | 0.78608862030946003 | 100.5585 | 99.956886996348402 | 2011.1690932892 | 1999.13773992696 | 0.85111209491765105 | Above Fit Curve Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 334642 | 336513 | 334642 | 336512.5 | 0.78608862030946003 | 99.3553 | 99.956886996348402 | 1987.10638656472 | 1999.13773992696 | 0.85111209491765105 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD2 | TNF-RI | B01 | 1 |  | 500 | 88534 | 87697 | 88534 | 87696.5 | 1.35057141218573 | 101.1673 | 100.21363499023001 | 505.83647354017501 | 501.06817495115303 | 1.3458033998458401 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD2 | TNF-RI | B02 | 1 |  | 500 | 86859 | 87697 | 86859 | 87696.5 | 1.35057141218573 | 99.26 | 100.21363499023001 | 496.29987636213201 | 501.06817495115303 | 1.3458033998458401 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD3 | TNF-RI | C02 | 1 |  | 125 | 21220 | 21367 | 21220 | 21367 | 0.97294610225508904 | 99.1793 | 99.8508442609768 | 123.974177372307 | 124.81355532622101 | 0.95106631910250505 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD3 | TNF-RI | C01 | 1 |  | 125 | 21514 | 21367 | 21514 | 21367 | 0.97294610225508904 | 100.5223 | 99.8508442609768 | 125.652933280135 | 124.81355532622101 | 0.95106631910250505 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 5271 | 5153 | 5271 | 5152.5 | 3.2524853399555802 | 101.6934 | 99.451033473067895 | 31.779172504969399 | 31.078447960333701 | 3.1886217605729898 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 5034 | 5153 | 5034 | 5152.5 | 3.2524853399555802 | 97.2087 | 99.451033473067895 | 30.377723415698 | 31.078447960333701 | 3.1886217605729898 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1251 | 1293 | 1251 | 1293 | 4.5937331492397497 | 97.6379 | 100.953710938257 | 7.6279635274928399 | 7.8870086670513597 | 4.6449188164446404 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1335 | 1293 | 1335 | 1293 | 4.5937331492397497 | 104.2695 | 100.953710938257 | 8.1460538066098795 | 7.8870086670513597 | 4.6449188164446404 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 336 | 346 | 336 | 346 | 4.08732243460432 | 96.2717 | 99.574534453228097 | 1.88030608916903 | 1.94481512603961 | 4.6909114196256603 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 356 | 346 | 356 | 346 | 4.08732243460432 | 102.8774 | 99.574534453228097 | 2.0093241629101901 | 1.94481512603961 | 4.6909114196256603 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 121 | 124 | 121 | 124 | 3.4214844250961902 | 95.7475 | 99.892493397649403 | 0.46751700510758998 | 0.48775631541821002 | 5.8682391656607598 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 127 | 124 | 127 | 124 | 3.4214844250961902 | 104.0375 | 99.892493397649403 | 0.50799562572882895 | 0.48775631541821002 | 5.8682391656607598 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD8 | TNF-RI | H02 | 1 |  | 0 | 50 | 54 | 50 | 54 | 10.4756560175784 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD8 | TNF-RI | H01 | 1 |  | 0 | 58 | 54 | 58 | 54 | 10.4756560175784 |  | NaN | 3.0692191071943899E-2 | NaN | NaN | Below Detection Range | 2000 | 0.26638

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14ALI84_Set5 | 257 | V1 | TNF-RI | C06 | 1 | 10 |  | 31110 | 31110 | 31110 | 31110 | NaN |  |  | 1802.6520391312899 | 1802.6520391312899 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 257 | V2 | TNF-RI | D06 | 1 | 10 |  | 45806 | 45806 | 45806 | 45806 | NaN |  |  | 2635.3648552519799 | 2635.3648552519799 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 258 | V1 | TNF-RI | E06 | 1 | 10 |  | 38875 | 38875 | 38875 | 38875 | NaN |  |  | 2242.9381112985998 | 2242.9381112985998 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 258 | V2 | TNF-RI | F06 | 1 | 10 |  | 38161 | 38161 | 38161 | 38161 | NaN |  |  | 2202.4894460281398 | 2202.4894460281398 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 259 | V1 | TNF-RI | G06 | 1 | 10 |  | 61639 | 61639 | 61639 | 61639 | NaN |  |  | 3531.5475377960702 | 3531.5475377960702 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 259 | V2 | TNF-RI | H06 | 1 | 10 |  | 52902 | 52902 | 52902 | 52902 | NaN |  |  | 3036.9522585746199 | 3036.9522585746199 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 260 | V1 | TNF-RI | A07 | 1 | 10 |  | 59064 | 59064 | 59064 | 59064 | NaN |  |  | 3385.7414621991802 | 3385.7414621991802 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 260 | V2 | TNF-RI | B07 | 1 | 10 |  | 40548 | 40548 | 40548 | 40548 | NaN |  |  | 2337.6945109158 | 2337.6945109158 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 261 | V1 | TNF-RI | C07 | 1 | 10 |  | 62450 | 62450 | 62450 | 62450 | NaN |  |  | 3577.4781046707599 | 3577.4781046707599 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 262 | V1 | TNF-RI | D07 | 1 | 10 |  | 29799 | 29799 | 29799 | 29799 | NaN |  |  | 1728.20578016845 | 1728.20578016845 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 262 | V2 | TNF-RI | E07 | 1 | 10 |  | 41647 | 41647 | 41647 | 41647 | NaN |  |  | 2399.9268234122801 | 2399.9268234122801 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 263 | V1 | TNF-RI | F07 | 1 | 10 |  | 101605 | 101605 | 101605 | 101605 | NaN |  |  | 5804.1715228472603 | 5804.1715228472603 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 265 | V1 | TNF-RI | G07 | 1 | 10 |  | 108816 | 108816 | 108816 | 108816 | NaN |  |  | 6216.9529529953898 | 6216.9529529953898 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 265 | V2 | TNF-RI | H07 | 1 | 10 |  | 59551 | 59551 | 59551 | 59551 | NaN |  |  | 3413.31422427599 | 3413.31422427599 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 266 | V1 | TNF-RI | A08 | 1 | 10 |  | 33280 | 33280 | 33280 | 33280 | NaN |  |  | 1925.7954321525201 | 1925.7954321525201 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 266 | V2 | TNF-RI | B08 | 1 | 10 |  | 49100 | 49100 | 49100 | 49100 | NaN |  |  | 2821.7887793273599 | 2821.7887793273599 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 267 | V1 | TNF-RI | C08 | 1 | 10 |  | 98631 | 98631 | 98631 | 98631 | NaN |  |  | 5634.2167051711704 | 5634.2167051711704 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 268 | V1 | TNF-RI | D08 | 1 | 10 |  | 269186 | 269186 | 269186 | 269186 | NaN |  |  | 15744.6467766347 | 15744.6467766347 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 268 | V2 | TNF-RI | E08 | 1 | 10 |  | 145369 | 145369 | 145369 | 145369 | NaN |  |  | 8326.5252490652401 | 8326.5252490652401 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 269 | V2 | TNF-RI | F08 | 1 | 10 |  | 29553 | 29553 | 29553 | 29553 | NaN |  |  | 1714.23185450866 | 1714.23185450866 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 270 | V1 | TNF-RI | G08 | 1 | 10 |  | 36753 | 36753 | 36753 | 36753 | NaN |  |  | 2122.7075917407301 | 2122.7075917407301 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 270 | V2 | TNF-RI | H08 | 1 | 10 |  | 23498 | 23498 | 23498 | 23498 | NaN |  |  | 1369.7124898854399 | 1369.7124898854399 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 271 | V1 | TNF-RI | A09 | 1 | 10 |  | 64271 | 64271 | 64271 | 64271 | NaN |  |  | 3680.62673180199 | 3680.62673180199 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 271 | V2 | TNF-RI | B09 | 1 | 10 |  | 32188 | 32188 | 32188 | 32188 | NaN |  |  | 1863.8384135777201 | 1863.8384135777201 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 462 | V1 | TNF-RI | C09 | 1 | 10 |  | 30343 | 30343 | 30343 | 30343 | NaN |  |  | 1759.10219358212 | 1759.10219358212 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 462 | V2 | TNF-RI | D09 | 1 | 10 |  | 39284 | 39284 | 39284 | 39284 | NaN |  |  | 2266.1058279562999 | 2266.1058279562999 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 463 | V2 | TNF-RI | E09 | 1 | 10 |  | 35108 | 35108 | 35108 | 35108 | NaN |  |  | 2029.4629482704399 | 2029.4629482704399 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 464 | V1 | TNF-RI | F09 | 1 | 10 |  | 66633 | 66633 | 66633 | 66633 | NaN |  |  | 3814.4589715930701 | 3814.4589715930701 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 464 | V2 | TNF-RI | G09 | 1 | 10 |  | 55663 | 55663 | 55663 | 55663 | NaN |  |  | 3193.2170180768198 | 3193.2170180768198 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 465 | V1 | TNF-RI | H09 | 1 | 10 |  | 36303 | 36303 | 36303 | 36303 | NaN |  |  | 2097.2037612137201 | 2097.2037612137201 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 465 | V2 | TNF-RI | A10 | 1 | 10 |  | 31647 | 31647 | 31647 | 31647 | NaN |  |  | 1833.13478784993 | 1833.13478784993 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 466 | V1 | TNF-RI | B10 | 1 | 10 |  | 123614 | 123614 | 123614 | 123614 | NaN |  |  | 7067.3580794919699 | 7067.3580794919699 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 467 | V1 | TNF-RI | C10 | 1 | 10 |  | 264983 | 264983 | 264983 | 264983 | NaN |  |  | 15484.8964119621 | 15484.8964119621 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 468 | V2 | TNF-RI | D10 | 1 | 10 |  | 43763 | 43763 | 43763 | 43763 | NaN |  |  | 2519.7237973400502 | 2519.7237973400502 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 469 | V1 | TNF-RI | E10 | 1 | 10 |  | 232512 | 232512 | 232512 | 232512 | NaN |  |  | 13498.133965728 | 13498.133965728 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 470 | V1 | TNF-RI | F10 | 1 | 10 |  | 234110 | 234110 | 234110 | 234110 | NaN |  |  | 13595.0990055983 | 13595.0990055983 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 470 | V2 | TNF-RI | G10 | 1 | 10 |  | 176936 | 176936 | 176936 | 176936 | NaN |  |  | 10174.846691738399 | 10174.846691738399 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 471 | V2 | TNF-RI | H10 | 1 | 10 |  | 58907 | 58907 | 58907 | 58907 | NaN |  |  | 3376.8527755980199 | 3376.8527755980199 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 472 | V2 | TNF-RI | A11 | 1 | 10 |  | 24761 | 24761 | 24761 | 24761 | NaN |  |  | 1441.67797376516 | 1441.67797376516 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 473 | V1 | TNF-RI | B11 | 1 | 10 |  | 35264 | 35264 | 35264 | 35264 | NaN |  |  | 2038.30730920172 | 2038.30730920172 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 473 | V2 | TNF-RI | C11 | 1 | 10 |  | 28688 | 28688 | 28688 | 28688 | NaN |  |  | 1665.08354978795 | 1665.08354978795 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 474 | V2 | TNF-RI | D11 | 1 | 10 |  | 40547 | 40547 | 40547 | 40547 | NaN |  |  | 2337.6378800643101 | 2337.6378800643101 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 475 | V1 | TNF-RI | E11 | 1 | 10 |  | 12830 | 12830 | 12830 | 12830 | NaN |  |  | 758.35957533378405 | 758.35957533378405 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 476 | V2 | TNF-RI | F11 | 1 | 10 |  | 99320 | 99320 | 99320 | 99320 | NaN |  |  | 5673.5764759620097 | 5673.5764759620097 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 477 | V1 | TNF-RI | G11 | 1 | 10 |  | 29508 | 29508 | 29508 | 29508 | NaN |  |  | 1711.6754841166801 | 1711.6754841166801 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 478 | V2 | TNF-RI | A12 | 1 | 10 |  | 39227 | 39227 | 39227 | 39227 | NaN |  |  | 2262.87717834369 | 2262.87717834369 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 479 | V1 | TNF-RI | B12 | 1 | 10 |  | 120253 | 120253 | 120253 | 120253 | NaN |  |  | 6873.7987429283503 | 6873.7987429283503 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 479 | V2 | TNF-RI | C12 | 1 | 10 |  | 46830 | 46830 | 46830 | 46830 | NaN |  |  | 2693.3208584757199 | 2693.3208584757199 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 70 | V1 | TNF-RI | B03 | 1 | 10 |  | 42662 | 42662 | 42662 | 42662 | NaN |  |  | 2457.3944628894901 | 2457.3944628894901 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 70 | V2 | TNF-RI | C03 | 1 | 10 |  | 43768 | 43768 | 43768 | 43768 | NaN |  |  | 2520.00683932109 | 2520.00683932109 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 71 | V1 | TNF-RI | D03 | 1 | 10 |  | 67934 | 67934 | 67934 | 67934 | NaN |  |  | 3888.19516287647 | 3888.19516287647 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 71 | V2 | TNF-RI | E03 | 1 | 10 |  | 43993 | 43993 | 43993 | 43993 | NaN |  |  | 2532.7435910863201 | 2532.7435910863201 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 72 | V1 | TNF-RI | F03 | 1 | 10 |  | 42194 | 42194 | 42194 | 42194 | NaN |  |  | 2430.8979577235 | 2430.8979577235 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 73 | V1 | TNF-RI | G03 | 1 | 10 |  | 39138 | 39138 | 39138 | 39138 | NaN |  |  | 2257.83588742756 | 2257.83588742756 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 74 | V1 | TNF-RI | H03 | 1 | 10 |  | 60448 | 60448 | 60448 | 60448 | NaN |  |  | 3464.1037193286602 | 3464.1037193286602 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 74 | V2 | TNF-RI | B04 | 1 | 10 |  | 42769 | 42769 | 42769 | 42769 | NaN |  |  | 2463.4522224482298 | 2463.4522224482298 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 76 | V1 | TNF-RI | C04 | 1 | 10 |  | 45634 | 45634 | 45634 | 45634 | NaN |  |  | 2625.6297186116599 | 2625.6297186116599 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 77 | V1 | TNF-RI | D04 | 1 | 10 |  | 113318 | 113318 | 113318 | 113318 | NaN |  |  | 6475.1847782609402 | 6475.1847782609402 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 79 | V1 | TNF-RI | E04 | 1 | 10 |  | 67590 | 67590 | 67590 | 67590 | NaN |  |  | 3868.6969169143999 | 3868.6969169143999 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 80 | V1 | TNF-RI | F04 | 1 | 10 |  | 22716 | 22716 | 22716 | 22716 | NaN |  |  | 1325.12181179958 | 1325.12181179958 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 80 | V2 | TNF-RI | G04 | 1 | 10 |  | 26187 | 26187 | 26187 | 26187 | NaN |  |  | 1522.86015688353 | 1522.86015688353 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 81 | V1 | TNF-RI | H04 | 1 | 10 |  | 58114 | 58114 | 58114 | 58114 | NaN |  |  | 3331.9583599738498 | 3331.9583599738498 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 81 | V2 | TNF-RI | A05 | 1 | 10 |  | 40670 | 40670 | 40670 | 40670 | NaN |  |  | 2344.6034101726 | 2344.6034101726 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 82 | V1 | TNF-RI | B05 | 1 | 10 |  | 30514 | 30514 | 30514 | 30514 | NaN |  |  | 1768.8126560042999 | 1768.8126560042999 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 83 | V1 | TNF-RI | C05 | 1 | 10 |  | 52677 | 52677 | 52677 | 52677 | NaN |  |  | 3024.2186703380298 | 3024.2186703380298 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 83 | V2 | TNF-RI | D05 | 1 | 10 |  | 33036 | 33036 | 33036 | 33036 | NaN |  |  | 1911.95353588698 | 1911.95353588698 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 84 | V1 | TNF-RI | E05 | 1 | 10 |  | 62759 | 62759 | 62759 | 62759 | NaN |  |  | 3594.9793639848399 | 3594.9793639848399 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 84 | V2 | TNF-RI | F05 | 1 | 10 |  | 167956 | 167956 | 167956 | 167956 | NaN |  |  | 9646.3332654153801 | 9646.3332654153801 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 85 | V2 | TNF-RI | G05 | 1 | 10 |  | 113535 | 113535 | 113535 | 113535 | NaN |  |  | 6487.6422516123803 | 6487.6422516123803 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 86 | V2 | TNF-RI | H05 | 1 | 10 |  | 52843 | 52843 | 52843 | 52843 | NaN |  |  | 3033.6132204249002 | 3033.6132204249002 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 87 | V2 | TNF-RI | A06 | 1 | 10 |  | 38418 | 38418 | 38418 | 38418 | NaN |  |  | 2217.0493482809002 | 2217.0493482809002 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | 89 | V2 | TNF-RI | B06 | 1 | 10 |  | 26103 | 26103 | 26103 | 26103 | NaN |  |  | 1518.07998300606 | 1518.07998300606 | NaN | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | BLANK |  | TNF-RI | E12 | 1 |  |  | 51 | 54 |  |  | 6.33196212609678 | [5 empty] | Unknown Range
Plate_23M14ALI84_Set5 | BLANK |  | TNF-RI | F12 | 1 |  |  | 51 | 54 |  |  | 6.33196212609678 | [5 empty] | Unknown Range
Plate_23M14ALI84_Set5 | BLANK |  | TNF-RI | G12 | 1 |  |  | 58 | 54 |  |  | 6.33196212609678 | [5 empty] | Unknown Range
Plate_23M14ALI84_Set5 | BLANK |  | TNF-RI | D12 | 1 |  |  | 55 | 54 |  |  | 6.33196212609678 | [5 empty] | Unknown Range
Plate_23M14ALI84_Set5 | QC |  | TNF-RI | H11 | 1 | 10 |  | 70896 | 67097 | 70896 | 67096.5 | 8.0083229829224702 |  |  | 4056.1318876782302 | 3840.7921718807002 | 7.92899831519148 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | QC |  | TNF-RI | A03 | 1 | 10 |  | 73303 | 71873 | 73303 | 71872.5 | 2.8147518188106799 |  |  | 4192.66942733825 | 4111.5275412520004 | 2.7909810801063899 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | QC |  | TNF-RI | A04 | 1 | 10 |  | 70442 | 71873 | 70442 | 71872.5 | 2.8147518188106799 |  |  | 4030.38565516575 | 4111.5275412520004 | 2.7909810801063899 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | QC |  | TNF-RI | H12 | 1 | 10 |  | 63297 | 67097 | 63297 | 67096.5 | 8.0083229829224702 |  |  | 3625.4524560831801 | 3840.7921718807002 | 7.92899831519148 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 338383 | 336513 | 338383 | 336512.5 | 0.78608862030946003 | 100.5585 | 99.956886996348402 | 2011.1690932892 | 1999.13773992696 | 0.85111209491765105 | Above Fit Curve Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 334642 | 336513 | 334642 | 336512.5 | 0.78608862030946003 | 99.3553 | 99.956886996348402 | 1987.10638656472 | 1999.13773992696 | 0.85111209491765105 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 88534 | 87697 | 88534 | 87696.5 | 1.35057141218573 | 101.1673 | 100.21363499023001 | 505.83647354017501 | 501.06817495115303 | 1.3458033998458401 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 86859 | 87697 | 86859 | 87696.5 | 1.35057141218573 | 99.26 | 100.21363499023001 | 496.29987636213201 | 501.06817495115303 | 1.3458033998458401 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 21220 | 21367 | 21220 | 21367 | 0.97294610225508904 | 99.1793 | 99.8508442609768 | 123.974177372307 | 124.81355532622101 | 0.95106631910250505 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 21514 | 21367 | 21514 | 21367 | 0.97294610225508904 | 100.5223 | 99.8508442609768 | 125.652933280135 | 124.81355532622101 | 0.95106631910250505 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 5271 | 5153 | 5271 | 5152.5 | 3.2524853399555802 | 101.6934 | 99.451033473067895 | 31.779172504969399 | 31.078447960333701 | 3.1886217605729898 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 5034 | 5153 | 5034 | 5152.5 | 3.2524853399555802 | 97.2087 | 99.451033473067895 | 30.377723415698 | 31.078447960333701 | 3.1886217605729898 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1251 | 1293 | 1251 | 1293 | 4.5937331492397497 | 97.6379 | 100.953710938257 | 7.6279635274928399 | 7.8870086670513597 | 4.6449188164446404 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1335 | 1293 | 1335 | 1293 | 4.5937331492397497 | 104.2695 | 100.953710938257 | 8.1460538066098795 | 7.8870086670513597 | 4.6449188164446404 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 336 | 346 | 336 | 346 | 4.08732243460432 | 96.2717 | 99.574534453228097 | 1.88030608916903 | 1.94481512603961 | 4.6909114196256603 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 356 | 346 | 356 | 346 | 4.08732243460432 | 102.8774 | 99.574534453228097 | 2.0093241629101901 | 1.94481512603961 | 4.6909114196256603 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 121 | 124 | 121 | 124 | 3.4214844250961902 | 95.7475 | 99.892493397649403 | 0.46751700510758998 | 0.48775631541821002 | 5.8682391656607598 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 127 | 124 | 127 | 124 | 3.4214844250961902 | 104.0375 | 99.892493397649403 | 0.50799562572882895 | 0.48775631541821002 | 5.8682391656607598 | In Detection Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 50 | 54 | 50 | 54 | 10.4756560175784 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.26638
Plate_23M14ALI84_Set5 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 58 | 54 | 58 | 54 | 10.4756560175784 |  | NaN | 3.0692191071943899E-2 | NaN | NaN | Below Detection Range | 2000 | 0.26638

## WideData
Sample | TNF-RI_V1 | TNF-RI_V2 | Sample | n | TNF-RI | Sample | TNF-RI
70 | 2457.3944628894901 | 2520.00683932109 | STD1 | 2 | 1999.13773992696 | QC | 3976.1599
71 | 3888.19516287647 | 2532.7435910863201 | STD2 | 2 | 501.06817495115303
72 | 2430.8979577235 |  | STD3 | 2 | 124.81355532622101
73 | 2257.83588742756 |  | STD4 | 2 | 31.078447960333701
74 | 3464.1037193286602 | 2463.4522224482298 | STD5 | 2 | 7.8870086670513597
76 | 2625.6297186116599 |  | STD6 | 2 | 1.94481512603961
77 | 6475.1847782609402 |  | STD7 | 2 | 0.48775631541821002
79 | 3868.6969169143999 |  | STD8 | 2 | NaN
80 | 1325.12181179958 | 1522.86015688353
81 | 3331.9583599738498 | 2344.6034101726
82 | 1768.8126560042999
83 | 3024.2186703380298 | 1911.95353588698
84 | 3594.9793639848399 | 9646.3332654153801
85 |  | 6487.6422516123803
86 |  | 3033.6132204249002
87 |  | 2217.0493482809002
89 |  | 1518.07998300606
257 | 1802.6520391312899 | 2635.3648552519799
258 | 2242.9381112985998 | 2202.4894460281398
259 | 3531.5475377960702 | 3036.9522585746199
260 | 3385.7414621991802 | 2337.6945109158
261 | 3577.4781046707599
262 | 1728.20578016845 | 2399.9268234122801
263 | 5804.1715228472603
265 | 6216.9529529953898 | 3413.31422427599
266 | 1925.7954321525201 | 2821.7887793273599
267 | 5634.2167051711704
268 | 15744.6467766347 | 8326.5252490652401
269 |  | 1714.23185450866
270 | 2122.7075917407301 | 1369.7124898854399
271 | 3680.62673180199 | 1863.8384135777201
462 | 1759.10219358212 | 2266.1058279562999
463 |  | 2029.4629482704399
464 | 3814.4589715930701 | 3193.2170180768198
465 | 2097.2037612137201 | 1833.13478784993
466 | 7067.3580794919699
467 | 15484.8964119621
468 |  | 2519.7237973400502
469 | 13498.133965728
470 | 13595.0990055983 | 10174.846691738399
471 |  | 3376.8527755980199
472 |  | 1441.67797376516
473 | 2038.30730920172 | 1665.08354978795
474 |  | 2337.6378800643101
475 | 758.35957533378405
476 |  | 5673.5764759620097
477 | 1711.6754841166801
478 |  | 2262.87717834369
479 | 6873.7987429283503 | 2693.3208584757199

## WideSampleData
Sample | TNF-RI_V1 | TNF-RI_V2
70 | 2457.3944628894901 | 2520.00683932109
71 | 3888.19516287647 | 2532.7435910863201
72 | 2430.8979577235
73 | 2257.83588742756
74 | 3464.1037193286602 | 2463.4522224482298
76 | 2625.6297186116599
77 | 6475.1847782609402
79 | 3868.6969169143999
80 | 1325.12181179958 | 1522.86015688353
81 | 3331.9583599738498 | 2344.6034101726
82 | 1768.8126560042999
83 | 3024.2186703380298 | 1911.95353588698
84 | 3594.9793639848399 | 9646.3332654153801
85 |  | 6487.6422516123803
86 |  | 3033.6132204249002
87 |  | 2217.0493482809002
89 |  | 1518.07998300606
257 | 1802.6520391312899 | 2635.3648552519799
258 | 2242.9381112985998 | 2202.4894460281398
259 | 3531.5475377960702 | 3036.9522585746199
260 | 3385.7414621991802 | 2337.6945109158
261 | 3577.4781046707599
262 | 1728.20578016845 | 2399.9268234122801
263 | 5804.1715228472603
265 | 6216.9529529953898 | 3413.31422427599
266 | 1925.7954321525201 | 2821.7887793273599
267 | 5634.2167051711704
268 | 15744.6467766347 | 8326.5252490652401
269 |  | 1714.23185450866
270 | 2122.7075917407301 | 1369.7124898854399
271 | 3680.62673180199 | 1863.8384135777201
462 | 1759.10219358212 | 2266.1058279562999
463 |  | 2029.4629482704399
464 | 3814.4589715930701 | 3193.2170180768198
465 | 2097.2037612137201 | 1833.13478784993
466 | 7067.3580794919699
467 | 15484.8964119621
468 |  | 2519.7237973400502
469 | 13498.133965728
470 | 13595.0990055983 | 10174.846691738399
471 |  | 3376.8527755980199
472 |  | 1441.67797376516
473 | 2038.30730920172 | 1665.08354978795
474 |  | 2337.6378800643101
475 | 758.35957533378405
476 |  | 5673.5764759620097
477 | 1711.6754841166801
478 |  | 2262.87717834369
479 | 6873.7987429283503 | 2693.3208584757199

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | In Detection Range
70 | V1 | B03 | 42662 | TNF-RI | 2457.3944628894901 | In Detection Range | STD1 | A01 | 338383 | TNF-RI | 2011.1690932892 | Above Fit Curve Range | QC | H11 | 70896 | TNF-RI | 4056.1318876782302 | In Detection Range | 72
70 | V2 | C03 | 43768 | TNF-RI | 2520.00683932109 | In Detection Range | STD1 | A02 | 334642 | TNF-RI | 1987.10638656472 | In Detection Range | QC | A03 | 73303 | TNF-RI | 4192.66942733825 | In Detection Range
71 | V1 | D03 | 67934 | TNF-RI | 3888.19516287647 | In Detection Range | STD2 | B01 | 88534 | TNF-RI | 505.83647354017501 | In Detection Range | QC | A04 | 70442 | TNF-RI | 4030.38565516575 | In Detection Range
71 | V2 | E03 | 43993 | TNF-RI | 2532.7435910863201 | In Detection Range | STD2 | B02 | 86859 | TNF-RI | 496.29987636213201 | In Detection Range | QC | H12 | 63297 | TNF-RI | 3625.4524560831801 | In Detection Range
72 | V1 | F03 | 42194 | TNF-RI | 2430.8979577235 | In Detection Range | STD3 | C02 | 21220 | TNF-RI | 123.974177372307 | In Detection Range
73 | V1 | G03 | 39138 | TNF-RI | 2257.83588742756 | In Detection Range | STD3 | C01 | 21514 | TNF-RI | 125.652933280135 | In Detection Range
74 | V1 | H03 | 60448 | TNF-RI | 3464.1037193286602 | In Detection Range | STD4 | D02 | 5271 | TNF-RI | 31.779172504969399 | In Detection Range
74 | V2 | B04 | 42769 | TNF-RI | 2463.4522224482298 | In Detection Range | STD4 | D01 | 5034 | TNF-RI | 30.377723415698 | In Detection Range
76 | V1 | C04 | 45634 | TNF-RI | 2625.6297186116599 | In Detection Range | STD5 | E01 | 1251 | TNF-RI | 7.6279635274928399 | In Detection Range
77 | V1 | D04 | 113318 | TNF-RI | 6475.1847782609402 | In Detection Range | STD5 | E02 | 1335 | TNF-RI | 8.1460538066098795 | In Detection Range
79 | V1 | E04 | 67590 | TNF-RI | 3868.6969169143999 | In Detection Range | STD6 | F01 | 336 | TNF-RI | 1.88030608916903 | In Detection Range
80 | V1 | F04 | 22716 | TNF-RI | 1325.12181179958 | In Detection Range | STD6 | F02 | 356 | TNF-RI | 2.0093241629101901 | In Detection Range
80 | V2 | G04 | 26187 | TNF-RI | 1522.86015688353 | In Detection Range | STD7 | G01 | 121 | TNF-RI | 0.46751700510758998 | In Detection Range
81 | V1 | H04 | 58114 | TNF-RI | 3331.9583599738498 | In Detection Range | STD7 | G02 | 127 | TNF-RI | 0.50799562572882895 | In Detection Range
81 | V2 | A05 | 40670 | TNF-RI | 2344.6034101726 | In Detection Range | STD8 | H02 | 50 | TNF-RI | NaN | Below Fit Curve Range
82 | V1 | B05 | 30514 | TNF-RI | 1768.8126560042999 | In Detection Range | STD8 | H01 | 58 | TNF-RI | 3.0692191071943899E-2 | Below Detection Range
83 | V1 | C05 | 52677 | TNF-RI | 3024.2186703380298 | In Detection Range
83 | V2 | D05 | 33036 | TNF-RI | 1911.95353588698 | In Detection Range
84 | V1 | E05 | 62759 | TNF-RI | 3594.9793639848399 | In Detection Range
84 | V2 | F05 | 167956 | TNF-RI | 9646.3332654153801 | In Detection Range
85 | V2 | G05 | 113535 | TNF-RI | 6487.6422516123803 | In Detection Range
86 | V2 | H05 | 52843 | TNF-RI | 3033.6132204249002 | In Detection Range
87 | V2 | A06 | 38418 | TNF-RI | 2217.0493482809002 | In Detection Range
89 | V2 | B06 | 26103 | TNF-RI | 1518.07998300606 | In Detection Range
257 | V1 | C06 | 31110 | TNF-RI | 1802.6520391312899 | In Detection Range
257 | V2 | D06 | 45806 | TNF-RI | 2635.3648552519799 | In Detection Range
258 | V1 | E06 | 38875 | TNF-RI | 2242.9381112985998 | In Detection Range
258 | V2 | F06 | 38161 | TNF-RI | 2202.4894460281398 | In Detection Range
259 | V1 | G06 | 61639 | TNF-RI | 3531.5475377960702 | In Detection Range
259 | V2 | H06 | 52902 | TNF-RI | 3036.9522585746199 | In Detection Range
260 | V1 | A07 | 59064 | TNF-RI | 3385.7414621991802 | In Detection Range
260 | V2 | B07 | 40548 | TNF-RI | 2337.6945109158 | In Detection Range
261 | V1 | C07 | 62450 | TNF-RI | 3577.4781046707599 | In Detection Range
262 | V1 | D07 | 29799 | TNF-RI | 1728.20578016845 | In Detection Range
262 | V2 | E07 | 41647 | TNF-RI | 2399.9268234122801 | In Detection Range
263 | V1 | F07 | 101605 | TNF-RI | 5804.1715228472603 | In Detection Range
265 | V1 | G07 | 108816 | TNF-RI | 6216.9529529953898 | In Detection Range
265 | V2 | H07 | 59551 | TNF-RI | 3413.31422427599 | In Detection Range
266 | V1 | A08 | 33280 | TNF-RI | 1925.7954321525201 | In Detection Range
266 | V2 | B08 | 49100 | TNF-RI | 2821.7887793273599 | In Detection Range
267 | V1 | C08 | 98631 | TNF-RI | 5634.2167051711704 | In Detection Range
268 | V1 | D08 | 269186 | TNF-RI | 15744.6467766347 | In Detection Range
268 | V2 | E08 | 145369 | TNF-RI | 8326.5252490652401 | In Detection Range
269 | V2 | F08 | 29553 | TNF-RI | 1714.23185450866 | In Detection Range
270 | V1 | G08 | 36753 | TNF-RI | 2122.7075917407301 | In Detection Range
270 | V2 | H08 | 23498 | TNF-RI | 1369.7124898854399 | In Detection Range
271 | V1 | A09 | 64271 | TNF-RI | 3680.62673180199 | In Detection Range
271 | V2 | B09 | 32188 | TNF-RI | 1863.8384135777201 | In Detection Range
462 | V1 | C09 | 30343 | TNF-RI | 1759.10219358212 | In Detection Range
462 | V2 | D09 | 39284 | TNF-RI | 2266.1058279562999 | In Detection Range
463 | V2 | E09 | 35108 | TNF-RI | 2029.4629482704399 | In Detection Range
464 | V1 | F09 | 66633 | TNF-RI | 3814.4589715930701 | In Detection Range
464 | V2 | G09 | 55663 | TNF-RI | 3193.2170180768198 | In Detection Range
465 | V1 | H09 | 36303 | TNF-RI | 2097.2037612137201 | In Detection Range
465 | V2 | A10 | 31647 | TNF-RI | 1833.13478784993 | In Detection Range
466 | V1 | B10 | 123614 | TNF-RI | 7067.3580794919699 | In Detection Range
467 | V1 | C10 | 264983 | TNF-RI | 15484.8964119621 | In Detection Range
468 | V2 | D10 | 43763 | TNF-RI | 2519.7237973400502 | In Detection Range
469 | V1 | E10 | 232512 | TNF-RI | 13498.133965728 | In Detection Range
470 | V1 | F10 | 234110 | TNF-RI | 13595.0990055983 | In Detection Range
470 | V2 | G10 | 176936 | TNF-RI | 10174.846691738399 | In Detection Range
471 | V2 | H10 | 58907 | TNF-RI | 3376.8527755980199 | In Detection Range
472 | V2 | A11 | 24761 | TNF-RI | 1441.67797376516 | In Detection Range
473 | V1 | B11 | 35264 | TNF-RI | 2038.30730920172 | In Detection Range
473 | V2 | C11 | 28688 | TNF-RI | 1665.08354978795 | In Detection Range
474 | V2 | D11 | 40547 | TNF-RI | 2337.6378800643101 | In Detection Range
475 | V1 | E11 | 12830 | TNF-RI | 758.35957533378405 | In Detection Range
476 | V2 | F11 | 99320 | TNF-RI | 5673.5764759620097 | In Detection Range
477 | V1 | G11 | 29508 | TNF-RI | 1711.6754841166801 | In Detection Range
478 | V2 | A12 | 39227 | TNF-RI | 2262.87717834369 | In Detection Range
479 | V1 | B12 | 120253 | TNF-RI | 6873.7987429283503 | In Detection Range
479 | V2 | C12 | 46830 | TNF-RI | 2693.3208584757199 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
70 | V1 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 0.85111209491765105 | 2 | QC | TNF-RI | 5.36 | 4
70 | V2 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 1.3458033998458401 | 2
71 | V1 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 0.95106631910250505 | 2
71 | V2 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 3.1886217605729898 | 2
72 | V1 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 4.6449188164446404 | 2
73 | V1 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 4.6909114196256603 | 2
74 | V1 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 5.8682391656607598 | 2
74 | V2 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
76 | V1 | TNF-RI | NaN | 1
77 | V1 | TNF-RI | NaN | 1
79 | V1 | TNF-RI | NaN | 1
80 | V1 | TNF-RI | NaN | 1
80 | V2 | TNF-RI | NaN | 1
81 | V1 | TNF-RI | NaN | 1
81 | V2 | TNF-RI | NaN | 1
82 | V1 | TNF-RI | NaN | 1
83 | V1 | TNF-RI | NaN | 1
83 | V2 | TNF-RI | NaN | 1
84 | V1 | TNF-RI | NaN | 1
84 | V2 | TNF-RI | NaN | 1
85 | V2 | TNF-RI | NaN | 1
86 | V2 | TNF-RI | NaN | 1
87 | V2 | TNF-RI | NaN | 1
89 | V2 | TNF-RI | NaN | 1
257 | V1 | TNF-RI | NaN | 1
257 | V2 | TNF-RI | NaN | 1
258 | V1 | TNF-RI | NaN | 1
258 | V2 | TNF-RI | NaN | 1
259 | V1 | TNF-RI | NaN | 1
259 | V2 | TNF-RI | NaN | 1
260 | V1 | TNF-RI | NaN | 1
260 | V2 | TNF-RI | NaN | 1
261 | V1 | TNF-RI | NaN | 1
262 | V1 | TNF-RI | NaN | 1
262 | V2 | TNF-RI | NaN | 1
263 | V1 | TNF-RI | NaN | 1
265 | V1 | TNF-RI | NaN | 1
265 | V2 | TNF-RI | NaN | 1
266 | V1 | TNF-RI | NaN | 1
266 | V2 | TNF-RI | NaN | 1
267 | V1 | TNF-RI | NaN | 1
268 | V1 | TNF-RI | NaN | 1
268 | V2 | TNF-RI | NaN | 1
269 | V2 | TNF-RI | NaN | 1
270 | V1 | TNF-RI | NaN | 1
270 | V2 | TNF-RI | NaN | 1
271 | V1 | TNF-RI | NaN | 1
271 | V2 | TNF-RI | NaN | 1
462 | V1 | TNF-RI | NaN | 1
462 | V2 | TNF-RI | NaN | 1
463 | V2 | TNF-RI | NaN | 1
464 | V1 | TNF-RI | NaN | 1
464 | V2 | TNF-RI | NaN | 1
465 | V1 | TNF-RI | NaN | 1
465 | V2 | TNF-RI | NaN | 1
466 | V1 | TNF-RI | NaN | 1
467 | V1 | TNF-RI | NaN | 1
468 | V2 | TNF-RI | NaN | 1
469 | V1 | TNF-RI | NaN | 1
470 | V1 | TNF-RI | NaN | 1
470 | V2 | TNF-RI | NaN | 1
471 | V2 | TNF-RI | NaN | 1
472 | V2 | TNF-RI | NaN | 1
473 | V1 | TNF-RI | NaN | 1
473 | V2 | TNF-RI | NaN | 1
474 | V2 | TNF-RI | NaN | 1
475 | V1 | TNF-RI | NaN | 1
476 | V2 | TNF-RI | NaN | 1
477 | V1 | TNF-RI | NaN | 1
478 | V2 | TNF-RI | NaN | 1
479 | V1 | TNF-RI | NaN | 1
479 | V2 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].