## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14ARH46_Set1 | 10_V1 | TNF-RI | F04 | 1 | 10 |  | 25778 | 25778 | 25778 | 25778 | NaN |  |  | 1575.6208978653999 | 1575.6208978653999 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 10_V2 | TNF-RI | G04 | 1 | 10 |  | 19289 | 19289 | 19289 | 19289 | NaN |  |  | 1197.5857070352399 | 1197.5857070352399 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 11_V2 | TNF-RI | H04 | 1 | 10 |  | 51307 | 51307 | 51307 | 51307 | NaN |  |  | 3025.0436958553 | 3025.0436958553 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 12_V1 | TNF-RI | A05 | 1 | 10 |  | 28753 | 28753 | 28753 | 28753 | NaN |  |  | 1747.2084454949199 | 1747.2084454949199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 12_V2 | TNF-RI | B05 | 1 | 10 |  | 22721 | 22721 | 22721 | 22721 | NaN |  |  | 1398.2385709268201 | 1398.2385709268201 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 13_V1 | TNF-RI | C05 | 1 | 10 |  | 27501 | 27501 | 27501 | 27501 | NaN |  |  | 1675.1129130337399 | 1675.1129130337399 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 13_V2 | TNF-RI | D05 | 1 | 10 |  | 30578 | 30578 | 30578 | 30578 | NaN |  |  | 1852.01994767513 | 1852.01994767513 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 14_V1 | TNF-RI | E05 | 1 | 10 |  | 36194 | 36194 | 36194 | 36194 | NaN |  |  | 2172.7026920561202 | 2172.7026920561202 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 15_V1 | TNF-RI | F05 | 1 | 10 |  | 75638 | 75638 | 75638 | 75638 | NaN |  |  | 4376.34230795229 | 4376.34230795229 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 15_V2 | TNF-RI | G05 | 1 | 10 |  | 68891 | 68891 | 68891 | 68891 | NaN |  |  | 4003.5138414585799 | 4003.5138414585799 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 16_V1 | TNF-RI | H05 | 1 | 10 |  | 14311 | 14311 | 14311 | 14311 | NaN |  |  | 902.97841952055899 | 902.97841952055899 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 16_V2 | TNF-RI | A06 | 1 | 10 |  | 28751 | 28751 | 28751 | 28751 | NaN |  |  | 1747.0934048014999 | 1747.0934048014999 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 17_V2 | TNF-RI | B06 | 1 | 10 |  | 110612 | 110612 | 110612 | 110612 | NaN |  |  | 6294.5340389515204 | 6294.5340389515204 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 18_V2 | TNF-RI | C06 | 1 | 10 |  | 67276 | 67276 | 67276 | 67276 | NaN |  |  | 3914.0855921105599 | 3914.0855921105599 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 197_V1 | TNF-RI | D06 | 1 | 10 |  | 46163 | 46163 | 46163 | 46163 | NaN |  |  | 2736.3869740805999 | 2736.3869740805999 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 197_V2 | TNF-RI | E06 | 1 | 10 |  | 33698 | 33698 | 33698 | 33698 | NaN |  |  | 2030.4994470952199 | 2030.4994470952199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 200_V1 | TNF-RI | F06 | 1 | 10 |  | 28723 | 28723 | 28723 | 28723 | NaN |  |  | 1745.48279289126 | 1745.48279289126 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 200_V2 | TNF-RI | G06 | 1 | 10 |  | 62808 | 62808 | 62808 | 62808 | NaN |  |  | 3666.2600674795099 | 3666.2600674795099 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 201_V1 | TNF-RI | H06 | 1 | 10 |  | 43617 | 43617 | 43617 | 43617 | NaN |  |  | 2593.0063964504402 | 2593.0063964504402 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 201_V2 | TNF-RI | A07 | 1 | 10 |  | 22531 | 22531 | 22531 | 22531 | NaN |  |  | 1387.1743933805999 | 1387.1743933805999 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 202_V2 | TNF-RI | B07 | 1 | 10 |  | 54923 | 54923 | 54923 | 54923 | NaN |  |  | 3227.2167481302399 | 3227.2167481302399 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 203_V1 | TNF-RI | C07 | 1 | 10 |  | 47592 | 47592 | 47592 | 47592 | NaN |  |  | 2816.7086856809301 | 2816.7086856809301 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 203_V2 | TNF-RI | D07 | 1 | 10 |  | 83741 | 83741 | 83741 | 83741 | NaN |  |  | 4822.65219037318 | 4822.65219037318 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 204_V2 | TNF-RI | E07 | 1 | 10 |  | 20895 | 20895 | 20895 | 20895 | NaN |  |  | 1291.69802402142 | 1291.69802402142 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 205_V1 | TNF-RI | F07 | 1 | 10 |  | 37772 | 37772 | 37772 | 37772 | NaN |  |  | 2262.3622782978 | 2262.3622782978 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 205_V2 | TNF-RI | G07 | 1 | 10 |  | 30004 | 30004 | 30004 | 30004 | NaN |  |  | 1819.0890850426199 | 1819.0890850426199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 206_V1 | TNF-RI | H07 | 1 | 10 |  | 39532 | 39532 | 39532 | 39532 | NaN |  |  | 2362.1559016400402 | 2362.1559016400402 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 206_V2 | TNF-RI | A08 | 1 | 10 |  | 50309 | 50309 | 50309 | 50309 | NaN |  |  | 2969.1416509676201 | 2969.1416509676201 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 207_V1 | TNF-RI | B08 | 1 | 10 |  | 14782 | 14782 | 14782 | 14782 | NaN |  |  | 931.06811026396394 | 931.06811026396394 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 207_V2 | TNF-RI | C08 | 1 | 10 |  | 16046 | 16046 | 16046 | 16046 | NaN |  |  | 1006.2114854121 | 1006.2114854121 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 208_V1 | TNF-RI | D08 | 1 | 10 |  | 28729 | 28729 | 28729 | 28729 | NaN |  |  | 1745.8279306489201 | 1745.8279306489201 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 208_V2 | TNF-RI | E08 | 1 | 10 |  | 18731 | 18731 | 18731 | 18731 | NaN |  |  | 1164.7900873341 | 1164.7900873341 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 209_V1 | TNF-RI | F08 | 1 | 10 |  | 59215 | 59215 | 59215 | 59215 | NaN |  |  | 3466.4853429193699 | 3466.4853429193699 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 209_V2 | TNF-RI | G08 | 1 | 10 |  | 30819 | 30819 | 30819 | 30819 | NaN |  |  | 1865.83715251166 | 1865.83715251166 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 210_V2 | TNF-RI | H08 | 1 | 10 |  | 107062 | 107062 | 107062 | 107062 | NaN |  |  | 6100.6312692297797 | 6100.6312692297797 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 211_V1 | TNF-RI | A09 | 1 | 10 |  | 17665 | 17665 | 17665 | 17665 | NaN |  |  | 1101.9895575529499 | 1101.9895575529499 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 211_V2 | TNF-RI | B09 | 1 | 10 |  | 16811 | 16811 | 16811 | 16811 | NaN |  |  | 1051.5305536594699 | 1051.5305536594699 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 2_V1 | TNF-RI | B03 | 1 | 10 |  | 28045 | 28045 | 28045 | 28045 | NaN |  |  | 1706.4586762200299 | 1706.4586762200299 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 384_V1 | TNF-RI | C09 | 1 | 10 |  | 16234 | 16234 | 16234 | 16234 | NaN |  |  | 1017.3594648007499 | 1017.3594648007499 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 384_V2 | TNF-RI | D09 | 1 | 10 |  | 13845 | 13845 | 13845 | 13845 | NaN |  |  | 875.13641364740897 | 875.13641364740897 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 385_V1 | TNF-RI | E09 | 1 | 10 |  | 37783 | 37783 | 37783 | 37783 | NaN |  |  | 2262.9866533980899 | 2262.9866533980899 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 385_V2 | TNF-RI | F09 | 1 | 10 |  | 19642 | 19642 | 19642 | 19642 | NaN |  |  | 1218.3063886823199 | 1218.3063886823199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 386_V1 | TNF-RI | G09 | 1 | 10 |  | 67151 | 67151 | 67151 | 67151 | NaN |  |  | 3907.1606894536699 | 3907.1606894536699 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 387_V1 | TNF-RI | H09 | 1 | 10 |  | 93614 | 93614 | 93614 | 93614 | NaN |  |  | 5364.7031315974 | 5364.7031315974 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 388_V1 | TNF-RI | A10 | 1 | 10 |  | 131295 | 131295 | 131295 | 131295 | NaN |  |  | 7422.0707123177199 | 7422.0707123177199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 389_V1 | TNF-RI | B10 | 1 | 10 |  | 40229 | 40229 | 40229 | 40229 | NaN |  |  | 2401.6189018227101 | 2401.6189018227101 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 390_V1 | TNF-RI | C10 | 1 | 10 |  | 46329 | 46329 | 46329 | 46329 | NaN |  |  | 2745.7230792406299 | 2745.7230792406299 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 391_V2 | TNF-RI | D10 | 1 | 10 |  | 253486 | 253486 | 253486 | 253486 | NaN |  |  | 14076.336552757 | 14076.336552757 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 392_V1 | TNF-RI | E10 | 1 | 10 |  | 21841 | 21841 | 21841 | 21841 | NaN |  |  | 1346.95241802858 | 1346.95241802858 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 392_V2 | TNF-RI | F10 | 1 | 10 |  | 22254 | 22254 | 22254 | 22254 | NaN |  |  | 1371.03520309397 | 1371.03520309397 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 393_V1 | TNF-RI | G10 | 1 | 10 |  | 71581 | 71581 | 71581 | 71581 | NaN |  |  | 4152.3038534156603 | 4152.3038534156603 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 394_V1 | TNF-RI | H10 | 1 | 10 |  | 26093 | 26093 | 26093 | 26093 | NaN |  |  | 1593.8348079892601 | 1593.8348079892601 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 395_V1 | TNF-RI | A11 | 1 | 10 |  | 18829 | 18829 | 18829 | 18829 | NaN |  |  | 1170.55365021228 | 1170.55365021228 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 396_V1 | TNF-RI | B11 | 1 | 10 |  | 24993 | 24993 | 24993 | 24993 | NaN |  |  | 1530.1806224085401 | 1530.1806224085401 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 396_V2 | TNF-RI | C11 | 1 | 10 |  | 18328 | 18328 | 18328 | 18328 | NaN |  |  | 1141.0717286213101 | 1141.0717286213101 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 397_V1 | TNF-RI | D11 | 1 | 10 |  | 63553 | 63553 | 63553 | 63553 | NaN |  |  | 3707.6272966328702 | 3707.6272966328702 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 3_V2 | TNF-RI | C03 | 1 | 10 |  | 94465 | 94465 | 94465 | 94465 | NaN |  |  | 5411.3479865398704 | 5411.3479865398704 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 400_V2 | TNF-RI | E11 | 1 | 10 |  | 161548 | 161548 | 161548 | 161548 | NaN |  |  | 9067.5509805476104 | 9067.5509805476104 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 401_V1 | TNF-RI | F11 | 1 | 10 |  | 21453 | 21453 | 21453 | 21453 | NaN |  |  | 1324.3055614549501 | 1324.3055614549501 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 402_V1 | TNF-RI | G11 | 1 | 10 |  | 35122 | 35122 | 35122 | 35122 | NaN |  |  | 2111.6878036224998 | 2111.6878036224998 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 402_V2 | TNF-RI | A12 | 1 | 10 |  | 28273 | 28273 | 28273 | 28273 | NaN |  |  | 1719.58707569539 | 1719.58707569539 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 404_V1 | TNF-RI | B12 | 1 | 10 |  | 88262 | 88262 | 88262 | 88262 | NaN |  |  | 5071.0804760189003 | 5071.0804760189003 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 404_V2 | TNF-RI | C12 | 1 | 10 |  | 122586 | 122586 | 122586 | 122586 | NaN |  |  | 6947.6862612912801 | 6947.6862612912801 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 4_V1 | TNF-RI | D03 | 1 | 10 |  | 10119 | 10119 | 10119 | 10119 | NaN |  |  | 650.44515092562096 | 650.44515092562096 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 4_V2 | TNF-RI | E03 | 1 | 10 |  | 15569 | 15569 | 15569 | 15569 | NaN |  |  | 977.89408421890596 | 977.89408421890596 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 5_V1 | TNF-RI | F03 | 1 | 10 |  | 51783 | 51783 | 51783 | 51783 | NaN |  |  | 3051.69020118362 | 3051.69020118362 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 5_V2 | TNF-RI | G03 | 1 | 10 |  | 49781 | 49781 | 49781 | 49781 | NaN |  |  | 2939.54726021027 | 2939.54726021027 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 6_V2 | TNF-RI | H03 | 1 | 10 |  | 57557 | 57557 | 57557 | 57557 | NaN |  |  | 3374.1408491973698 | 3374.1408491973698 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 7_V1 | TNF-RI | B04 | 1 | 10 |  | 21242 | 21242 | 21242 | 21242 | NaN |  |  | 1311.9808135861199 | 1311.9808135861199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 8_V1 | TNF-RI | C04 | 1 | 10 |  | 28130 | 28130 | 28130 | 28130 | NaN |  |  | 1711.3536625233401 | 1711.3536625233401 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 9_V1 | TNF-RI | D04 | 1 | 10 |  | 21302 | 21302 | 21302 | 21302 | NaN |  |  | 1315.4861372533901 | 1315.4861372533901 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 9_V2 | TNF-RI | E04 | 1 | 10 |  | 13247 | 13247 | 13247 | 13247 | NaN |  |  | 839.33107996926901 | 839.33107996926901 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | BLANK | TNF-RI | E12 | 1 |  |  | 61 | 61 |  |  | 8.5401275260759295 | [5 empty] | Unknown Range
Plate_23M14ARH46_Set1 | BLANK | TNF-RI | F12 | 1 |  |  | 57 | 61 |  |  | 8.5401275260759295 | [5 empty] | Unknown Range
Plate_23M14ARH46_Set1 | BLANK | TNF-RI | G12 | 1 |  |  | 57 | 61 |  |  | 8.5401275260759295 | [5 empty] | Unknown Range
Plate_23M14ARH46_Set1 | BLANK | TNF-RI | D12 | 1 |  |  | 68 | 61 |  |  | 8.5401275260759295 | [5 empty] | Unknown Range
Plate_23M14ARH46_Set1 | QC | TNF-RI | H11 | 1 | 10 |  | 60119 | 64068 | 60119 | 64067.5 | 8.7158422773327597 |  |  | 3516.79181292268 | 3735.9316538121702 | 8.2954016229380407 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | QC | TNF-RI | A03 | 1 | 10 |  | 64504 | 64512 | 64504 | 64511.5 | 1.6441412333922101E-2 |  |  | 3760.4064958179301 | 3760.8226183352999 | 1.5647802818584199E-2 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | QC | TNF-RI | A04 | 1 | 10 |  | 64519 | 64512 | 64519 | 64511.5 | 1.6441412333922101E-2 |  |  | 3761.2387408526702 | 3760.8226183352999 | 1.5647802818584199E-2 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | QC | TNF-RI | H12 | 1 | 10 |  | 68016 | 64068 | 68016 | 64067.5 | 8.7158422773327597 |  |  | 3955.07149470165 | 3735.9316538121702 | 8.2954016229380407 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 363315 | 360983 | 363315 | 360982.5 | 0.91379862853053595 | 100.6988 | 100.048557914152 | 2013.9761311555601 | 2000.97115828304 | 0.91914413351087398 | Above Fit Curve Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 358650 | 360983 | 358650 | 360982.5 | 0.91379862853053595 | 99.3983 | 100.048557914152 | 1987.96618541053 | 2000.97115828304 | 0.91914413351087398 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD2 | TNF-RI | B01 | 1 |  | 500 | 87260 | 86141 | 87260 | 86140.5 | 1.83794159898848 | 100.3211 | 99.090810865061201 | 501.60536436799202 | 495.454054325306 | 1.75581691436056 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD2 | TNF-RI | B02 | 1 |  | 500 | 85021 | 86141 | 85021 | 86140.5 | 1.83794159898848 | 97.8605 | 99.090810865061201 | 489.30274428261902 | 495.454054325306 | 1.75581691436056 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD3 | TNF-RI | C02 | 1 |  | 125 | 21492 | 21144 | 21492 | 21143.5 | 2.3309926288789602 | 106.1266 | 104.49729716633701 | 132.65828919361101 | 130.62162145792101 | 2.20505847478577 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD3 | TNF-RI | C01 | 1 |  | 125 | 20795 | 21144 | 20795 | 21143.5 | 2.3309926288789602 | 102.868 | 104.49729716633701 | 128.58495372223101 | 130.62162145792101 | 2.20505847478577 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 4420 | 4478 | 4420 | 4478 | 1.83171921879498 | 94.8042 | 95.988990555791702 | 29.626316552614899 | 29.9965595486849 | 1.74554240317444 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 4536 | 4478 | 4536 | 4478 | 1.83171921879498 | 97.1738 | 95.988990555791702 | 30.366802544754801 | 29.9965595486849 | 1.74554240317444 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1142 | 1125 | 1142 | 1124.5 | 2.2008659263253998 | 102.3937 | 100.837704890758 | 7.9995105259793799 | 7.8779456945904798 | 2.1822774606814899 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1107 | 1125 | 1107 | 1124.5 | 2.2008659263253998 | 99.2817 | 100.837704890758 | 7.7563808632015796 | 7.8779456945904798 | 2.1822774606814899 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 307 | 298 | 307 | 297.5 | 4.5159760815275298 | 102.6226 | 98.926139295208102 | 2.0043472818579202 | 1.9321511581095301 | 5.28430381480287 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 288 | 298 | 288 | 297.5 | 4.5159760815275298 | 95.2297 | 98.926139295208102 | 1.85995503436114 | 1.9321511581095301 | 5.28430381480287 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 118 | 117 | 118 | 116.5 | 1.82087583138166 | 107.0567 | 104.514147803304 | 0.52273755970132896 | 0.51032298732082404 | 3.4403421103457301 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 115 | 117 | 115 | 116.5 | 1.82087583138166 | 101.9716 | 104.514147803304 | 0.49790841494031901 | 0.51032298732082404 | 3.4403421103457301 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD8 | TNF-RI | H02 | 1 |  | 0 | 56 | 58 | 56 | 58 | 4.8765984909417002 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD8 | TNF-RI | H01 | 1 |  | 0 | 60 | 58 | 60 | 58 | 4.8765984909417002 |  | NaN | 1.5908065114338499E-2 | NaN | NaN | Below Detection Range | 2000 | 0.33904

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14ARH46_Set1 | 10 | V1 | TNF-RI | F04 | 1 | 10 |  | 25778 | 25778 | 25778 | 25778 | NaN |  |  | 1575.6208978653999 | 1575.6208978653999 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 10 | V2 | TNF-RI | G04 | 1 | 10 |  | 19289 | 19289 | 19289 | 19289 | NaN |  |  | 1197.5857070352399 | 1197.5857070352399 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 11 | V2 | TNF-RI | H04 | 1 | 10 |  | 51307 | 51307 | 51307 | 51307 | NaN |  |  | 3025.0436958553 | 3025.0436958553 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 12 | V1 | TNF-RI | A05 | 1 | 10 |  | 28753 | 28753 | 28753 | 28753 | NaN |  |  | 1747.2084454949199 | 1747.2084454949199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 12 | V2 | TNF-RI | B05 | 1 | 10 |  | 22721 | 22721 | 22721 | 22721 | NaN |  |  | 1398.2385709268201 | 1398.2385709268201 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 13 | V1 | TNF-RI | C05 | 1 | 10 |  | 27501 | 27501 | 27501 | 27501 | NaN |  |  | 1675.1129130337399 | 1675.1129130337399 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 13 | V2 | TNF-RI | D05 | 1 | 10 |  | 30578 | 30578 | 30578 | 30578 | NaN |  |  | 1852.01994767513 | 1852.01994767513 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 14 | V1 | TNF-RI | E05 | 1 | 10 |  | 36194 | 36194 | 36194 | 36194 | NaN |  |  | 2172.7026920561202 | 2172.7026920561202 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 15 | V1 | TNF-RI | F05 | 1 | 10 |  | 75638 | 75638 | 75638 | 75638 | NaN |  |  | 4376.34230795229 | 4376.34230795229 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 15 | V2 | TNF-RI | G05 | 1 | 10 |  | 68891 | 68891 | 68891 | 68891 | NaN |  |  | 4003.5138414585799 | 4003.5138414585799 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 16 | V1 | TNF-RI | H05 | 1 | 10 |  | 14311 | 14311 | 14311 | 14311 | NaN |  |  | 902.97841952055899 | 902.97841952055899 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 16 | V2 | TNF-RI | A06 | 1 | 10 |  | 28751 | 28751 | 28751 | 28751 | NaN |  |  | 1747.0934048014999 | 1747.0934048014999 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 17 | V2 | TNF-RI | B06 | 1 | 10 |  | 110612 | 110612 | 110612 | 110612 | NaN |  |  | 6294.5340389515204 | 6294.5340389515204 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 18 | V2 | TNF-RI | C06 | 1 | 10 |  | 67276 | 67276 | 67276 | 67276 | NaN |  |  | 3914.0855921105599 | 3914.0855921105599 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 197 | V1 | TNF-RI | D06 | 1 | 10 |  | 46163 | 46163 | 46163 | 46163 | NaN |  |  | 2736.3869740805999 | 2736.3869740805999 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 197 | V2 | TNF-RI | E06 | 1 | 10 |  | 33698 | 33698 | 33698 | 33698 | NaN |  |  | 2030.4994470952199 | 2030.4994470952199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 200 | V1 | TNF-RI | F06 | 1 | 10 |  | 28723 | 28723 | 28723 | 28723 | NaN |  |  | 1745.48279289126 | 1745.48279289126 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 200 | V2 | TNF-RI | G06 | 1 | 10 |  | 62808 | 62808 | 62808 | 62808 | NaN |  |  | 3666.2600674795099 | 3666.2600674795099 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 201 | V1 | TNF-RI | H06 | 1 | 10 |  | 43617 | 43617 | 43617 | 43617 | NaN |  |  | 2593.0063964504402 | 2593.0063964504402 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 201 | V2 | TNF-RI | A07 | 1 | 10 |  | 22531 | 22531 | 22531 | 22531 | NaN |  |  | 1387.1743933805999 | 1387.1743933805999 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 202 | V2 | TNF-RI | B07 | 1 | 10 |  | 54923 | 54923 | 54923 | 54923 | NaN |  |  | 3227.2167481302399 | 3227.2167481302399 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 203 | V1 | TNF-RI | C07 | 1 | 10 |  | 47592 | 47592 | 47592 | 47592 | NaN |  |  | 2816.7086856809301 | 2816.7086856809301 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 203 | V2 | TNF-RI | D07 | 1 | 10 |  | 83741 | 83741 | 83741 | 83741 | NaN |  |  | 4822.65219037318 | 4822.65219037318 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 204 | V2 | TNF-RI | E07 | 1 | 10 |  | 20895 | 20895 | 20895 | 20895 | NaN |  |  | 1291.69802402142 | 1291.69802402142 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 205 | V1 | TNF-RI | F07 | 1 | 10 |  | 37772 | 37772 | 37772 | 37772 | NaN |  |  | 2262.3622782978 | 2262.3622782978 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 205 | V2 | TNF-RI | G07 | 1 | 10 |  | 30004 | 30004 | 30004 | 30004 | NaN |  |  | 1819.0890850426199 | 1819.0890850426199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 206 | V1 | TNF-RI | H07 | 1 | 10 |  | 39532 | 39532 | 39532 | 39532 | NaN |  |  | 2362.1559016400402 | 2362.1559016400402 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 206 | V2 | TNF-RI | A08 | 1 | 10 |  | 50309 | 50309 | 50309 | 50309 | NaN |  |  | 2969.1416509676201 | 2969.1416509676201 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 207 | V1 | TNF-RI | B08 | 1 | 10 |  | 14782 | 14782 | 14782 | 14782 | NaN |  |  | 931.06811026396394 | 931.06811026396394 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 207 | V2 | TNF-RI | C08 | 1 | 10 |  | 16046 | 16046 | 16046 | 16046 | NaN |  |  | 1006.2114854121 | 1006.2114854121 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 208 | V1 | TNF-RI | D08 | 1 | 10 |  | 28729 | 28729 | 28729 | 28729 | NaN |  |  | 1745.8279306489201 | 1745.8279306489201 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 208 | V2 | TNF-RI | E08 | 1 | 10 |  | 18731 | 18731 | 18731 | 18731 | NaN |  |  | 1164.7900873341 | 1164.7900873341 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 209 | V1 | TNF-RI | F08 | 1 | 10 |  | 59215 | 59215 | 59215 | 59215 | NaN |  |  | 3466.4853429193699 | 3466.4853429193699 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 209 | V2 | TNF-RI | G08 | 1 | 10 |  | 30819 | 30819 | 30819 | 30819 | NaN |  |  | 1865.83715251166 | 1865.83715251166 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 210 | V2 | TNF-RI | H08 | 1 | 10 |  | 107062 | 107062 | 107062 | 107062 | NaN |  |  | 6100.6312692297797 | 6100.6312692297797 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 211 | V1 | TNF-RI | A09 | 1 | 10 |  | 17665 | 17665 | 17665 | 17665 | NaN |  |  | 1101.9895575529499 | 1101.9895575529499 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 211 | V2 | TNF-RI | B09 | 1 | 10 |  | 16811 | 16811 | 16811 | 16811 | NaN |  |  | 1051.5305536594699 | 1051.5305536594699 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 2 | V1 | TNF-RI | B03 | 1 | 10 |  | 28045 | 28045 | 28045 | 28045 | NaN |  |  | 1706.4586762200299 | 1706.4586762200299 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 384 | V1 | TNF-RI | C09 | 1 | 10 |  | 16234 | 16234 | 16234 | 16234 | NaN |  |  | 1017.3594648007499 | 1017.3594648007499 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 384 | V2 | TNF-RI | D09 | 1 | 10 |  | 13845 | 13845 | 13845 | 13845 | NaN |  |  | 875.13641364740897 | 875.13641364740897 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 385 | V1 | TNF-RI | E09 | 1 | 10 |  | 37783 | 37783 | 37783 | 37783 | NaN |  |  | 2262.9866533980899 | 2262.9866533980899 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 385 | V2 | TNF-RI | F09 | 1 | 10 |  | 19642 | 19642 | 19642 | 19642 | NaN |  |  | 1218.3063886823199 | 1218.3063886823199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 386 | V1 | TNF-RI | G09 | 1 | 10 |  | 67151 | 67151 | 67151 | 67151 | NaN |  |  | 3907.1606894536699 | 3907.1606894536699 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 387 | V1 | TNF-RI | H09 | 1 | 10 |  | 93614 | 93614 | 93614 | 93614 | NaN |  |  | 5364.7031315974 | 5364.7031315974 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 388 | V1 | TNF-RI | A10 | 1 | 10 |  | 131295 | 131295 | 131295 | 131295 | NaN |  |  | 7422.0707123177199 | 7422.0707123177199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 389 | V1 | TNF-RI | B10 | 1 | 10 |  | 40229 | 40229 | 40229 | 40229 | NaN |  |  | 2401.6189018227101 | 2401.6189018227101 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 390 | V1 | TNF-RI | C10 | 1 | 10 |  | 46329 | 46329 | 46329 | 46329 | NaN |  |  | 2745.7230792406299 | 2745.7230792406299 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 391 | V2 | TNF-RI | D10 | 1 | 10 |  | 253486 | 253486 | 253486 | 253486 | NaN |  |  | 14076.336552757 | 14076.336552757 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 392 | V1 | TNF-RI | E10 | 1 | 10 |  | 21841 | 21841 | 21841 | 21841 | NaN |  |  | 1346.95241802858 | 1346.95241802858 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 392 | V2 | TNF-RI | F10 | 1 | 10 |  | 22254 | 22254 | 22254 | 22254 | NaN |  |  | 1371.03520309397 | 1371.03520309397 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 393 | V1 | TNF-RI | G10 | 1 | 10 |  | 71581 | 71581 | 71581 | 71581 | NaN |  |  | 4152.3038534156603 | 4152.3038534156603 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 394 | V1 | TNF-RI | H10 | 1 | 10 |  | 26093 | 26093 | 26093 | 26093 | NaN |  |  | 1593.8348079892601 | 1593.8348079892601 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 395 | V1 | TNF-RI | A11 | 1 | 10 |  | 18829 | 18829 | 18829 | 18829 | NaN |  |  | 1170.55365021228 | 1170.55365021228 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 396 | V1 | TNF-RI | B11 | 1 | 10 |  | 24993 | 24993 | 24993 | 24993 | NaN |  |  | 1530.1806224085401 | 1530.1806224085401 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 396 | V2 | TNF-RI | C11 | 1 | 10 |  | 18328 | 18328 | 18328 | 18328 | NaN |  |  | 1141.0717286213101 | 1141.0717286213101 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 397 | V1 | TNF-RI | D11 | 1 | 10 |  | 63553 | 63553 | 63553 | 63553 | NaN |  |  | 3707.6272966328702 | 3707.6272966328702 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 3 | V2 | TNF-RI | C03 | 1 | 10 |  | 94465 | 94465 | 94465 | 94465 | NaN |  |  | 5411.3479865398704 | 5411.3479865398704 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 400 | V2 | TNF-RI | E11 | 1 | 10 |  | 161548 | 161548 | 161548 | 161548 | NaN |  |  | 9067.5509805476104 | 9067.5509805476104 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 401 | V1 | TNF-RI | F11 | 1 | 10 |  | 21453 | 21453 | 21453 | 21453 | NaN |  |  | 1324.3055614549501 | 1324.3055614549501 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 402 | V1 | TNF-RI | G11 | 1 | 10 |  | 35122 | 35122 | 35122 | 35122 | NaN |  |  | 2111.6878036224998 | 2111.6878036224998 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 402 | V2 | TNF-RI | A12 | 1 | 10 |  | 28273 | 28273 | 28273 | 28273 | NaN |  |  | 1719.58707569539 | 1719.58707569539 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 404 | V1 | TNF-RI | B12 | 1 | 10 |  | 88262 | 88262 | 88262 | 88262 | NaN |  |  | 5071.0804760189003 | 5071.0804760189003 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 404 | V2 | TNF-RI | C12 | 1 | 10 |  | 122586 | 122586 | 122586 | 122586 | NaN |  |  | 6947.6862612912801 | 6947.6862612912801 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 4 | V1 | TNF-RI | D03 | 1 | 10 |  | 10119 | 10119 | 10119 | 10119 | NaN |  |  | 650.44515092562096 | 650.44515092562096 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 4 | V2 | TNF-RI | E03 | 1 | 10 |  | 15569 | 15569 | 15569 | 15569 | NaN |  |  | 977.89408421890596 | 977.89408421890596 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 5 | V1 | TNF-RI | F03 | 1 | 10 |  | 51783 | 51783 | 51783 | 51783 | NaN |  |  | 3051.69020118362 | 3051.69020118362 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 5 | V2 | TNF-RI | G03 | 1 | 10 |  | 49781 | 49781 | 49781 | 49781 | NaN |  |  | 2939.54726021027 | 2939.54726021027 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 6 | V2 | TNF-RI | H03 | 1 | 10 |  | 57557 | 57557 | 57557 | 57557 | NaN |  |  | 3374.1408491973698 | 3374.1408491973698 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 7 | V1 | TNF-RI | B04 | 1 | 10 |  | 21242 | 21242 | 21242 | 21242 | NaN |  |  | 1311.9808135861199 | 1311.9808135861199 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 8 | V1 | TNF-RI | C04 | 1 | 10 |  | 28130 | 28130 | 28130 | 28130 | NaN |  |  | 1711.3536625233401 | 1711.3536625233401 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 9 | V1 | TNF-RI | D04 | 1 | 10 |  | 21302 | 21302 | 21302 | 21302 | NaN |  |  | 1315.4861372533901 | 1315.4861372533901 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | 9 | V2 | TNF-RI | E04 | 1 | 10 |  | 13247 | 13247 | 13247 | 13247 | NaN |  |  | 839.33107996926901 | 839.33107996926901 | NaN | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | BLANK |  | TNF-RI | E12 | 1 |  |  | 61 | 61 |  |  | 8.5401275260759295 | [5 empty] | Unknown Range
Plate_23M14ARH46_Set1 | BLANK |  | TNF-RI | F12 | 1 |  |  | 57 | 61 |  |  | 8.5401275260759295 | [5 empty] | Unknown Range
Plate_23M14ARH46_Set1 | BLANK |  | TNF-RI | G12 | 1 |  |  | 57 | 61 |  |  | 8.5401275260759295 | [5 empty] | Unknown Range
Plate_23M14ARH46_Set1 | BLANK |  | TNF-RI | D12 | 1 |  |  | 68 | 61 |  |  | 8.5401275260759295 | [5 empty] | Unknown Range
Plate_23M14ARH46_Set1 | QC |  | TNF-RI | H11 | 1 | 10 |  | 60119 | 64068 | 60119 | 64067.5 | 8.7158422773327597 |  |  | 3516.79181292268 | 3735.9316538121702 | 8.2954016229380407 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | QC |  | TNF-RI | A03 | 1 | 10 |  | 64504 | 64512 | 64504 | 64511.5 | 1.6441412333922101E-2 |  |  | 3760.4064958179301 | 3760.8226183352999 | 1.5647802818584199E-2 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | QC |  | TNF-RI | A04 | 1 | 10 |  | 64519 | 64512 | 64519 | 64511.5 | 1.6441412333922101E-2 |  |  | 3761.2387408526702 | 3760.8226183352999 | 1.5647802818584199E-2 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | QC |  | TNF-RI | H12 | 1 | 10 |  | 68016 | 64068 | 68016 | 64067.5 | 8.7158422773327597 |  |  | 3955.07149470165 | 3735.9316538121702 | 8.2954016229380407 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 363315 | 360983 | 363315 | 360982.5 | 0.91379862853053595 | 100.6988 | 100.048557914152 | 2013.9761311555601 | 2000.97115828304 | 0.91914413351087398 | Above Fit Curve Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 358650 | 360983 | 358650 | 360982.5 | 0.91379862853053595 | 99.3983 | 100.048557914152 | 1987.96618541053 | 2000.97115828304 | 0.91914413351087398 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 87260 | 86141 | 87260 | 86140.5 | 1.83794159898848 | 100.3211 | 99.090810865061201 | 501.60536436799202 | 495.454054325306 | 1.75581691436056 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 85021 | 86141 | 85021 | 86140.5 | 1.83794159898848 | 97.8605 | 99.090810865061201 | 489.30274428261902 | 495.454054325306 | 1.75581691436056 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 21492 | 21144 | 21492 | 21143.5 | 2.3309926288789602 | 106.1266 | 104.49729716633701 | 132.65828919361101 | 130.62162145792101 | 2.20505847478577 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 20795 | 21144 | 20795 | 21143.5 | 2.3309926288789602 | 102.868 | 104.49729716633701 | 128.58495372223101 | 130.62162145792101 | 2.20505847478577 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 4420 | 4478 | 4420 | 4478 | 1.83171921879498 | 94.8042 | 95.988990555791702 | 29.626316552614899 | 29.9965595486849 | 1.74554240317444 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 4536 | 4478 | 4536 | 4478 | 1.83171921879498 | 97.1738 | 95.988990555791702 | 30.366802544754801 | 29.9965595486849 | 1.74554240317444 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1142 | 1125 | 1142 | 1124.5 | 2.2008659263253998 | 102.3937 | 100.837704890758 | 7.9995105259793799 | 7.8779456945904798 | 2.1822774606814899 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1107 | 1125 | 1107 | 1124.5 | 2.2008659263253998 | 99.2817 | 100.837704890758 | 7.7563808632015796 | 7.8779456945904798 | 2.1822774606814899 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 307 | 298 | 307 | 297.5 | 4.5159760815275298 | 102.6226 | 98.926139295208102 | 2.0043472818579202 | 1.9321511581095301 | 5.28430381480287 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 288 | 298 | 288 | 297.5 | 4.5159760815275298 | 95.2297 | 98.926139295208102 | 1.85995503436114 | 1.9321511581095301 | 5.28430381480287 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 118 | 117 | 118 | 116.5 | 1.82087583138166 | 107.0567 | 104.514147803304 | 0.52273755970132896 | 0.51032298732082404 | 3.4403421103457301 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 115 | 117 | 115 | 116.5 | 1.82087583138166 | 101.9716 | 104.514147803304 | 0.49790841494031901 | 0.51032298732082404 | 3.4403421103457301 | In Detection Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 56 | 58 | 56 | 58 | 4.8765984909417002 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.33904
Plate_23M14ARH46_Set1 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 60 | 58 | 60 | 58 | 4.8765984909417002 |  | NaN | 1.5908065114338499E-2 | NaN | NaN | Below Detection Range | 2000 | 0.33904

## WideData
Sample | TNF-RI_V1 | TNF-RI_V2 | Sample | n | TNF-RI | Sample | TNF-RI
2 | 1706.4586762200299 |  | STD1 | 2 | 2000.97115828304 | QC | 3748.3771
3 |  | 5411.3479865398704 | STD2 | 2 | 495.454054325306
4 | 650.44515092562096 | 977.89408421890596 | STD3 | 2 | 130.62162145792101
5 | 3051.69020118362 | 2939.54726021027 | STD4 | 2 | 29.9965595486849
6 |  | 3374.1408491973698 | STD5 | 2 | 7.8779456945904798
7 | 1311.9808135861199 |  | STD6 | 2 | 1.9321511581095301
8 | 1711.3536625233401 |  | STD7 | 2 | 0.51032298732082404
9 | 1315.4861372533901 | 839.33107996926901 | STD8 | 2 | NaN
10 | 1575.6208978653999 | 1197.5857070352399
11 |  | 3025.0436958553
12 | 1747.2084454949199 | 1398.2385709268201
13 | 1675.1129130337399 | 1852.01994767513
14 | 2172.7026920561202
15 | 4376.34230795229 | 4003.5138414585799
16 | 902.97841952055899 | 1747.0934048014999
17 |  | 6294.5340389515204
18 |  | 3914.0855921105599
197 | 2736.3869740805999 | 2030.4994470952199
200 | 1745.48279289126 | 3666.2600674795099
201 | 2593.0063964504402 | 1387.1743933805999
202 |  | 3227.2167481302399
203 | 2816.7086856809301 | 4822.65219037318
204 |  | 1291.69802402142
205 | 2262.3622782978 | 1819.0890850426199
206 | 2362.1559016400402 | 2969.1416509676201
207 | 931.06811026396394 | 1006.2114854121
208 | 1745.8279306489201 | 1164.7900873341
209 | 3466.4853429193699 | 1865.83715251166
210 |  | 6100.6312692297797
211 | 1101.9895575529499 | 1051.5305536594699
384 | 1017.3594648007499 | 875.13641364740897
385 | 2262.9866533980899 | 1218.3063886823199
386 | 3907.1606894536699
387 | 5364.7031315974
388 | 7422.0707123177199
389 | 2401.6189018227101
390 | 2745.7230792406299
391 |  | 14076.336552757
392 | 1346.95241802858 | 1371.03520309397
393 | 4152.3038534156603
394 | 1593.8348079892601
395 | 1170.55365021228
396 | 1530.1806224085401 | 1141.0717286213101
397 | 3707.6272966328702
400 |  | 9067.5509805476104
401 | 1324.3055614549501
402 | 2111.6878036224998 | 1719.58707569539
404 | 5071.0804760189003 | 6947.6862612912801

## WideSampleData
Sample | TNF-RI_V1 | TNF-RI_V2
2 | 1706.4586762200299
3 |  | 5411.3479865398704
4 | 650.44515092562096 | 977.89408421890596
5 | 3051.69020118362 | 2939.54726021027
6 |  | 3374.1408491973698
7 | 1311.9808135861199
8 | 1711.3536625233401
9 | 1315.4861372533901 | 839.33107996926901
10 | 1575.6208978653999 | 1197.5857070352399
11 |  | 3025.0436958553
12 | 1747.2084454949199 | 1398.2385709268201
13 | 1675.1129130337399 | 1852.01994767513
14 | 2172.7026920561202
15 | 4376.34230795229 | 4003.5138414585799
16 | 902.97841952055899 | 1747.0934048014999
17 |  | 6294.5340389515204
18 |  | 3914.0855921105599
197 | 2736.3869740805999 | 2030.4994470952199
200 | 1745.48279289126 | 3666.2600674795099
201 | 2593.0063964504402 | 1387.1743933805999
202 |  | 3227.2167481302399
203 | 2816.7086856809301 | 4822.65219037318
204 |  | 1291.69802402142
205 | 2262.3622782978 | 1819.0890850426199
206 | 2362.1559016400402 | 2969.1416509676201
207 | 931.06811026396394 | 1006.2114854121
208 | 1745.8279306489201 | 1164.7900873341
209 | 3466.4853429193699 | 1865.83715251166
210 |  | 6100.6312692297797
211 | 1101.9895575529499 | 1051.5305536594699
384 | 1017.3594648007499 | 875.13641364740897
385 | 2262.9866533980899 | 1218.3063886823199
386 | 3907.1606894536699
387 | 5364.7031315974
388 | 7422.0707123177199
389 | 2401.6189018227101
390 | 2745.7230792406299
391 |  | 14076.336552757
392 | 1346.95241802858 | 1371.03520309397
393 | 4152.3038534156603
394 | 1593.8348079892601
395 | 1170.55365021228
396 | 1530.1806224085401 | 1141.0717286213101
397 | 3707.6272966328702
400 |  | 9067.5509805476104
401 | 1324.3055614549501
402 | 2111.6878036224998 | 1719.58707569539
404 | 5071.0804760189003 | 6947.6862612912801

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | In Detection Range
2 | V1 | B03 | 28045 | TNF-RI | 1706.4586762200299 | In Detection Range | STD1 | A01 | 363315 | TNF-RI | 2013.9761311555601 | Above Fit Curve Range | QC | H11 | 60119 | TNF-RI | 3516.79181292268 | In Detection Range | 72
3 | V2 | C03 | 94465 | TNF-RI | 5411.3479865398704 | In Detection Range | STD1 | A02 | 358650 | TNF-RI | 1987.96618541053 | In Detection Range | QC | A03 | 64504 | TNF-RI | 3760.4064958179301 | In Detection Range
4 | V1 | D03 | 10119 | TNF-RI | 650.44515092562096 | In Detection Range | STD2 | B01 | 87260 | TNF-RI | 501.60536436799202 | In Detection Range | QC | A04 | 64519 | TNF-RI | 3761.2387408526702 | In Detection Range
4 | V2 | E03 | 15569 | TNF-RI | 977.89408421890596 | In Detection Range | STD2 | B02 | 85021 | TNF-RI | 489.30274428261902 | In Detection Range | QC | H12 | 68016 | TNF-RI | 3955.07149470165 | In Detection Range
5 | V1 | F03 | 51783 | TNF-RI | 3051.69020118362 | In Detection Range | STD3 | C02 | 21492 | TNF-RI | 132.65828919361101 | In Detection Range
5 | V2 | G03 | 49781 | TNF-RI | 2939.54726021027 | In Detection Range | STD3 | C01 | 20795 | TNF-RI | 128.58495372223101 | In Detection Range
6 | V2 | H03 | 57557 | TNF-RI | 3374.1408491973698 | In Detection Range | STD4 | D02 | 4420 | TNF-RI | 29.626316552614899 | In Detection Range
7 | V1 | B04 | 21242 | TNF-RI | 1311.9808135861199 | In Detection Range | STD4 | D01 | 4536 | TNF-RI | 30.366802544754801 | In Detection Range
8 | V1 | C04 | 28130 | TNF-RI | 1711.3536625233401 | In Detection Range | STD5 | E01 | 1142 | TNF-RI | 7.9995105259793799 | In Detection Range
9 | V1 | D04 | 21302 | TNF-RI | 1315.4861372533901 | In Detection Range | STD5 | E02 | 1107 | TNF-RI | 7.7563808632015796 | In Detection Range
9 | V2 | E04 | 13247 | TNF-RI | 839.33107996926901 | In Detection Range | STD6 | F01 | 307 | TNF-RI | 2.0043472818579202 | In Detection Range
10 | V1 | F04 | 25778 | TNF-RI | 1575.6208978653999 | In Detection Range | STD6 | F02 | 288 | TNF-RI | 1.85995503436114 | In Detection Range
10 | V2 | G04 | 19289 | TNF-RI | 1197.5857070352399 | In Detection Range | STD7 | G01 | 118 | TNF-RI | 0.52273755970132896 | In Detection Range
11 | V2 | H04 | 51307 | TNF-RI | 3025.0436958553 | In Detection Range | STD7 | G02 | 115 | TNF-RI | 0.49790841494031901 | In Detection Range
12 | V1 | A05 | 28753 | TNF-RI | 1747.2084454949199 | In Detection Range | STD8 | H02 | 56 | TNF-RI | NaN | Below Fit Curve Range
12 | V2 | B05 | 22721 | TNF-RI | 1398.2385709268201 | In Detection Range | STD8 | H01 | 60 | TNF-RI | 1.5908065114338499E-2 | Below Detection Range
13 | V1 | C05 | 27501 | TNF-RI | 1675.1129130337399 | In Detection Range
13 | V2 | D05 | 30578 | TNF-RI | 1852.01994767513 | In Detection Range
14 | V1 | E05 | 36194 | TNF-RI | 2172.7026920561202 | In Detection Range
15 | V1 | F05 | 75638 | TNF-RI | 4376.34230795229 | In Detection Range
15 | V2 | G05 | 68891 | TNF-RI | 4003.5138414585799 | In Detection Range
16 | V1 | H05 | 14311 | TNF-RI | 902.97841952055899 | In Detection Range
16 | V2 | A06 | 28751 | TNF-RI | 1747.0934048014999 | In Detection Range
17 | V2 | B06 | 110612 | TNF-RI | 6294.5340389515204 | In Detection Range
18 | V2 | C06 | 67276 | TNF-RI | 3914.0855921105599 | In Detection Range
197 | V1 | D06 | 46163 | TNF-RI | 2736.3869740805999 | In Detection Range
197 | V2 | E06 | 33698 | TNF-RI | 2030.4994470952199 | In Detection Range
200 | V1 | F06 | 28723 | TNF-RI | 1745.48279289126 | In Detection Range
200 | V2 | G06 | 62808 | TNF-RI | 3666.2600674795099 | In Detection Range
201 | V1 | H06 | 43617 | TNF-RI | 2593.0063964504402 | In Detection Range
201 | V2 | A07 | 22531 | TNF-RI | 1387.1743933805999 | In Detection Range
202 | V2 | B07 | 54923 | TNF-RI | 3227.2167481302399 | In Detection Range
203 | V1 | C07 | 47592 | TNF-RI | 2816.7086856809301 | In Detection Range
203 | V2 | D07 | 83741 | TNF-RI | 4822.65219037318 | In Detection Range
204 | V2 | E07 | 20895 | TNF-RI | 1291.69802402142 | In Detection Range
205 | V1 | F07 | 37772 | TNF-RI | 2262.3622782978 | In Detection Range
205 | V2 | G07 | 30004 | TNF-RI | 1819.0890850426199 | In Detection Range
206 | V1 | H07 | 39532 | TNF-RI | 2362.1559016400402 | In Detection Range
206 | V2 | A08 | 50309 | TNF-RI | 2969.1416509676201 | In Detection Range
207 | V1 | B08 | 14782 | TNF-RI | 931.06811026396394 | In Detection Range
207 | V2 | C08 | 16046 | TNF-RI | 1006.2114854121 | In Detection Range
208 | V1 | D08 | 28729 | TNF-RI | 1745.8279306489201 | In Detection Range
208 | V2 | E08 | 18731 | TNF-RI | 1164.7900873341 | In Detection Range
209 | V1 | F08 | 59215 | TNF-RI | 3466.4853429193699 | In Detection Range
209 | V2 | G08 | 30819 | TNF-RI | 1865.83715251166 | In Detection Range
210 | V2 | H08 | 107062 | TNF-RI | 6100.6312692297797 | In Detection Range
211 | V1 | A09 | 17665 | TNF-RI | 1101.9895575529499 | In Detection Range
211 | V2 | B09 | 16811 | TNF-RI | 1051.5305536594699 | In Detection Range
384 | V1 | C09 | 16234 | TNF-RI | 1017.3594648007499 | In Detection Range
384 | V2 | D09 | 13845 | TNF-RI | 875.13641364740897 | In Detection Range
385 | V1 | E09 | 37783 | TNF-RI | 2262.9866533980899 | In Detection Range
385 | V2 | F09 | 19642 | TNF-RI | 1218.3063886823199 | In Detection Range
386 | V1 | G09 | 67151 | TNF-RI | 3907.1606894536699 | In Detection Range
387 | V1 | H09 | 93614 | TNF-RI | 5364.7031315974 | In Detection Range
388 | V1 | A10 | 131295 | TNF-RI | 7422.0707123177199 | In Detection Range
389 | V1 | B10 | 40229 | TNF-RI | 2401.6189018227101 | In Detection Range
390 | V1 | C10 | 46329 | TNF-RI | 2745.7230792406299 | In Detection Range
391 | V2 | D10 | 253486 | TNF-RI | 14076.336552757 | In Detection Range
392 | V1 | E10 | 21841 | TNF-RI | 1346.95241802858 | In Detection Range
392 | V2 | F10 | 22254 | TNF-RI | 1371.03520309397 | In Detection Range
393 | V1 | G10 | 71581 | TNF-RI | 4152.3038534156603 | In Detection Range
394 | V1 | H10 | 26093 | TNF-RI | 1593.8348079892601 | In Detection Range
395 | V1 | A11 | 18829 | TNF-RI | 1170.55365021228 | In Detection Range
396 | V1 | B11 | 24993 | TNF-RI | 1530.1806224085401 | In Detection Range
396 | V2 | C11 | 18328 | TNF-RI | 1141.0717286213101 | In Detection Range
397 | V1 | D11 | 63553 | TNF-RI | 3707.6272966328702 | In Detection Range
400 | V2 | E11 | 161548 | TNF-RI | 9067.5509805476104 | In Detection Range
401 | V1 | F11 | 21453 | TNF-RI | 1324.3055614549501 | In Detection Range
402 | V1 | G11 | 35122 | TNF-RI | 2111.6878036224998 | In Detection Range
402 | V2 | A12 | 28273 | TNF-RI | 1719.58707569539 | In Detection Range
404 | V1 | B12 | 88262 | TNF-RI | 5071.0804760189003 | In Detection Range
404 | V2 | C12 | 122586 | TNF-RI | 6947.6862612912801 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
2 | V1 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 0.91914413351087398 | 2 | QC | TNF-RI | 4.1555 | 4
3 | V2 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 1.75581691436056 | 2
4 | V1 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 2.20505847478577 | 2
4 | V2 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 1.74554240317444 | 2
5 | V1 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 2.1822774606814899 | 2
5 | V2 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 5.28430381480287 | 2
6 | V2 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 3.4403421103457301 | 2
7 | V1 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
8 | V1 | TNF-RI | NaN | 1
9 | V1 | TNF-RI | NaN | 1
9 | V2 | TNF-RI | NaN | 1
10 | V1 | TNF-RI | NaN | 1
10 | V2 | TNF-RI | NaN | 1
11 | V2 | TNF-RI | NaN | 1
12 | V1 | TNF-RI | NaN | 1
12 | V2 | TNF-RI | NaN | 1
13 | V1 | TNF-RI | NaN | 1
13 | V2 | TNF-RI | NaN | 1
14 | V1 | TNF-RI | NaN | 1
15 | V1 | TNF-RI | NaN | 1
15 | V2 | TNF-RI | NaN | 1
16 | V1 | TNF-RI | NaN | 1
16 | V2 | TNF-RI | NaN | 1
17 | V2 | TNF-RI | NaN | 1
18 | V2 | TNF-RI | NaN | 1
197 | V1 | TNF-RI | NaN | 1
197 | V2 | TNF-RI | NaN | 1
200 | V1 | TNF-RI | NaN | 1
200 | V2 | TNF-RI | NaN | 1
201 | V1 | TNF-RI | NaN | 1
201 | V2 | TNF-RI | NaN | 1
202 | V2 | TNF-RI | NaN | 1
203 | V1 | TNF-RI | NaN | 1
203 | V2 | TNF-RI | NaN | 1
204 | V2 | TNF-RI | NaN | 1
205 | V1 | TNF-RI | NaN | 1
205 | V2 | TNF-RI | NaN | 1
206 | V1 | TNF-RI | NaN | 1
206 | V2 | TNF-RI | NaN | 1
207 | V1 | TNF-RI | NaN | 1
207 | V2 | TNF-RI | NaN | 1
208 | V1 | TNF-RI | NaN | 1
208 | V2 | TNF-RI | NaN | 1
209 | V1 | TNF-RI | NaN | 1
209 | V2 | TNF-RI | NaN | 1
210 | V2 | TNF-RI | NaN | 1
211 | V1 | TNF-RI | NaN | 1
211 | V2 | TNF-RI | NaN | 1
384 | V1 | TNF-RI | NaN | 1
384 | V2 | TNF-RI | NaN | 1
385 | V1 | TNF-RI | NaN | 1
385 | V2 | TNF-RI | NaN | 1
386 | V1 | TNF-RI | NaN | 1
387 | V1 | TNF-RI | NaN | 1
388 | V1 | TNF-RI | NaN | 1
389 | V1 | TNF-RI | NaN | 1
390 | V1 | TNF-RI | NaN | 1
391 | V2 | TNF-RI | NaN | 1
392 | V1 | TNF-RI | NaN | 1
392 | V2 | TNF-RI | NaN | 1
393 | V1 | TNF-RI | NaN | 1
394 | V1 | TNF-RI | NaN | 1
395 | V1 | TNF-RI | NaN | 1
396 | V1 | TNF-RI | NaN | 1
396 | V2 | TNF-RI | NaN | 1
397 | V1 | TNF-RI | NaN | 1
400 | V2 | TNF-RI | NaN | 1
401 | V1 | TNF-RI | NaN | 1
402 | V1 | TNF-RI | NaN | 1
402 | V2 | TNF-RI | NaN | 1
404 | V1 | TNF-RI | NaN | 1
404 | V2 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].