## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14AEH49_Set4 | 242_V1 | TNF-RI | C06 | 1 | 10 |  | 98159 | 98159 | 98159 | 98159 | NaN |  |  | 5788.4069694993004 | 5788.4069694993004 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 242_V2 | TNF-RI | D06 | 1 | 10 |  | 97994 | 97994 | 97994 | 97994 | NaN |  |  | 5778.6445834094802 | 5778.6445834094802 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 243_V1 | TNF-RI | E06 | 1 | 10 |  | 24712 | 24712 | 24712 | 24712 | NaN |  |  | 1460.3887042477199 | 1460.3887042477199 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 243_V2 | TNF-RI | F06 | 1 | 10 |  | 22415 | 22415 | 22415 | 22415 | NaN |  |  | 1325.1658944441799 | 1325.1658944441799 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 245_V1 | TNF-RI | G06 | 1 | 10 |  | 68095 | 68095 | 68095 | 68095 | NaN |  |  | 4013.3762107308498 | 4013.3762107308498 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 246_V1 | TNF-RI | H06 | 1 | 10 |  | 21535 | 21535 | 21535 | 21535 | NaN |  |  | 1273.3473502710599 | 1273.3473502710599 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 246_V2 | TNF-RI | A07 | 1 | 10 |  | 23775 | 23775 | 23775 | 23775 | NaN |  |  | 1405.23383899291 | 1405.23383899291 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 247_V1 | TNF-RI | B07 | 1 | 10 |  | 61294 | 61294 | 61294 | 61294 | NaN |  |  | 3612.7393053198698 | 3612.7393053198698 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 247_V2 | TNF-RI | C07 | 1 | 10 |  | 46386 | 46386 | 46386 | 46386 | NaN |  |  | 2735.34943070902 | 2735.34943070902 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 248_V1 | TNF-RI | D07 | 1 | 10 |  | 34181 | 34181 | 34181 | 34181 | NaN |  |  | 2017.48377665003 | 2017.48377665003 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 248_V2 | TNF-RI | E07 | 1 | 10 |  | 35165 | 35165 | 35165 | 35165 | NaN |  |  | 2075.3593967194802 | 2075.3593967194802 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 249_V1 | TNF-RI | F07 | 1 | 10 |  | 58929 | 58929 | 58929 | 58929 | NaN |  |  | 3473.4829085896999 | 3473.4829085896999 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 250_V2 | TNF-RI | G07 | 1 | 10 |  | 43315 | 43315 | 43315 | 43315 | NaN |  |  | 2554.7062244061299 | 2554.7062244061299 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 251_V1 | TNF-RI | H07 | 1 | 10 |  | 56756 | 56756 | 56756 | 56756 | NaN |  |  | 3345.5574293609202 | 3345.5574293609202 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 251_V2 | TNF-RI | A08 | 1 | 10 |  | 29711 | 29711 | 29711 | 29711 | NaN |  |  | 1754.5457092106601 | 1754.5457092106601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 252_V1 | TNF-RI | B08 | 1 | 10 |  | 31879 | 31879 | 31879 | 31879 | NaN |  |  | 1882.08065593891 | 1882.08065593891 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 252_V2 | TNF-RI | C08 | 1 | 10 |  | 17968 | 17968 | 17968 | 17968 | NaN |  |  | 1063.2074153619401 | 1063.2074153619401 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 253_V1 | TNF-RI | D08 | 1 | 10 |  | 73295 | 73295 | 73295 | 73295 | NaN |  |  | 4319.8995830363201 | 4319.8995830363201 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 253_V2 | TNF-RI | E08 | 1 | 10 |  | 65796 | 65796 | 65796 | 65796 | NaN |  |  | 3877.91411683769 | 3877.91411683769 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 254_V1 | TNF-RI | F08 | 1 | 10 |  | 26129 | 26129 | 26129 | 26129 | NaN |  |  | 1543.7850137104999 | 1543.7850137104999 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 254_V2 | TNF-RI | G08 | 1 | 10 |  | 31331 | 31331 | 31331 | 31331 | NaN |  |  | 1849.84544752332 | 1849.84544752332 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 255_V1 | TNF-RI | H08 | 1 | 10 |  | 14581 | 14581 | 14581 | 14581 | NaN |  |  | 863.47829721656296 | 863.47829721656296 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 255_V2 | TNF-RI | A09 | 1 | 10 |  | 14935 | 14935 | 14935 | 14935 | NaN |  |  | 884.36450216003004 | 884.36450216003004 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 256_V1 | TNF-RI | B09 | 1 | 10 |  | 173293 | 173293 | 173293 | 173293 | NaN |  |  | 10262.570936803701 | 10262.570936803701 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 446_V1 | TNF-RI | C09 | 1 | 10 |  | 57540 | 57540 | 57540 | 57540 | NaN |  |  | 3391.7091501413802 | 3391.7091501413802 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 446_V2 | TNF-RI | D09 | 1 | 10 |  | 27846 | 27846 | 27846 | 27846 | NaN |  |  | 1644.81982325948 | 1644.81982325948 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 447_V2 | TNF-RI | E09 | 1 | 10 |  | 42954 | 42954 | 42954 | 42954 | NaN |  |  | 2533.4726348670101 | 2533.4726348670101 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 448_V1 | TNF-RI | F09 | 1 | 10 |  | 14817 | 14817 | 14817 | 14817 | NaN |  |  | 877.40275459616601 | 877.40275459616601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 448_V2 | TNF-RI | G09 | 1 | 10 |  | 17476 | 17476 | 17476 | 17476 | NaN |  |  | 1034.2078975151001 | 1034.2078975151001 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 450_V1 | TNF-RI | H09 | 1 | 10 |  | 101447 | 101447 | 101447 | 101447 | NaN |  |  | 5982.9963135158396 | 5982.9963135158396 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 450_V2 | TNF-RI | A10 | 1 | 10 |  | 69980 | 69980 | 69980 | 69980 | NaN |  |  | 4124.4699035087497 | 4124.4699035087497 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 451_V1 | TNF-RI | B10 | 1 | 10 |  | 47357 | 47357 | 47357 | 47357 | NaN |  |  | 2792.4706161454201 | 2792.4706161454201 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 451_V2 | TNF-RI | C10 | 1 | 10 |  | 33541 | 33541 | 33541 | 33541 | NaN |  |  | 1979.8402611624499 | 1979.8402611624499 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 452_V2 | TNF-RI | D10 | 1 | 10 |  | 29785 | 29785 | 29785 | 29785 | NaN |  |  | 1758.89912201622 | 1758.89912201622 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 453_V1 | TNF-RI | E10 | 1 | 10 |  | 26735 | 26735 | 26735 | 26735 | NaN |  |  | 1579.4463963143701 | 1579.4463963143701 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 453_V2 | TNF-RI | F10 | 1 | 10 |  | 20713 | 20713 | 20713 | 20713 | NaN |  |  | 1224.9362979468301 | 1224.9362979468301 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 454_V1 | TNF-RI | G10 | 1 | 10 |  | 38668 | 38668 | 38668 | 38668 | NaN |  |  | 2281.3875713334301 | 2281.3875713334301 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 455_V1 | TNF-RI | H10 | 1 | 10 |  | 104757 | 104757 | 104757 | 104757 | NaN |  |  | 6178.9883683895596 | 6178.9883683895596 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 456_V1 | TNF-RI | A11 | 1 | 10 |  | 50536 | 50536 | 50536 | 50536 | NaN |  |  | 2979.5022117611802 | 2979.5022117611802 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 456_V2 | TNF-RI | B11 | 1 | 10 |  | 67816 | 67816 | 67816 | 67816 | NaN |  |  | 3996.9351333826999 | 3996.9351333826999 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 457_V1 | TNF-RI | C11 | 1 | 10 |  | 13566 | 13566 | 13566 | 13566 | NaN |  |  | 803.57593119601302 | 803.57593119601302 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 457_V2 | TNF-RI | D11 | 1 | 10 |  | 13124 | 13124 | 13124 | 13124 | NaN |  |  | 777.48204104788601 | 777.48204104788601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 458_V2 | TNF-RI | E11 | 1 | 10 |  | 73628 | 73628 | 73628 | 73628 | NaN |  |  | 4339.5351939051698 | 4339.5351939051698 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 459_V2 | TNF-RI | F11 | 1 | 10 |  | 75118 | 75118 | 75118 | 75118 | NaN |  |  | 4427.40390177871 | 4427.40390177871 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 460_V1 | TNF-RI | G11 | 1 | 10 |  | 151832 | 151832 | 151832 | 151832 | NaN |  |  | 8978.3351391348897 | 8978.3351391348897 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 461_V1 | TNF-RI | A12 | 1 | 10 |  | 17374 | 17374 | 17374 | 17374 | NaN |  |  | 1028.1952883137701 | 1028.1952883137701 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 461_V2 | TNF-RI | B12 | 1 | 10 |  | 15986 | 15986 | 15986 | 15986 | NaN |  |  | 946.35781015979296 | 946.35781015979296 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 54_V1 | TNF-RI | B03 | 1 | 10 |  | 40389 | 40389 | 40389 | 40389 | NaN |  |  | 2382.60774610418 | 2382.60774610418 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 56_V1 | TNF-RI | C03 | 1 | 10 |  | 113858 | 113858 | 113858 | 113858 | NaN |  |  | 6718.4146044180698 | 6718.4146044180698 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 56_V2 | TNF-RI | D03 | 1 | 10 |  | 96620 | 96620 | 96620 | 96620 | NaN |  |  | 5697.3600424777096 | 5697.3600424777096 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 57_V1 | TNF-RI | E03 | 1 | 10 |  | 59574 | 59574 | 59574 | 59574 | NaN |  |  | 3511.45896956448 | 3511.45896956448 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 57_V2 | TNF-RI | F03 | 1 | 10 |  | 66760 | 66760 | 66760 | 66760 | NaN |  |  | 3934.7110426581498 | 3934.7110426581498 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 58_V1 | TNF-RI | G03 | 1 | 10 |  | 42541 | 42541 | 42541 | 42541 | NaN |  |  | 2509.18073091618 | 2509.18073091618 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 58_V2 | TNF-RI | H03 | 1 | 10 |  | 49588 | 49588 | 49588 | 49588 | NaN |  |  | 2923.7246081524199 | 2923.7246081524199 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 59_V1 | TNF-RI | B04 | 1 | 10 |  | 49871 | 49871 | 49871 | 49871 | NaN |  |  | 2940.3751899295598 | 2940.3751899295598 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 59_V2 | TNF-RI | C04 | 1 | 10 |  | 26639 | 26639 | 26639 | 26639 | NaN |  |  | 1573.7972241760399 | 1573.7972241760399 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 60_V2 | TNF-RI | D04 | 1 | 10 |  | 59695 | 59695 | 59695 | 59695 | NaN |  |  | 3518.5834039746301 | 3518.5834039746301 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 61_V1 | TNF-RI | E04 | 1 | 10 |  | 64960 | 64960 | 64960 | 64960 | NaN |  |  | 3828.6633343553899 | 3828.6633343553899 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 61_V2 | TNF-RI | F04 | 1 | 10 |  | 65713 | 65713 | 65713 | 65713 | NaN |  |  | 3873.0241946286601 | 3873.0241946286601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 62_V1 | TNF-RI | G04 | 1 | 10 |  | 11955 | 11955 | 11955 | 11955 | NaN |  |  | 708.44204666841199 | 708.44204666841199 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 63_V1 | TNF-RI | H04 | 1 | 10 |  | 65944 | 65944 | 65944 | 65944 | NaN |  |  | 3886.6336016376599 | 3886.6336016376599 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 63_V2 | TNF-RI | A05 | 1 | 10 |  | 34718 | 34718 | 34718 | 34718 | NaN |  |  | 2049.06850855231 | 2049.06850855231 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 64_V2 | TNF-RI | B05 | 1 | 10 |  | 17533 | 17533 | 17533 | 17533 | NaN |  |  | 1037.5678069338501 | 1037.5678069338501 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 65_V1 | TNF-RI | C05 | 1 | 10 |  | 21801 | 21801 | 21801 | 21801 | NaN |  |  | 1289.0115607385301 | 1289.0115607385301 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 66_V2 | TNF-RI | D05 | 1 | 10 |  | 31147 | 31147 | 31147 | 31147 | NaN |  |  | 1839.0217402143601 | 1839.0217402143601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 67_V1 | TNF-RI | E05 | 1 | 10 |  | 23144 | 23144 | 23144 | 23144 | NaN |  |  | 1368.0868389587899 | 1368.0868389587899 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 67_V2 | TNF-RI | F05 | 1 | 10 |  | 25486 | 25486 | 25486 | 25486 | NaN |  |  | 1505.9436059828099 | 1505.9436059828099 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 68_V1 | TNF-RI | G05 | 1 | 10 |  | 21875 | 21875 | 21875 | 21875 | NaN |  |  | 1293.3691355772401 | 1293.3691355772401 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 68_V2 | TNF-RI | H05 | 1 | 10 |  | 21509 | 21509 | 21509 | 21509 | NaN |  |  | 1271.8162198866401 | 1271.8162198866401 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 69_V1 | TNF-RI | A06 | 1 | 10 |  | 12417 | 12417 | 12417 | 12417 | NaN |  |  | 735.732206714065 | 735.732206714065 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 69_V2 | TNF-RI | B06 | 1 | 10 |  | 15982 | 15982 | 15982 | 15982 | NaN |  |  | 946.12191379792296 | 946.12191379792296 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | BLANK | TNF-RI | E12 | 1 |  |  | 58 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | BLANK | TNF-RI | F12 | 1 |  |  | 65 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | BLANK | TNF-RI | G12 | 1 |  |  | 62 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | BLANK | TNF-RI | D12 | 1 |  |  | 58 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | BLANK | TNF-RI | C12 | 1 |  |  | 58 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | QC | TNF-RI | H11 | 1 | 10 |  | 65610 | 65257 | 65610 | 65256.5 | 0.76609149172709101 |  |  | 3866.95603685775 | 3846.13075915128 | 0.76574074094088596 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | QC | TNF-RI | A03 | 1 | 10 |  | 65990 | 65263 | 65990 | 65263 | 1.5753692901724401 |  |  | 3889.3437393542399 | 3846.5149151442702 | 1.57464888072457 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | QC | TNF-RI | A04 | 1 | 10 |  | 64536 | 65263 | 64536 | 65263 | 1.5753692901724401 |  |  | 3803.68609093431 | 3846.5149151442702 | 1.57464888072457 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | QC | TNF-RI | H12 | 1 | 10 |  | 64903 | 65257 | 64903 | 65256.5 | 0.76609149172709101 |  |  | 3825.3054814448001 | 3846.13075915128 | 0.76574074094088596 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 322221 | 334933 | 322221 | 334933 | 5.3674862748331096 | 96.6673 | 100.613314769786 | 1933.34552885671 | 2012.2662953957299 | 5.5465232731740501 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 347645 | 334933 | 347645 | 334933 | 5.3674862748331096 | 104.5594 | 100.613314769786 | 2091.1870619347501 | 2012.2662953957299 | 5.5465232731740501 | Above Fit Curve Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD2 | TNF-RI | B01 | 1 |  | 500 | 83511 | 82845 | 83511 | 82844.5 | 1.13776211978063 | 98.4533 | 97.666392468306498 | 492.26673449105402 | 488.33196234153201 | 1.1395133982258601 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD2 | TNF-RI | B02 | 1 |  | 500 | 82178 | 82845 | 82178 | 82844.5 | 1.13776211978063 | 96.8794 | 97.666392468306498 | 484.39719019201101 | 488.33196234153201 | 1.1395133982258601 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD3 | TNF-RI | C02 | 1 |  | 125 | 21432 | 21192 | 21432 | 21191.5 | 1.60497539933808 | 101.3825 | 100.24942461151601 | 126.728167375566 | 125.311780764395 | 1.59847154262949 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD3 | TNF-RI | C01 | 1 |  | 125 | 20951 | 21192 | 20951 | 21191.5 | 1.60497539933808 | 99.1163 | 100.24942461151601 | 123.895394153225 | 125.311780764395 | 1.59847154262949 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 5388 | 5346 | 5388 | 5345.5 | 1.12438642598178 | 102.2497 | 101.441423734832 | 31.953024843957799 | 31.700444917135201 | 1.1268042421153199 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 5303 | 5346 | 5303 | 5345.5 | 1.12438642598178 | 100.6332 | 101.441423734832 | 31.447864990312599 | 31.700444917135201 | 1.1268042421153199 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1385 | 1376 | 1385 | 1376 | 0.92499433585449498 | 103.1138 | 102.420893156388 | 8.0557671479840902 | 8.0016322778428197 | 0.95678312740118499 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1367 | 1376 | 1367 | 1376 | 0.92499433585449498 | 101.728 | 102.420893156388 | 7.9474974077015501 | 8.0016322778428197 | 0.95678312740118499 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 384 | 373 | 384 | 372.5 | 4.3660284475947897 | 102.6649 | 99.076358137191406 | 2.0051742935264301 | 1.93508511986702 | 5.1223100703436399 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 361 | 373 | 361 | 372.5 | 4.3660284475947897 | 95.4878 | 99.076358137191406 | 1.8649959462076 | 1.93508511986702 | 5.1223100703436399 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 137 | 134 | 137 | 133.5 | 3.7076760062215901 | 100.8851 | 96.457973962245305 | 0.492603167695493 | 0.47098620098752603 | 6.4908499297168403 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 130 | 134 | 130 | 133.5 | 3.7076760062215901 | 92.0308 | 96.457973962245305 | 0.44936923427955899 | 0.47098620098752603 | 6.4908499297168403 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD8 | TNF-RI | H02 | 1 |  | 0 | 57 | 59 | 57 | 58.5 | 3.6261886214694701 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD8 | TNF-RI | H01 | 1 |  | 0 | 60 | 59 | 60 | 58.5 | 3.6261886214694701 |  | NaN | 1.31890846276672E-2 | NaN | NaN | Below Detection Range | 2000 | 0.23533

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14AEH49_Set4 | 242 | V1 | TNF-RI | C06 | 1 | 10 |  | 98159 | 98159 | 98159 | 98159 | NaN |  |  | 5788.4069694993004 | 5788.4069694993004 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 242 | V2 | TNF-RI | D06 | 1 | 10 |  | 97994 | 97994 | 97994 | 97994 | NaN |  |  | 5778.6445834094802 | 5778.6445834094802 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 243 | V1 | TNF-RI | E06 | 1 | 10 |  | 24712 | 24712 | 24712 | 24712 | NaN |  |  | 1460.3887042477199 | 1460.3887042477199 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 243 | V2 | TNF-RI | F06 | 1 | 10 |  | 22415 | 22415 | 22415 | 22415 | NaN |  |  | 1325.1658944441799 | 1325.1658944441799 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 245 | V1 | TNF-RI | G06 | 1 | 10 |  | 68095 | 68095 | 68095 | 68095 | NaN |  |  | 4013.3762107308498 | 4013.3762107308498 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 246 | V1 | TNF-RI | H06 | 1 | 10 |  | 21535 | 21535 | 21535 | 21535 | NaN |  |  | 1273.3473502710599 | 1273.3473502710599 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 246 | V2 | TNF-RI | A07 | 1 | 10 |  | 23775 | 23775 | 23775 | 23775 | NaN |  |  | 1405.23383899291 | 1405.23383899291 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 247 | V1 | TNF-RI | B07 | 1 | 10 |  | 61294 | 61294 | 61294 | 61294 | NaN |  |  | 3612.7393053198698 | 3612.7393053198698 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 247 | V2 | TNF-RI | C07 | 1 | 10 |  | 46386 | 46386 | 46386 | 46386 | NaN |  |  | 2735.34943070902 | 2735.34943070902 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 248 | V1 | TNF-RI | D07 | 1 | 10 |  | 34181 | 34181 | 34181 | 34181 | NaN |  |  | 2017.48377665003 | 2017.48377665003 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 248 | V2 | TNF-RI | E07 | 1 | 10 |  | 35165 | 35165 | 35165 | 35165 | NaN |  |  | 2075.3593967194802 | 2075.3593967194802 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 249 | V1 | TNF-RI | F07 | 1 | 10 |  | 58929 | 58929 | 58929 | 58929 | NaN |  |  | 3473.4829085896999 | 3473.4829085896999 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 250 | V2 | TNF-RI | G07 | 1 | 10 |  | 43315 | 43315 | 43315 | 43315 | NaN |  |  | 2554.7062244061299 | 2554.7062244061299 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 251 | V1 | TNF-RI | H07 | 1 | 10 |  | 56756 | 56756 | 56756 | 56756 | NaN |  |  | 3345.5574293609202 | 3345.5574293609202 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 251 | V2 | TNF-RI | A08 | 1 | 10 |  | 29711 | 29711 | 29711 | 29711 | NaN |  |  | 1754.5457092106601 | 1754.5457092106601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 252 | V1 | TNF-RI | B08 | 1 | 10 |  | 31879 | 31879 | 31879 | 31879 | NaN |  |  | 1882.08065593891 | 1882.08065593891 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 252 | V2 | TNF-RI | C08 | 1 | 10 |  | 17968 | 17968 | 17968 | 17968 | NaN |  |  | 1063.2074153619401 | 1063.2074153619401 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 253 | V1 | TNF-RI | D08 | 1 | 10 |  | 73295 | 73295 | 73295 | 73295 | NaN |  |  | 4319.8995830363201 | 4319.8995830363201 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 253 | V2 | TNF-RI | E08 | 1 | 10 |  | 65796 | 65796 | 65796 | 65796 | NaN |  |  | 3877.91411683769 | 3877.91411683769 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 254 | V1 | TNF-RI | F08 | 1 | 10 |  | 26129 | 26129 | 26129 | 26129 | NaN |  |  | 1543.7850137104999 | 1543.7850137104999 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 254 | V2 | TNF-RI | G08 | 1 | 10 |  | 31331 | 31331 | 31331 | 31331 | NaN |  |  | 1849.84544752332 | 1849.84544752332 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 255 | V1 | TNF-RI | H08 | 1 | 10 |  | 14581 | 14581 | 14581 | 14581 | NaN |  |  | 863.47829721656296 | 863.47829721656296 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 255 | V2 | TNF-RI | A09 | 1 | 10 |  | 14935 | 14935 | 14935 | 14935 | NaN |  |  | 884.36450216003004 | 884.36450216003004 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 256 | V1 | TNF-RI | B09 | 1 | 10 |  | 173293 | 173293 | 173293 | 173293 | NaN |  |  | 10262.570936803701 | 10262.570936803701 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 446 | V1 | TNF-RI | C09 | 1 | 10 |  | 57540 | 57540 | 57540 | 57540 | NaN |  |  | 3391.7091501413802 | 3391.7091501413802 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 446 | V2 | TNF-RI | D09 | 1 | 10 |  | 27846 | 27846 | 27846 | 27846 | NaN |  |  | 1644.81982325948 | 1644.81982325948 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 447 | V2 | TNF-RI | E09 | 1 | 10 |  | 42954 | 42954 | 42954 | 42954 | NaN |  |  | 2533.4726348670101 | 2533.4726348670101 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 448 | V1 | TNF-RI | F09 | 1 | 10 |  | 14817 | 14817 | 14817 | 14817 | NaN |  |  | 877.40275459616601 | 877.40275459616601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 448 | V2 | TNF-RI | G09 | 1 | 10 |  | 17476 | 17476 | 17476 | 17476 | NaN |  |  | 1034.2078975151001 | 1034.2078975151001 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 450 | V1 | TNF-RI | H09 | 1 | 10 |  | 101447 | 101447 | 101447 | 101447 | NaN |  |  | 5982.9963135158396 | 5982.9963135158396 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 450 | V2 | TNF-RI | A10 | 1 | 10 |  | 69980 | 69980 | 69980 | 69980 | NaN |  |  | 4124.4699035087497 | 4124.4699035087497 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 451 | V1 | TNF-RI | B10 | 1 | 10 |  | 47357 | 47357 | 47357 | 47357 | NaN |  |  | 2792.4706161454201 | 2792.4706161454201 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 451 | V2 | TNF-RI | C10 | 1 | 10 |  | 33541 | 33541 | 33541 | 33541 | NaN |  |  | 1979.8402611624499 | 1979.8402611624499 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 452 | V2 | TNF-RI | D10 | 1 | 10 |  | 29785 | 29785 | 29785 | 29785 | NaN |  |  | 1758.89912201622 | 1758.89912201622 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 453 | V1 | TNF-RI | E10 | 1 | 10 |  | 26735 | 26735 | 26735 | 26735 | NaN |  |  | 1579.4463963143701 | 1579.4463963143701 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 453 | V2 | TNF-RI | F10 | 1 | 10 |  | 20713 | 20713 | 20713 | 20713 | NaN |  |  | 1224.9362979468301 | 1224.9362979468301 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 454 | V1 | TNF-RI | G10 | 1 | 10 |  | 38668 | 38668 | 38668 | 38668 | NaN |  |  | 2281.3875713334301 | 2281.3875713334301 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 455 | V1 | TNF-RI | H10 | 1 | 10 |  | 104757 | 104757 | 104757 | 104757 | NaN |  |  | 6178.9883683895596 | 6178.9883683895596 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 456 | V1 | TNF-RI | A11 | 1 | 10 |  | 50536 | 50536 | 50536 | 50536 | NaN |  |  | 2979.5022117611802 | 2979.5022117611802 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 456 | V2 | TNF-RI | B11 | 1 | 10 |  | 67816 | 67816 | 67816 | 67816 | NaN |  |  | 3996.9351333826999 | 3996.9351333826999 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 457 | V1 | TNF-RI | C11 | 1 | 10 |  | 13566 | 13566 | 13566 | 13566 | NaN |  |  | 803.57593119601302 | 803.57593119601302 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 457 | V2 | TNF-RI | D11 | 1 | 10 |  | 13124 | 13124 | 13124 | 13124 | NaN |  |  | 777.48204104788601 | 777.48204104788601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 458 | V2 | TNF-RI | E11 | 1 | 10 |  | 73628 | 73628 | 73628 | 73628 | NaN |  |  | 4339.5351939051698 | 4339.5351939051698 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 459 | V2 | TNF-RI | F11 | 1 | 10 |  | 75118 | 75118 | 75118 | 75118 | NaN |  |  | 4427.40390177871 | 4427.40390177871 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 460 | V1 | TNF-RI | G11 | 1 | 10 |  | 151832 | 151832 | 151832 | 151832 | NaN |  |  | 8978.3351391348897 | 8978.3351391348897 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 461 | V1 | TNF-RI | A12 | 1 | 10 |  | 17374 | 17374 | 17374 | 17374 | NaN |  |  | 1028.1952883137701 | 1028.1952883137701 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 461 | V2 | TNF-RI | B12 | 1 | 10 |  | 15986 | 15986 | 15986 | 15986 | NaN |  |  | 946.35781015979296 | 946.35781015979296 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 54 | V1 | TNF-RI | B03 | 1 | 10 |  | 40389 | 40389 | 40389 | 40389 | NaN |  |  | 2382.60774610418 | 2382.60774610418 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 56 | V1 | TNF-RI | C03 | 1 | 10 |  | 113858 | 113858 | 113858 | 113858 | NaN |  |  | 6718.4146044180698 | 6718.4146044180698 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 56 | V2 | TNF-RI | D03 | 1 | 10 |  | 96620 | 96620 | 96620 | 96620 | NaN |  |  | 5697.3600424777096 | 5697.3600424777096 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 57 | V1 | TNF-RI | E03 | 1 | 10 |  | 59574 | 59574 | 59574 | 59574 | NaN |  |  | 3511.45896956448 | 3511.45896956448 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 57 | V2 | TNF-RI | F03 | 1 | 10 |  | 66760 | 66760 | 66760 | 66760 | NaN |  |  | 3934.7110426581498 | 3934.7110426581498 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 58 | V1 | TNF-RI | G03 | 1 | 10 |  | 42541 | 42541 | 42541 | 42541 | NaN |  |  | 2509.18073091618 | 2509.18073091618 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 58 | V2 | TNF-RI | H03 | 1 | 10 |  | 49588 | 49588 | 49588 | 49588 | NaN |  |  | 2923.7246081524199 | 2923.7246081524199 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 59 | V1 | TNF-RI | B04 | 1 | 10 |  | 49871 | 49871 | 49871 | 49871 | NaN |  |  | 2940.3751899295598 | 2940.3751899295598 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 59 | V2 | TNF-RI | C04 | 1 | 10 |  | 26639 | 26639 | 26639 | 26639 | NaN |  |  | 1573.7972241760399 | 1573.7972241760399 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 60 | V2 | TNF-RI | D04 | 1 | 10 |  | 59695 | 59695 | 59695 | 59695 | NaN |  |  | 3518.5834039746301 | 3518.5834039746301 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 61 | V1 | TNF-RI | E04 | 1 | 10 |  | 64960 | 64960 | 64960 | 64960 | NaN |  |  | 3828.6633343553899 | 3828.6633343553899 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 61 | V2 | TNF-RI | F04 | 1 | 10 |  | 65713 | 65713 | 65713 | 65713 | NaN |  |  | 3873.0241946286601 | 3873.0241946286601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 62 | V1 | TNF-RI | G04 | 1 | 10 |  | 11955 | 11955 | 11955 | 11955 | NaN |  |  | 708.44204666841199 | 708.44204666841199 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 63 | V1 | TNF-RI | H04 | 1 | 10 |  | 65944 | 65944 | 65944 | 65944 | NaN |  |  | 3886.6336016376599 | 3886.6336016376599 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 63 | V2 | TNF-RI | A05 | 1 | 10 |  | 34718 | 34718 | 34718 | 34718 | NaN |  |  | 2049.06850855231 | 2049.06850855231 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 64 | V2 | TNF-RI | B05 | 1 | 10 |  | 17533 | 17533 | 17533 | 17533 | NaN |  |  | 1037.5678069338501 | 1037.5678069338501 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 65 | V1 | TNF-RI | C05 | 1 | 10 |  | 21801 | 21801 | 21801 | 21801 | NaN |  |  | 1289.0115607385301 | 1289.0115607385301 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 66 | V2 | TNF-RI | D05 | 1 | 10 |  | 31147 | 31147 | 31147 | 31147 | NaN |  |  | 1839.0217402143601 | 1839.0217402143601 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 67 | V1 | TNF-RI | E05 | 1 | 10 |  | 23144 | 23144 | 23144 | 23144 | NaN |  |  | 1368.0868389587899 | 1368.0868389587899 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 67 | V2 | TNF-RI | F05 | 1 | 10 |  | 25486 | 25486 | 25486 | 25486 | NaN |  |  | 1505.9436059828099 | 1505.9436059828099 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 68 | V1 | TNF-RI | G05 | 1 | 10 |  | 21875 | 21875 | 21875 | 21875 | NaN |  |  | 1293.3691355772401 | 1293.3691355772401 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 68 | V2 | TNF-RI | H05 | 1 | 10 |  | 21509 | 21509 | 21509 | 21509 | NaN |  |  | 1271.8162198866401 | 1271.8162198866401 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 69 | V1 | TNF-RI | A06 | 1 | 10 |  | 12417 | 12417 | 12417 | 12417 | NaN |  |  | 735.732206714065 | 735.732206714065 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | 69 | V2 | TNF-RI | B06 | 1 | 10 |  | 15982 | 15982 | 15982 | 15982 | NaN |  |  | 946.12191379792296 | 946.12191379792296 | NaN | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | BLANK |  | TNF-RI | E12 | 1 |  |  | 58 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | BLANK |  | TNF-RI | F12 | 1 |  |  | 65 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | BLANK |  | TNF-RI | G12 | 1 |  |  | 62 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | BLANK |  | TNF-RI | D12 | 1 |  |  | 58 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | BLANK |  | TNF-RI | C12 | 1 |  |  | 58 | 60 |  |  | 5.3052223995585699 | [5 empty] | Unknown Range
Plate_23M14AEH49_Set4 | QC |  | TNF-RI | H11 | 1 | 10 |  | 65610 | 65257 | 65610 | 65256.5 | 0.76609149172709101 |  |  | 3866.95603685775 | 3846.13075915128 | 0.76574074094088596 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | QC |  | TNF-RI | A03 | 1 | 10 |  | 65990 | 65263 | 65990 | 65263 | 1.5753692901724401 |  |  | 3889.3437393542399 | 3846.5149151442702 | 1.57464888072457 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | QC |  | TNF-RI | A04 | 1 | 10 |  | 64536 | 65263 | 64536 | 65263 | 1.5753692901724401 |  |  | 3803.68609093431 | 3846.5149151442702 | 1.57464888072457 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | QC |  | TNF-RI | H12 | 1 | 10 |  | 64903 | 65257 | 64903 | 65256.5 | 0.76609149172709101 |  |  | 3825.3054814448001 | 3846.13075915128 | 0.76574074094088596 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 322221 | 334933 | 322221 | 334933 | 5.3674862748331096 | 96.6673 | 100.613314769786 | 1933.34552885671 | 2012.2662953957299 | 5.5465232731740501 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 347645 | 334933 | 347645 | 334933 | 5.3674862748331096 | 104.5594 | 100.613314769786 | 2091.1870619347501 | 2012.2662953957299 | 5.5465232731740501 | Above Fit Curve Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 83511 | 82845 | 83511 | 82844.5 | 1.13776211978063 | 98.4533 | 97.666392468306498 | 492.26673449105402 | 488.33196234153201 | 1.1395133982258601 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 82178 | 82845 | 82178 | 82844.5 | 1.13776211978063 | 96.8794 | 97.666392468306498 | 484.39719019201101 | 488.33196234153201 | 1.1395133982258601 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 21432 | 21192 | 21432 | 21191.5 | 1.60497539933808 | 101.3825 | 100.24942461151601 | 126.728167375566 | 125.311780764395 | 1.59847154262949 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 20951 | 21192 | 20951 | 21191.5 | 1.60497539933808 | 99.1163 | 100.24942461151601 | 123.895394153225 | 125.311780764395 | 1.59847154262949 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 5388 | 5346 | 5388 | 5345.5 | 1.12438642598178 | 102.2497 | 101.441423734832 | 31.953024843957799 | 31.700444917135201 | 1.1268042421153199 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 5303 | 5346 | 5303 | 5345.5 | 1.12438642598178 | 100.6332 | 101.441423734832 | 31.447864990312599 | 31.700444917135201 | 1.1268042421153199 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1385 | 1376 | 1385 | 1376 | 0.92499433585449498 | 103.1138 | 102.420893156388 | 8.0557671479840902 | 8.0016322778428197 | 0.95678312740118499 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1367 | 1376 | 1367 | 1376 | 0.92499433585449498 | 101.728 | 102.420893156388 | 7.9474974077015501 | 8.0016322778428197 | 0.95678312740118499 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 384 | 373 | 384 | 372.5 | 4.3660284475947897 | 102.6649 | 99.076358137191406 | 2.0051742935264301 | 1.93508511986702 | 5.1223100703436399 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 361 | 373 | 361 | 372.5 | 4.3660284475947897 | 95.4878 | 99.076358137191406 | 1.8649959462076 | 1.93508511986702 | 5.1223100703436399 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 137 | 134 | 137 | 133.5 | 3.7076760062215901 | 100.8851 | 96.457973962245305 | 0.492603167695493 | 0.47098620098752603 | 6.4908499297168403 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 130 | 134 | 130 | 133.5 | 3.7076760062215901 | 92.0308 | 96.457973962245305 | 0.44936923427955899 | 0.47098620098752603 | 6.4908499297168403 | In Detection Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 57 | 59 | 57 | 58.5 | 3.6261886214694701 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.23533
Plate_23M14AEH49_Set4 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 60 | 59 | 60 | 58.5 | 3.6261886214694701 |  | NaN | 1.31890846276672E-2 | NaN | NaN | Below Detection Range | 2000 | 0.23533

## WideData
Sample | TNF-RI_V1 | TNF-RI_V2 | Sample | TNF-RI | Sample | TNF-RI
54 | 2382.60774610418 |  | STD1 | 2012.2662953957299 | QC | 3846.3228
56 | 6718.4146044180698 | 5697.3600424777096 | STD2 | 488.33196234153201
57 | 3511.45896956448 | 3934.7110426581498 | STD3 | 125.311780764395
58 | 2509.18073091618 | 2923.7246081524199 | STD4 | 31.700444917135201
59 | 2940.3751899295598 | 1573.7972241760399 | STD5 | 8.0016322778428197
60 |  | 3518.5834039746301 | STD6 | 1.93508511986702
61 | 3828.6633343553899 | 3873.0241946286601 | STD7 | 0.47098620098752603
62 | 708.44204666841199 |  | STD8 | NaN
63 | 3886.6336016376599 | 2049.06850855231
64 |  | 1037.5678069338501
65 | 1289.0115607385301
66 |  | 1839.0217402143601
67 | 1368.0868389587899 | 1505.9436059828099
68 | 1293.3691355772401 | 1271.8162198866401
69 | 735.732206714065 | 946.12191379792296
242 | 5788.4069694993004 | 5778.6445834094802
243 | 1460.3887042477199 | 1325.1658944441799
245 | 4013.3762107308498
246 | 1273.3473502710599 | 1405.23383899291
247 | 3612.7393053198698 | 2735.34943070902
248 | 2017.48377665003 | 2075.3593967194802
249 | 3473.4829085896999
250 |  | 2554.7062244061299
251 | 3345.5574293609202 | 1754.5457092106601
252 | 1882.08065593891 | 1063.2074153619401
253 | 4319.8995830363201 | 3877.91411683769
254 | 1543.7850137104999 | 1849.84544752332
255 | 863.47829721656296 | 884.36450216003004
256 | 10262.570936803701
446 | 3391.7091501413802 | 1644.81982325948
447 |  | 2533.4726348670101
448 | 877.40275459616601 | 1034.2078975151001
450 | 5982.9963135158396 | 4124.4699035087497
451 | 2792.4706161454201 | 1979.8402611624499
452 |  | 1758.89912201622
453 | 1579.4463963143701 | 1224.9362979468301
454 | 2281.3875713334301
455 | 6178.9883683895596
456 | 2979.5022117611802 | 3996.9351333826999
457 | 803.57593119601302 | 777.48204104788601
458 |  | 4339.5351939051698
459 |  | 4427.40390177871
460 | 8978.3351391348897
461 | 1028.1952883137701 | 946.35781015979296

## WideSampleData
Sample | TNF-RI_V1 | TNF-RI_V2
54 | 2382.60774610418
56 | 6718.4146044180698 | 5697.3600424777096
57 | 3511.45896956448 | 3934.7110426581498
58 | 2509.18073091618 | 2923.7246081524199
59 | 2940.3751899295598 | 1573.7972241760399
60 |  | 3518.5834039746301
61 | 3828.6633343553899 | 3873.0241946286601
62 | 708.44204666841199
63 | 3886.6336016376599 | 2049.06850855231
64 |  | 1037.5678069338501
65 | 1289.0115607385301
66 |  | 1839.0217402143601
67 | 1368.0868389587899 | 1505.9436059828099
68 | 1293.3691355772401 | 1271.8162198866401
69 | 735.732206714065 | 946.12191379792296
242 | 5788.4069694993004 | 5778.6445834094802
243 | 1460.3887042477199 | 1325.1658944441799
245 | 4013.3762107308498
246 | 1273.3473502710599 | 1405.23383899291
247 | 3612.7393053198698 | 2735.34943070902
248 | 2017.48377665003 | 2075.3593967194802
249 | 3473.4829085896999
250 |  | 2554.7062244061299
251 | 3345.5574293609202 | 1754.5457092106601
252 | 1882.08065593891 | 1063.2074153619401
253 | 4319.8995830363201 | 3877.91411683769
254 | 1543.7850137104999 | 1849.84544752332
255 | 863.47829721656296 | 884.36450216003004
256 | 10262.570936803701
446 | 3391.7091501413802 | 1644.81982325948
447 |  | 2533.4726348670101
448 | 877.40275459616601 | 1034.2078975151001
450 | 5982.9963135158396 | 4124.4699035087497
451 | 2792.4706161454201 | 1979.8402611624499
452 |  | 1758.89912201622
453 | 1579.4463963143701 | 1224.9362979468301
454 | 2281.3875713334301
455 | 6178.9883683895596
456 | 2979.5022117611802 | 3996.9351333826999
457 | 803.57593119601302 | 777.48204104788601
458 |  | 4339.5351939051698
459 |  | 4427.40390177871
460 | 8978.3351391348897
461 | 1028.1952883137701 | 946.35781015979296

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | In Detection Range
54 | V1 | B03 | 40389 | TNF-RI | 2382.60774610418 | In Detection Range | STD1 | A01 | 322221 | TNF-RI | 1933.34552885671 | In Detection Range | QC | H11 | 65610 | TNF-RI | 3866.95603685775 | In Detection Range | 71
56 | V1 | C03 | 113858 | TNF-RI | 6718.4146044180698 | In Detection Range | STD1 | A02 | 347645 | TNF-RI | 2091.1870619347501 | Above Fit Curve Range | QC | A03 | 65990 | TNF-RI | 3889.3437393542399 | In Detection Range
56 | V2 | D03 | 96620 | TNF-RI | 5697.3600424777096 | In Detection Range | STD2 | B01 | 83511 | TNF-RI | 492.26673449105402 | In Detection Range | QC | A04 | 64536 | TNF-RI | 3803.68609093431 | In Detection Range
57 | V1 | E03 | 59574 | TNF-RI | 3511.45896956448 | In Detection Range | STD2 | B02 | 82178 | TNF-RI | 484.39719019201101 | In Detection Range | QC | H12 | 64903 | TNF-RI | 3825.3054814448001 | In Detection Range
57 | V2 | F03 | 66760 | TNF-RI | 3934.7110426581498 | In Detection Range | STD3 | C02 | 21432 | TNF-RI | 126.728167375566 | In Detection Range
58 | V1 | G03 | 42541 | TNF-RI | 2509.18073091618 | In Detection Range | STD3 | C01 | 20951 | TNF-RI | 123.895394153225 | In Detection Range
58 | V2 | H03 | 49588 | TNF-RI | 2923.7246081524199 | In Detection Range | STD4 | D02 | 5388 | TNF-RI | 31.953024843957799 | In Detection Range
59 | V1 | B04 | 49871 | TNF-RI | 2940.3751899295598 | In Detection Range | STD4 | D01 | 5303 | TNF-RI | 31.447864990312599 | In Detection Range
59 | V2 | C04 | 26639 | TNF-RI | 1573.7972241760399 | In Detection Range | STD5 | E01 | 1385 | TNF-RI | 8.0557671479840902 | In Detection Range
60 | V2 | D04 | 59695 | TNF-RI | 3518.5834039746301 | In Detection Range | STD5 | E02 | 1367 | TNF-RI | 7.9474974077015501 | In Detection Range
61 | V1 | E04 | 64960 | TNF-RI | 3828.6633343553899 | In Detection Range | STD6 | F01 | 384 | TNF-RI | 2.0051742935264301 | In Detection Range
61 | V2 | F04 | 65713 | TNF-RI | 3873.0241946286601 | In Detection Range | STD6 | F02 | 361 | TNF-RI | 1.8649959462076 | In Detection Range
62 | V1 | G04 | 11955 | TNF-RI | 708.44204666841199 | In Detection Range | STD7 | G01 | 137 | TNF-RI | 0.492603167695493 | In Detection Range
63 | V1 | H04 | 65944 | TNF-RI | 3886.6336016376599 | In Detection Range | STD7 | G02 | 130 | TNF-RI | 0.44936923427955899 | In Detection Range
63 | V2 | A05 | 34718 | TNF-RI | 2049.06850855231 | In Detection Range | STD8 | H02 | 57 | TNF-RI | NaN | Below Fit Curve Range
64 | V2 | B05 | 17533 | TNF-RI | 1037.5678069338501 | In Detection Range | STD8 | H01 | 60 | TNF-RI | 1.31890846276672E-2 | Below Detection Range
65 | V1 | C05 | 21801 | TNF-RI | 1289.0115607385301 | In Detection Range
66 | V2 | D05 | 31147 | TNF-RI | 1839.0217402143601 | In Detection Range
67 | V1 | E05 | 23144 | TNF-RI | 1368.0868389587899 | In Detection Range
67 | V2 | F05 | 25486 | TNF-RI | 1505.9436059828099 | In Detection Range
68 | V1 | G05 | 21875 | TNF-RI | 1293.3691355772401 | In Detection Range
68 | V2 | H05 | 21509 | TNF-RI | 1271.8162198866401 | In Detection Range
69 | V1 | A06 | 12417 | TNF-RI | 735.732206714065 | In Detection Range
69 | V2 | B06 | 15982 | TNF-RI | 946.12191379792296 | In Detection Range
242 | V1 | C06 | 98159 | TNF-RI | 5788.4069694993004 | In Detection Range
242 | V2 | D06 | 97994 | TNF-RI | 5778.6445834094802 | In Detection Range
243 | V1 | E06 | 24712 | TNF-RI | 1460.3887042477199 | In Detection Range
243 | V2 | F06 | 22415 | TNF-RI | 1325.1658944441799 | In Detection Range
245 | V1 | G06 | 68095 | TNF-RI | 4013.3762107308498 | In Detection Range
246 | V1 | H06 | 21535 | TNF-RI | 1273.3473502710599 | In Detection Range
246 | V2 | A07 | 23775 | TNF-RI | 1405.23383899291 | In Detection Range
247 | V1 | B07 | 61294 | TNF-RI | 3612.7393053198698 | In Detection Range
247 | V2 | C07 | 46386 | TNF-RI | 2735.34943070902 | In Detection Range
248 | V1 | D07 | 34181 | TNF-RI | 2017.48377665003 | In Detection Range
248 | V2 | E07 | 35165 | TNF-RI | 2075.3593967194802 | In Detection Range
249 | V1 | F07 | 58929 | TNF-RI | 3473.4829085896999 | In Detection Range
250 | V2 | G07 | 43315 | TNF-RI | 2554.7062244061299 | In Detection Range
251 | V1 | H07 | 56756 | TNF-RI | 3345.5574293609202 | In Detection Range
251 | V2 | A08 | 29711 | TNF-RI | 1754.5457092106601 | In Detection Range
252 | V1 | B08 | 31879 | TNF-RI | 1882.08065593891 | In Detection Range
252 | V2 | C08 | 17968 | TNF-RI | 1063.2074153619401 | In Detection Range
253 | V1 | D08 | 73295 | TNF-RI | 4319.8995830363201 | In Detection Range
253 | V2 | E08 | 65796 | TNF-RI | 3877.91411683769 | In Detection Range
254 | V1 | F08 | 26129 | TNF-RI | 1543.7850137104999 | In Detection Range
254 | V2 | G08 | 31331 | TNF-RI | 1849.84544752332 | In Detection Range
255 | V1 | H08 | 14581 | TNF-RI | 863.47829721656296 | In Detection Range
255 | V2 | A09 | 14935 | TNF-RI | 884.36450216003004 | In Detection Range
256 | V1 | B09 | 173293 | TNF-RI | 10262.570936803701 | In Detection Range
446 | V1 | C09 | 57540 | TNF-RI | 3391.7091501413802 | In Detection Range
446 | V2 | D09 | 27846 | TNF-RI | 1644.81982325948 | In Detection Range
447 | V2 | E09 | 42954 | TNF-RI | 2533.4726348670101 | In Detection Range
448 | V1 | F09 | 14817 | TNF-RI | 877.40275459616601 | In Detection Range
448 | V2 | G09 | 17476 | TNF-RI | 1034.2078975151001 | In Detection Range
450 | V1 | H09 | 101447 | TNF-RI | 5982.9963135158396 | In Detection Range
450 | V2 | A10 | 69980 | TNF-RI | 4124.4699035087497 | In Detection Range
451 | V1 | B10 | 47357 | TNF-RI | 2792.4706161454201 | In Detection Range
451 | V2 | C10 | 33541 | TNF-RI | 1979.8402611624499 | In Detection Range
452 | V2 | D10 | 29785 | TNF-RI | 1758.89912201622 | In Detection Range
453 | V1 | E10 | 26735 | TNF-RI | 1579.4463963143701 | In Detection Range
453 | V2 | F10 | 20713 | TNF-RI | 1224.9362979468301 | In Detection Range
454 | V1 | G10 | 38668 | TNF-RI | 2281.3875713334301 | In Detection Range
455 | V1 | H10 | 104757 | TNF-RI | 6178.9883683895596 | In Detection Range
456 | V1 | A11 | 50536 | TNF-RI | 2979.5022117611802 | In Detection Range
456 | V2 | B11 | 67816 | TNF-RI | 3996.9351333826999 | In Detection Range
457 | V1 | C11 | 13566 | TNF-RI | 803.57593119601302 | In Detection Range
457 | V2 | D11 | 13124 | TNF-RI | 777.48204104788601 | In Detection Range
458 | V2 | E11 | 73628 | TNF-RI | 4339.5351939051698 | In Detection Range
459 | V2 | F11 | 75118 | TNF-RI | 4427.40390177871 | In Detection Range
460 | V1 | G11 | 151832 | TNF-RI | 8978.3351391348897 | In Detection Range
461 | V1 | A12 | 17374 | TNF-RI | 1028.1952883137701 | In Detection Range
461 | V2 | B12 | 15986 | TNF-RI | 946.35781015979296 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
54 | V1 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 5.5465232731740501 | 2 | QC | TNF-RI | 1.1702 | 4
56 | V1 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 1.1395133982258601 | 2
56 | V2 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 1.59847154262949 | 2
57 | V1 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 1.1268042421153199 | 2
57 | V2 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 0.95678312740118499 | 2
58 | V1 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 5.1223100703436399 | 2
58 | V2 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 6.4908499297168403 | 2
59 | V1 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
59 | V2 | TNF-RI | NaN | 1
60 | V2 | TNF-RI | NaN | 1
61 | V1 | TNF-RI | NaN | 1
61 | V2 | TNF-RI | NaN | 1
62 | V1 | TNF-RI | NaN | 1
63 | V1 | TNF-RI | NaN | 1
63 | V2 | TNF-RI | NaN | 1
64 | V2 | TNF-RI | NaN | 1
65 | V1 | TNF-RI | NaN | 1
66 | V2 | TNF-RI | NaN | 1
67 | V1 | TNF-RI | NaN | 1
67 | V2 | TNF-RI | NaN | 1
68 | V1 | TNF-RI | NaN | 1
68 | V2 | TNF-RI | NaN | 1
69 | V1 | TNF-RI | NaN | 1
69 | V2 | TNF-RI | NaN | 1
242 | V1 | TNF-RI | NaN | 1
242 | V2 | TNF-RI | NaN | 1
243 | V1 | TNF-RI | NaN | 1
243 | V2 | TNF-RI | NaN | 1
245 | V1 | TNF-RI | NaN | 1
246 | V1 | TNF-RI | NaN | 1
246 | V2 | TNF-RI | NaN | 1
247 | V1 | TNF-RI | NaN | 1
247 | V2 | TNF-RI | NaN | 1
248 | V1 | TNF-RI | NaN | 1
248 | V2 | TNF-RI | NaN | 1
249 | V1 | TNF-RI | NaN | 1
250 | V2 | TNF-RI | NaN | 1
251 | V1 | TNF-RI | NaN | 1
251 | V2 | TNF-RI | NaN | 1
252 | V1 | TNF-RI | NaN | 1
252 | V2 | TNF-RI | NaN | 1
253 | V1 | TNF-RI | NaN | 1
253 | V2 | TNF-RI | NaN | 1
254 | V1 | TNF-RI | NaN | 1
254 | V2 | TNF-RI | NaN | 1
255 | V1 | TNF-RI | NaN | 1
255 | V2 | TNF-RI | NaN | 1
256 | V1 | TNF-RI | NaN | 1
446 | V1 | TNF-RI | NaN | 1
446 | V2 | TNF-RI | NaN | 1
447 | V2 | TNF-RI | NaN | 1
448 | V1 | TNF-RI | NaN | 1
448 | V2 | TNF-RI | NaN | 1
450 | V1 | TNF-RI | NaN | 1
450 | V2 | TNF-RI | NaN | 1
451 | V1 | TNF-RI | NaN | 1
451 | V2 | TNF-RI | NaN | 1
452 | V2 | TNF-RI | NaN | 1
453 | V1 | TNF-RI | NaN | 1
453 | V2 | TNF-RI | NaN | 1
454 | V1 | TNF-RI | NaN | 1
455 | V1 | TNF-RI | NaN | 1
456 | V1 | TNF-RI | NaN | 1
456 | V2 | TNF-RI | NaN | 1
457 | V1 | TNF-RI | NaN | 1
457 | V2 | TNF-RI | NaN | 1
458 | V2 | TNF-RI | NaN | 1
459 | V2 | TNF-RI | NaN | 1
460 | V1 | TNF-RI | NaN | 1
461 | V1 | TNF-RI | NaN | 1
461 | V2 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].