## RawData
Plate Name | Sample Group | Sample | Assay | Well | Dilution | Spot | Concentration | Signal | Adjusted Signal | Mean | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low | Fit Statistic: RSquared
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | H10 |  | 1 |  | 82 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | E12 |  | 1 |  | 85 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | B12 |  | 1 |  | 49 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | E11 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | G12 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | B11 |  | 1 |  | 49 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | G11 |  | 1 |  | 124 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | G10 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | D12 |  | 1 |  | 49 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | A11 |  | 1 |  | 44 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | A12 |  | 1 |  | 52 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | F12 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | D11 |  | 1 |  | 52 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | C11 |  | 1 |  | 51 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | F10 |  | 1 |  | 81 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | F11 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK | KIM-1 | C12 |  | 1 |  | 51 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | QC | QC | KIM-1 | H11 | 10 | 1 |  | 30097 | 30097 | 33010 | 33009.75 | 9.4556978637148497 |  |  | 2133.6927571472102 | 2340.5933874048701 | 9.4748822068936107 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | QC | QC | KIM-1 | A03 | 10 | 1 |  | 36827 | 36827 | 33010 | 33009.75 | 9.4556978637148497 |  |  | 2611.8725180318002 | 2340.5933874048701 | 9.4748822068936107 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | QC | QC | KIM-1 | A04 | 10 | 1 |  | 34255 | 34255 | 33010 | 33009.75 | 9.4556978637148497 |  |  | 2428.9678649686898 | 2340.5933874048701 | 9.4748822068936107 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | QC | QC | KIM-1 | H12 | 10 | 1 |  | 30860 | 30860 | 33010 | 33009.75 | 9.4556978637148497 |  |  | 2187.8404094717698 | 2340.5933874048701 | 9.4748822068936107 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S7 | KIM-1 | G01 |  | 1 | 4.8828 | 774 | 774 | 772 | 771.5 | 0.45826751859141102 | 103.4829 | 103.107651875824 | 5.0528759274314101 | 5.0345533142492203 | 0.51468494706436496 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S7 | KIM-1 | G02 |  | 1 | 4.8828 | 769 | 769 | 772 | 771.5 | 0.45826751859141102 | 102.7324 | 103.107651875824 | 5.0162307010670197 | 5.0345533142492203 | 0.51468494706436496 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S6 | KIM-1 | F01 |  | 1 | 19.5312 | 2805 | 2805 | 2813 | 2812.5 | 0.37712361663282501 | 101.1701 | 101.446174354485 | 19.759794721941901 | 19.8137059286104 | 0.38479404059632999 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S6 | KIM-1 | F02 |  | 1 | 19.5312 | 2820 | 2820 | 2813 | 2812.5 | 0.37712361663282501 | 101.7222 | 101.446174354485 | 19.867617135279001 | 19.8137059286104 | 0.38479404059632999 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S5 | KIM-1 | E01 |  | 1 | 78.125 | 10924 | 10924 | 10780 | 10779.5 | 1.89576380873799 | 99.2979 | 97.986866153689604 | 77.576513443843197 | 76.552239182570005 | 1.8922275394552299 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S5 | KIM-1 | E02 |  | 1 | 78.125 | 10635 | 10635 | 10780 | 10779.5 | 1.89576380873799 | 96.6758 | 97.986866153689604 | 75.5279649212968 | 76.552239182570005 | 1.8922275394552299 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S4 | KIM-1 | D02 |  | 1 | 312.5 | 41319 | 41319 | 41753 | 41752.5 | 1.4683230448206299 | 93.8189 | 94.8083360942653 | 293.184111183553 | 296.27605029457902 | 1.4758743477566501 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S4 | KIM-1 | D01 |  | 1 | 312.5 | 42186 | 42186 | 41753 | 41752.5 | 1.4683230448206299 | 95.7978 | 94.8083360942653 | 299.36798940560402 | 296.27605029457902 | 1.4758743477566501 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S3 | KIM-1 | C02 |  | 1 | 1250 | 171916 | 171916 | 168556 | 168556 | 2.8190972552585398 | 101.4078 | 99.303926505764807 | 1267.5972226884601 | 1241.2990813220599 | 2.9961504640742 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S3 | KIM-1 | C01 |  | 1 | 1250 | 165196 | 165196 | 168556 | 168556 | 2.8190972552585398 | 97.2001 | 99.303926505764807 | 1215.00093995565 | 1241.2990813220599 | 2.9961504640742 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S2 | KIM-1 | B01 |  | 1 | 5000 | 635268 | 635268 | 619569 | 619568.5 | 3.5835336726247999 | 116.8503 | 112.99776981117 | 5842.5160106220101 | 5649.8884905585401 | 4.8216252730524403 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S2 | KIM-1 | B02 |  | 1 | 5000 | 603869 | 603869 | 619569 | 619568.5 | 3.5835336726247999 | 109.1452 | 112.99776981117 | 5457.2609704950701 | 5649.8884905585401 | 4.8216252730524403 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S1 | KIM-1 | A01 |  | 1 | 20000 | 1312628 | 1312628 | 1276751 | 1276751 | 3.9739729968693598 | 99.4479 | 93.659691478158607 | 19889.571685543298 | 18731.938295631699 | 8.7398368200411092 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S1 | KIM-1 | A02 |  | 1 | 20000 | 1240874 | 1240874 | 1276751 | 1276751 | 3.9739729968693598 | 87.8715 | 93.659691478158607 | 17574.304905720001 | 18731.938295631699 | 8.7398368200411092 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S8 | KIM-1 | H02 |  | 1 | 0 | 97 | 97 | 95 | 94.5 | 3.7413057205637399 |  | NaN | 1.7639426383554601E-2 | NaN | NaN | Below Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S8 | KIM-1 | H01 |  | 1 | 0 | 92 | 92 | 95 | 94.5 | 3.7413057205637399 |  | NaN | NaN | -89 | NaN | Below Fit Curve Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_10 | KIM-1 | E05 | 10 | 1 |  | 208 | 208 | 208 | 208 | NaN |  |  | 8.6505409201423298 | 8.6505409201423298 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_16_OND | KIM-1 | G03 | 10 | 1 |  | 401 | 401 | 401 | 401 | NaN |  |  | 23.052781009481301 | 23.052781009481301 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_41 | KIM-1 | H06 | 10 | 1 |  | 492 | 492 | 492 | 492 | NaN |  |  | 29.7874022408831 | 29.7874022408831 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_60 | KIM-1 | D07 | 10 | 1 |  | 502 | 502 | 502 | 502 | NaN |  |  | 30.5259607571743 | 30.5259607571743 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_17 | KIM-1 | H05 | 10 | 1 |  | 512 | 512 | 512 | 512 | NaN |  |  | 31.264249522796501 | 31.264249522796501 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_18 | KIM-1 | B09 | 10 | 1 |  | 544 | 544 | 544 | 544 | NaN |  |  | 33.625037062322598 | 33.625037062322598 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_16_PO | KIM-1 | F03 | 10 | 1 |  | 584 | 584 | 584 | 584 | NaN |  |  | 36.572531985320197 | 36.572531985320197 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_23_PO | KIM-1 | E04 | 10 | 1 |  | 788 | 788 | 788 | 788 | NaN |  |  | 51.554616489317297 | 51.554616489317297 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_45 | KIM-1 | A07 | 10 | 1 |  | 939 | 939 | 939 | 939 | NaN |  |  | 62.601167880968397 | 62.601167880968397 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_22 | KIM-1 | A06 | 10 | 1 |  | 1034 | 1034 | 1034 | 1034 | NaN |  |  | 69.5359103419447 | 69.5359103419447 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_31 | KIM-1 | C06 | 10 | 1 |  | 1144 | 1144 | 1144 | 1144 | NaN |  |  | 77.553033595092998 | 77.553033595092998 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_37 | KIM-1 | E06 | 10 | 1 |  | 1199 | 1199 | 1199 | 1199 | NaN |  |  | 81.556992695451001 | 81.556992695451001 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_31_OND | KIM-1 | D05 | 10 | 1 |  | 1344 | 1344 | 1344 | 1344 | NaN |  |  | 92.099614410017097 | 92.099614410017097 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_36 | KIM-1 | D06 | 10 | 1 |  | 1374 | 1374 | 1374 | 1374 | NaN |  |  | 94.278609537435997 | 94.278609537435997 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_25 | KIM-1 | A10 | 10 | 1 |  | 1485 | 1485 | 1485 | 1485 | NaN |  |  | 102.334755094267 | 102.334755094267 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_26 | KIM-1 | B10 | 10 | 1 |  | 1516 | 1516 | 1516 | 1516 | NaN |  |  | 104.58302309059199 | 104.58302309059199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_21 | KIM-1 | E09 | 10 | 1 |  | 1613 | 1613 | 1613 | 1613 | NaN |  |  | 111.613564043015 | 111.613564043015 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_29 | KIM-1 | E10 | 10 | 1 |  | 1671 | 1671 | 1671 | 1671 | NaN |  |  | 115.814377266462 | 115.814377266462 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_61 | KIM-1 | E07 | 10 | 1 |  | 1891 | 1891 | 1891 | 1891 | NaN |  |  | 131.72970383646799 | 131.72970383646799 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_63 | KIM-1 | F07 | 10 | 1 |  | 1931 | 1931 | 1931 | 1931 | NaN |  |  | 134.62042219731299 | 134.62042219731299 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_27 | KIM-1 | C10 | 10 | 1 |  | 1950 | 1950 | 1950 | 1950 | NaN |  |  | 135.99321116244101 | 135.99321116244101 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_66 | KIM-1 | G07 | 10 | 1 |  | 1950 | 1950 | 1950 | 1950 | NaN |  |  | 135.99321116244101 | 135.99321116244101 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_57 | KIM-1 | C07 | 10 | 1 |  | 1960 | 1960 | 1960 | 1960 | NaN |  |  | 136.71565457656601 | 136.71565457656601 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_23_OND | KIM-1 | F04 | 10 | 1 |  | 1987 | 1987 | 1987 | 1987 | NaN |  |  | 138.66598921320599 | 138.66598921320599 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_23 | KIM-1 | G09 | 10 | 1 |  | 2156 | 2156 | 2156 | 2156 | NaN |  |  | 150.86527711025599 | 150.86527711025599 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_13 | KIM-1 | E08 | 10 | 1 |  | 2166 | 2166 | 2166 | 2166 | NaN |  |  | 151.58669416861301 | 151.58669416861301 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_68 | KIM-1 | A08 | 10 | 1 |  | 2293 | 2293 | 2293 | 2293 | NaN |  |  | 160.74470318391499 | 160.74470318391499 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_15_PO | KIM-1 | D03 | 10 | 1 |  | 2294 | 2294 | 2294 | 2294 | NaN |  |  | 160.81678487475199 | 160.81678487475199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_30_OND | KIM-1 | B05 | 10 | 1 |  | 2318 | 2318 | 2318 | 2318 | NaN |  |  | 162.54661489175001 | 162.54661489175001 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_10 | KIM-1 | C08 | 10 | 1 |  | 2450 | 2450 | 2450 | 2450 | NaN |  |  | 172.05631789355701 | 172.05631789355701 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_16 | KIM-1 | G05 | 10 | 1 |  | 2477 | 2477 | 2477 | 2477 | NaN |  |  | 174.00060273611601 | 174.00060273611601 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_53 | KIM-1 | B07 | 10 | 1 |  | 2549 | 2549 | 2549 | 2549 | NaN |  |  | 179.18395337234199 | 179.18395337234199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_15 | KIM-1 | G08 | 10 | 1 |  | 2682 | 2682 | 2682 | 2682 | NaN |  |  | 188.75356022540001 | 188.75356022540001 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_14_OND | KIM-1 | C03 | 10 | 1 |  | 2807 | 2807 | 2807 | 2807 | NaN |  |  | 197.74171487126199 | 197.74171487126199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_15 | KIM-1 | F05 | 10 | 1 |  | 2898 | 2898 | 2898 | 2898 | NaN |  |  | 204.281715986824 | 204.281715986824 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_24 | KIM-1 | B06 | 10 | 1 |  | 3068 | 3068 | 3068 | 3068 | NaN |  |  | 216.49209338534499 | 216.49209338534499 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_17 | KIM-1 | A09 | 10 | 1 |  | 3166 | 3166 | 3166 | 3166 | NaN |  |  | 223.5269589788 | 223.5269589788 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_39 | KIM-1 | F06 | 10 | 1 |  | 3284 | 3284 | 3284 | 3284 | NaN |  |  | 231.99377375133199 | 231.99377375133199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_11 | KIM-1 | D08 | 10 | 1 |  | 3473 | 3473 | 3473 | 3473 | NaN |  |  | 245.54695458720099 | 245.54695458720099 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_40 | KIM-1 | G06 | 10 | 1 |  | 3851 | 3851 | 3851 | 3851 | NaN |  |  | 272.625909416995 | 272.625909416995 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_18_OND | KIM-1 | B04 | 10 | 1 |  | 4046 | 4046 | 4046 | 4046 | NaN |  |  | 286.58215602082799 | 286.58215602082799 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR_67 | KIM-1 | H07 | 10 | 1 |  | 4485 | 4485 | 4485 | 4485 | NaN |  |  | 317.97255135752499 | 317.97255135752499 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_18_PO | KIM-1 | H03 | 10 | 1 |  | 4825 | 4825 | 4825 | 4825 | NaN |  |  | 342.25905450218102 | 342.25905450218102 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_25_PO | KIM-1 | G04 | 10 | 1 |  | 5095 | 5095 | 5095 | 5095 | NaN |  |  | 361.53142624106403 | 361.53142624106403 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_15_OND | KIM-1 | E03 | 10 | 1 |  | 5605 | 5605 | 5605 | 5605 | NaN |  |  | 397.90444825015101 | 397.90444825015101 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_14_PO | KIM-1 | B03 | 10 | 1 |  | 5782 | 5782 | 5782 | 5782 | NaN |  |  | 410.519528259575 | 410.519528259575 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_31_PO | KIM-1 | C05 | 10 | 1 |  | 6412 | 6412 | 6412 | 6412 | NaN |  |  | 455.388996865769 | 455.388996865769 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_30_PO | KIM-1 | A05 | 10 | 1 |  | 6466 | 6466 | 6466 | 6466 | NaN |  |  | 459.23281373229599 | 459.23281373229599 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_24 | KIM-1 | H09 | 10 | 1 |  | 8092 | 8092 | 8092 | 8092 | NaN |  |  | 574.84297234210999 | 574.84297234210999 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_25_OND | KIM-1 | H04 | 10 | 1 |  | 8790 | 8790 | 8790 | 8790 | NaN |  |  | 624.40652456605596 | 624.40652456605596 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_14 | KIM-1 | F08 | 10 | 1 |  | 9194 | 9194 | 9194 | 9194 | NaN |  |  | 653.07936412776201 | 653.07936412776201 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_1 | KIM-1 | B08 | 10 | 1 |  | 9959 | 9959 | 9959 | 9959 | NaN |  |  | 707.34817651617004 | 707.34817651617004 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_20 | KIM-1 | D09 | 10 | 1 |  | 10197 | 10197 | 10197 | 10197 | NaN |  |  | 724.22580271504501 | 724.22580271504501 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_22_PO | KIM-1 | C04 | 10 | 1 |  | 10896 | 10896 | 10896 | 10896 | NaN |  |  | 773.78052567438795 | 773.78052567438795 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_16 | KIM-1 | H08 | 10 | 1 |  | 11854 | 11854 | 11854 | 11854 | NaN |  |  | 841.66655481079204 | 841.66655481079204 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO_22_OND | KIM-1 | D04 | 10 | 1 |  | 14584 | 14584 | 14584 | 14584 | NaN |  |  | 1034.98721121528 | 1034.98721121528 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_19 | KIM-1 | C09 | 10 | 1 |  | 62985 | 62985 | 62985 | 62985 | NaN |  |  | 4486.2390094092098 | 4486.2390094092098 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_28 | KIM-1 | D10 | 10 | 1 |  | 65496 | 65496 | 65496 | 65496 | NaN |  |  | 4667.7163489302902 | 4667.7163489302902 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI_22 | KIM-1 | F09 | 10 | 1 |  | 157045 | 157045 | 157045 | 157045 | NaN |  |  | 11515.981347242499 | 11515.981347242499 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723

## LongData
Plate Name | Sample Group | Study | Sample | Visit | Assay | Well | Dilution | Spot | Concentration | Signal | Adjusted Signal | Mean | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low | Fit Statistic: RSquared
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | H10 |  | 1 |  | 82 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | E12 |  | 1 |  | 85 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | B12 |  | 1 |  | 49 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | E11 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | G12 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | B11 |  | 1 |  | 49 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | G11 |  | 1 |  | 124 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | G10 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | D12 |  | 1 |  | 49 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | A11 |  | 1 |  | 44 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | A12 |  | 1 |  | 52 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | F12 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | D11 |  | 1 |  | 52 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | C11 |  | 1 |  | 51 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | F10 |  | 1 |  | 81 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | F11 |  | 1 |  | 84 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | Blanks | BLANK |  |  | KIM-1 | C12 |  | 1 |  | 51 |  | 70 |  | 31.4772170975954 | [5 empty] | Unknown Range
Plate_23M2JAL784_Set1 | QC | QC |  |  | KIM-1 | H11 | 10 | 1 |  | 30097 | 30097 | 33010 | 33009.75 | 9.4556978637148497 |  |  | 2133.6927571472102 | 2340.5933874048701 | 9.4748822068936107 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | QC | QC |  |  | KIM-1 | A03 | 10 | 1 |  | 36827 | 36827 | 33010 | 33009.75 | 9.4556978637148497 |  |  | 2611.8725180318002 | 2340.5933874048701 | 9.4748822068936107 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | QC | QC |  |  | KIM-1 | A04 | 10 | 1 |  | 34255 | 34255 | 33010 | 33009.75 | 9.4556978637148497 |  |  | 2428.9678649686898 | 2340.5933874048701 | 9.4748822068936107 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | QC | QC |  |  | KIM-1 | H12 | 10 | 1 |  | 30860 | 30860 | 33010 | 33009.75 | 9.4556978637148497 |  |  | 2187.8404094717698 | 2340.5933874048701 | 9.4748822068936107 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S7 |  |  | KIM-1 | G01 |  | 1 | 4.8828 | 774 | 774 | 772 | 771.5 | 0.45826751859141102 | 103.4829 | 103.107651875824 | 5.0528759274314101 | 5.0345533142492203 | 0.51468494706436496 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S7 |  |  | KIM-1 | G02 |  | 1 | 4.8828 | 769 | 769 | 772 | 771.5 | 0.45826751859141102 | 102.7324 | 103.107651875824 | 5.0162307010670197 | 5.0345533142492203 | 0.51468494706436496 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S6 |  |  | KIM-1 | F01 |  | 1 | 19.5312 | 2805 | 2805 | 2813 | 2812.5 | 0.37712361663282501 | 101.1701 | 101.446174354485 | 19.759794721941901 | 19.8137059286104 | 0.38479404059632999 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S6 |  |  | KIM-1 | F02 |  | 1 | 19.5312 | 2820 | 2820 | 2813 | 2812.5 | 0.37712361663282501 | 101.7222 | 101.446174354485 | 19.867617135279001 | 19.8137059286104 | 0.38479404059632999 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S5 |  |  | KIM-1 | E01 |  | 1 | 78.125 | 10924 | 10924 | 10780 | 10779.5 | 1.89576380873799 | 99.2979 | 97.986866153689604 | 77.576513443843197 | 76.552239182570005 | 1.8922275394552299 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S5 |  |  | KIM-1 | E02 |  | 1 | 78.125 | 10635 | 10635 | 10780 | 10779.5 | 1.89576380873799 | 96.6758 | 97.986866153689604 | 75.5279649212968 | 76.552239182570005 | 1.8922275394552299 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S4 |  |  | KIM-1 | D02 |  | 1 | 312.5 | 41319 | 41319 | 41753 | 41752.5 | 1.4683230448206299 | 93.8189 | 94.8083360942653 | 293.184111183553 | 296.27605029457902 | 1.4758743477566501 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S4 |  |  | KIM-1 | D01 |  | 1 | 312.5 | 42186 | 42186 | 41753 | 41752.5 | 1.4683230448206299 | 95.7978 | 94.8083360942653 | 299.36798940560402 | 296.27605029457902 | 1.4758743477566501 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S3 |  |  | KIM-1 | C02 |  | 1 | 1250 | 171916 | 171916 | 168556 | 168556 | 2.8190972552585398 | 101.4078 | 99.303926505764807 | 1267.5972226884601 | 1241.2990813220599 | 2.9961504640742 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S3 |  |  | KIM-1 | C01 |  | 1 | 1250 | 165196 | 165196 | 168556 | 168556 | 2.8190972552585398 | 97.2001 | 99.303926505764807 | 1215.00093995565 | 1241.2990813220599 | 2.9961504640742 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S2 |  |  | KIM-1 | B01 |  | 1 | 5000 | 635268 | 635268 | 619569 | 619568.5 | 3.5835336726247999 | 116.8503 | 112.99776981117 | 5842.5160106220101 | 5649.8884905585401 | 4.8216252730524403 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S2 |  |  | KIM-1 | B02 |  | 1 | 5000 | 603869 | 603869 | 619569 | 619568.5 | 3.5835336726247999 | 109.1452 | 112.99776981117 | 5457.2609704950701 | 5649.8884905585401 | 4.8216252730524403 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S1 |  |  | KIM-1 | A01 |  | 1 | 20000 | 1312628 | 1312628 | 1276751 | 1276751 | 3.9739729968693598 | 99.4479 | 93.659691478158607 | 19889.571685543298 | 18731.938295631699 | 8.7398368200411092 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S1 |  |  | KIM-1 | A02 |  | 1 | 20000 | 1240874 | 1240874 | 1276751 | 1276751 | 3.9739729968693598 | 87.8715 | 93.659691478158607 | 17574.304905720001 | 18731.938295631699 | 8.7398368200411092 | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S8 |  |  | KIM-1 | H02 |  | 1 | 0 | 97 | 97 | 95 | 94.5 | 3.7413057205637399 |  | NaN | 1.7639426383554601E-2 | NaN | NaN | Below Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | S | S8 |  |  | KIM-1 | H01 |  | 1 | 0 | 92 | 92 | 95 | 94.5 | 3.7413057205637399 |  | NaN | NaN | -89 | NaN | Below Fit Curve Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 10 |  | KIM-1 | E05 | 10 | 1 |  | 208 | 208 | 208 | 208 | NaN |  |  | 8.6505409201423298 | 8.6505409201423298 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 16 | OND | KIM-1 | G03 | 10 | 1 |  | 401 | 401 | 401 | 401 | NaN |  |  | 23.052781009481301 | 23.052781009481301 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 41 |  | KIM-1 | H06 | 10 | 1 |  | 492 | 492 | 492 | 492 | NaN |  |  | 29.7874022408831 | 29.7874022408831 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 60 |  | KIM-1 | D07 | 10 | 1 |  | 502 | 502 | 502 | 502 | NaN |  |  | 30.5259607571743 | 30.5259607571743 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 17 |  | KIM-1 | H05 | 10 | 1 |  | 512 | 512 | 512 | 512 | NaN |  |  | 31.264249522796501 | 31.264249522796501 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 18 |  | KIM-1 | B09 | 10 | 1 |  | 544 | 544 | 544 | 544 | NaN |  |  | 33.625037062322598 | 33.625037062322598 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 16 | PO | KIM-1 | F03 | 10 | 1 |  | 584 | 584 | 584 | 584 | NaN |  |  | 36.572531985320197 | 36.572531985320197 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 23 | PO | KIM-1 | E04 | 10 | 1 |  | 788 | 788 | 788 | 788 | NaN |  |  | 51.554616489317297 | 51.554616489317297 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 45 |  | KIM-1 | A07 | 10 | 1 |  | 939 | 939 | 939 | 939 | NaN |  |  | 62.601167880968397 | 62.601167880968397 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 22 |  | KIM-1 | A06 | 10 | 1 |  | 1034 | 1034 | 1034 | 1034 | NaN |  |  | 69.5359103419447 | 69.5359103419447 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 31 |  | KIM-1 | C06 | 10 | 1 |  | 1144 | 1144 | 1144 | 1144 | NaN |  |  | 77.553033595092998 | 77.553033595092998 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 37 |  | KIM-1 | E06 | 10 | 1 |  | 1199 | 1199 | 1199 | 1199 | NaN |  |  | 81.556992695451001 | 81.556992695451001 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 31 | OND | KIM-1 | D05 | 10 | 1 |  | 1344 | 1344 | 1344 | 1344 | NaN |  |  | 92.099614410017097 | 92.099614410017097 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 36 |  | KIM-1 | D06 | 10 | 1 |  | 1374 | 1374 | 1374 | 1374 | NaN |  |  | 94.278609537435997 | 94.278609537435997 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 25 |  | KIM-1 | A10 | 10 | 1 |  | 1485 | 1485 | 1485 | 1485 | NaN |  |  | 102.334755094267 | 102.334755094267 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 26 |  | KIM-1 | B10 | 10 | 1 |  | 1516 | 1516 | 1516 | 1516 | NaN |  |  | 104.58302309059199 | 104.58302309059199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 21 |  | KIM-1 | E09 | 10 | 1 |  | 1613 | 1613 | 1613 | 1613 | NaN |  |  | 111.613564043015 | 111.613564043015 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 29 |  | KIM-1 | E10 | 10 | 1 |  | 1671 | 1671 | 1671 | 1671 | NaN |  |  | 115.814377266462 | 115.814377266462 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 61 |  | KIM-1 | E07 | 10 | 1 |  | 1891 | 1891 | 1891 | 1891 | NaN |  |  | 131.72970383646799 | 131.72970383646799 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 63 |  | KIM-1 | F07 | 10 | 1 |  | 1931 | 1931 | 1931 | 1931 | NaN |  |  | 134.62042219731299 | 134.62042219731299 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 27 |  | KIM-1 | C10 | 10 | 1 |  | 1950 | 1950 | 1950 | 1950 | NaN |  |  | 135.99321116244101 | 135.99321116244101 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 66 |  | KIM-1 | G07 | 10 | 1 |  | 1950 | 1950 | 1950 | 1950 | NaN |  |  | 135.99321116244101 | 135.99321116244101 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 57 |  | KIM-1 | C07 | 10 | 1 |  | 1960 | 1960 | 1960 | 1960 | NaN |  |  | 136.71565457656601 | 136.71565457656601 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 23 | OND | KIM-1 | F04 | 10 | 1 |  | 1987 | 1987 | 1987 | 1987 | NaN |  |  | 138.66598921320599 | 138.66598921320599 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 23 |  | KIM-1 | G09 | 10 | 1 |  | 2156 | 2156 | 2156 | 2156 | NaN |  |  | 150.86527711025599 | 150.86527711025599 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 13 |  | KIM-1 | E08 | 10 | 1 |  | 2166 | 2166 | 2166 | 2166 | NaN |  |  | 151.58669416861301 | 151.58669416861301 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 68 |  | KIM-1 | A08 | 10 | 1 |  | 2293 | 2293 | 2293 | 2293 | NaN |  |  | 160.74470318391499 | 160.74470318391499 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 15 | PO | KIM-1 | D03 | 10 | 1 |  | 2294 | 2294 | 2294 | 2294 | NaN |  |  | 160.81678487475199 | 160.81678487475199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 30 | OND | KIM-1 | B05 | 10 | 1 |  | 2318 | 2318 | 2318 | 2318 | NaN |  |  | 162.54661489175001 | 162.54661489175001 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 10 |  | KIM-1 | C08 | 10 | 1 |  | 2450 | 2450 | 2450 | 2450 | NaN |  |  | 172.05631789355701 | 172.05631789355701 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 16 |  | KIM-1 | G05 | 10 | 1 |  | 2477 | 2477 | 2477 | 2477 | NaN |  |  | 174.00060273611601 | 174.00060273611601 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 53 |  | KIM-1 | B07 | 10 | 1 |  | 2549 | 2549 | 2549 | 2549 | NaN |  |  | 179.18395337234199 | 179.18395337234199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 15 |  | KIM-1 | G08 | 10 | 1 |  | 2682 | 2682 | 2682 | 2682 | NaN |  |  | 188.75356022540001 | 188.75356022540001 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 14 | OND | KIM-1 | C03 | 10 | 1 |  | 2807 | 2807 | 2807 | 2807 | NaN |  |  | 197.74171487126199 | 197.74171487126199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 15 |  | KIM-1 | F05 | 10 | 1 |  | 2898 | 2898 | 2898 | 2898 | NaN |  |  | 204.281715986824 | 204.281715986824 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 24 |  | KIM-1 | B06 | 10 | 1 |  | 3068 | 3068 | 3068 | 3068 | NaN |  |  | 216.49209338534499 | 216.49209338534499 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 17 |  | KIM-1 | A09 | 10 | 1 |  | 3166 | 3166 | 3166 | 3166 | NaN |  |  | 223.5269589788 | 223.5269589788 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 39 |  | KIM-1 | F06 | 10 | 1 |  | 3284 | 3284 | 3284 | 3284 | NaN |  |  | 231.99377375133199 | 231.99377375133199 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 11 |  | KIM-1 | D08 | 10 | 1 |  | 3473 | 3473 | 3473 | 3473 | NaN |  |  | 245.54695458720099 | 245.54695458720099 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 40 |  | KIM-1 | G06 | 10 | 1 |  | 3851 | 3851 | 3851 | 3851 | NaN |  |  | 272.625909416995 | 272.625909416995 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 18 | OND | KIM-1 | B04 | 10 | 1 |  | 4046 | 4046 | 4046 | 4046 | NaN |  |  | 286.58215602082799 | 286.58215602082799 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | SUR | 67 |  | KIM-1 | H07 | 10 | 1 |  | 4485 | 4485 | 4485 | 4485 | NaN |  |  | 317.97255135752499 | 317.97255135752499 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 18 | PO | KIM-1 | H03 | 10 | 1 |  | 4825 | 4825 | 4825 | 4825 | NaN |  |  | 342.25905450218102 | 342.25905450218102 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 25 | PO | KIM-1 | G04 | 10 | 1 |  | 5095 | 5095 | 5095 | 5095 | NaN |  |  | 361.53142624106403 | 361.53142624106403 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 15 | OND | KIM-1 | E03 | 10 | 1 |  | 5605 | 5605 | 5605 | 5605 | NaN |  |  | 397.90444825015101 | 397.90444825015101 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 14 | PO | KIM-1 | B03 | 10 | 1 |  | 5782 | 5782 | 5782 | 5782 | NaN |  |  | 410.519528259575 | 410.519528259575 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 31 | PO | KIM-1 | C05 | 10 | 1 |  | 6412 | 6412 | 6412 | 6412 | NaN |  |  | 455.388996865769 | 455.388996865769 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 30 | PO | KIM-1 | A05 | 10 | 1 |  | 6466 | 6466 | 6466 | 6466 | NaN |  |  | 459.23281373229599 | 459.23281373229599 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 24 |  | KIM-1 | H09 | 10 | 1 |  | 8092 | 8092 | 8092 | 8092 | NaN |  |  | 574.84297234210999 | 574.84297234210999 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 25 | OND | KIM-1 | H04 | 10 | 1 |  | 8790 | 8790 | 8790 | 8790 | NaN |  |  | 624.40652456605596 | 624.40652456605596 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 14 |  | KIM-1 | F08 | 10 | 1 |  | 9194 | 9194 | 9194 | 9194 | NaN |  |  | 653.07936412776201 | 653.07936412776201 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 1 |  | KIM-1 | B08 | 10 | 1 |  | 9959 | 9959 | 9959 | 9959 | NaN |  |  | 707.34817651617004 | 707.34817651617004 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 20 |  | KIM-1 | D09 | 10 | 1 |  | 10197 | 10197 | 10197 | 10197 | NaN |  |  | 724.22580271504501 | 724.22580271504501 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 22 | PO | KIM-1 | C04 | 10 | 1 |  | 10896 | 10896 | 10896 | 10896 | NaN |  |  | 773.78052567438795 | 773.78052567438795 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 16 |  | KIM-1 | H08 | 10 | 1 |  | 11854 | 11854 | 11854 | 11854 | NaN |  |  | 841.66655481079204 | 841.66655481079204 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | PRO | 22 | OND | KIM-1 | D04 | 10 | 1 |  | 14584 | 14584 | 14584 | 14584 | NaN |  |  | 1034.98721121528 | 1034.98721121528 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 19 |  | KIM-1 | C09 | 10 | 1 |  | 62985 | 62985 | 62985 | 62985 | NaN |  |  | 4486.2390094092098 | 4486.2390094092098 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 28 |  | KIM-1 | D10 | 10 | 1 |  | 65496 | 65496 | 65496 | 65496 | NaN |  |  | 4667.7163489302902 | 4667.7163489302902 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723
Plate_23M2JAL784_Set1 | URN | ICI | 22 |  | KIM-1 | F09 | 10 | 1 |  | 157045 | 157045 | 157045 | 157045 | NaN |  |  | 11515.981347242499 | 11515.981347242499 | NaN | In Detection Range | 20000 | 0.29149 | 0.99723

## WideData
Study | Sample | URN_KIM-1_NA | URN_KIM-1_OND | URN_KIM-1_PO | Study_std | Sample_std | Sample Group_std | Sample_qc | KIM-1_qc
ICI | 1 | 707.34817651617004 | [5 empty] | NA | 2340.5934
SUR | 10 | 8.6505409201423298
ICI | 11 | 245.54695458720099
ICI | 13 | 151.58669416861301
PRO | 14 |  | 197.74171487126199 | 410.519528259575
ICI | 14 | 653.07936412776201
PRO | 15 |  | 397.90444825015101 | 160.81678487475199
ICI | 15 | 188.75356022540001
PRO | 16 |  | 23.052781009481301 | 36.572531985320197
SUR | 16 | 174.00060273611601
SUR | 17 | 31.264249522796501
ICI | 18 | 33.625037062322598
PRO | 18 |  | 286.58215602082799 | 342.25905450218102
ICI | 19 | 4486.2390094092098
ICI | 20 | 724.22580271504501
ICI | 21 | 111.613564043015
SUR | 22 | 69.5359103419447
PRO | 22 |  | 1034.98721121528 | 773.78052567438795
PRO | 23 |  | 138.66598921320599 | 51.554616489317297
ICI | 23 | 150.86527711025599
SUR | 24 | 216.49209338534499
ICI | 25 | 102.334755094267
PRO | 25 |  | 624.40652456605596 | 361.53142624106403
ICI | 26 | 104.58302309059199
ICI | 27 | 135.99321116244101
ICI | 28 | 4667.7163489302902
ICI | 29 | 115.814377266462
PRO | 30 |  | 162.54661489175001 | 459.23281373229599
SUR | 31 | 77.553033595092998
PRO | 31 |  | 92.099614410017097 | 455.388996865769
SUR | 36 | 94.278609537435997
SUR | 37 | 81.556992695451001
SUR | 39 | 231.99377375133199
SUR | 40 | 272.625909416995
SUR | 41 | 29.7874022408831
SUR | 45 | 62.601167880968397
SUR | 53 | 179.18395337234199
SUR | 57 | 136.71565457656601
SUR | 60 | 30.5259607571743
SUR | 61 | 131.72970383646799
SUR | 63 | 134.62042219731299
SUR | 66 | 135.99321116244101
SUR | 67 | 317.97255135752499
SUR | 68 | 160.74470318391499

## WideSampleData
Study | Sample | URN_KIM-1_NA | URN_KIM-1_OND | URN_KIM-1_PO
ICI | 1 | 707.34817651617004
SUR | 10 | 8.6505409201423298
ICI | 11 | 245.54695458720099
ICI | 13 | 151.58669416861301
PRO | 14 |  | 197.74171487126199 | 410.519528259575
ICI | 14 | 653.07936412776201
PRO | 15 |  | 397.90444825015101 | 160.81678487475199
ICI | 15 | 188.75356022540001
PRO | 16 |  | 23.052781009481301 | 36.572531985320197
SUR | 16 | 174.00060273611601
SUR | 17 | 31.264249522796501
ICI | 18 | 33.625037062322598
PRO | 18 |  | 286.58215602082799 | 342.25905450218102
ICI | 19 | 4486.2390094092098
ICI | 20 | 724.22580271504501
ICI | 21 | 111.613564043015
SUR | 22 | 69.5359103419447
PRO | 22 |  | 1034.98721121528 | 773.78052567438795
PRO | 23 |  | 138.66598921320599 | 51.554616489317297
ICI | 23 | 150.86527711025599
SUR | 24 | 216.49209338534499
ICI | 25 | 102.334755094267
PRO | 25 |  | 624.40652456605596 | 361.53142624106403
ICI | 26 | 104.58302309059199
ICI | 27 | 135.99321116244101
ICI | 28 | 4667.7163489302902
ICI | 29 | 115.814377266462
PRO | 30 |  | 162.54661489175001 | 459.23281373229599
SUR | 31 | 77.553033595092998
PRO | 31 |  | 92.099614410017097 | 455.388996865769
SUR | 36 | 94.278609537435997
SUR | 37 | 81.556992695451001
SUR | 39 | 231.99377375133199
SUR | 40 | 272.625909416995
SUR | 41 | 29.7874022408831
SUR | 45 | 62.601167880968397
SUR | 53 | 179.18395337234199
SUR | 57 | 136.71565457656601
SUR | 60 | 30.5259607571743
SUR | 61 | 131.72970383646799
SUR | 63 | 134.62042219731299
SUR | 66 | 135.99321116244101
SUR | 67 | 317.97255135752499
SUR | 68 | 160.74470318391499

## LLODs
Study | Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Sample Group | Standard | Sample_std | Visit_std | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | Sample Group_std | QC | Sample_qc | Visit_qc | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | Sample Group_qc | In Detection Range
ICI | 1 |  | B08 | 9959 | KIM-1 | 707.34817651617004 | In Detection Range | URN | [9 empty] | QC |  |  | H11 | 30097 | KIM-1 | 2133.6927571472102 | In Detection Range | QC | 59
SUR | 10 |  | E05 | 208 | KIM-1 | 8.6505409201423298 | In Detection Range | URN | [9 empty] | QC |  |  | A03 | 36827 | KIM-1 | 2611.8725180318002 | In Detection Range | QC
ICI | 10 |  | C08 | 2450 | KIM-1 | 172.05631789355701 | In Detection Range | URN | [9 empty] | QC |  |  | A04 | 34255 | KIM-1 | 2428.9678649686898 | In Detection Range | QC
ICI | 11 |  | D08 | 3473 | KIM-1 | 245.54695458720099 | In Detection Range | URN | [9 empty] | QC |  |  | H12 | 30860 | KIM-1 | 2187.8404094717698 | In Detection Range | QC
ICI | 13 |  | E08 | 2166 | KIM-1 | 151.58669416861301 | In Detection Range | URN
PRO | 14 | OND | C03 | 2807 | KIM-1 | 197.74171487126199 | In Detection Range | URN
PRO | 14 | PO | B03 | 5782 | KIM-1 | 410.519528259575 | In Detection Range | URN
ICI | 14 |  | F08 | 9194 | KIM-1 | 653.07936412776201 | In Detection Range | URN
PRO | 15 | PO | D03 | 2294 | KIM-1 | 160.81678487475199 | In Detection Range | URN
ICI | 15 |  | G08 | 2682 | KIM-1 | 188.75356022540001 | In Detection Range | URN
SUR | 15 |  | F05 | 2898 | KIM-1 | 204.281715986824 | In Detection Range | URN
PRO | 15 | OND | E03 | 5605 | KIM-1 | 397.90444825015101 | In Detection Range | URN
PRO | 16 | OND | G03 | 401 | KIM-1 | 23.052781009481301 | In Detection Range | URN
PRO | 16 | PO | F03 | 584 | KIM-1 | 36.572531985320197 | In Detection Range | URN
SUR | 16 |  | G05 | 2477 | KIM-1 | 174.00060273611601 | In Detection Range | URN
ICI | 16 |  | H08 | 11854 | KIM-1 | 841.66655481079204 | In Detection Range | URN
SUR | 17 |  | H05 | 512 | KIM-1 | 31.264249522796501 | In Detection Range | URN
ICI | 17 |  | A09 | 3166 | KIM-1 | 223.5269589788 | In Detection Range | URN
ICI | 18 |  | B09 | 544 | KIM-1 | 33.625037062322598 | In Detection Range | URN
PRO | 18 | OND | B04 | 4046 | KIM-1 | 286.58215602082799 | In Detection Range | URN
PRO | 18 | PO | H03 | 4825 | KIM-1 | 342.25905450218102 | In Detection Range | URN
ICI | 19 |  | C09 | 62985 | KIM-1 | 4486.2390094092098 | In Detection Range | URN
ICI | 20 |  | D09 | 10197 | KIM-1 | 724.22580271504501 | In Detection Range | URN
ICI | 21 |  | E09 | 1613 | KIM-1 | 111.613564043015 | In Detection Range | URN
SUR | 22 |  | A06 | 1034 | KIM-1 | 69.5359103419447 | In Detection Range | URN
PRO | 22 | PO | C04 | 10896 | KIM-1 | 773.78052567438795 | In Detection Range | URN
PRO | 22 | OND | D04 | 14584 | KIM-1 | 1034.98721121528 | In Detection Range | URN
ICI | 22 |  | F09 | 157045 | KIM-1 | 11515.981347242499 | In Detection Range | URN
PRO | 23 | PO | E04 | 788 | KIM-1 | 51.554616489317297 | In Detection Range | URN
PRO | 23 | OND | F04 | 1987 | KIM-1 | 138.66598921320599 | In Detection Range | URN
ICI | 23 |  | G09 | 2156 | KIM-1 | 150.86527711025599 | In Detection Range | URN
SUR | 24 |  | B06 | 3068 | KIM-1 | 216.49209338534499 | In Detection Range | URN
ICI | 24 |  | H09 | 8092 | KIM-1 | 574.84297234210999 | In Detection Range | URN
ICI | 25 |  | A10 | 1485 | KIM-1 | 102.334755094267 | In Detection Range | URN
PRO | 25 | PO | G04 | 5095 | KIM-1 | 361.53142624106403 | In Detection Range | URN
PRO | 25 | OND | H04 | 8790 | KIM-1 | 624.40652456605596 | In Detection Range | URN
ICI | 26 |  | B10 | 1516 | KIM-1 | 104.58302309059199 | In Detection Range | URN
ICI | 27 |  | C10 | 1950 | KIM-1 | 135.99321116244101 | In Detection Range | URN
ICI | 28 |  | D10 | 65496 | KIM-1 | 4667.7163489302902 | In Detection Range | URN
ICI | 29 |  | E10 | 1671 | KIM-1 | 115.814377266462 | In Detection Range | URN
PRO | 30 | OND | B05 | 2318 | KIM-1 | 162.54661489175001 | In Detection Range | URN
PRO | 30 | PO | A05 | 6466 | KIM-1 | 459.23281373229599 | In Detection Range | URN
SUR | 31 |  | C06 | 1144 | KIM-1 | 77.553033595092998 | In Detection Range | URN
PRO | 31 | OND | D05 | 1344 | KIM-1 | 92.099614410017097 | In Detection Range | URN
PRO | 31 | PO | C05 | 6412 | KIM-1 | 455.388996865769 | In Detection Range | URN
SUR | 36 |  | D06 | 1374 | KIM-1 | 94.278609537435997 | In Detection Range | URN
SUR | 37 |  | E06 | 1199 | KIM-1 | 81.556992695451001 | In Detection Range | URN
SUR | 39 |  | F06 | 3284 | KIM-1 | 231.99377375133199 | In Detection Range | URN
SUR | 40 |  | G06 | 3851 | KIM-1 | 272.625909416995 | In Detection Range | URN
SUR | 41 |  | H06 | 492 | KIM-1 | 29.7874022408831 | In Detection Range | URN
SUR | 45 |  | A07 | 939 | KIM-1 | 62.601167880968397 | In Detection Range | URN
SUR | 53 |  | B07 | 2549 | KIM-1 | 179.18395337234199 | In Detection Range | URN
SUR | 57 |  | C07 | 1960 | KIM-1 | 136.71565457656601 | In Detection Range | URN
SUR | 60 |  | D07 | 502 | KIM-1 | 30.5259607571743 | In Detection Range | URN
SUR | 61 |  | E07 | 1891 | KIM-1 | 131.72970383646799 | In Detection Range | URN
SUR | 63 |  | F07 | 1931 | KIM-1 | 134.62042219731299 | In Detection Range | URN
SUR | 66 |  | G07 | 1950 | KIM-1 | 135.99321116244101 | In Detection Range | URN
SUR | 67 |  | H07 | 4485 | KIM-1 | 317.97255135752499 | In Detection Range | URN
SUR | 68 |  | A08 | 2293 | KIM-1 | 160.74470318391499 | In Detection Range | URN

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Calc. Conc. CV_std | n_std | QC | Calc. Conc. CV_QC | n_QC
[5 empty] | S7_KIM-1_Plate_23M2JAL784_Set1 | 0.51468494706436496 | 2 | QC_KIM-1_Plate_23M2JAL784_Set1 | 9.4748822068936107 | 4
[5 empty] | S6_KIM-1_Plate_23M2JAL784_Set1 | 0.38479404059632999 | 2
[5 empty] | S5_KIM-1_Plate_23M2JAL784_Set1 | 1.8922275394552299 | 2
[5 empty] | S4_KIM-1_Plate_23M2JAL784_Set1 | 1.4758743477566501 | 2
[5 empty] | S3_KIM-1_Plate_23M2JAL784_Set1 | 2.9961504640742 | 2
[5 empty] | S2_KIM-1_Plate_23M2JAL784_Set1 | 4.8216252730524403 | 2
[5 empty] | S1_KIM-1_Plate_23M2JAL784_Set1 | 8.7398368200411092 | 2
[5 empty] | S8_KIM-1_Plate_23M2JAL784_Set1 | NaN | 2
[5 empty] | SUR_10_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_41_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_60_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_17_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_45_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_22_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_31_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_37_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_36_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_61_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_63_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_66_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_57_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_68_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_16_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_53_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_15_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_24_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_39_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_40_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1
[5 empty] | SUR_67_KIM-1_Plate_23M2JAL784_Set1 | NaN | 1

## README
Parameter | Field
Identification of assay, plates and operators
Cohort
Assays performed by
Total # of plates
Plate #1 assay
Plate #1 ID | ID is barcode
Plate #1 run date
Plate #2 assay
Plate #2 ID
Plate #2 run date
Plate #3 assay
Plate #3 ID
Plate #3 run date
Units of measure
Eotaxin | pg/mL
Eotaxin-3 | pg/mL
IL-8 | pg/mL
IP-10 | pg/mL
MCP-1 | pg/mL
MCP-4 | pg/mL
MDC | pg/mL
MIP-1α | pg/mL
MIP-1β | pg/mL
TARC | pg/mL
Experiement files
MSD Instrument Data
Plate Layout
Protocol
Raw data
Graphs
Dilution summary
Dilution BALF samples
Dilution QC_1_1_22
Freeze/thaw summary
Freeze/thaws samples
Freeze/ thaw QC_1_1_22 | ask for how QC was named
Antibody Lots
Plate ID
*** lot
*** lot
*** lot
*** lot
*** lot
*** lot
*** lot
Tabs
LongData
WideData | Pivoted data with columns in assay_sample_visit format (see key below for out of range and missing values)
WideDataImputed | Imputed version of WideData, LLOD = lowest sample concentration / 2
QC Summary | QC summary information for each assay
Plate QC | QC summary information for each plate
Definitions
Below Fit Curve Range | Signal is below the bottom of the bottom of the curve fit. No concentration is given.
Below Detection Range | Signal is above the bottom of the curve, but below the detection limit as defined by the Detection Limit Properties
Above Fit Curve Range | Signal is above the top of the curve fit. No concentration is given
Above Detection Range | Signal is above the top of detection range as defined by the Detection Limit Properties
Intraplate CV | 100*(std/mean) of QC well concentrations
Interplate CV | 100*(std/mean) of mean of QC well concentrations
Key for missingness and out of range values (WideData tab)
missing (not measured) | NA
Below Fit Curve Range | -99
Above Fit Curve Range | -89
Report generation
Prepared by | Jordan Lo
Date of report generation