## RawData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Adjusted Signal | Mean | Detection Limits: Calc. Low...11 | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low...21
CHR_US_V1_Plate1_Plate_23L0EAA195 | S1 |  | Ang-2 | A01 | 1 |  | 10000 | 81624 | 81624 | 81074 | 4.3703 | 81074 | 0.95939 | 101.2332 | 100.498445311802 | 10123.316868096599 | 10049.844531180201 | 1.03390231564387 | Above Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 160 |  | Ang-2 | B07 | 1 | 10 |  | 200 | 200 | 203 | 4.3703 | 202.5 | 1.7459 |  |  | 13.9756107967902 | 16.888971731394101 | 24.395295411301198 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 160 |  | Ang-2 | B08 | 1 | 10 |  | 205 | 205 | 203 | 4.3703 | 202.5 | 1.7459 |  |  | 19.802332665998001 | 16.888971731394101 | 24.395295411301198 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 162 |  | Ang-2 | C08 | 1 | 10 |  | 191 | 191 | 182 | 4.3703 | 181.5 | 7.4022 |  |  | 3.47815333493533 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 163 |  | Ang-2 | D08 | 1 | 10 |  | 194 | 194 | 188 | 4.3703 | 188 | 4.5134 |  |  | 6.9793144492599799 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 164 |  | Ang-2 | E08 | 1 | 10 |  | 202 | 202 | 194 | 4.3703 | 193.5 | 6.2123 |  |  | 16.306599970397599 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 166 |  | Ang-2 | G08 | 1 | 10 |  | 194 | 194 | 188 | 4.3703 | 188 | 4.5134 |  |  | 6.9793144492599799 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 221 |  | Ang-2 | A09 | 1 | 10 |  | 217 | 217 | 222 | 4.3703 | 222 | 3.1852 |  |  | 33.778727002681798 | 39.599435945838799 | 20.7874817744819 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 223 |  | Ang-2 | B10 | 1 | 10 |  | 210 | 210 | 211 | 4.3703 | 210.5 | 0.33592 |  |  | 25.626931639485498 | 26.209288499076699 | 3.1423095251286002 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 223 |  | Ang-2 | B09 | 1 | 10 |  | 211 | 211 | 211 | 4.3703 | 210.5 | 0.33592 |  |  | 26.791645358667999 | 26.209288499076699 | 3.1423095251286002 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 228 |  | Ang-2 | C10 | 1 | 10 |  | 195 | 195 | 190 | 4.3703 | 189.5 | 4.1046 |  |  | 8.1458073709274501 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 233 |  | Ang-2 | G10 | 1 | 10 |  | 199 | 199 | 193 | 4.3703 | 193 | 4.3965 |  |  | 12.8099415206971 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 234 |  | Ang-2 | H10 | 1 | 10 |  | 199 | 199 | 203 | 4.3703 | 202.5 | 2.4443 |  |  | 12.8099415206971 | 16.888671823596901 | 34.154229366714802 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 234 |  | Ang-2 | H09 | 1 | 10 |  | 206 | 206 | 203 | 4.3703 | 202.5 | 2.4443 |  |  | 20.967402126496701 | 16.888671823596901 | 34.154229366714802 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 309 |  | Ang-2 | A11 | 1 | 10 |  | 211 | 211 | 218 | 4.3703 | 218 | 4.5411 |  |  | 26.791645358667999 | 34.941912002847197 | 32.986797128377198 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 309 |  | Ang-2 | A12 | 1 | 10 |  | 225 | 225 | 218 | 4.3703 | 218 | 4.5411 |  |  | 43.092178647026401 | 34.941912002847197 | 32.986797128377198 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 314 |  | Ang-2 | C12 | 1 | 10 |  | 202 | 202 | 193 | 4.3703 | 192.5 | 6.9792 |  |  | 16.306599970397599 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 316 |  | Ang-2 | D11 | 1 | 10 |  | 207 | 207 | 203 | 4.3703 | 202.5 | 3.1427 |  |  | 22.132392687537799 | 16.888267105265498 | 43.913999435293498 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 316 |  | Ang-2 | D12 | 1 | 10 |  | 198 | 198 | 203 | 4.3703 | 202.5 | 3.1427 |  |  | 11.6441415229932 | 16.888267105265498 | 43.913999435293498 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 317 |  | Ang-2 | E12 | 1 | 10 |  | 199 | 199 | 322 | 4.3703 | 321.5 | 53.8853 |  |  | 12.8099415206971 | 155.23516038527001 | 129.75132414740401 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 318 |  | Ang-2 | F12 | 1 | 10 |  | 209 | 209 | 198 | 4.3703 | 198 | 7.8567 |  |  | 24.4621537815603 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 321 |  | Ang-2 | G12 | 1 | 10 |  | 211 | 211 | 275 | 4.3703 | 274.5 | 32.715 |  |  | 26.791645358667999 | 100.645118171951 | 103.775110783272 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | Blank |  | Ang-2 | H01 | 1 |  | 0 | 191 | 191 | 190 | 4.3703 | 189.5 | 1.1194 |  | NaN | 0.347815333493533 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S7 |  | Ang-2 | G01 | 1 |  | 2.4414 | 217 | 217 | 212 | 4.3703 | 211.5 | 3.6776 | 138.3577 | 112.120072456557 | 3.3778727002681799 | 2.73730645645893 | 33.094484815753397 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S7 |  | Ang-2 | G02 | 1 |  | 2.4414 | 206 | 206 | 212 | 4.3703 | 211.5 | 3.6776 | 85.8825 | 112.120072456557 | 2.0967402126496699 | 2.73730645645893 | 33.094484815753397 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 162 |  | Ang-2 | C07 | 1 | 10 |  | 172 | 172 | 182 | 4.3703 | 181.5 | 7.4022 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 163 |  | Ang-2 | D07 | 1 | 10 |  | 182 | 182 | 188 | 4.3703 | 188 | 4.5134 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 164 |  | Ang-2 | E07 | 1 | 10 |  | 185 | 185 | 194 | 4.3703 | 193.5 | 6.2123 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 166 |  | Ang-2 | G07 | 1 | 10 |  | 182 | 182 | 188 | 4.3703 | 188 | 4.5134 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 228 |  | Ang-2 | C09 | 1 | 10 |  | 184 | 184 | 190 | 4.3703 | 189.5 | 4.1046 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 229 |  | Ang-2 | D10 | 1 | 10 |  | 185 | 185 | 182 | 4.3703 | 182 | 2.3311 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 229 |  | Ang-2 | D09 | 1 | 10 |  | 179 | 179 | 182 | 4.3703 | 182 | 2.3311 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 230 |  | Ang-2 | E09 | 1 | 10 |  | 177 | 177 | 181 | 4.3703 | 180.5 | 2.7422 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 230 |  | Ang-2 | E10 | 1 | 10 |  | 184 | 184 | 181 | 4.3703 | 180.5 | 2.7422 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 232 |  | Ang-2 | F09 | 1 | 10 |  | 181 | 181 | 182 | 4.3703 | 181.5 | 0.38959 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 232 |  | Ang-2 | F10 | 1 | 10 |  | 182 | 182 | 182 | 4.3703 | 181.5 | 0.38959 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 233 |  | Ang-2 | G09 | 1 | 10 |  | 187 | 187 | 193 | 4.3703 | 193 | 4.3965 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 314 |  | Ang-2 | C11 | 1 | 10 |  | 183 | 183 | 193 | 4.3703 | 192.5 | 6.9792 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 318 |  | Ang-2 | F11 | 1 | 10 |  | 187 | 187 | 198 | 4.3703 | 198 | 7.8567 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 526 |  | Ang-2 | E04 | 1 | 10 |  | 169 | 169 | 173 | 4.3703 | 172.5 | 2.8694 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 526 |  | Ang-2 | E03 | 1 | 10 |  | 176 | 176 | 173 | 4.3703 | 172.5 | 2.8694 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 527 |  | Ang-2 | F03 | 1 | 10 |  | 172 | 172 | 168 | 4.3703 | 167.5 | 3.7994 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 527 |  | Ang-2 | F04 | 1 | 10 |  | 163 | 163 | 168 | 4.3703 | 167.5 | 3.7994 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 530 |  | Ang-2 | H04 | 1 | 10 |  | 176 | 176 | 174 | 4.3703 | 173.5 | 2.0378 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 530 |  | Ang-2 | H03 | 1 | 10 |  | 171 | 171 | 174 | 4.3703 | 173.5 | 2.0378 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 76 |  | Ang-2 | C06 | 1 | 10 |  | 177 | 177 | 171 | 4.3703 | 171 | 4.9622 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 76 |  | Ang-2 | C05 | 1 | 10 |  | 165 | 165 | 171 | 4.3703 | 171 | 4.9622 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 81 |  | Ang-2 | E05 | 1 | 10 |  | 155 | 155 | 165 | 4.3703 | 165 | 8.571 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 81 |  | Ang-2 | E06 | 1 | 10 |  | 175 | 175 | 165 | 4.3703 | 165 | 8.571 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 82 |  | Ang-2 | F05 | 1 | 10 |  | 176 | 176 | 177 | 4.3703 | 177 | 0.79899 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 82 |  | Ang-2 | F06 | 1 | 10 |  | 178 | 178 | 177 | 4.3703 | 177 | 0.79899 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | Blank |  | Ang-2 | H02 | 1 |  | 0 | 188 | 188 | 190 | 4.3703 | 189.5 | 1.1194 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 159 |  | Ang-2 | A08 | 1 | 10 |  | 374 | 374 | 364 | 4.3703 | 364 | 3.8852 |  |  | 216.33392800418599 | 204.713532710913 | 8.0276669579480302 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 159 |  | Ang-2 | A07 | 1 | 10 |  | 354 | 354 | 364 | 4.3703 | 364 | 3.8852 |  |  | 193.093137417641 | 204.713532710913 | 8.0276669579480302 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 165 |  | Ang-2 | F08 | 1 | 10 |  | 1535 | 1535 | 1537 | 4.3703 | 1537 | 0.18402 |  |  | 1564.5834937268901 | 1566.9064538879099 | 0.20965908694938901 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 165 |  | Ang-2 | F07 | 1 | 10 |  | 1539 | 1539 | 1537 | 4.3703 | 1537 | 0.18402 |  |  | 1569.22941404894 | 1566.9064538879099 | 0.20965908694938901 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 167 |  | Ang-2 | H08 | 1 | 10 |  | 239 | 239 | 235 | 4.3703 | 234.5 | 2.7138 |  |  | 59.385214678615498 | 54.148523431854599 | 13.6768268343455 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 167 |  | Ang-2 | H07 | 1 | 10 |  | 230 | 230 | 235 | 4.3703 | 234.5 | 2.7138 |  |  | 48.911832185093601 | 54.148523431854599 | 13.6768268343455 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 221 |  | Ang-2 | A10 | 1 | 10 |  | 227 | 227 | 222 | 4.3703 | 222 | 3.1852 |  |  | 45.420144888995701 | 39.599435945838799 | 20.7874817744819 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 312 |  | Ang-2 | B12 | 1 | 10 |  | 227 | 227 | 239 | 4.3703 | 239 | 7.1007 |  |  | 45.420144888995701 | 59.3832908908864 | 33.2532437206171 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 312 |  | Ang-2 | B11 | 1 | 10 |  | 251 | 251 | 239 | 4.3703 | 239 | 7.1007 |  |  | 73.346436892777106 | 59.3832908908864 | 33.2532437206171 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 317 |  | Ang-2 | E11 | 1 | 10 |  | 444 | 444 | 322 | 4.3703 | 321.5 | 53.8853 |  |  | 297.660379249843 | 155.23516038527001 | 129.75132414740401 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 321 |  | Ang-2 | G11 | 1 | 10 |  | 338 | 338 | 275 | 4.3703 | 274.5 | 32.715 |  |  | 174.49859098523399 | 100.645118171951 | 103.775110783272 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 523 |  | Ang-2 | B03 | 1 | 10 |  | 633 | 633 | 690 | 4.3703 | 690 | 11.6826 |  |  | 517.16758371258504 | 583.35525789382996 | 16.045712320652999 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 523 |  | Ang-2 | B04 | 1 | 10 |  | 747 | 747 | 690 | 4.3703 | 690 | 11.6826 |  |  | 649.54293207507396 | 583.35525789382996 | 16.045712320652999 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 524 |  | Ang-2 | C03 | 1 | 10 |  | 377 | 377 | 407 | 4.3703 | 407 | 10.4242 |  |  | 219.81983925067499 | 254.674259303768 | 19.354760737298999 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 524 |  | Ang-2 | C04 | 1 | 10 |  | 437 | 437 | 407 | 4.3703 | 407 | 10.4242 |  |  | 289.52867935686101 | 254.674259303768 | 19.354760737298999 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 525 |  | Ang-2 | D04 | 1 | 10 |  | 294 | 294 | 288 | 4.3703 | 287.5 | 3.1974 |  |  | 123.352548891295 | 115.7949257054 | 9.2301913436083698 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 525 |  | Ang-2 | D03 | 1 | 10 |  | 281 | 281 | 288 | 4.3703 | 287.5 | 3.1974 |  |  | 108.237302519506 | 115.7949257054 | 9.2301913436083698 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 528 |  | Ang-2 | G04 | 1 | 10 |  | 1420 | 1420 | 1277 | 4.3703 | 1276.5 | 15.8981 |  |  | 1431.0196820036699 | 1264.37837687347 | 18.638913641455101 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 528 |  | Ang-2 | G03 | 1 | 10 |  | 1133 | 1133 | 1277 | 4.3703 | 1276.5 | 15.8981 |  |  | 1097.73707174327 | 1264.37837687347 | 18.638913641455101 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 70 |  | Ang-2 | A05 | 1 | 10 |  | 300 | 300 | 292 | 4.3703 | 291.5 | 4.1238 |  |  | 130.32813348873 | 120.44549957553799 | 11.6037170016792 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 70 |  | Ang-2 | A06 | 1 | 10 |  | 283 | 283 | 292 | 4.3703 | 291.5 | 4.1238 |  |  | 110.562865662346 | 120.44549957553799 | 11.6037170016792 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 74 |  | Ang-2 | B06 | 1 | 10 |  | 2387 | 2387 | 2331 | 4.3703 | 2330.5 | 3.4286 |  |  | 2554.5770963283799 | 2488.8997405182199 | 3.73184205918183 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 74 |  | Ang-2 | B05 | 1 | 10 |  | 2274 | 2274 | 2331 | 4.3703 | 2330.5 | 3.4286 |  |  | 2423.22238470807 | 2488.8997405182199 | 3.73184205918183 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 77 |  | Ang-2 | D06 | 1 | 10 |  | 1062 | 1062 | 1023 | 4.3703 | 1022.5 | 5.4632 |  |  | 1015.29509266599 | 969.430596492787 | 6.69075153540782 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 77 |  | Ang-2 | D05 | 1 | 10 |  | 983 | 983 | 1023 | 4.3703 | 1022.5 | 5.4632 |  |  | 923.56610031958303 | 969.430596492787 | 6.69075153540782 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 83 |  | Ang-2 | G05 | 1 | 10 |  | 573 | 573 | 577 | 4.3703 | 576.5 | 0.85859 |  |  | 447.49055646426802 | 451.555190927046 | 1.27299193960083 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 83 |  | Ang-2 | G06 | 1 | 10 |  | 580 | 580 | 577 | 4.3703 | 576.5 | 0.85859 |  |  | 455.619825389825 | 451.555190927046 | 1.27299193960083 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 84 |  | Ang-2 | H06 | 1 | 10 |  | 510 | 510 | 493 | 4.3703 | 493 | 4.8766 |  |  | 374.32289215798301 | 354.57730160109202 | 7.8754285275816196 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 84 |  | Ang-2 | H05 | 1 | 10 |  | 476 | 476 | 493 | 4.3703 | 493 | 4.8766 |  |  | 334.83171104420097 | 354.57730160109202 | 7.8754285275816196 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC |  | Ang-2 | H11 | 1 | 10 |  | 259 | 259 | 267 | 4.3703 | 266.5 | 3.98 |  |  | 82.652188629888002 | 91.3747917580571 | 13.5000292812892 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC |  | Ang-2 | A03 | 1 | 10 |  | 348 | 348 | 300 | 4.3703 | 299.5 | 22.9013 |  |  | 186.120395712749 | 129.733416302763 | 61.466993852035202 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC |  | Ang-2 | A04 | 1 | 10 |  | 251 | 251 | 300 | 4.3703 | 299.5 | 22.9013 |  |  | 73.346436892777106 | 129.733416302763 | 61.466993852035202 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC |  | Ang-2 | H12 | 1 | 10 |  | 274 | 274 | 267 | 4.3703 | 266.5 | 3.98 |  |  | 100.097394886226 | 91.3747917580571 | 13.5000292812892 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S1 |  | Ang-2 | A02 | 1 |  | 10000 | 80524 | 80524 | 81074 | 4.3703 | 81074 | 0.95939 | 99.7637 | 100.498445311802 | 9976.3721942637694 | 10049.844531180201 | 1.03390231564387 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S2 |  | Ang-2 | B01 | 1 |  | 2500 | 21152 | 21152 | 20968 | 4.3703 | 20968 | 1.241 | 98.7724 | 97.890612560833503 | 2469.31051219341 | 2447.2653140208299 | 1.27393699662416 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S2 |  | Ang-2 | B02 | 1 |  | 2500 | 20784 | 20784 | 20968 | 4.3703 | 20968 | 1.241 | 97.0088 | 97.890612560833503 | 2425.2201158482599 | 2447.2653140208299 | 1.27393699662416 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S3 |  | Ang-2 | C02 | 1 |  | 625 | 5564 | 5564 | 5628 | 4.3703 | 5628 | 1.6082 | 100.0936 | 101.28945506574 | 625.58487948589095 | 633.05909416087798 | 1.66969179638218 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S3 |  | Ang-2 | C01 | 1 |  | 625 | 5692 | 5692 | 5628 | 4.3703 | 5628 | 1.6082 | 102.4853 | 101.28945506574 | 640.53330883586602 | 633.05909416087798 | 1.66969179638218 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S4 |  | Ang-2 | D02 | 1 |  | 156.25 | 1579 | 1579 | 1563 | 4.3703 | 1563 | 1.4477 | 103.4041 | 102.214744949954 | 161.56894784227401 | 159.71053898430301 | 1.64559397776217 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S4 |  | Ang-2 | D01 | 1 |  | 156.25 | 1547 | 1547 | 1563 | 4.3703 | 1563 | 1.4477 | 101.0254 | 102.214744949954 | 157.85213012633099 | 159.71053898430301 | 1.64559397776217 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S5 |  | Ang-2 | E01 | 1 |  | 39.0625 | 516 | 516 | 521 | 4.3703 | 520.5 | 1.2227 | 97.6107 | 98.948626451074603 | 38.129161204382001 | 38.651807207451 | 1.91228591691242 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S5 |  | Ang-2 | E02 | 1 |  | 39.0625 | 525 | 525 | 521 | 4.3703 | 520.5 | 1.2227 | 100.2866 | 98.948626451074603 | 39.174453210519999 | 38.651807207451 | 1.91228591691242 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S6 |  | Ang-2 | F01 | 1 |  | 9.7656 | 271 | 271 | 265 | 4.3703 | 265 | 3.202 | 98.9273 | 91.781546384408003 | 9.6608644152158902 | 8.9630416391023502 | 11.010441252523901 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S6 |  | Ang-2 | F02 | 1 |  | 9.7656 | 259 | 259 | 265 | 4.3703 | 265 | 3.202 | 84.6358 | 91.781546384408003 | 8.2652188629887995 | 8.9630416391023502 | 11.010441252523901 | In Detection Range | 10000 | 4.37

## LongData
Plate Name | Sample | Visit | Assay | Dilution | Concentration | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low...21
CHR_US_V1_Plate1_Plate_23L0EAA195 | 159 |  | Ang-2 | 10 |  |  | 216.33392800418599 | 204.713532710913 | 8.0276669579480302 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 159 |  | Ang-2 | 10 |  |  | 193.093137417641 | 204.713532710913 | 8.0276669579480302 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 160 |  | Ang-2 | 10 |  |  | 13.9756107967902 | 16.888971731394101 | 24.395295411301198 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 160 |  | Ang-2 | 10 |  |  | 19.802332665998001 | 16.888971731394101 | 24.395295411301198 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 162 |  | Ang-2 | 10 |  |  | 3.47815333493533 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 162 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 163 |  | Ang-2 | 10 |  |  | 6.9793144492599799 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 163 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 164 |  | Ang-2 | 10 |  |  | 16.306599970397599 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 164 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 165 |  | Ang-2 | 10 |  |  | 1564.5834937268901 | 1566.9064538879099 | 0.20965908694938901 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 165 |  | Ang-2 | 10 |  |  | 1569.22941404894 | 1566.9064538879099 | 0.20965908694938901 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 166 |  | Ang-2 | 10 |  |  | 6.9793144492599799 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 166 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 167 |  | Ang-2 | 10 |  |  | 59.385214678615498 | 54.148523431854599 | 13.6768268343455 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 167 |  | Ang-2 | 10 |  |  | 48.911832185093601 | 54.148523431854599 | 13.6768268343455 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 221 |  | Ang-2 | 10 |  |  | 33.778727002681798 | 39.599435945838799 | 20.7874817744819 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 221 |  | Ang-2 | 10 |  |  | 45.420144888995701 | 39.599435945838799 | 20.7874817744819 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 223 |  | Ang-2 | 10 |  |  | 25.626931639485498 | 26.209288499076699 | 3.1423095251286002 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 223 |  | Ang-2 | 10 |  |  | 26.791645358667999 | 26.209288499076699 | 3.1423095251286002 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 228 |  | Ang-2 | 10 |  |  | 8.1458073709274501 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 228 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 229 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 229 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 230 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 230 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 232 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 232 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 233 |  | Ang-2 | 10 |  |  | 12.8099415206971 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 233 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 234 |  | Ang-2 | 10 |  |  | 12.8099415206971 | 16.888671823596901 | 34.154229366714802 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 234 |  | Ang-2 | 10 |  |  | 20.967402126496701 | 16.888671823596901 | 34.154229366714802 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 309 |  | Ang-2 | 10 |  |  | 26.791645358667999 | 34.941912002847197 | 32.986797128377198 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 309 |  | Ang-2 | 10 |  |  | 43.092178647026401 | 34.941912002847197 | 32.986797128377198 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 312 |  | Ang-2 | 10 |  |  | 45.420144888995701 | 59.3832908908864 | 33.2532437206171 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 312 |  | Ang-2 | 10 |  |  | 73.346436892777106 | 59.3832908908864 | 33.2532437206171 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 314 |  | Ang-2 | 10 |  |  | 16.306599970397599 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 314 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 316 |  | Ang-2 | 10 |  |  | 22.132392687537799 | 16.888267105265498 | 43.913999435293498 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 316 |  | Ang-2 | 10 |  |  | 11.6441415229932 | 16.888267105265498 | 43.913999435293498 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 317 |  | Ang-2 | 10 |  |  | 12.8099415206971 | 155.23516038527001 | 129.75132414740401 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 317 |  | Ang-2 | 10 |  |  | 297.660379249843 | 155.23516038527001 | 129.75132414740401 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 318 |  | Ang-2 | 10 |  |  | 24.4621537815603 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 318 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 321 |  | Ang-2 | 10 |  |  | 26.791645358667999 | 100.645118171951 | 103.775110783272 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 321 |  | Ang-2 | 10 |  |  | 174.49859098523399 | 100.645118171951 | 103.775110783272 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 523 |  | Ang-2 | 10 |  |  | 517.16758371258504 | 583.35525789382996 | 16.045712320652999 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 523 |  | Ang-2 | 10 |  |  | 649.54293207507396 | 583.35525789382996 | 16.045712320652999 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 524 |  | Ang-2 | 10 |  |  | 219.81983925067499 | 254.674259303768 | 19.354760737298999 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 524 |  | Ang-2 | 10 |  |  | 289.52867935686101 | 254.674259303768 | 19.354760737298999 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 525 |  | Ang-2 | 10 |  |  | 123.352548891295 | 115.7949257054 | 9.2301913436083698 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 525 |  | Ang-2 | 10 |  |  | 108.237302519506 | 115.7949257054 | 9.2301913436083698 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 526 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 526 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 527 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 527 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 528 |  | Ang-2 | 10 |  |  | 1431.0196820036699 | 1264.37837687347 | 18.638913641455101 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 528 |  | Ang-2 | 10 |  |  | 1097.73707174327 | 1264.37837687347 | 18.638913641455101 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 530 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 530 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 70 |  | Ang-2 | 10 |  |  | 130.32813348873 | 120.44549957553799 | 11.6037170016792 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 70 |  | Ang-2 | 10 |  |  | 110.562865662346 | 120.44549957553799 | 11.6037170016792 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 74 |  | Ang-2 | 10 |  |  | 2554.5770963283799 | 2488.8997405182199 | 3.73184205918183 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 74 |  | Ang-2 | 10 |  |  | 2423.22238470807 | 2488.8997405182199 | 3.73184205918183 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 76 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 76 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 77 |  | Ang-2 | 10 |  |  | 1015.29509266599 | 969.430596492787 | 6.69075153540782 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 77 |  | Ang-2 | 10 |  |  | 923.56610031958303 | 969.430596492787 | 6.69075153540782 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 81 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 81 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 82 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 82 |  | Ang-2 | 10 |  |  | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 83 |  | Ang-2 | 10 |  |  | 447.49055646426802 | 451.555190927046 | 1.27299193960083 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 83 |  | Ang-2 | 10 |  |  | 455.619825389825 | 451.555190927046 | 1.27299193960083 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 84 |  | Ang-2 | 10 |  |  | 374.32289215798301 | 354.57730160109202 | 7.8754285275816196 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | 84 |  | Ang-2 | 10 |  |  | 334.83171104420097 | 354.57730160109202 | 7.8754285275816196 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | Blank |  | Ang-2 |  | 0 | NaN | 0.347815333493533 | NaN | NaN | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | Blank |  | Ang-2 |  | 0 | NaN | NaN | NaN | NaN | Below Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC |  | Ang-2 | 10 |  |  | 82.652188629888002 | 91.3747917580571 | 13.5000292812892 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC |  | Ang-2 | 10 |  |  | 186.120395712749 | 129.733416302763 | 61.466993852035202 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC |  | Ang-2 | 10 |  |  | 73.346436892777106 | 129.733416302763 | 61.466993852035202 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | QC |  | Ang-2 | 10 |  |  | 100.097394886226 | 91.3747917580571 | 13.5000292812892 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S1 |  | Ang-2 |  | 10000 | 100.498445311802 | 10123.316868096599 | 10049.844531180201 | 1.03390231564387 | Above Fit Curve Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S1 |  | Ang-2 |  | 10000 | 100.498445311802 | 9976.3721942637694 | 10049.844531180201 | 1.03390231564387 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S2 |  | Ang-2 |  | 2500 | 97.890612560833503 | 2469.31051219341 | 2447.2653140208299 | 1.27393699662416 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S2 |  | Ang-2 |  | 2500 | 97.890612560833503 | 2425.2201158482599 | 2447.2653140208299 | 1.27393699662416 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S3 |  | Ang-2 |  | 625 | 101.28945506574 | 625.58487948589095 | 633.05909416087798 | 1.66969179638218 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S3 |  | Ang-2 |  | 625 | 101.28945506574 | 640.53330883586602 | 633.05909416087798 | 1.66969179638218 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S4 |  | Ang-2 |  | 156.25 | 102.214744949954 | 161.56894784227401 | 159.71053898430301 | 1.64559397776217 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S4 |  | Ang-2 |  | 156.25 | 102.214744949954 | 157.85213012633099 | 159.71053898430301 | 1.64559397776217 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S5 |  | Ang-2 |  | 39.0625 | 98.948626451074603 | 38.129161204382001 | 38.651807207451 | 1.91228591691242 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S5 |  | Ang-2 |  | 39.0625 | 98.948626451074603 | 39.174453210519999 | 38.651807207451 | 1.91228591691242 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S6 |  | Ang-2 |  | 9.7656 | 91.781546384408003 | 9.6608644152158902 | 8.9630416391023502 | 11.010441252523901 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S6 |  | Ang-2 |  | 9.7656 | 91.781546384408003 | 8.2652188629887995 | 8.9630416391023502 | 11.010441252523901 | In Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S7 |  | Ang-2 |  | 2.4414 | 112.120072456557 | 3.3778727002681799 | 2.73730645645893 | 33.094484815753397 | Below Detection Range | 10000 | 4.37
CHR_US_V1_Plate1_Plate_23L0EAA195 | S7 |  | Ang-2 |  | 2.4414 | 112.120072456557 | 2.0967402126496699 | 2.73730645645893 | 33.094484815753397 | Below Detection Range | 10000 | 4.37

## WideData
Sample | Visit | Calc. Conc. Mean | Standard | Visit_std | Calc. Conc. Mean_std | QC | Visit_qc | Calc. Conc. Mean_qc
70 |  | 120.44549957553799 | S1 |  | 10049.844531180201 | QC
74 |  | 2488.8997405182199 | S2 |  | 2447.2653140208299
76 |  | NaN | S3 |  | 633.05909416087798
77 |  | 969.430596492787 | S4 |  | 159.71053898430301
81 |  | NaN | S5 |  | 38.651807207451
82 |  | NaN | S6 |  | 8.9630416391023502
83 |  | 451.555190927046 | S7 |  | 2.73730645645893
84 |  | 354.57730160109202
159 |  | 204.713532710913
160 |  | 16.888971731394101
162 |  | NaN
163 |  | NaN
164 |  | NaN
165 |  | 1566.9064538879099
166 |  | NaN
167 |  | 54.148523431854599
221 |  | 39.599435945838799
223 |  | 26.209288499076699
228 |  | NaN
229 |  | NaN
230 |  | NaN
232 |  | NaN
233 |  | NaN
234 |  | 16.888671823596901
309 |  | 34.941912002847197
312 |  | 59.3832908908864
314 |  | NaN
316 |  | 16.888267105265498
317 |  | 155.23516038527001
318 |  | NaN
321 |  | 100.645118171951
523 |  | 583.35525789382996
524 |  | 254.674259303768
525 |  | 115.7949257054
526 |  | NaN
527 |  | NaN
528 |  | 1264.37837687347
530 |  | NaN

## WideSampleData
Sample | Visit | Calc. Conc. Mean
70 |  | 120.44549957553799
74 |  | 2488.8997405182199
76 |  | NaN
77 |  | 969.430596492787
81 |  | NaN
82 |  | NaN
83 |  | 451.555190927046
84 |  | 354.57730160109202
159 |  | 204.713532710913
160 |  | 16.888971731394101
162 |  | NaN
163 |  | NaN
164 |  | NaN
165 |  | 1566.9064538879099
166 |  | NaN
167 |  | 54.148523431854599
221 |  | 39.599435945838799
223 |  | 26.209288499076699
228 |  | NaN
229 |  | NaN
230 |  | NaN
232 |  | NaN
233 |  | NaN
234 |  | 16.888671823596901
309 |  | 34.941912002847197
312 |  | 59.3832908908864
314 |  | NaN
316 |  | 16.888267105265498
317 |  | 155.23516038527001
318 |  | NaN
321 |  | 100.645118171951
523 |  | 583.35525789382996
524 |  | 254.674259303768
525 |  | 115.7949257054
526 |  | NaN
527 |  | NaN
528 |  | 1264.37837687347
530 |  | NaN

## LLODs
Sample | Visit | Well | Signal | Calc. Concentration | Detection Range | Standard | Visit_std | Well_std | Signal_std | Calc. Concentration_std | Detection Range_std | QC | Visit_qc | Well_qc | Signal_qc | Calc. Concentration_qc | Detection Range_qc | Below Detection Range | Below Fit Curve Range | In Detection Range
70 |  | A05 | 300 | 130.32813348873 | In Detection Range | S1 |  | A01 | 81624 | 10123.316868096599 | Above Fit Curve Range | QC |  | H11 | 259 | 82.652188629888002 | In Detection Range | 21 | 26 | 29
70 |  | A06 | 283 | 110.562865662346 | In Detection Range | S7 |  | G01 | 217 | 3.3778727002681799 | Below Detection Range | QC |  | A03 | 348 | 186.120395712749 | In Detection Range
74 |  | B06 | 2387 | 2554.5770963283799 | In Detection Range | S7 |  | G02 | 206 | 2.0967402126496699 | Below Detection Range | QC |  | A04 | 251 | 73.346436892777106 | In Detection Range
74 |  | B05 | 2274 | 2423.22238470807 | In Detection Range | S1 |  | A02 | 80524 | 9976.3721942637694 | In Detection Range | QC |  | H12 | 274 | 100.097394886226 | In Detection Range
76 |  | C06 | 177 | NaN | Below Fit Curve Range | S2 |  | B01 | 21152 | 2469.31051219341 | In Detection Range
76 |  | C05 | 165 | NaN | Below Fit Curve Range | S2 |  | B02 | 20784 | 2425.2201158482599 | In Detection Range
77 |  | D06 | 1062 | 1015.29509266599 | In Detection Range | S3 |  | C02 | 5564 | 625.58487948589095 | In Detection Range
77 |  | D05 | 983 | 923.56610031958303 | In Detection Range | S3 |  | C01 | 5692 | 640.53330883586602 | In Detection Range
81 |  | E05 | 155 | NaN | Below Fit Curve Range | S4 |  | D02 | 1579 | 161.56894784227401 | In Detection Range
81 |  | E06 | 175 | NaN | Below Fit Curve Range | S4 |  | D01 | 1547 | 157.85213012633099 | In Detection Range
82 |  | F05 | 176 | NaN | Below Fit Curve Range | S5 |  | E01 | 516 | 38.129161204382001 | In Detection Range
82 |  | F06 | 178 | NaN | Below Fit Curve Range | S5 |  | E02 | 525 | 39.174453210519999 | In Detection Range
83 |  | G05 | 573 | 447.49055646426802 | In Detection Range | S6 |  | F01 | 271 | 9.6608644152158902 | In Detection Range
83 |  | G06 | 580 | 455.619825389825 | In Detection Range | S6 |  | F02 | 259 | 8.2652188629887995 | In Detection Range
84 |  | H06 | 510 | 374.32289215798301 | In Detection Range
84 |  | H05 | 476 | 334.83171104420097 | In Detection Range
159 |  | A08 | 374 | 216.33392800418599 | In Detection Range
159 |  | A07 | 354 | 193.093137417641 | In Detection Range
160 |  | B07 | 200 | 13.9756107967902 | Below Detection Range
160 |  | B08 | 205 | 19.802332665998001 | Below Detection Range
162 |  | C08 | 191 | 3.47815333493533 | Below Detection Range
162 |  | C07 | 172 | NaN | Below Fit Curve Range
163 |  | D08 | 194 | 6.9793144492599799 | Below Detection Range
163 |  | D07 | 182 | NaN | Below Fit Curve Range
164 |  | E08 | 202 | 16.306599970397599 | Below Detection Range
164 |  | E07 | 185 | NaN | Below Fit Curve Range
165 |  | F08 | 1535 | 1564.5834937268901 | In Detection Range
165 |  | F07 | 1539 | 1569.22941404894 | In Detection Range
166 |  | G08 | 194 | 6.9793144492599799 | Below Detection Range
166 |  | G07 | 182 | NaN | Below Fit Curve Range
167 |  | H08 | 239 | 59.385214678615498 | In Detection Range
167 |  | H07 | 230 | 48.911832185093601 | In Detection Range
221 |  | A09 | 217 | 33.778727002681798 | Below Detection Range
221 |  | A10 | 227 | 45.420144888995701 | In Detection Range
223 |  | B10 | 210 | 25.626931639485498 | Below Detection Range
223 |  | B09 | 211 | 26.791645358667999 | Below Detection Range
228 |  | C10 | 195 | 8.1458073709274501 | Below Detection Range
228 |  | C09 | 184 | NaN | Below Fit Curve Range
229 |  | D10 | 185 | NaN | Below Fit Curve Range
229 |  | D09 | 179 | NaN | Below Fit Curve Range
230 |  | E09 | 177 | NaN | Below Fit Curve Range
230 |  | E10 | 184 | NaN | Below Fit Curve Range
232 |  | F09 | 181 | NaN | Below Fit Curve Range
232 |  | F10 | 182 | NaN | Below Fit Curve Range
233 |  | G10 | 199 | 12.8099415206971 | Below Detection Range
233 |  | G09 | 187 | NaN | Below Fit Curve Range
234 |  | H10 | 199 | 12.8099415206971 | Below Detection Range
234 |  | H09 | 206 | 20.967402126496701 | Below Detection Range
309 |  | A11 | 211 | 26.791645358667999 | Below Detection Range
309 |  | A12 | 225 | 43.092178647026401 | Below Detection Range
312 |  | B12 | 227 | 45.420144888995701 | In Detection Range
312 |  | B11 | 251 | 73.346436892777106 | In Detection Range
314 |  | C12 | 202 | 16.306599970397599 | Below Detection Range
314 |  | C11 | 183 | NaN | Below Fit Curve Range
316 |  | D11 | 207 | 22.132392687537799 | Below Detection Range
316 |  | D12 | 198 | 11.6441415229932 | Below Detection Range
317 |  | E12 | 199 | 12.8099415206971 | Below Detection Range
317 |  | E11 | 444 | 297.660379249843 | In Detection Range
318 |  | F12 | 209 | 24.4621537815603 | Below Detection Range
318 |  | F11 | 187 | NaN | Below Fit Curve Range
321 |  | G12 | 211 | 26.791645358667999 | Below Detection Range
321 |  | G11 | 338 | 174.49859098523399 | In Detection Range
523 |  | B03 | 633 | 517.16758371258504 | In Detection Range
523 |  | B04 | 747 | 649.54293207507396 | In Detection Range
524 |  | C03 | 377 | 219.81983925067499 | In Detection Range
524 |  | C04 | 437 | 289.52867935686101 | In Detection Range
525 |  | D04 | 294 | 123.352548891295 | In Detection Range
525 |  | D03 | 281 | 108.237302519506 | In Detection Range
526 |  | E04 | 169 | NaN | Below Fit Curve Range
526 |  | E03 | 176 | NaN | Below Fit Curve Range
527 |  | F03 | 172 | NaN | Below Fit Curve Range
527 |  | F04 | 163 | NaN | Below Fit Curve Range
528 |  | G04 | 1420 | 1431.0196820036699 | In Detection Range
528 |  | G03 | 1133 | 1097.73707174327 | In Detection Range
530 |  | H04 | 176 | NaN | Below Fit Curve Range
530 |  | H03 | 171 | NaN | Below Fit Curve Range

## IntraplateCVs
Sample | Calc. Conc. CV | n | Standard | Calc. Conc. CV_std | n_std | QC | Calc. Conc. CV_QC | n_QC
70 | 11.6037170016792 | 2 | S1 | 1.03390231564387 | 2 | QC |  | 4
74 | 3.73184205918183 | 2 | S2 | 1.27393699662416 | 2
76 | NaN | 2 | S3 | 1.66969179638218 | 2
77 | 6.69075153540782 | 2 | S4 | 1.64559397776217 | 2
81 | NaN | 2 | S5 | 1.91228591691242 | 2
82 | NaN | 2 | S6 | 11.010441252523901 | 2
83 | 1.27299193960083 | 2 | S7 | 33.094484815753397 | 2
84 | 7.8754285275816196 | 2
159 | 8.0276669579480302 | 2
160 | 24.395295411301198 | 2
162 | NaN | 2
163 | NaN | 2
164 | NaN | 2
165 | 0.20965908694938901 | 2
166 | NaN | 2
167 | 13.6768268343455 | 2
221 | 20.7874817744819 | 2
223 | 3.1423095251286002 | 2
228 | NaN | 2
229 | NaN | 2
230 | NaN | 2
232 | NaN | 2
233 | NaN | 2
234 | 34.154229366714802 | 2
309 | 32.986797128377198 | 2
312 | 33.2532437206171 | 2
314 | NaN | 2
316 | 43.913999435293498 | 2
317 | 129.75132414740401 | 2
318 | NaN | 2
321 | 103.775110783272 | 2
523 | 16.045712320652999 | 2
524 | 19.354760737298999 | 2
525 | 9.2301913436083698 | 2
526 | NaN | 2
527 | NaN | 2
528 | 18.638913641455101 | 2
530 | NaN | 2