## RawData
Detection Range | Sample Group | Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Adjusted Signal | Mean | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Limits: Calc. High | Detection Limits: Calc. Low
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V0 | KIM-1 | B04 | 1 | 10 |  | 7410 | 7410 | 7858 | 7857.5 | 8.0542 |  |  | 577.02164649429903 | 611.22905757167996 | 7.9146408502724004 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V0 | KIM-1 | B03 | 1 | 10 |  | 8305 | 8305 | 7858 | 7857.5 | 8.0542 |  |  | 645.436468649061 | 611.22905757167996 | 7.9146408502724004 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V1 | KIM-1 | C04 | 1 | 10 |  | 616 | 616 | 2514 | 2513.5 | 106.7623 |  |  | 45.2258736705638 | 195.58504989271401 | 108.719959095673 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V1 | KIM-1 | C03 | 1 | 10 |  | 4411 | 4411 | 2514 | 2513.5 | 106.7623 |  |  | 345.94422611486402 | 195.58504989271401 | 108.719959095673 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V14 | KIM-1 | G03 | 1 | 10 |  | 849 | 849 | 803 | 802.5 | 8.1945 |  |  | 64.340735543655001 | 60.538030067125803 | 8.8834037920544393 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V14 | KIM-1 | G04 | 1 | 10 |  | 756 | 756 | 803 | 802.5 | 8.1945 |  |  | 56.735324590596498 | 60.538030067125803 | 8.8834037920544393 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V2 | KIM-1 | D03 | 1 | 10 |  | 3591 | 3591 | 3151 | 3150.5 | 19.7734 |  |  | 282.08870010993797 | 247.54744802221001 | 19.7330683689501 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V2 | KIM-1 | D04 | 1 | 10 |  | 2710 | 2710 | 3151 | 3150.5 | 19.7734 |  |  | 213.00619593448101 | 247.54744802221001 | 19.7330683689501 | 20000 | 0.34506
Below Fit Curve Range | US | Plate_25H3TA0209_Set1 | 1_V28 | KIM-1 | H04 | 1 | 10 |  | 83 | 83 | 3581 | 3580.5 | 138.1431 |  |  | NaN | NaN | NaN | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V28 | KIM-1 | H03 | 1 | 10 |  | 7078 | 7078 | 3581 | 3580.5 | 138.1431 |  |  | 551.58904395857098 | NaN | NaN | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V3 | KIM-1 | E04 | 1 | 10 |  | 2903 | 2903 | 3666 | 3666 | 29.4339 |  |  | 228.18972142428001 | 287.76581334138501 | 29.278431723369302 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V3 | KIM-1 | E03 | 1 | 10 |  | 4429 | 4429 | 3666 | 3666 | 29.4339 |  |  | 347.34190525848999 | 287.76581334138501 | 29.278431723369302 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V7 | KIM-1 | F03 | 1 | 10 |  | 3746 | 3746 | 3206 | 3205.5 | 23.846 |  |  | 294.18826562709899 | 251.82488591241901 | 23.7906853103066 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1_V7 | KIM-1 | F04 | 1 | 10 |  | 2665 | 2665 | 3206 | 3205.5 | 23.846 |  |  | 209.461506197738 | 251.82488591241901 | 23.7906853103066 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V0 | KIM-1 | A05 | 1 | 10 |  | 6821 | 6821 | 6352 | 6352 | 10.4418 |  |  | 531.880001004115 | 495.82491418548602 | 10.283789965497499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V0 | KIM-1 | A06 | 1 | 10 |  | 5883 | 5883 | 6352 | 6352 | 10.4418 |  |  | 459.76982736685801 | 495.82491418548602 | 10.283789965497499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V1 | KIM-1 | B06 | 1 | 10 |  | 13578 | 13578 | 14724 | 14723.5 | 11.0027 |  |  | 1045.24434478219 | 1131.46671945515 | 10.776883627760499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V1 | KIM-1 | B05 | 1 | 10 |  | 15869 | 15869 | 14724 | 14723.5 | 11.0027 |  |  | 1217.6890941281199 | 1131.46671945515 | 10.776883627760499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V14 | KIM-1 | F05 | 1 | 10 |  | 11238 | 11238 | 9137 | 9136.5 | 32.5285 |  |  | 868.40682110732996 | 708.34979658750399 | 31.955231147025401 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V14 | KIM-1 | F06 | 1 | 10 |  | 7035 | 7035 | 9137 | 9136.5 | 32.5285 |  |  | 548.29277206767699 | 708.34979658750399 | 31.955231147025401 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V2 | KIM-1 | C05 | 1 | 10 |  | 10091 | 10091 | 9234 | 9233.5 | 13.1336 |  |  | 781.409514441287 | 716.13238626189195 | 12.890884668118799 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V2 | KIM-1 | C06 | 1 | 10 |  | 8376 | 8376 | 9234 | 9233.5 | 13.1336 |  |  | 650.85525808249599 | 716.13238626189195 | 12.890884668118799 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V28 | KIM-1 | G06 | 1 | 10 |  | 2030 | 2030 | 2521 | 2521 | 27.5438 |  |  | 159.23628592487799 | 197.99398641970399 | 27.683500230147999 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V28 | KIM-1 | G05 | 1 | 10 |  | 3012 | 3012 | 2521 | 2521 | 27.5438 |  |  | 236.75168691453101 | 197.99398641970399 | 27.683500230147999 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V3 | KIM-1 | D05 | 1 | 10 |  | 11095 | 11095 | 10245 | 10244.5 | 11.7408 |  |  | 857.57302639083605 | 792.998804849875 | 11.515999686809 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V3 | KIM-1 | D06 | 1 | 10 |  | 9394 | 9394 | 10245 | 10244.5 | 11.7408 |  |  | 728.42458330891498 | 792.998804849875 | 11.515999686809 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V7 | KIM-1 | E06 | 1 | 10 |  | 4588 | 4588 | 5405 | 5405 | 21.3767 |  |  | 359.68119950767198 | 422.772853020703 | 21.104730692418201 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2_V7 | KIM-1 | E05 | 1 | 10 |  | 6222 | 6222 | 5405 | 5405 | 21.3767 |  |  | 485.86450653373402 | 422.772853020703 | 21.104730692418201 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V0 | KIM-1 | H06 | 1 | 10 |  | 15837 | 15837 | 15397 | 15396.5 | 4.0461 |  |  | 1215.2844872906001 | 1182.16198342552 | 3.9624260331919201 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V0 | KIM-1 | H05 | 1 | 10 |  | 14956 | 14956 | 15397 | 15396.5 | 4.0461 |  |  | 1149.03947956044 | 1182.16198342552 | 3.9624260331919201 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V1 | KIM-1 | A07 | 1 | 10 |  | 1409 | 1409 | 1359 | 1358.5 | 5.2571 |  |  | 109.651428816959 | 105.59052201330999 | 5.4389251684243796 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V1 | KIM-1 | A08 | 1 | 10 |  | 1308 | 1308 | 1359 | 1358.5 | 5.2571 |  |  | 101.529615209662 | 105.59052201330999 | 5.4389251684243796 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V14 | KIM-1 | E08 | 1 | 10 |  | 1117 | 1117 | 977 | 977 | 20.2651 |  |  | 86.1153982994703 | 74.738197435375199 | 21.528204206100501 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V14 | KIM-1 | E07 | 1 | 10 |  | 837 | 837 | 977 | 977 | 20.2651 |  |  | 63.360996571280097 | 74.738197435375199 | 21.528204206100501 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V2 | KIM-1 | B08 | 1 | 10 |  | 4955 | 4955 | 5232 | 5232 | 7.4873 |  |  | 388.11737191680999 | 409.525272066024 | 7.3927898466948996 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V2 | KIM-1 | B07 | 1 | 10 |  | 5509 | 5509 | 5232 | 5232 | 7.4873 |  |  | 430.93317221523699 | 409.525272066024 | 7.3927898466948996 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V28 | KIM-1 | F07 | 1 | 10 |  | 6702 | 6702 | 8338 | 8337.5 | 27.7415 |  |  | 522.74733440992395 | 647.59665901387302 | 27.264440859977199 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V28 | KIM-1 | F08 | 1 | 10 |  | 9973 | 9973 | 8338 | 8337.5 | 27.7415 |  |  | 772.44598361782198 | 647.59665901387302 | 27.264440859977199 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V3 | KIM-1 | C07 | 1 | 10 |  | 4661 | 4661 | 4525 | 4524.5 | 4.2666 |  |  | 365.34235995107002 | 354.750214279933 | 4.22256434521353 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V3 | KIM-1 | C08 | 1 | 10 |  | 4388 | 4388 | 4525 | 4524.5 | 4.2666 |  |  | 344.15806860879701 | 354.750214279933 | 4.22256434521353 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V7 | KIM-1 | D07 | 1 | 10 |  | 450 | 450 | 467 | 467 | 5.1481 |  |  | 31.458659244762501 | 32.874973273875497 | 6.0926909106950404 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3_V7 | KIM-1 | D08 | 1 | 10 |  | 484 | 484 | 467 | 467 | 5.1481 |  |  | 34.291287302988401 | 32.874973273875497 | 6.0926909106950404 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V1 | KIM-1 | G08 | 1 | 10 |  | 3404 | 3404 | 3142 | 3141.5 | 11.817 |  |  | 267.471092869968 | 246.88718001807999 | 11.7908304188632 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V1 | KIM-1 | G07 | 1 | 10 |  | 2879 | 2879 | 3142 | 3141.5 | 11.817 |  |  | 226.303267166192 | 246.88718001807999 | 11.7908304188632 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V14 | KIM-1 | B10 | 1 | 10 |  | 7920 | 7920 | 8416 | 8416 | 8.3347 |  |  | 616.031608871294 | 653.87864475111701 | 8.1855848736638901 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V14 | KIM-1 | B09 | 1 | 10 |  | 8912 | 8912 | 8416 | 8416 | 8.3347 |  |  | 691.725680630939 | 653.87864475111701 | 8.1855848736638901 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V2 | KIM-1 | H08 | 1 | 10 |  | 1660 | 1660 | 1577 | 1576.5 | 7.4904 |  |  | 129.76001115536101 | 123.07620349923501 | 7.6800641934370102 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V2 | KIM-1 | H07 | 1 | 10 |  | 1493 | 1493 | 1577 | 1576.5 | 7.4904 |  |  | 116.392395843109 | 123.07620349923501 | 7.6800641934370102 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V28 | KIM-1 | C09 | 1 | 10 |  | 22187 | 22187 | 22613 | 22613 | 2.6642 |  |  | 1690.67600266664 | 1722.4559485307 | 2.6092760451016499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V28 | KIM-1 | C10 | 1 | 10 |  | 23039 | 23039 | 22613 | 22613 | 2.6642 |  |  | 1754.23589439476 | 1722.4559485307 | 2.6092760451016499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V7 | KIM-1 | A09 | 1 | 10 |  | 2741 | 2741 | 2447 | 2447 | 16.9914 |  |  | 215.44708418717099 | 192.222364550929 | 17.0868325174437 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4_V7 | KIM-1 | A10 | 1 | 10 |  | 2153 | 2153 | 2447 | 2447 | 16.9914 |  |  | 168.99764491468599 | 192.222364550929 | 17.0868325174437 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V0 | KIM-1 | D10 | 1 | 10 |  | 4069 | 4069 | 4326 | 4325.5 | 8.3862 |  |  | 319.35688462953101 | 339.286335676769 | 8.3069953010148101 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V0 | KIM-1 | D09 | 1 | 10 |  | 4582 | 4582 | 4326 | 4325.5 | 8.3862 |  |  | 359.21578672400699 | 339.286335676769 | 8.3069953010148101 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V1 | KIM-1 | E10 | 1 | 10 |  | 1094 | 1094 | 1220 | 1219.5 | 14.5538 |  |  | 84.253880411136095 | 94.3805011854448 | 15.173901664176601 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V1 | KIM-1 | E09 | 1 | 10 |  | 1345 | 1345 | 1220 | 1219.5 | 14.5538 |  |  | 104.50712195975299 | 94.3805011854448 | 15.173901664176601 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V14 | KIM-1 | A11 | 1 | 10 |  | 288 | 288 | 467 | 466.5 | 54.113 |  |  | 17.8375447426248 | 32.7270911137037 | 64.341185540763604 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V14 | KIM-1 | A12 | 1 | 10 |  | 645 | 645 | 467 | 466.5 | 54.113 |  |  | 47.616637484782601 | 32.7270911137037 | 64.341185540763604 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V2 | KIM-1 | F09 | 1 | 10 |  | 5653 | 5653 | 5171 | 5170.5 | 13.1971 |  |  | 442.04222197801101 | 404.73890185838201 | 13.034294700237 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V2 | KIM-1 | F10 | 1 | 10 |  | 4688 | 4688 | 5171 | 5170.5 | 13.1971 |  |  | 367.435581738753 | 404.73890185838201 | 13.034294700237 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V28 | KIM-1 | B12 | 1 | 10 |  | 7756 | 7756 | 7568 | 7567.5 | 3.5227 |  |  | 603.49464889113403 | 589.07143259066902 | 3.46265443826606 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V28 | KIM-1 | B11 | 1 | 10 |  | 7379 | 7379 | 7568 | 7567.5 | 3.5227 |  |  | 574.648216290204 | 589.07143259066902 | 3.46265443826606 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V3 | KIM-1 | G10 | 1 | 10 |  | 3505 | 3505 | 3629 | 3629 | 4.8323 |  |  | 275.368958620721 | 285.05165650949499 | 4.8038319939421301 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V3 | KIM-1 | G09 | 1 | 10 |  | 3753 | 3753 | 3629 | 3629 | 4.8323 |  |  | 294.73435439826898 | 285.05165650949499 | 4.8038319939421301 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V7 | KIM-1 | H10 | 1 | 10 |  | 2595 | 2595 | 2731 | 2730.5 | 7.018 |  |  | 203.94402612492101 | 214.61263594821401 | 7.0301977500563 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5_V7 | KIM-1 | H09 | 1 | 10 |  | 2866 | 2866 | 2731 | 2730.5 | 7.018 |  |  | 225.281245771507 | 214.61263594821401 | 7.0301977500563 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6_V0 | KIM-1 | C11 | 1 | 10 |  | 2030 | 2030 | 2135 | 2134.5 | 6.9237 |  |  | 159.23628592487799 | 167.524481670098 | 6.9967557658677899 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6_V0 | KIM-1 | C12 | 1 | 10 |  | 2239 | 2239 | 2135 | 2134.5 | 6.9237 |  |  | 175.81267741531701 | 167.524481670098 | 6.9967557658677899 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6_V1 | KIM-1 | D12 | 1 | 10 |  | 10252 | 10252 | 9714 | 9713.5 | 7.8402 |  |  | 793.63519252524395 | 752.69574406509798 | 7.6919689934377997 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6_V1 | KIM-1 | D11 | 1 | 10 |  | 9175 | 9175 | 9714 | 9713.5 | 7.8402 |  |  | 711.75629560495099 | 752.69574406509798 | 7.6919689934377997 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6_V2 | KIM-1 | E12 | 1 | 10 |  | 9097 | 9097 | 8148 | 8147.5 | 16.4811 |  |  | 705.81720789057204 | 633.30116997100004 | 16.193427263069001 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6_V2 | KIM-1 | E11 | 1 | 10 |  | 7198 | 7198 | 8148 | 8147.5 | 16.4811 |  |  | 560.78513205142895 | 633.30116997100004 | 16.193427263069001 | 20000 | 0.34506
Unknown Range | Blanks | Plate_25H3TA0209_Set1 | Blank | KIM-1 | F11 | 1 |  |  | 89 |  | 84 |  | 5.4285
Unknown Range | Blanks | Plate_25H3TA0209_Set1 | Blank | KIM-1 | G12 | 1 |  |  | 85 |  | 84 |  | 5.4285
Unknown Range | Blanks | Plate_25H3TA0209_Set1 | Blank | KIM-1 | F12 | 1 |  |  | 85 |  | 84 |  | 5.4285
Unknown Range | Blanks | Plate_25H3TA0209_Set1 | Blank | KIM-1 | G11 | 1 |  |  | 78 |  | 84 |  | 5.4285
In Detection Range | QC | Plate_25H3TA0209_Set1 | QC | KIM-1 | A03 | 1 | 10 |  | 19753 | 19753 | 20609 | 20609 | 5.874 |  |  | 1508.8339875320401 | 1572.80616363079 | 5.7521594933553004 | 20000 | 0.34506
In Detection Range | QC | Plate_25H3TA0209_Set1 | QC | KIM-1 | A04 | 1 | 10 |  | 21465 | 21465 | 20609 | 20609 | 5.874 |  |  | 1636.77833972954 | 1572.80616363079 | 5.7521594933553004 | 20000 | 0.34506
In Detection Range | QC | Plate_25H3TA0209_Set1 | QC | KIM-1 | H12 | 1 | 10 |  | 18107 | 18107 | 17883 | 17882.5 | 1.7754 |  |  | 1385.61208057976 | 1368.78597391687 | 1.73845354190082 | 20000 | 0.34506
In Detection Range | QC | Plate_25H3TA0209_Set1 | QC | KIM-1 | H11 | 1 | 10 |  | 17658 | 17658 | 17883 | 17882.5 | 1.7754 |  |  | 1351.9598672539801 | 1368.78597391687 | 1.73845354190082 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S1 | KIM-1 | A01 | 1 |  | 20000 | 1678084 | 1678084 | 1674528 | 1674527.5 | 0.30036 | 95.7884 | 95.447556737490004 | 19157.686688543599 | 19089.511347497999 | 0.50506526946140795 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S1 | KIM-1 | A02 | 1 |  | 20000 | 1670971 | 1670971 | 1674528 | 1674527.5 | 0.30036 | 95.1067 | 95.447556737490004 | 19021.3360064523 | 19089.511347497999 | 0.50506526946140795 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S2 | KIM-1 | B02 | 1 |  | 5000 | 663765 | 663765 | 677288 | 677287.5 | 2.8236 | 109.0214 | 111.630165123507 | 5451.0718121877298 | 5581.5082561753798 | 3.3049308475172601 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S2 | KIM-1 | B01 | 1 |  | 5000 | 690810 | 690810 | 677288 | 677287.5 | 2.8236 | 114.2389 | 111.630165123507 | 5711.9447001630397 | 5581.5082561753798 | 3.3049308475172601 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S3 | KIM-1 | C02 | 1 |  | 1250 | 166758 | 166758 | 168844 | 168843.5 | 1.7468 | 99.5805 | 100.843339364851 | 1244.7556914736001 | 1260.54174206064 | 1.77105177017073 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S3 | KIM-1 | C01 | 1 |  | 1250 | 170929 | 170929 | 168844 | 168843.5 | 1.7468 | 102.1062 | 100.843339364851 | 1276.3277926476901 | 1260.54174206064 | 1.77105177017073 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S4 | KIM-1 | D01 | 1 |  | 312.5 | 40817 | 40817 | 39410 | 39409.5 | 5.0508 | 98.3534 | 95.020766957830901 | 307.35442861800198 | 296.93989674322103 | 4.9600516416349203 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S4 | KIM-1 | D02 | 1 |  | 312.5 | 38002 | 38002 | 39410 | 39409.5 | 5.0508 | 91.6881 | 95.020766957830901 | 286.52536486844099 | 296.93989674322103 | 4.9600516416349203 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S5 | KIM-1 | E02 | 1 |  | 78.125 | 9175 | 9175 | 9603 | 9603 | 6.3031 | 91.1048 | 95.270938414558302 | 71.175629560495096 | 74.430420636373697 | 6.1842585905646397 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S5 | KIM-1 | E01 | 1 |  | 78.125 | 10031 | 10031 | 9603 | 9603 | 6.3031 | 99.4371 | 95.270938414558302 | 77.685211712252197 | 74.430420636373697 | 6.1842585905646397 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S6 | KIM-1 | F01 | 1 |  | 19.5312 | 2497 | 2497 | 2461 | 2460.5 | 2.0979 | 100.4606 | 98.984700437452403 | 19.621213823894202 | 19.332949304189899 | 2.1086673683482098 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S6 | KIM-1 | F02 | 1 |  | 19.5312 | 2424 | 2424 | 2461 | 2460.5 | 2.0979 | 97.5088 | 98.984700437452403 | 19.0446847844856 | 19.332949304189899 | 2.1086673683482098 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S7 | KIM-1 | G01 | 1 |  | 4.8828 | 731 | 731 | 710 | 709.5 | 4.2855 | 111.9964 | 108.38080486247399 | 5.4685729055554004 | 5.2920314874255103 | 4.7177963402731597 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S7 | KIM-1 | G02 | 1 |  | 4.8828 | 688 | 688 | 710 | 709.5 | 4.2855 | 104.7652 | 108.38080486247399 | 5.1154900692956202 | 5.2920314874255103 | 4.7177963402731597 | 20000 | 0.34506
Below Detection Range | Standards | Plate_25H3TA0209_Set1 | S8 | KIM-1 | H02 | 1 |  | 0 | 87 | 87 | 84 | 83.5 | 5.9278 |  | NaN | 2.8649632472677E-2 | NaN | NaN | 20000 | 0.34506
Below Fit Curve Range | Standards | Plate_25H3TA0209_Set1 | S8 | KIM-1 | H01 | 1 |  | 0 | 80 | 80 | 84 | 83.5 | 5.9278 |  | NaN | NaN | NaN | NaN | 20000 | 0.34506

## LongData
Detection Range | Sample Group | Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Adjusted Signal | Mean | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Limits: Calc. High | Detection Limits: Calc. Low
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V0 | KIM-1 | B04 | 1 | 10 |  | 7410 | 7410 | 7858 | 7857.5 | 8.0542 |  |  | 577.02164649429903 | 611.22905757167996 | 7.9146408502724004 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V0 | KIM-1 | B03 | 1 | 10 |  | 8305 | 8305 | 7858 | 7857.5 | 8.0542 |  |  | 645.436468649061 | 611.22905757167996 | 7.9146408502724004 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V1 | KIM-1 | C04 | 1 | 10 |  | 616 | 616 | 2514 | 2513.5 | 106.7623 |  |  | 45.2258736705638 | 195.58504989271401 | 108.719959095673 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V1 | KIM-1 | C03 | 1 | 10 |  | 4411 | 4411 | 2514 | 2513.5 | 106.7623 |  |  | 345.94422611486402 | 195.58504989271401 | 108.719959095673 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V14 | KIM-1 | G03 | 1 | 10 |  | 849 | 849 | 803 | 802.5 | 8.1945 |  |  | 64.340735543655001 | 60.538030067125803 | 8.8834037920544393 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V14 | KIM-1 | G04 | 1 | 10 |  | 756 | 756 | 803 | 802.5 | 8.1945 |  |  | 56.735324590596498 | 60.538030067125803 | 8.8834037920544393 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V2 | KIM-1 | D03 | 1 | 10 |  | 3591 | 3591 | 3151 | 3150.5 | 19.7734 |  |  | 282.08870010993797 | 247.54744802221001 | 19.7330683689501 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V2 | KIM-1 | D04 | 1 | 10 |  | 2710 | 2710 | 3151 | 3150.5 | 19.7734 |  |  | 213.00619593448101 | 247.54744802221001 | 19.7330683689501 | 20000 | 0.34506
Below Fit Curve Range | US | Plate_25H3TA0209_Set1 | 1 | V28 | KIM-1 | H04 | 1 | 10 |  | 83 | 83 | 3581 | 3580.5 | 138.1431 |  |  | NaN | NaN | NaN | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V28 | KIM-1 | H03 | 1 | 10 |  | 7078 | 7078 | 3581 | 3580.5 | 138.1431 |  |  | 551.58904395857098 | NaN | NaN | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V3 | KIM-1 | E04 | 1 | 10 |  | 2903 | 2903 | 3666 | 3666 | 29.4339 |  |  | 228.18972142428001 | 287.76581334138501 | 29.278431723369302 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V3 | KIM-1 | E03 | 1 | 10 |  | 4429 | 4429 | 3666 | 3666 | 29.4339 |  |  | 347.34190525848999 | 287.76581334138501 | 29.278431723369302 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V7 | KIM-1 | F03 | 1 | 10 |  | 3746 | 3746 | 3206 | 3205.5 | 23.846 |  |  | 294.18826562709899 | 251.82488591241901 | 23.7906853103066 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 1 | V7 | KIM-1 | F04 | 1 | 10 |  | 2665 | 2665 | 3206 | 3205.5 | 23.846 |  |  | 209.461506197738 | 251.82488591241901 | 23.7906853103066 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V0 | KIM-1 | A05 | 1 | 10 |  | 6821 | 6821 | 6352 | 6352 | 10.4418 |  |  | 531.880001004115 | 495.82491418548602 | 10.283789965497499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V0 | KIM-1 | A06 | 1 | 10 |  | 5883 | 5883 | 6352 | 6352 | 10.4418 |  |  | 459.76982736685801 | 495.82491418548602 | 10.283789965497499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V1 | KIM-1 | B06 | 1 | 10 |  | 13578 | 13578 | 14724 | 14723.5 | 11.0027 |  |  | 1045.24434478219 | 1131.46671945515 | 10.776883627760499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V1 | KIM-1 | B05 | 1 | 10 |  | 15869 | 15869 | 14724 | 14723.5 | 11.0027 |  |  | 1217.6890941281199 | 1131.46671945515 | 10.776883627760499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V14 | KIM-1 | F05 | 1 | 10 |  | 11238 | 11238 | 9137 | 9136.5 | 32.5285 |  |  | 868.40682110732996 | 708.34979658750399 | 31.955231147025401 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V14 | KIM-1 | F06 | 1 | 10 |  | 7035 | 7035 | 9137 | 9136.5 | 32.5285 |  |  | 548.29277206767699 | 708.34979658750399 | 31.955231147025401 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V2 | KIM-1 | C05 | 1 | 10 |  | 10091 | 10091 | 9234 | 9233.5 | 13.1336 |  |  | 781.409514441287 | 716.13238626189195 | 12.890884668118799 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V2 | KIM-1 | C06 | 1 | 10 |  | 8376 | 8376 | 9234 | 9233.5 | 13.1336 |  |  | 650.85525808249599 | 716.13238626189195 | 12.890884668118799 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V28 | KIM-1 | G06 | 1 | 10 |  | 2030 | 2030 | 2521 | 2521 | 27.5438 |  |  | 159.23628592487799 | 197.99398641970399 | 27.683500230147999 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V28 | KIM-1 | G05 | 1 | 10 |  | 3012 | 3012 | 2521 | 2521 | 27.5438 |  |  | 236.75168691453101 | 197.99398641970399 | 27.683500230147999 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V3 | KIM-1 | D05 | 1 | 10 |  | 11095 | 11095 | 10245 | 10244.5 | 11.7408 |  |  | 857.57302639083605 | 792.998804849875 | 11.515999686809 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V3 | KIM-1 | D06 | 1 | 10 |  | 9394 | 9394 | 10245 | 10244.5 | 11.7408 |  |  | 728.42458330891498 | 792.998804849875 | 11.515999686809 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V7 | KIM-1 | E06 | 1 | 10 |  | 4588 | 4588 | 5405 | 5405 | 21.3767 |  |  | 359.68119950767198 | 422.772853020703 | 21.104730692418201 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 2 | V7 | KIM-1 | E05 | 1 | 10 |  | 6222 | 6222 | 5405 | 5405 | 21.3767 |  |  | 485.86450653373402 | 422.772853020703 | 21.104730692418201 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V0 | KIM-1 | H06 | 1 | 10 |  | 15837 | 15837 | 15397 | 15396.5 | 4.0461 |  |  | 1215.2844872906001 | 1182.16198342552 | 3.9624260331919201 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V0 | KIM-1 | H05 | 1 | 10 |  | 14956 | 14956 | 15397 | 15396.5 | 4.0461 |  |  | 1149.03947956044 | 1182.16198342552 | 3.9624260331919201 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V1 | KIM-1 | A07 | 1 | 10 |  | 1409 | 1409 | 1359 | 1358.5 | 5.2571 |  |  | 109.651428816959 | 105.59052201330999 | 5.4389251684243796 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V1 | KIM-1 | A08 | 1 | 10 |  | 1308 | 1308 | 1359 | 1358.5 | 5.2571 |  |  | 101.529615209662 | 105.59052201330999 | 5.4389251684243796 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V14 | KIM-1 | E08 | 1 | 10 |  | 1117 | 1117 | 977 | 977 | 20.2651 |  |  | 86.1153982994703 | 74.738197435375199 | 21.528204206100501 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V14 | KIM-1 | E07 | 1 | 10 |  | 837 | 837 | 977 | 977 | 20.2651 |  |  | 63.360996571280097 | 74.738197435375199 | 21.528204206100501 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V2 | KIM-1 | B08 | 1 | 10 |  | 4955 | 4955 | 5232 | 5232 | 7.4873 |  |  | 388.11737191680999 | 409.525272066024 | 7.3927898466948996 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V2 | KIM-1 | B07 | 1 | 10 |  | 5509 | 5509 | 5232 | 5232 | 7.4873 |  |  | 430.93317221523699 | 409.525272066024 | 7.3927898466948996 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V28 | KIM-1 | F07 | 1 | 10 |  | 6702 | 6702 | 8338 | 8337.5 | 27.7415 |  |  | 522.74733440992395 | 647.59665901387302 | 27.264440859977199 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V28 | KIM-1 | F08 | 1 | 10 |  | 9973 | 9973 | 8338 | 8337.5 | 27.7415 |  |  | 772.44598361782198 | 647.59665901387302 | 27.264440859977199 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V3 | KIM-1 | C07 | 1 | 10 |  | 4661 | 4661 | 4525 | 4524.5 | 4.2666 |  |  | 365.34235995107002 | 354.750214279933 | 4.22256434521353 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V3 | KIM-1 | C08 | 1 | 10 |  | 4388 | 4388 | 4525 | 4524.5 | 4.2666 |  |  | 344.15806860879701 | 354.750214279933 | 4.22256434521353 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V7 | KIM-1 | D07 | 1 | 10 |  | 450 | 450 | 467 | 467 | 5.1481 |  |  | 31.458659244762501 | 32.874973273875497 | 6.0926909106950404 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 3 | V7 | KIM-1 | D08 | 1 | 10 |  | 484 | 484 | 467 | 467 | 5.1481 |  |  | 34.291287302988401 | 32.874973273875497 | 6.0926909106950404 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V1 | KIM-1 | G08 | 1 | 10 |  | 3404 | 3404 | 3142 | 3141.5 | 11.817 |  |  | 267.471092869968 | 246.88718001807999 | 11.7908304188632 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V1 | KIM-1 | G07 | 1 | 10 |  | 2879 | 2879 | 3142 | 3141.5 | 11.817 |  |  | 226.303267166192 | 246.88718001807999 | 11.7908304188632 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V14 | KIM-1 | B10 | 1 | 10 |  | 7920 | 7920 | 8416 | 8416 | 8.3347 |  |  | 616.031608871294 | 653.87864475111701 | 8.1855848736638901 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V14 | KIM-1 | B09 | 1 | 10 |  | 8912 | 8912 | 8416 | 8416 | 8.3347 |  |  | 691.725680630939 | 653.87864475111701 | 8.1855848736638901 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V2 | KIM-1 | H08 | 1 | 10 |  | 1660 | 1660 | 1577 | 1576.5 | 7.4904 |  |  | 129.76001115536101 | 123.07620349923501 | 7.6800641934370102 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V2 | KIM-1 | H07 | 1 | 10 |  | 1493 | 1493 | 1577 | 1576.5 | 7.4904 |  |  | 116.392395843109 | 123.07620349923501 | 7.6800641934370102 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V28 | KIM-1 | C09 | 1 | 10 |  | 22187 | 22187 | 22613 | 22613 | 2.6642 |  |  | 1690.67600266664 | 1722.4559485307 | 2.6092760451016499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V28 | KIM-1 | C10 | 1 | 10 |  | 23039 | 23039 | 22613 | 22613 | 2.6642 |  |  | 1754.23589439476 | 1722.4559485307 | 2.6092760451016499 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V7 | KIM-1 | A09 | 1 | 10 |  | 2741 | 2741 | 2447 | 2447 | 16.9914 |  |  | 215.44708418717099 | 192.222364550929 | 17.0868325174437 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 4 | V7 | KIM-1 | A10 | 1 | 10 |  | 2153 | 2153 | 2447 | 2447 | 16.9914 |  |  | 168.99764491468599 | 192.222364550929 | 17.0868325174437 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V0 | KIM-1 | D10 | 1 | 10 |  | 4069 | 4069 | 4326 | 4325.5 | 8.3862 |  |  | 319.35688462953101 | 339.286335676769 | 8.3069953010148101 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V0 | KIM-1 | D09 | 1 | 10 |  | 4582 | 4582 | 4326 | 4325.5 | 8.3862 |  |  | 359.21578672400699 | 339.286335676769 | 8.3069953010148101 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V1 | KIM-1 | E10 | 1 | 10 |  | 1094 | 1094 | 1220 | 1219.5 | 14.5538 |  |  | 84.253880411136095 | 94.3805011854448 | 15.173901664176601 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V1 | KIM-1 | E09 | 1 | 10 |  | 1345 | 1345 | 1220 | 1219.5 | 14.5538 |  |  | 104.50712195975299 | 94.3805011854448 | 15.173901664176601 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V14 | KIM-1 | A11 | 1 | 10 |  | 288 | 288 | 467 | 466.5 | 54.113 |  |  | 17.8375447426248 | 32.7270911137037 | 64.341185540763604 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V14 | KIM-1 | A12 | 1 | 10 |  | 645 | 645 | 467 | 466.5 | 54.113 |  |  | 47.616637484782601 | 32.7270911137037 | 64.341185540763604 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V2 | KIM-1 | F09 | 1 | 10 |  | 5653 | 5653 | 5171 | 5170.5 | 13.1971 |  |  | 442.04222197801101 | 404.73890185838201 | 13.034294700237 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V2 | KIM-1 | F10 | 1 | 10 |  | 4688 | 4688 | 5171 | 5170.5 | 13.1971 |  |  | 367.435581738753 | 404.73890185838201 | 13.034294700237 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V28 | KIM-1 | B12 | 1 | 10 |  | 7756 | 7756 | 7568 | 7567.5 | 3.5227 |  |  | 603.49464889113403 | 589.07143259066902 | 3.46265443826606 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V28 | KIM-1 | B11 | 1 | 10 |  | 7379 | 7379 | 7568 | 7567.5 | 3.5227 |  |  | 574.648216290204 | 589.07143259066902 | 3.46265443826606 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V3 | KIM-1 | G10 | 1 | 10 |  | 3505 | 3505 | 3629 | 3629 | 4.8323 |  |  | 275.368958620721 | 285.05165650949499 | 4.8038319939421301 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V3 | KIM-1 | G09 | 1 | 10 |  | 3753 | 3753 | 3629 | 3629 | 4.8323 |  |  | 294.73435439826898 | 285.05165650949499 | 4.8038319939421301 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V7 | KIM-1 | H10 | 1 | 10 |  | 2595 | 2595 | 2731 | 2730.5 | 7.018 |  |  | 203.94402612492101 | 214.61263594821401 | 7.0301977500563 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 5 | V7 | KIM-1 | H09 | 1 | 10 |  | 2866 | 2866 | 2731 | 2730.5 | 7.018 |  |  | 225.281245771507 | 214.61263594821401 | 7.0301977500563 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6 | V0 | KIM-1 | C11 | 1 | 10 |  | 2030 | 2030 | 2135 | 2134.5 | 6.9237 |  |  | 159.23628592487799 | 167.524481670098 | 6.9967557658677899 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6 | V0 | KIM-1 | C12 | 1 | 10 |  | 2239 | 2239 | 2135 | 2134.5 | 6.9237 |  |  | 175.81267741531701 | 167.524481670098 | 6.9967557658677899 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6 | V1 | KIM-1 | D12 | 1 | 10 |  | 10252 | 10252 | 9714 | 9713.5 | 7.8402 |  |  | 793.63519252524395 | 752.69574406509798 | 7.6919689934377997 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6 | V1 | KIM-1 | D11 | 1 | 10 |  | 9175 | 9175 | 9714 | 9713.5 | 7.8402 |  |  | 711.75629560495099 | 752.69574406509798 | 7.6919689934377997 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6 | V2 | KIM-1 | E12 | 1 | 10 |  | 9097 | 9097 | 8148 | 8147.5 | 16.4811 |  |  | 705.81720789057204 | 633.30116997100004 | 16.193427263069001 | 20000 | 0.34506
In Detection Range | US | Plate_25H3TA0209_Set1 | 6 | V2 | KIM-1 | E11 | 1 | 10 |  | 7198 | 7198 | 8148 | 8147.5 | 16.4811 |  |  | 560.78513205142895 | 633.30116997100004 | 16.193427263069001 | 20000 | 0.34506
Unknown Range | Blanks | Plate_25H3TA0209_Set1 | Blank |  | KIM-1 | F11 | 1 |  |  | 89 |  | 84 |  | 5.4285
Unknown Range | Blanks | Plate_25H3TA0209_Set1 | Blank |  | KIM-1 | G12 | 1 |  |  | 85 |  | 84 |  | 5.4285
Unknown Range | Blanks | Plate_25H3TA0209_Set1 | Blank |  | KIM-1 | F12 | 1 |  |  | 85 |  | 84 |  | 5.4285
Unknown Range | Blanks | Plate_25H3TA0209_Set1 | Blank |  | KIM-1 | G11 | 1 |  |  | 78 |  | 84 |  | 5.4285
In Detection Range | QC | Plate_25H3TA0209_Set1 | QC |  | KIM-1 | A03 | 1 | 10 |  | 19753 | 19753 | 20609 | 20609 | 5.874 |  |  | 1508.8339875320401 | 1572.80616363079 | 5.7521594933553004 | 20000 | 0.34506
In Detection Range | QC | Plate_25H3TA0209_Set1 | QC |  | KIM-1 | A04 | 1 | 10 |  | 21465 | 21465 | 20609 | 20609 | 5.874 |  |  | 1636.77833972954 | 1572.80616363079 | 5.7521594933553004 | 20000 | 0.34506
In Detection Range | QC | Plate_25H3TA0209_Set1 | QC |  | KIM-1 | H12 | 1 | 10 |  | 18107 | 18107 | 17883 | 17882.5 | 1.7754 |  |  | 1385.61208057976 | 1368.78597391687 | 1.73845354190082 | 20000 | 0.34506
In Detection Range | QC | Plate_25H3TA0209_Set1 | QC |  | KIM-1 | H11 | 1 | 10 |  | 17658 | 17658 | 17883 | 17882.5 | 1.7754 |  |  | 1351.9598672539801 | 1368.78597391687 | 1.73845354190082 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S1 |  | KIM-1 | A01 | 1 |  | 20000 | 1678084 | 1678084 | 1674528 | 1674527.5 | 0.30036 | 95.7884 | 95.447556737490004 | 19157.686688543599 | 19089.511347497999 | 0.50506526946140795 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S1 |  | KIM-1 | A02 | 1 |  | 20000 | 1670971 | 1670971 | 1674528 | 1674527.5 | 0.30036 | 95.1067 | 95.447556737490004 | 19021.3360064523 | 19089.511347497999 | 0.50506526946140795 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S2 |  | KIM-1 | B02 | 1 |  | 5000 | 663765 | 663765 | 677288 | 677287.5 | 2.8236 | 109.0214 | 111.630165123507 | 5451.0718121877298 | 5581.5082561753798 | 3.3049308475172601 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S2 |  | KIM-1 | B01 | 1 |  | 5000 | 690810 | 690810 | 677288 | 677287.5 | 2.8236 | 114.2389 | 111.630165123507 | 5711.9447001630397 | 5581.5082561753798 | 3.3049308475172601 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S3 |  | KIM-1 | C02 | 1 |  | 1250 | 166758 | 166758 | 168844 | 168843.5 | 1.7468 | 99.5805 | 100.843339364851 | 1244.7556914736001 | 1260.54174206064 | 1.77105177017073 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S3 |  | KIM-1 | C01 | 1 |  | 1250 | 170929 | 170929 | 168844 | 168843.5 | 1.7468 | 102.1062 | 100.843339364851 | 1276.3277926476901 | 1260.54174206064 | 1.77105177017073 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S4 |  | KIM-1 | D01 | 1 |  | 312.5 | 40817 | 40817 | 39410 | 39409.5 | 5.0508 | 98.3534 | 95.020766957830901 | 307.35442861800198 | 296.93989674322103 | 4.9600516416349203 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S4 |  | KIM-1 | D02 | 1 |  | 312.5 | 38002 | 38002 | 39410 | 39409.5 | 5.0508 | 91.6881 | 95.020766957830901 | 286.52536486844099 | 296.93989674322103 | 4.9600516416349203 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S5 |  | KIM-1 | E02 | 1 |  | 78.125 | 9175 | 9175 | 9603 | 9603 | 6.3031 | 91.1048 | 95.270938414558302 | 71.175629560495096 | 74.430420636373697 | 6.1842585905646397 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S5 |  | KIM-1 | E01 | 1 |  | 78.125 | 10031 | 10031 | 9603 | 9603 | 6.3031 | 99.4371 | 95.270938414558302 | 77.685211712252197 | 74.430420636373697 | 6.1842585905646397 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S6 |  | KIM-1 | F01 | 1 |  | 19.5312 | 2497 | 2497 | 2461 | 2460.5 | 2.0979 | 100.4606 | 98.984700437452403 | 19.621213823894202 | 19.332949304189899 | 2.1086673683482098 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S6 |  | KIM-1 | F02 | 1 |  | 19.5312 | 2424 | 2424 | 2461 | 2460.5 | 2.0979 | 97.5088 | 98.984700437452403 | 19.0446847844856 | 19.332949304189899 | 2.1086673683482098 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S7 |  | KIM-1 | G01 | 1 |  | 4.8828 | 731 | 731 | 710 | 709.5 | 4.2855 | 111.9964 | 108.38080486247399 | 5.4685729055554004 | 5.2920314874255103 | 4.7177963402731597 | 20000 | 0.34506
In Detection Range | Standards | Plate_25H3TA0209_Set1 | S7 |  | KIM-1 | G02 | 1 |  | 4.8828 | 688 | 688 | 710 | 709.5 | 4.2855 | 104.7652 | 108.38080486247399 | 5.1154900692956202 | 5.2920314874255103 | 4.7177963402731597 | 20000 | 0.34506
Below Detection Range | Standards | Plate_25H3TA0209_Set1 | S8 |  | KIM-1 | H02 | 1 |  | 0 | 87 | 87 | 84 | 83.5 | 5.9278 |  | NaN | 2.8649632472677E-2 | NaN | NaN | 20000 | 0.34506
Below Fit Curve Range | Standards | Plate_25H3TA0209_Set1 | S8 |  | KIM-1 | H01 | 1 |  | 0 | 80 | 80 | 84 | 83.5 | 5.9278 |  | NaN | NaN | NaN | NaN | 20000 | 0.34506

## WideData
Sample | US_KIM-1_V0 | US_KIM-1_V1 | US_KIM-1_V14 | US_KIM-1_V2 | US_KIM-1_V28 | US_KIM-1_V3 | US_KIM-1_V7 | Sample_std | Sample Group_std | KIM-1_std | Sample_qc | KIM-1_qc
1 | 611.22905757167996 | 195.58504989271401 | 60.538030067125803 | 247.54744802221001 | NaN | 287.76581334138501 | 251.82488591241901 | S1 | Standards | 19089.511347497999 | QC | 1470.7961
2 | 495.82491418548602 | 1131.46671945515 | 708.34979658750399 | 716.13238626189195 | 197.99398641970399 | 792.998804849875 | 422.772853020703 | S2 | Standards | 5581.5082561753798
3 | 1182.16198342552 | 105.59052201330999 | 74.738197435375199 | 409.525272066024 | 647.59665901387302 | 354.750214279933 | 32.874973273875497 | S3 | Standards | 1260.54174206064
4 |  | 246.88718001807999 | 653.87864475111701 | 123.07620349923501 | 1722.4559485307 |  | 192.222364550929 | S4 | Standards | 296.93989674322103
5 | 339.286335676769 | 94.3805011854448 | 32.7270911137037 | 404.73890185838201 | 589.07143259066902 | 285.05165650949499 | 214.61263594821401 | S5 | Standards | 74.430420636373697
6 | 167.524481670098 | 752.69574406509798 |  | 633.30116997100004 |  |  |  | S6 | Standards | 19.332949304189899
[8 empty] | S7 | Standards | 5.2920314874255103
[8 empty] | S8 | Standards | NaN

## WideSampleData
Sample | US_KIM-1_V0 | US_KIM-1_V1 | US_KIM-1_V14 | US_KIM-1_V2 | US_KIM-1_V28 | US_KIM-1_V3 | US_KIM-1_V7
1 | 611.22905757167996 | 195.58504989271401 | 60.538030067125803 | 247.54744802221001 | NaN | 287.76581334138501 | 251.82488591241901
2 | 495.82491418548602 | 1131.46671945515 | 708.34979658750399 | 716.13238626189195 | 197.99398641970399 | 792.998804849875 | 422.772853020703
3 | 1182.16198342552 | 105.59052201330999 | 74.738197435375199 | 409.525272066024 | 647.59665901387302 | 354.750214279933 | 32.874973273875497
4 |  | 246.88718001807999 | 653.87864475111701 | 123.07620349923501 | 1722.4559485307 |  | 192.222364550929
5 | 339.286335676769 | 94.3805011854448 | 32.7270911137037 | 404.73890185838201 | 589.07143259066902 | 285.05165650949499 | 214.61263594821401
6 | 167.524481670098 | 752.69574406509798 |  | 633.30116997100004

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Visit_std | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Visit_qc | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | Below Fit Curve Range | In Detection Range
1 | V0 | B04 | 7410 | KIM-1 | 577.02164649429903 | In Detection Range | S1 |  | A01 | 1678084 | KIM-1 | 19157.686688543599 | In Detection Range | QC |  | A03 | 19753 | KIM-1 | 1508.8339875320401 | In Detection Range | 1 | 71
1 | V0 | B03 | 8305 | KIM-1 | 645.436468649061 | In Detection Range | S1 |  | A02 | 1670971 | KIM-1 | 19021.3360064523 | In Detection Range | QC |  | A04 | 21465 | KIM-1 | 1636.77833972954 | In Detection Range
1 | V1 | C04 | 616 | KIM-1 | 45.2258736705638 | In Detection Range | S2 |  | B02 | 663765 | KIM-1 | 5451.0718121877298 | In Detection Range | QC |  | H12 | 18107 | KIM-1 | 1385.61208057976 | In Detection Range
1 | V1 | C03 | 4411 | KIM-1 | 345.94422611486402 | In Detection Range | S2 |  | B01 | 690810 | KIM-1 | 5711.9447001630397 | In Detection Range | QC |  | H11 | 17658 | KIM-1 | 1351.9598672539801 | In Detection Range
1 | V14 | G03 | 849 | KIM-1 | 64.340735543655001 | In Detection Range | S3 |  | C02 | 166758 | KIM-1 | 1244.7556914736001 | In Detection Range
1 | V14 | G04 | 756 | KIM-1 | 56.735324590596498 | In Detection Range | S3 |  | C01 | 170929 | KIM-1 | 1276.3277926476901 | In Detection Range
1 | V2 | D03 | 3591 | KIM-1 | 282.08870010993797 | In Detection Range | S4 |  | D01 | 40817 | KIM-1 | 307.35442861800198 | In Detection Range
1 | V2 | D04 | 2710 | KIM-1 | 213.00619593448101 | In Detection Range | S4 |  | D02 | 38002 | KIM-1 | 286.52536486844099 | In Detection Range
1 | V28 | H04 | 83 | KIM-1 | NaN | Below Fit Curve Range | S5 |  | E02 | 9175 | KIM-1 | 71.175629560495096 | In Detection Range
1 | V28 | H03 | 7078 | KIM-1 | 551.58904395857098 | In Detection Range | S5 |  | E01 | 10031 | KIM-1 | 77.685211712252197 | In Detection Range
1 | V3 | E04 | 2903 | KIM-1 | 228.18972142428001 | In Detection Range | S6 |  | F01 | 2497 | KIM-1 | 19.621213823894202 | In Detection Range
1 | V3 | E03 | 4429 | KIM-1 | 347.34190525848999 | In Detection Range | S6 |  | F02 | 2424 | KIM-1 | 19.0446847844856 | In Detection Range
1 | V7 | F03 | 3746 | KIM-1 | 294.18826562709899 | In Detection Range | S7 |  | G01 | 731 | KIM-1 | 5.4685729055554004 | In Detection Range
1 | V7 | F04 | 2665 | KIM-1 | 209.461506197738 | In Detection Range | S7 |  | G02 | 688 | KIM-1 | 5.1154900692956202 | In Detection Range
2 | V0 | A05 | 6821 | KIM-1 | 531.880001004115 | In Detection Range | S8 |  | H02 | 87 | KIM-1 | 2.8649632472677E-2 | Below Detection Range
2 | V0 | A06 | 5883 | KIM-1 | 459.76982736685801 | In Detection Range | S8 |  | H01 | 80 | KIM-1 | NaN | Below Fit Curve Range
2 | V1 | B06 | 13578 | KIM-1 | 1045.24434478219 | In Detection Range
2 | V1 | B05 | 15869 | KIM-1 | 1217.6890941281199 | In Detection Range
2 | V14 | F05 | 11238 | KIM-1 | 868.40682110732996 | In Detection Range
2 | V14 | F06 | 7035 | KIM-1 | 548.29277206767699 | In Detection Range
2 | V2 | C05 | 10091 | KIM-1 | 781.409514441287 | In Detection Range
2 | V2 | C06 | 8376 | KIM-1 | 650.85525808249599 | In Detection Range
2 | V28 | G06 | 2030 | KIM-1 | 159.23628592487799 | In Detection Range
2 | V28 | G05 | 3012 | KIM-1 | 236.75168691453101 | In Detection Range
2 | V3 | D05 | 11095 | KIM-1 | 857.57302639083605 | In Detection Range
2 | V3 | D06 | 9394 | KIM-1 | 728.42458330891498 | In Detection Range
2 | V7 | E06 | 4588 | KIM-1 | 359.68119950767198 | In Detection Range
2 | V7 | E05 | 6222 | KIM-1 | 485.86450653373402 | In Detection Range
3 | V0 | H06 | 15837 | KIM-1 | 1215.2844872906001 | In Detection Range
3 | V0 | H05 | 14956 | KIM-1 | 1149.03947956044 | In Detection Range
3 | V1 | A07 | 1409 | KIM-1 | 109.651428816959 | In Detection Range
3 | V1 | A08 | 1308 | KIM-1 | 101.529615209662 | In Detection Range
3 | V14 | E08 | 1117 | KIM-1 | 86.1153982994703 | In Detection Range
3 | V14 | E07 | 837 | KIM-1 | 63.360996571280097 | In Detection Range
3 | V2 | B08 | 4955 | KIM-1 | 388.11737191680999 | In Detection Range
3 | V2 | B07 | 5509 | KIM-1 | 430.93317221523699 | In Detection Range
3 | V28 | F07 | 6702 | KIM-1 | 522.74733440992395 | In Detection Range
3 | V28 | F08 | 9973 | KIM-1 | 772.44598361782198 | In Detection Range
3 | V3 | C07 | 4661 | KIM-1 | 365.34235995107002 | In Detection Range
3 | V3 | C08 | 4388 | KIM-1 | 344.15806860879701 | In Detection Range
3 | V7 | D07 | 450 | KIM-1 | 31.458659244762501 | In Detection Range
3 | V7 | D08 | 484 | KIM-1 | 34.291287302988401 | In Detection Range
4 | V1 | G08 | 3404 | KIM-1 | 267.471092869968 | In Detection Range
4 | V1 | G07 | 2879 | KIM-1 | 226.303267166192 | In Detection Range
4 | V14 | B10 | 7920 | KIM-1 | 616.031608871294 | In Detection Range
4 | V14 | B09 | 8912 | KIM-1 | 691.725680630939 | In Detection Range
4 | V2 | H08 | 1660 | KIM-1 | 129.76001115536101 | In Detection Range
4 | V2 | H07 | 1493 | KIM-1 | 116.392395843109 | In Detection Range
4 | V28 | C09 | 22187 | KIM-1 | 1690.67600266664 | In Detection Range
4 | V28 | C10 | 23039 | KIM-1 | 1754.23589439476 | In Detection Range
4 | V7 | A09 | 2741 | KIM-1 | 215.44708418717099 | In Detection Range
4 | V7 | A10 | 2153 | KIM-1 | 168.99764491468599 | In Detection Range
5 | V0 | D10 | 4069 | KIM-1 | 319.35688462953101 | In Detection Range
5 | V0 | D09 | 4582 | KIM-1 | 359.21578672400699 | In Detection Range
5 | V1 | E10 | 1094 | KIM-1 | 84.253880411136095 | In Detection Range
5 | V1 | E09 | 1345 | KIM-1 | 104.50712195975299 | In Detection Range
5 | V14 | A11 | 288 | KIM-1 | 17.8375447426248 | In Detection Range
5 | V14 | A12 | 645 | KIM-1 | 47.616637484782601 | In Detection Range
5 | V2 | F09 | 5653 | KIM-1 | 442.04222197801101 | In Detection Range
5 | V2 | F10 | 4688 | KIM-1 | 367.435581738753 | In Detection Range
5 | V28 | B12 | 7756 | KIM-1 | 603.49464889113403 | In Detection Range
5 | V28 | B11 | 7379 | KIM-1 | 574.648216290204 | In Detection Range
5 | V3 | G10 | 3505 | KIM-1 | 275.368958620721 | In Detection Range
5 | V3 | G09 | 3753 | KIM-1 | 294.73435439826898 | In Detection Range
5 | V7 | H10 | 2595 | KIM-1 | 203.94402612492101 | In Detection Range
5 | V7 | H09 | 2866 | KIM-1 | 225.281245771507 | In Detection Range
6 | V0 | C11 | 2030 | KIM-1 | 159.23628592487799 | In Detection Range
6 | V0 | C12 | 2239 | KIM-1 | 175.81267741531701 | In Detection Range
6 | V1 | D12 | 10252 | KIM-1 | 793.63519252524395 | In Detection Range
6 | V1 | D11 | 9175 | KIM-1 | 711.75629560495099 | In Detection Range
6 | V2 | E12 | 9097 | KIM-1 | 705.81720789057204 | In Detection Range
6 | V2 | E11 | 7198 | KIM-1 | 560.78513205142895 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
1 | V0 | KIM-1 | 7.9146408502724004 | 2 | S1 | KIM-1 | 0.50506526946140795 | 2 | QC | KIM-1 | 3.7453 | 4
1 | V1 | KIM-1 | 108.719959095673 | 2 | S2 | KIM-1 | 3.3049308475172601 | 2
1 | V14 | KIM-1 | 8.8834037920544393 | 2 | S3 | KIM-1 | 1.77105177017073 | 2
1 | V2 | KIM-1 | 19.7330683689501 | 2 | S4 | KIM-1 | 4.9600516416349203 | 2
1 | V28 | KIM-1 | NaN | 2 | S5 | KIM-1 | 6.1842585905646397 | 2
1 | V3 | KIM-1 | 29.278431723369302 | 2 | S6 | KIM-1 | 2.1086673683482098 | 2
1 | V7 | KIM-1 | 23.7906853103066 | 2 | S7 | KIM-1 | 4.7177963402731597 | 2
2 | V0 | KIM-1 | 10.283789965497499 | 2 | S8 | KIM-1 | NaN | 2
2 | V1 | KIM-1 | 10.776883627760499 | 2
2 | V14 | KIM-1 | 31.955231147025401 | 2
2 | V2 | KIM-1 | 12.890884668118799 | 2
2 | V28 | KIM-1 | 27.683500230147999 | 2
2 | V3 | KIM-1 | 11.515999686809 | 2
2 | V7 | KIM-1 | 21.104730692418201 | 2
3 | V0 | KIM-1 | 3.9624260331919201 | 2
3 | V1 | KIM-1 | 5.4389251684243796 | 2
3 | V14 | KIM-1 | 21.528204206100501 | 2
3 | V2 | KIM-1 | 7.3927898466948996 | 2
3 | V28 | KIM-1 | 27.264440859977199 | 2
3 | V3 | KIM-1 | 4.22256434521353 | 2
3 | V7 | KIM-1 | 6.0926909106950404 | 2
4 | V1 | KIM-1 | 11.7908304188632 | 2
4 | V14 | KIM-1 | 8.1855848736638901 | 2
4 | V2 | KIM-1 | 7.6800641934370102 | 2
4 | V28 | KIM-1 | 2.6092760451016499 | 2
4 | V7 | KIM-1 | 17.0868325174437 | 2
5 | V0 | KIM-1 | 8.3069953010148101 | 2
5 | V1 | KIM-1 | 15.173901664176601 | 2
5 | V14 | KIM-1 | 64.341185540763604 | 2
5 | V2 | KIM-1 | 13.034294700237 | 2
5 | V28 | KIM-1 | 3.46265443826606 | 2
5 | V3 | KIM-1 | 4.8038319939421301 | 2
5 | V7 | KIM-1 | 7.0301977500563 | 2
6 | V0 | KIM-1 | 6.9967557658677899 | 2
6 | V1 | KIM-1 | 7.6919689934377997 | 2
6 | V2 | KIM-1 | 16.193427263069001 | 2

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].