## RawData
Detection Range | Sample Group | Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Adjusted Signal | Mean | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Limits: Calc. High | Detection Limits: Calc. Low
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V0 | KIM-1 | D10 | 1 | 10 |  | 944 | 944 | 1226 | 1226 | 32.5292 |  |  | 85.316925019906606 | 112.58543744527501 | 34.252653782546801 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V0 | KIM-1 | D09 | 1 | 10 |  | 1508 | 1508 | 1226 | 1226 | 32.5292 |  |  | 139.85394987064399 | 112.58543744527501 | 34.252653782546801 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V1 | KIM-1 | E10 | 1 | 10 |  | 1158 | 1158 | 1619 | 1619 | 40.2688 |  |  | 106.063334309761 | 150.431711777597 | 41.710860306016599 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V1 | KIM-1 | E09 | 1 | 10 |  | 2080 | 2080 | 1619 | 1619 | 40.2688 |  |  | 194.80008924543401 | 150.431711777597 | 41.710860306016599 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V14 | KIM-1 | H10 | 1 | 10 |  | 223 | 223 | 272 | 272 | 25.4766 |  |  | 14.5306951067224 | 19.412105249440501 | 35.5621213600026 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V14 | KIM-1 | H09 | 1 | 10 |  | 321 | 321 | 272 | 272 | 25.4766 |  |  | 24.293515392158501 | 19.412105249440501 | 35.5621213600026 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V2 | KIM-1 | F09 | 1 | 10 |  | 462 | 462 | 393 | 392.5 | 25.0415 |  |  | 38.225514589830901 | 31.358728912091401 | 30.967777624507299 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V2 | KIM-1 | F10 | 1 | 10 |  | 323 | 323 | 393 | 392.5 | 25.0415 |  |  | 24.491943234351801 | 31.358728912091401 | 30.967777624507299 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V28 | KIM-1 | A11 | 1 | 10 |  | 199 | 199 | 244 | 243.5 | 25.845 |  |  | 12.124716964676701 | 16.5699907609681 | 37.939468898109503 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V28 | KIM-1 | A12 | 1 | 10 |  | 288 | 288 | 244 | 243.5 | 25.845 |  |  | 21.015264557259599 | 16.5699907609681 | 37.939468898109503 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V7 | KIM-1 | G10 | 1 | 10 |  | 781 | 781 | 815 | 814.5 | 5.8166 |  |  | 69.458519058335995 | 72.721093723290593 | 6.34475790063094 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10_V7 | KIM-1 | G09 | 1 | 10 |  | 848 | 848 | 815 | 814.5 | 5.8166 |  |  | 75.983668388245306 | 72.721093723290593 | 6.34475790063094 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V0 | KIM-1 | B12 | 1 | 10 |  | 42054 | 42054 | 32654 | 32654 | 40.7105 |  |  | 3925.35383906982 | 3051.6864270569399 | 40.4875249343227 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V0 | KIM-1 | B11 | 1 | 10 |  | 23254 | 23254 | 32654 | 32654 | 40.7105 |  |  | 2178.0190150440599 | 3051.6864270569399 | 40.4875249343227 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V1 | KIM-1 | C11 | 1 | 10 |  | 11068 | 11068 | 14260 | 14259.5 | 31.6523 |  |  | 1042.4138067647 | 1340.2293424857201 | 31.425574440933101 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V1 | KIM-1 | C12 | 1 | 10 |  | 17451 | 17451 | 14260 | 14259.5 | 31.6523 |  |  | 1638.0448782067399 | 1340.2293424857201 | 31.425574440933101 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V14 | KIM-1 | G12 | 1 | 10 |  | 3778 | 3778 | 3015 | 3015 | 35.7892 |  |  | 356.639592508649 | 283.95455666446799 | 36.200216217652603 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V14 | KIM-1 | G11 | 1 | 10 |  | 2252 | 2252 | 3015 | 3015 | 35.7892 |  |  | 211.26952082028799 | 283.95455666446799 | 36.200216217652603 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V2 | KIM-1 | D12 | 1 | 10 |  | 11103 | 11103 | 10676 | 10676 | 5.6563 |  |  | 1045.6877740116599 | 1005.72838698369 | 5.6189233405804604 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V2 | KIM-1 | D11 | 1 | 10 |  | 10249 | 10249 | 10676 | 10676 | 5.6563 |  |  | 965.76899995572296 | 1005.72838698369 | 5.6189233405804604 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V3 | KIM-1 | E12 | 1 | 10 |  | 5199 | 5199 | 4231 | 4230.5 | 32.376 |  |  | 491.167885561741 | 399.38988209634101 | 32.497993325976203 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V3 | KIM-1 | E11 | 1 | 10 |  | 3262 | 3262 | 4231 | 4230.5 | 32.376 |  |  | 307.61187863094102 | 399.38988209634101 | 32.497993325976203 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V7 | KIM-1 | F11 | 1 | 10 |  | 3092 | 3092 | 4668 | 4667.5 | 47.7363 |  |  | 291.43379114352899 | 440.54374904871997 | 47.8666023998179 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11_V7 | KIM-1 | F12 | 1 | 10 |  | 6243 | 6243 | 4668 | 4667.5 | 47.7363 |  |  | 589.65370695391096 | 440.54374904871997 | 47.8666023998179 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6_V14 | KIM-1 | D03 | 1 | 10 |  | 1437 | 1437 | 1576 | 1575.5 | 12.4322 |  |  | 133.01138961167899 | 146.34411591295401 | 12.8842367464145 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6_V14 | KIM-1 | D04 | 1 | 10 |  | 1714 | 1714 | 1576 | 1575.5 | 12.4322 |  |  | 159.67684221422999 | 146.34411591295401 | 12.8842367464145 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6_V28 | KIM-1 | E04 | 1 | 10 |  | 449 | 449 | 502 | 502 | 14.9309 |  |  | 36.945213824461497 | 42.154943620770098 | 17.4775955117364 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6_V28 | KIM-1 | E03 | 1 | 10 |  | 555 | 555 | 502 | 502 | 14.9309 |  |  | 47.364673417078599 | 42.154943620770098 | 17.4775955117364 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6_V3 | KIM-1 | B04 | 1 | 10 |  | 3596 | 3596 | 3159 | 3158.5 | 19.589 |  |  | 339.359442714691 | 297.71851521384701 | 19.780148500065501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6_V3 | KIM-1 | B03 | 1 | 10 |  | 2721 | 2721 | 3159 | 3158.5 | 19.589 |  |  | 256.077587713002 | 297.71851521384701 | 19.780148500065501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6_V7 | KIM-1 | C04 | 1 | 10 |  | 2317 | 2317 | 1960 | 1959.5 | 25.8015 |  |  | 217.48798150041199 | 183.19633855655201 | 26.471984598257102 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6_V7 | KIM-1 | C03 | 1 | 10 |  | 1602 | 1602 | 1960 | 1959.5 | 25.8015 |  |  | 148.90469561269299 | 183.19633855655201 | 26.471984598257102 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V0 | KIM-1 | F03 | 1 | 10 |  | 1019 | 1019 | 1103 | 1102.5 | 10.7108 |  |  | 92.596528181699895 | 100.684516214871 | 11.3603787343147 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V0 | KIM-1 | F04 | 1 | 10 |  | 1186 | 1186 | 1103 | 1102.5 | 10.7108 |  |  | 108.772504248042 | 100.684516214871 | 11.3603787343147 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V1 | KIM-1 | G03 | 1 | 10 |  | 746 | 746 | 791 | 791 | 8.0455 |  |  | 66.045806813521693 | 70.430754500508698 | 8.8047508978323599 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V1 | KIM-1 | G04 | 1 | 10 |  | 836 | 836 | 791 | 791 | 8.0455 |  |  | 74.815702187495802 | 70.430754500508698 | 8.8047508978323599 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V10 | KIM-1 | C05 | 1 | 10 |  | 2313 | 2313 | 1679 | 1679 | 53.4015 |  |  | 217.10539001304701 | 156.11162076657499 | 55.254192650777803 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V10 | KIM-1 | C06 | 1 | 10 |  | 1045 | 1045 | 1679 | 1679 | 53.4015 |  |  | 95.117851520103997 | 156.11162076657499 | 55.254192650777803 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V14 | KIM-1 | D05 | 1 | 10 |  | 1218 | 1218 | 1150 | 1150 | 8.3623 |  |  | 111.867327257171 | 105.285649845097 | 8.84061358125639 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V14 | KIM-1 | D06 | 1 | 10 |  | 1082 | 1082 | 1150 | 1150 | 8.3623 |  |  | 98.703972433023694 | 105.285649845097 | 8.84061358125639 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V2 | KIM-1 | H04 | 1 | 10 |  | 824 | 824 | 765 | 764.5 | 11.0066 |  |  | 73.647429289724997 | 67.8458438421561 | 12.093122229132501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V2 | KIM-1 | H03 | 1 | 10 |  | 705 | 705 | 765 | 764.5 | 11.0066 |  |  | 62.044258394587203 | 67.8458438421561 | 12.093122229132501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V28 | KIM-1 | E06 | 1 | 10 |  | 169 | 169 | 200 | 200 | 21.9203 |  |  | 9.1053662016322896 | 12.2182378575774 | 36.030280021388698 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V28 | KIM-1 | E05 | 1 | 10 |  | 231 | 231 | 200 | 200 | 21.9203 |  |  | 15.3311095135226 | 12.2182378575774 | 36.030280021388698 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V3 | KIM-1 | A05 | 1 | 10 |  | 4402 | 4402 | 4733 | 4733 | 9.8902 |  |  | 415.79340252128901 | 447.10329434494201 | 9.90349975352302 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V3 | KIM-1 | A06 | 1 | 10 |  | 5064 | 5064 | 4733 | 4733 | 9.8902 |  |  | 478.41318616859502 | 447.10329434494201 | 9.90349975352302 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V7 | KIM-1 | B06 | 1 | 10 |  | 5780 | 5780 | 4665 | 4664.5 | 33.8205 |  |  | 546.00773168117905 | 440.45128118541197 | 33.892366820982602 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7_V7 | KIM-1 | B05 | 1 | 10 |  | 3549 | 3549 | 4665 | 4664.5 | 33.8205 |  |  | 334.894830689645 | 440.45128118541197 | 33.892366820982602 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V0 | KIM-1 | F05 | 1 | 10 |  | 575 | 575 | 579 | 579 | 0.977 |  |  | 49.325956963407897 | 49.718027046727201 | 1.1152309577966799 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V0 | KIM-1 | F06 | 1 | 10 |  | 583 | 583 | 579 | 579 | 0.977 |  |  | 50.110097130046398 | 49.718027046727201 | 1.1152309577966799 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V1 | KIM-1 | G06 | 1 | 10 |  | 794 | 794 | 738 | 737.5 | 10.8343 |  |  | 70.725371001394507 | 65.212626489971697 | 11.9550437907155 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V1 | KIM-1 | G05 | 1 | 10 |  | 681 | 681 | 738 | 737.5 | 10.8343 |  |  | 59.699881978549001 | 65.212626489971697 | 11.9550437907155 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V14 | KIM-1 | C07 | 1 | 10 |  | 4318 | 4318 | 5545 | 5544.5 | 31.2838 |  |  | 407.83815072164799 | 523.60548834659505 | 31.267766017122501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V14 | KIM-1 | C08 | 1 | 10 |  | 6771 | 6771 | 5545 | 5544.5 | 31.2838 |  |  | 639.37282597154297 | 523.60548834659505 | 31.267766017122501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V2 | KIM-1 | H06 | 1 | 10 |  | 257 | 257 | 300 | 299.5 | 20.0681 |  |  | 17.927694143009401 | 22.151681276046698 | 26.966891661132198 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V2 | KIM-1 | H05 | 1 | 10 |  | 342 | 342 | 300 | 299.5 | 20.0681 |  |  | 26.375668409084099 | 22.151681276046698 | 26.966891661132198 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V28 | KIM-1 | D07 | 1 | 10 |  | 293 | 293 | 269 | 269 | 12.6175 |  |  | 21.5125008096107 | 19.121317021651802 | 17.685207243983399 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V28 | KIM-1 | D08 | 1 | 10 |  | 245 | 245 | 269 | 269 | 12.6175 |  |  | 16.730133233692801 | 19.121317021651802 | 17.685207243983399 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V3 | KIM-1 | A07 | 1 | 10 |  | 319 | 319 | 352 | 351.5 | 13.0759 |  |  | 24.095059829510902 | 27.313411917041702 | 16.663744480190498 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V3 | KIM-1 | A08 | 1 | 10 |  | 384 | 384 | 352 | 351.5 | 13.0759 |  |  | 30.531764004572501 | 27.313411917041702 | 16.663744480190498 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V7 | KIM-1 | B08 | 1 | 10 |  | 4339 | 4339 | 3228 | 3228 | 48.6738 |  |  | 409.82717821025199 | 304.08596988841401 | 49.177096518243602 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8_V7 | KIM-1 | B07 | 1 | 10 |  | 2117 | 2117 | 3228 | 3228 | 48.6738 |  |  | 198.34476156657499 | 304.08596988841401 | 49.177096518243602 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V0 | KIM-1 | E08 | 1 | 10 |  | 159 | 159 | 155 | 154.5 | 4.1191 |  |  | 8.0953177998569998 | 7.6398696535712398 | 8.4307844850981404 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V0 | KIM-1 | E07 | 1 | 10 |  | 150 | 150 | 155 | 154.5 | 4.1191 |  |  | 7.1844215072854798 | 7.6398696535712398 | 8.4307844850981404 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V1 | KIM-1 | F07 | 1 | 10 |  | 207 | 207 | 250 | 250 | 24.3245 |  |  | 12.927547794877 | 17.2200243022438 | 35.252438593219999 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V1 | KIM-1 | F08 | 1 | 10 |  | 293 | 293 | 250 | 250 | 24.3245 |  |  | 21.5125008096107 | 17.2200243022438 | 35.252438593219999 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V14 | KIM-1 | B10 | 1 | 10 |  | 731 | 731 | 827 | 827 | 16.4165 |  |  | 64.582313796242403 | 73.929560561500793 | 17.8805379686785 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V14 | KIM-1 | B09 | 1 | 10 |  | 923 | 923 | 827 | 827 | 16.4165 |  |  | 83.276807326759098 | 73.929560561500793 | 17.8805379686785 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V2 | KIM-1 | G08 | 1 | 10 |  | 221 | 221 | 215 | 215 | 3.9466 |  |  | 14.3304748541028 | 13.7292972798948 | 6.1925491269285198 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V2 | KIM-1 | G07 | 1 | 10 |  | 209 | 209 | 215 | 215 | 3.9466 |  |  | 13.1281197056867 | 13.7292972798948 | 6.1925491269285198 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V28 | KIM-1 | C09 | 1 | 10 |  | 1135 | 1135 | 977 | 976.5 | 22.9547 |  |  | 103.837084408528 | 88.450130316993295 | 24.6019300162409 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V28 | KIM-1 | C10 | 1 | 10 |  | 818 | 818 | 977 | 976.5 | 22.9547 |  |  | 73.063176225458506 | 88.450130316993295 | 24.6019300162409 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V3 | KIM-1 | H08 | 1 | 10 |  | 371 | 371 | 306 | 306 | 30.0405 |  |  | 29.246451675823199 | 22.788538084939798 | 40.0765900419754 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V3 | KIM-1 | H07 | 1 | 10 |  | 241 | 241 | 306 | 306 | 30.0405 |  |  | 16.330624494056401 | 22.788538084939798 | 40.0765900419754 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V7 | KIM-1 | A09 | 1 | 10 |  | 226 | 226 | 216 | 215.5 | 6.8906 |  |  | 14.8309369715569 | 13.7789297132475 | 10.7973765987481 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9_V7 | KIM-1 | A10 | 1 | 10 |  | 205 | 205 | 216 | 215.5 | 6.8906 |  |  | 12.726922454938 | 13.7789297132475 | 10.7973765987481 | 20000 | 0.39056
In Detection Range | QC | Plate_25H3TAB208_Set2 | QC | KIM-1 | A03 | 1 | 10 |  | 10533 | 10533 | 10359 | 10358.5 | 2.3824 |  |  | 992.35426978823398 | 976.018715751586 | 2.3669589214501898 | 20000 | 0.39056
In Detection Range | QC | Plate_25H3TAB208_Set2 | QC | KIM-1 | A04 | 1 | 10 |  | 10184 | 10184 | 10359 | 10358.5 | 2.3824 |  |  | 959.68316171493905 | 976.018715751586 | 2.3669589214501898 | 20000 | 0.39056
In Detection Range | QC | Plate_25H3TAB208_Set2 | QC | KIM-1 | H12 | 1 | 10 |  | 17711 | 17711 | 15728 | 15728 | 17.8305 |  |  | 1662.2605465122699 | 1477.39651023895 | 17.695806473136699 | 20000 | 0.39056
In Detection Range | QC | Plate_25H3TAB208_Set2 | QC | KIM-1 | H11 | 1 | 10 |  | 13745 | 13745 | 15728 | 15728 | 17.8305 |  |  | 1292.5324739656301 | 1477.39651023895 | 17.695806473136699 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S1 | KIM-1 | A01 | 1 |  | 20000 | 1351039 | 1351039 | 1394874 | 1394874 | 4.4443 | 92.4677 | 97.313922377559507 | 18493.533668562501 | 19462.7844755119 | 7.0428136233719103 | 20000 | 0.39056
Above Fit Curve Range | Standards | Plate_25H3TAB208_Set2 | S1 | KIM-1 | A02 | 1 |  | 20000 | 1438709 | 1438709 | 1394874 | 1394874 | 4.4443 | 102.1602 | 97.313922377559507 | 20432.035282461198 | 19462.7844755119 | 7.0428136233719103 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S2 | KIM-1 | B02 | 1 |  | 5000 | 517557 | 517557 | 521813 | 521813 | 1.1535 | 106.489 | 107.493865720741 | 5324.4518774118496 | 5374.6932860370698 | 1.32197462607029 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S2 | KIM-1 | B01 | 1 |  | 5000 | 526069 | 526069 | 521813 | 521813 | 1.1535 | 108.4987 | 107.493865720741 | 5424.93469466228 | 5374.6932860370698 | 1.32197462607029 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S3 | KIM-1 | C02 | 1 |  | 1250 | 133926 | 133926 | 132228 | 132228 | 1.8161 | 100.6958 | 99.3934584104653 | 1258.6979200146 | 1242.4182301308099 | 1.8530763366585301 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S3 | KIM-1 | C01 | 1 |  | 1250 | 130530 | 130530 | 132228 | 132228 | 1.8161 | 98.0911 | 99.3934584104653 | 1226.13854024702 | 1242.4182301308099 | 1.8530763366585301 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S4 | KIM-1 | D01 | 1 |  | 312.5 | 31935 | 31935 | 31966 | 31965.5 | 0.13494 | 95.5138 | 95.604454834016707 | 298.48051695247102 | 298.76392135630198 | 0.13415085386307399 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S4 | KIM-1 | D02 | 1 |  | 312.5 | 31996 | 31996 | 31966 | 31965.5 | 0.13494 | 95.6951 | 95.604454834016707 | 299.04732576013299 | 298.76392135630198 | 0.13415085386307399 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S5 | KIM-1 | E02 | 1 |  | 78.125 | 7986 | 7986 | 8219 | 8219 | 4.0091 | 96.4599 | 99.259607055836696 | 75.359264292179603 | 77.546568012372404 | 3.98897677281122 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S5 | KIM-1 | E01 | 1 |  | 78.125 | 8452 | 8452 | 8219 | 8219 | 4.0091 | 102.0594 | 99.259607055836696 | 79.733871732565206 | 77.546568012372404 | 3.98897677281122 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S6 | KIM-1 | F01 | 1 |  | 19.5312 | 2064 | 2064 | 2083 | 2082.5 | 1.2563 | 98.9527 | 99.860222358687196 | 19.3266936939544 | 19.503949679431098 | 1.2852669474287199 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S6 | KIM-1 | F02 | 1 |  | 19.5312 | 2101 | 2101 | 2083 | 2082.5 | 1.2563 | 100.7678 | 99.860222358687196 | 19.681205664907701 | 19.503949679431098 | 1.2852669474287199 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S7 | KIM-1 | G01 | 1 |  | 4.8828 | 570 | 570 | 587 | 586.5 | 3.9786 | 100.0156 | 103.327034401747 | 4.8835762190389396 | 5.0452653516478101 | 4.5322286993116698 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S7 | KIM-1 | G02 | 1 |  | 4.8828 | 603 | 603 | 587 | 586.5 | 3.9786 | 106.6384 | 103.327034401747 | 5.2069544842566797 | 5.0452653516478101 | 4.5322286993116698 | 20000 | 0.39056
Below Detection Range | Standards | Plate_25H3TAB208_Set2 | S8 | KIM-1 | H02 | 1 |  | 0 | 83 | 83 | 80 | 80 | 5.3033 |  | NaN | 2.9513663623418802E-2 | NaN | NaN | 20000 | 0.39056
Below Fit Curve Range | Standards | Plate_25H3TAB208_Set2 | S8 | KIM-1 | H01 | 1 |  | 0 | 77 | 77 | 80 | 80 | 5.3033 |  | NaN | NaN | NaN | NaN | 20000 | 0.39056

## LongData
Detection Range | Sample Group | Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Adjusted Signal | Mean | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Limits: Calc. High | Detection Limits: Calc. Low
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V0 | KIM-1 | D10 | 1 | 10 |  | 944 | 944 | 1226 | 1226 | 32.5292 |  |  | 85.316925019906606 | 112.58543744527501 | 34.252653782546801 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V0 | KIM-1 | D09 | 1 | 10 |  | 1508 | 1508 | 1226 | 1226 | 32.5292 |  |  | 139.85394987064399 | 112.58543744527501 | 34.252653782546801 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V1 | KIM-1 | E10 | 1 | 10 |  | 1158 | 1158 | 1619 | 1619 | 40.2688 |  |  | 106.063334309761 | 150.431711777597 | 41.710860306016599 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V1 | KIM-1 | E09 | 1 | 10 |  | 2080 | 2080 | 1619 | 1619 | 40.2688 |  |  | 194.80008924543401 | 150.431711777597 | 41.710860306016599 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V14 | KIM-1 | H10 | 1 | 10 |  | 223 | 223 | 272 | 272 | 25.4766 |  |  | 14.5306951067224 | 19.412105249440501 | 35.5621213600026 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V14 | KIM-1 | H09 | 1 | 10 |  | 321 | 321 | 272 | 272 | 25.4766 |  |  | 24.293515392158501 | 19.412105249440501 | 35.5621213600026 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V2 | KIM-1 | F09 | 1 | 10 |  | 462 | 462 | 393 | 392.5 | 25.0415 |  |  | 38.225514589830901 | 31.358728912091401 | 30.967777624507299 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V2 | KIM-1 | F10 | 1 | 10 |  | 323 | 323 | 393 | 392.5 | 25.0415 |  |  | 24.491943234351801 | 31.358728912091401 | 30.967777624507299 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V28 | KIM-1 | A11 | 1 | 10 |  | 199 | 199 | 244 | 243.5 | 25.845 |  |  | 12.124716964676701 | 16.5699907609681 | 37.939468898109503 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V28 | KIM-1 | A12 | 1 | 10 |  | 288 | 288 | 244 | 243.5 | 25.845 |  |  | 21.015264557259599 | 16.5699907609681 | 37.939468898109503 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V7 | KIM-1 | G10 | 1 | 10 |  | 781 | 781 | 815 | 814.5 | 5.8166 |  |  | 69.458519058335995 | 72.721093723290593 | 6.34475790063094 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 10 | V7 | KIM-1 | G09 | 1 | 10 |  | 848 | 848 | 815 | 814.5 | 5.8166 |  |  | 75.983668388245306 | 72.721093723290593 | 6.34475790063094 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V0 | KIM-1 | B12 | 1 | 10 |  | 42054 | 42054 | 32654 | 32654 | 40.7105 |  |  | 3925.35383906982 | 3051.6864270569399 | 40.4875249343227 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V0 | KIM-1 | B11 | 1 | 10 |  | 23254 | 23254 | 32654 | 32654 | 40.7105 |  |  | 2178.0190150440599 | 3051.6864270569399 | 40.4875249343227 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V1 | KIM-1 | C11 | 1 | 10 |  | 11068 | 11068 | 14260 | 14259.5 | 31.6523 |  |  | 1042.4138067647 | 1340.2293424857201 | 31.425574440933101 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V1 | KIM-1 | C12 | 1 | 10 |  | 17451 | 17451 | 14260 | 14259.5 | 31.6523 |  |  | 1638.0448782067399 | 1340.2293424857201 | 31.425574440933101 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V14 | KIM-1 | G12 | 1 | 10 |  | 3778 | 3778 | 3015 | 3015 | 35.7892 |  |  | 356.639592508649 | 283.95455666446799 | 36.200216217652603 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V14 | KIM-1 | G11 | 1 | 10 |  | 2252 | 2252 | 3015 | 3015 | 35.7892 |  |  | 211.26952082028799 | 283.95455666446799 | 36.200216217652603 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V2 | KIM-1 | D12 | 1 | 10 |  | 11103 | 11103 | 10676 | 10676 | 5.6563 |  |  | 1045.6877740116599 | 1005.72838698369 | 5.6189233405804604 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V2 | KIM-1 | D11 | 1 | 10 |  | 10249 | 10249 | 10676 | 10676 | 5.6563 |  |  | 965.76899995572296 | 1005.72838698369 | 5.6189233405804604 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V3 | KIM-1 | E12 | 1 | 10 |  | 5199 | 5199 | 4231 | 4230.5 | 32.376 |  |  | 491.167885561741 | 399.38988209634101 | 32.497993325976203 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V3 | KIM-1 | E11 | 1 | 10 |  | 3262 | 3262 | 4231 | 4230.5 | 32.376 |  |  | 307.61187863094102 | 399.38988209634101 | 32.497993325976203 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V7 | KIM-1 | F11 | 1 | 10 |  | 3092 | 3092 | 4668 | 4667.5 | 47.7363 |  |  | 291.43379114352899 | 440.54374904871997 | 47.8666023998179 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 11 | V7 | KIM-1 | F12 | 1 | 10 |  | 6243 | 6243 | 4668 | 4667.5 | 47.7363 |  |  | 589.65370695391096 | 440.54374904871997 | 47.8666023998179 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6 | V14 | KIM-1 | D03 | 1 | 10 |  | 1437 | 1437 | 1576 | 1575.5 | 12.4322 |  |  | 133.01138961167899 | 146.34411591295401 | 12.8842367464145 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6 | V14 | KIM-1 | D04 | 1 | 10 |  | 1714 | 1714 | 1576 | 1575.5 | 12.4322 |  |  | 159.67684221422999 | 146.34411591295401 | 12.8842367464145 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6 | V28 | KIM-1 | E04 | 1 | 10 |  | 449 | 449 | 502 | 502 | 14.9309 |  |  | 36.945213824461497 | 42.154943620770098 | 17.4775955117364 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6 | V28 | KIM-1 | E03 | 1 | 10 |  | 555 | 555 | 502 | 502 | 14.9309 |  |  | 47.364673417078599 | 42.154943620770098 | 17.4775955117364 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6 | V3 | KIM-1 | B04 | 1 | 10 |  | 3596 | 3596 | 3159 | 3158.5 | 19.589 |  |  | 339.359442714691 | 297.71851521384701 | 19.780148500065501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6 | V3 | KIM-1 | B03 | 1 | 10 |  | 2721 | 2721 | 3159 | 3158.5 | 19.589 |  |  | 256.077587713002 | 297.71851521384701 | 19.780148500065501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6 | V7 | KIM-1 | C04 | 1 | 10 |  | 2317 | 2317 | 1960 | 1959.5 | 25.8015 |  |  | 217.48798150041199 | 183.19633855655201 | 26.471984598257102 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 6 | V7 | KIM-1 | C03 | 1 | 10 |  | 1602 | 1602 | 1960 | 1959.5 | 25.8015 |  |  | 148.90469561269299 | 183.19633855655201 | 26.471984598257102 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V0 | KIM-1 | F03 | 1 | 10 |  | 1019 | 1019 | 1103 | 1102.5 | 10.7108 |  |  | 92.596528181699895 | 100.684516214871 | 11.3603787343147 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V0 | KIM-1 | F04 | 1 | 10 |  | 1186 | 1186 | 1103 | 1102.5 | 10.7108 |  |  | 108.772504248042 | 100.684516214871 | 11.3603787343147 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V1 | KIM-1 | G03 | 1 | 10 |  | 746 | 746 | 791 | 791 | 8.0455 |  |  | 66.045806813521693 | 70.430754500508698 | 8.8047508978323599 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V1 | KIM-1 | G04 | 1 | 10 |  | 836 | 836 | 791 | 791 | 8.0455 |  |  | 74.815702187495802 | 70.430754500508698 | 8.8047508978323599 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V10 | KIM-1 | C05 | 1 | 10 |  | 2313 | 2313 | 1679 | 1679 | 53.4015 |  |  | 217.10539001304701 | 156.11162076657499 | 55.254192650777803 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V10 | KIM-1 | C06 | 1 | 10 |  | 1045 | 1045 | 1679 | 1679 | 53.4015 |  |  | 95.117851520103997 | 156.11162076657499 | 55.254192650777803 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V14 | KIM-1 | D05 | 1 | 10 |  | 1218 | 1218 | 1150 | 1150 | 8.3623 |  |  | 111.867327257171 | 105.285649845097 | 8.84061358125639 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V14 | KIM-1 | D06 | 1 | 10 |  | 1082 | 1082 | 1150 | 1150 | 8.3623 |  |  | 98.703972433023694 | 105.285649845097 | 8.84061358125639 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V2 | KIM-1 | H04 | 1 | 10 |  | 824 | 824 | 765 | 764.5 | 11.0066 |  |  | 73.647429289724997 | 67.8458438421561 | 12.093122229132501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V2 | KIM-1 | H03 | 1 | 10 |  | 705 | 705 | 765 | 764.5 | 11.0066 |  |  | 62.044258394587203 | 67.8458438421561 | 12.093122229132501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V28 | KIM-1 | E06 | 1 | 10 |  | 169 | 169 | 200 | 200 | 21.9203 |  |  | 9.1053662016322896 | 12.2182378575774 | 36.030280021388698 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V28 | KIM-1 | E05 | 1 | 10 |  | 231 | 231 | 200 | 200 | 21.9203 |  |  | 15.3311095135226 | 12.2182378575774 | 36.030280021388698 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V3 | KIM-1 | A05 | 1 | 10 |  | 4402 | 4402 | 4733 | 4733 | 9.8902 |  |  | 415.79340252128901 | 447.10329434494201 | 9.90349975352302 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V3 | KIM-1 | A06 | 1 | 10 |  | 5064 | 5064 | 4733 | 4733 | 9.8902 |  |  | 478.41318616859502 | 447.10329434494201 | 9.90349975352302 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V7 | KIM-1 | B06 | 1 | 10 |  | 5780 | 5780 | 4665 | 4664.5 | 33.8205 |  |  | 546.00773168117905 | 440.45128118541197 | 33.892366820982602 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 7 | V7 | KIM-1 | B05 | 1 | 10 |  | 3549 | 3549 | 4665 | 4664.5 | 33.8205 |  |  | 334.894830689645 | 440.45128118541197 | 33.892366820982602 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V0 | KIM-1 | F05 | 1 | 10 |  | 575 | 575 | 579 | 579 | 0.977 |  |  | 49.325956963407897 | 49.718027046727201 | 1.1152309577966799 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V0 | KIM-1 | F06 | 1 | 10 |  | 583 | 583 | 579 | 579 | 0.977 |  |  | 50.110097130046398 | 49.718027046727201 | 1.1152309577966799 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V1 | KIM-1 | G06 | 1 | 10 |  | 794 | 794 | 738 | 737.5 | 10.8343 |  |  | 70.725371001394507 | 65.212626489971697 | 11.9550437907155 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V1 | KIM-1 | G05 | 1 | 10 |  | 681 | 681 | 738 | 737.5 | 10.8343 |  |  | 59.699881978549001 | 65.212626489971697 | 11.9550437907155 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V14 | KIM-1 | C07 | 1 | 10 |  | 4318 | 4318 | 5545 | 5544.5 | 31.2838 |  |  | 407.83815072164799 | 523.60548834659505 | 31.267766017122501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V14 | KIM-1 | C08 | 1 | 10 |  | 6771 | 6771 | 5545 | 5544.5 | 31.2838 |  |  | 639.37282597154297 | 523.60548834659505 | 31.267766017122501 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V2 | KIM-1 | H06 | 1 | 10 |  | 257 | 257 | 300 | 299.5 | 20.0681 |  |  | 17.927694143009401 | 22.151681276046698 | 26.966891661132198 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V2 | KIM-1 | H05 | 1 | 10 |  | 342 | 342 | 300 | 299.5 | 20.0681 |  |  | 26.375668409084099 | 22.151681276046698 | 26.966891661132198 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V28 | KIM-1 | D07 | 1 | 10 |  | 293 | 293 | 269 | 269 | 12.6175 |  |  | 21.5125008096107 | 19.121317021651802 | 17.685207243983399 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V28 | KIM-1 | D08 | 1 | 10 |  | 245 | 245 | 269 | 269 | 12.6175 |  |  | 16.730133233692801 | 19.121317021651802 | 17.685207243983399 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V3 | KIM-1 | A07 | 1 | 10 |  | 319 | 319 | 352 | 351.5 | 13.0759 |  |  | 24.095059829510902 | 27.313411917041702 | 16.663744480190498 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V3 | KIM-1 | A08 | 1 | 10 |  | 384 | 384 | 352 | 351.5 | 13.0759 |  |  | 30.531764004572501 | 27.313411917041702 | 16.663744480190498 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V7 | KIM-1 | B08 | 1 | 10 |  | 4339 | 4339 | 3228 | 3228 | 48.6738 |  |  | 409.82717821025199 | 304.08596988841401 | 49.177096518243602 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 8 | V7 | KIM-1 | B07 | 1 | 10 |  | 2117 | 2117 | 3228 | 3228 | 48.6738 |  |  | 198.34476156657499 | 304.08596988841401 | 49.177096518243602 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V0 | KIM-1 | E08 | 1 | 10 |  | 159 | 159 | 155 | 154.5 | 4.1191 |  |  | 8.0953177998569998 | 7.6398696535712398 | 8.4307844850981404 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V0 | KIM-1 | E07 | 1 | 10 |  | 150 | 150 | 155 | 154.5 | 4.1191 |  |  | 7.1844215072854798 | 7.6398696535712398 | 8.4307844850981404 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V1 | KIM-1 | F07 | 1 | 10 |  | 207 | 207 | 250 | 250 | 24.3245 |  |  | 12.927547794877 | 17.2200243022438 | 35.252438593219999 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V1 | KIM-1 | F08 | 1 | 10 |  | 293 | 293 | 250 | 250 | 24.3245 |  |  | 21.5125008096107 | 17.2200243022438 | 35.252438593219999 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V14 | KIM-1 | B10 | 1 | 10 |  | 731 | 731 | 827 | 827 | 16.4165 |  |  | 64.582313796242403 | 73.929560561500793 | 17.8805379686785 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V14 | KIM-1 | B09 | 1 | 10 |  | 923 | 923 | 827 | 827 | 16.4165 |  |  | 83.276807326759098 | 73.929560561500793 | 17.8805379686785 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V2 | KIM-1 | G08 | 1 | 10 |  | 221 | 221 | 215 | 215 | 3.9466 |  |  | 14.3304748541028 | 13.7292972798948 | 6.1925491269285198 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V2 | KIM-1 | G07 | 1 | 10 |  | 209 | 209 | 215 | 215 | 3.9466 |  |  | 13.1281197056867 | 13.7292972798948 | 6.1925491269285198 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V28 | KIM-1 | C09 | 1 | 10 |  | 1135 | 1135 | 977 | 976.5 | 22.9547 |  |  | 103.837084408528 | 88.450130316993295 | 24.6019300162409 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V28 | KIM-1 | C10 | 1 | 10 |  | 818 | 818 | 977 | 976.5 | 22.9547 |  |  | 73.063176225458506 | 88.450130316993295 | 24.6019300162409 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V3 | KIM-1 | H08 | 1 | 10 |  | 371 | 371 | 306 | 306 | 30.0405 |  |  | 29.246451675823199 | 22.788538084939798 | 40.0765900419754 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V3 | KIM-1 | H07 | 1 | 10 |  | 241 | 241 | 306 | 306 | 30.0405 |  |  | 16.330624494056401 | 22.788538084939798 | 40.0765900419754 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V7 | KIM-1 | A09 | 1 | 10 |  | 226 | 226 | 216 | 215.5 | 6.8906 |  |  | 14.8309369715569 | 13.7789297132475 | 10.7973765987481 | 20000 | 0.39056
In Detection Range | US | Plate_25H3TAB208_Set2 | 9 | V7 | KIM-1 | A10 | 1 | 10 |  | 205 | 205 | 216 | 215.5 | 6.8906 |  |  | 12.726922454938 | 13.7789297132475 | 10.7973765987481 | 20000 | 0.39056
In Detection Range | QC | Plate_25H3TAB208_Set2 | QC |  | KIM-1 | A03 | 1 | 10 |  | 10533 | 10533 | 10359 | 10358.5 | 2.3824 |  |  | 992.35426978823398 | 976.018715751586 | 2.3669589214501898 | 20000 | 0.39056
In Detection Range | QC | Plate_25H3TAB208_Set2 | QC |  | KIM-1 | A04 | 1 | 10 |  | 10184 | 10184 | 10359 | 10358.5 | 2.3824 |  |  | 959.68316171493905 | 976.018715751586 | 2.3669589214501898 | 20000 | 0.39056
In Detection Range | QC | Plate_25H3TAB208_Set2 | QC |  | KIM-1 | H12 | 1 | 10 |  | 17711 | 17711 | 15728 | 15728 | 17.8305 |  |  | 1662.2605465122699 | 1477.39651023895 | 17.695806473136699 | 20000 | 0.39056
In Detection Range | QC | Plate_25H3TAB208_Set2 | QC |  | KIM-1 | H11 | 1 | 10 |  | 13745 | 13745 | 15728 | 15728 | 17.8305 |  |  | 1292.5324739656301 | 1477.39651023895 | 17.695806473136699 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S1 |  | KIM-1 | A01 | 1 |  | 20000 | 1351039 | 1351039 | 1394874 | 1394874 | 4.4443 | 92.4677 | 97.313922377559507 | 18493.533668562501 | 19462.7844755119 | 7.0428136233719103 | 20000 | 0.39056
Above Fit Curve Range | Standards | Plate_25H3TAB208_Set2 | S1 |  | KIM-1 | A02 | 1 |  | 20000 | 1438709 | 1438709 | 1394874 | 1394874 | 4.4443 | 102.1602 | 97.313922377559507 | 20432.035282461198 | 19462.7844755119 | 7.0428136233719103 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S2 |  | KIM-1 | B02 | 1 |  | 5000 | 517557 | 517557 | 521813 | 521813 | 1.1535 | 106.489 | 107.493865720741 | 5324.4518774118496 | 5374.6932860370698 | 1.32197462607029 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S2 |  | KIM-1 | B01 | 1 |  | 5000 | 526069 | 526069 | 521813 | 521813 | 1.1535 | 108.4987 | 107.493865720741 | 5424.93469466228 | 5374.6932860370698 | 1.32197462607029 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S3 |  | KIM-1 | C02 | 1 |  | 1250 | 133926 | 133926 | 132228 | 132228 | 1.8161 | 100.6958 | 99.3934584104653 | 1258.6979200146 | 1242.4182301308099 | 1.8530763366585301 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S3 |  | KIM-1 | C01 | 1 |  | 1250 | 130530 | 130530 | 132228 | 132228 | 1.8161 | 98.0911 | 99.3934584104653 | 1226.13854024702 | 1242.4182301308099 | 1.8530763366585301 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S4 |  | KIM-1 | D01 | 1 |  | 312.5 | 31935 | 31935 | 31966 | 31965.5 | 0.13494 | 95.5138 | 95.604454834016707 | 298.48051695247102 | 298.76392135630198 | 0.13415085386307399 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S4 |  | KIM-1 | D02 | 1 |  | 312.5 | 31996 | 31996 | 31966 | 31965.5 | 0.13494 | 95.6951 | 95.604454834016707 | 299.04732576013299 | 298.76392135630198 | 0.13415085386307399 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S5 |  | KIM-1 | E02 | 1 |  | 78.125 | 7986 | 7986 | 8219 | 8219 | 4.0091 | 96.4599 | 99.259607055836696 | 75.359264292179603 | 77.546568012372404 | 3.98897677281122 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S5 |  | KIM-1 | E01 | 1 |  | 78.125 | 8452 | 8452 | 8219 | 8219 | 4.0091 | 102.0594 | 99.259607055836696 | 79.733871732565206 | 77.546568012372404 | 3.98897677281122 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S6 |  | KIM-1 | F01 | 1 |  | 19.5312 | 2064 | 2064 | 2083 | 2082.5 | 1.2563 | 98.9527 | 99.860222358687196 | 19.3266936939544 | 19.503949679431098 | 1.2852669474287199 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S6 |  | KIM-1 | F02 | 1 |  | 19.5312 | 2101 | 2101 | 2083 | 2082.5 | 1.2563 | 100.7678 | 99.860222358687196 | 19.681205664907701 | 19.503949679431098 | 1.2852669474287199 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S7 |  | KIM-1 | G01 | 1 |  | 4.8828 | 570 | 570 | 587 | 586.5 | 3.9786 | 100.0156 | 103.327034401747 | 4.8835762190389396 | 5.0452653516478101 | 4.5322286993116698 | 20000 | 0.39056
In Detection Range | Standards | Plate_25H3TAB208_Set2 | S7 |  | KIM-1 | G02 | 1 |  | 4.8828 | 603 | 603 | 587 | 586.5 | 3.9786 | 106.6384 | 103.327034401747 | 5.2069544842566797 | 5.0452653516478101 | 4.5322286993116698 | 20000 | 0.39056
Below Detection Range | Standards | Plate_25H3TAB208_Set2 | S8 |  | KIM-1 | H02 | 1 |  | 0 | 83 | 83 | 80 | 80 | 5.3033 |  | NaN | 2.9513663623418802E-2 | NaN | NaN | 20000 | 0.39056
Below Fit Curve Range | Standards | Plate_25H3TAB208_Set2 | S8 |  | KIM-1 | H01 | 1 |  | 0 | 77 | 77 | 80 | 80 | 5.3033 |  | NaN | NaN | NaN | NaN | 20000 | 0.39056

## WideData
Sample | US_KIM-1_V14 | US_KIM-1_V28 | US_KIM-1_V3 | US_KIM-1_V7 | US_KIM-1_V0 | US_KIM-1_V1 | US_KIM-1_V10 | US_KIM-1_V2 | Sample_std | Sample Group_std | KIM-1_std | Sample_qc | KIM-1_qc
6 | 146.34411591295401 | 42.154943620770098 | 297.71851521384701 | 183.19633855655201 |  |  |  |  | S1 | Standards | 19462.7844755119 | QC | 1226.7076
7 | 105.285649845097 | 12.2182378575774 | 447.10329434494201 | 440.45128118541197 | 100.684516214871 | 70.430754500508698 | 156.11162076657499 | 67.8458438421561 | S2 | Standards | 5374.6932860370698
8 | 523.60548834659505 | 19.121317021651802 | 27.313411917041702 | 304.08596988841401 | 49.718027046727201 | 65.212626489971697 |  | 22.151681276046698 | S3 | Standards | 1242.4182301308099
9 | 73.929560561500793 | 88.450130316993295 | 22.788538084939798 | 13.7789297132475 | 7.6398696535712398 | 17.2200243022438 |  | 13.7292972798948 | S4 | Standards | 298.76392135630198
10 | 19.412105249440501 | 16.5699907609681 |  | 72.721093723290593 | 112.58543744527501 | 150.431711777597 |  | 31.358728912091401 | S5 | Standards | 77.546568012372404
11 | 283.95455666446799 |  | 399.38988209634101 | 440.54374904871997 | 3051.6864270569399 | 1340.2293424857201 |  | 1005.72838698369 | S6 | Standards | 19.503949679431098
[9 empty] | S7 | Standards | 5.0452653516478101
[9 empty] | S8 | Standards | NaN

## WideSampleData
Sample | US_KIM-1_V14 | US_KIM-1_V28 | US_KIM-1_V3 | US_KIM-1_V7 | US_KIM-1_V0 | US_KIM-1_V1 | US_KIM-1_V10 | US_KIM-1_V2
6 | 146.34411591295401 | 42.154943620770098 | 297.71851521384701 | 183.19633855655201
7 | 105.285649845097 | 12.2182378575774 | 447.10329434494201 | 440.45128118541197 | 100.684516214871 | 70.430754500508698 | 156.11162076657499 | 67.8458438421561
8 | 523.60548834659505 | 19.121317021651802 | 27.313411917041702 | 304.08596988841401 | 49.718027046727201 | 65.212626489971697 |  | 22.151681276046698
9 | 73.929560561500793 | 88.450130316993295 | 22.788538084939798 | 13.7789297132475 | 7.6398696535712398 | 17.2200243022438 |  | 13.7292972798948
10 | 19.412105249440501 | 16.5699907609681 |  | 72.721093723290593 | 112.58543744527501 | 150.431711777597 |  | 31.358728912091401
11 | 283.95455666446799 |  | 399.38988209634101 | 440.54374904871997 | 3051.6864270569399 | 1340.2293424857201 |  | 1005.72838698369

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Visit_std | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Visit_qc | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | In Detection Range
6 | V14 | D03 | 1437 | KIM-1 | 133.01138961167899 | In Detection Range | S1 |  | A01 | 1351039 | KIM-1 | 18493.533668562501 | In Detection Range | QC |  | A03 | 10533 | KIM-1 | 992.35426978823398 | In Detection Range | 76
6 | V14 | D04 | 1714 | KIM-1 | 159.67684221422999 | In Detection Range | S1 |  | A02 | 1438709 | KIM-1 | 20432.035282461198 | Above Fit Curve Range | QC |  | A04 | 10184 | KIM-1 | 959.68316171493905 | In Detection Range
6 | V28 | E04 | 449 | KIM-1 | 36.945213824461497 | In Detection Range | S2 |  | B02 | 517557 | KIM-1 | 5324.4518774118496 | In Detection Range | QC |  | H12 | 17711 | KIM-1 | 1662.2605465122699 | In Detection Range
6 | V28 | E03 | 555 | KIM-1 | 47.364673417078599 | In Detection Range | S2 |  | B01 | 526069 | KIM-1 | 5424.93469466228 | In Detection Range | QC |  | H11 | 13745 | KIM-1 | 1292.5324739656301 | In Detection Range
6 | V3 | B04 | 3596 | KIM-1 | 339.359442714691 | In Detection Range | S3 |  | C02 | 133926 | KIM-1 | 1258.6979200146 | In Detection Range
6 | V3 | B03 | 2721 | KIM-1 | 256.077587713002 | In Detection Range | S3 |  | C01 | 130530 | KIM-1 | 1226.13854024702 | In Detection Range
6 | V7 | C04 | 2317 | KIM-1 | 217.48798150041199 | In Detection Range | S4 |  | D01 | 31935 | KIM-1 | 298.48051695247102 | In Detection Range
6 | V7 | C03 | 1602 | KIM-1 | 148.90469561269299 | In Detection Range | S4 |  | D02 | 31996 | KIM-1 | 299.04732576013299 | In Detection Range
7 | V0 | F03 | 1019 | KIM-1 | 92.596528181699895 | In Detection Range | S5 |  | E02 | 7986 | KIM-1 | 75.359264292179603 | In Detection Range
7 | V0 | F04 | 1186 | KIM-1 | 108.772504248042 | In Detection Range | S5 |  | E01 | 8452 | KIM-1 | 79.733871732565206 | In Detection Range
7 | V1 | G03 | 746 | KIM-1 | 66.045806813521693 | In Detection Range | S6 |  | F01 | 2064 | KIM-1 | 19.3266936939544 | In Detection Range
7 | V1 | G04 | 836 | KIM-1 | 74.815702187495802 | In Detection Range | S6 |  | F02 | 2101 | KIM-1 | 19.681205664907701 | In Detection Range
7 | V10 | C05 | 2313 | KIM-1 | 217.10539001304701 | In Detection Range | S7 |  | G01 | 570 | KIM-1 | 4.8835762190389396 | In Detection Range
7 | V10 | C06 | 1045 | KIM-1 | 95.117851520103997 | In Detection Range | S7 |  | G02 | 603 | KIM-1 | 5.2069544842566797 | In Detection Range
7 | V14 | D05 | 1218 | KIM-1 | 111.867327257171 | In Detection Range | S8 |  | H02 | 83 | KIM-1 | 2.9513663623418802E-2 | Below Detection Range
7 | V14 | D06 | 1082 | KIM-1 | 98.703972433023694 | In Detection Range | S8 |  | H01 | 77 | KIM-1 | NaN | Below Fit Curve Range
7 | V2 | H04 | 824 | KIM-1 | 73.647429289724997 | In Detection Range
7 | V2 | H03 | 705 | KIM-1 | 62.044258394587203 | In Detection Range
7 | V28 | E06 | 169 | KIM-1 | 9.1053662016322896 | In Detection Range
7 | V28 | E05 | 231 | KIM-1 | 15.3311095135226 | In Detection Range
7 | V3 | A05 | 4402 | KIM-1 | 415.79340252128901 | In Detection Range
7 | V3 | A06 | 5064 | KIM-1 | 478.41318616859502 | In Detection Range
7 | V7 | B06 | 5780 | KIM-1 | 546.00773168117905 | In Detection Range
7 | V7 | B05 | 3549 | KIM-1 | 334.894830689645 | In Detection Range
8 | V0 | F05 | 575 | KIM-1 | 49.325956963407897 | In Detection Range
8 | V0 | F06 | 583 | KIM-1 | 50.110097130046398 | In Detection Range
8 | V1 | G06 | 794 | KIM-1 | 70.725371001394507 | In Detection Range
8 | V1 | G05 | 681 | KIM-1 | 59.699881978549001 | In Detection Range
8 | V14 | C07 | 4318 | KIM-1 | 407.83815072164799 | In Detection Range
8 | V14 | C08 | 6771 | KIM-1 | 639.37282597154297 | In Detection Range
8 | V2 | H06 | 257 | KIM-1 | 17.927694143009401 | In Detection Range
8 | V2 | H05 | 342 | KIM-1 | 26.375668409084099 | In Detection Range
8 | V28 | D07 | 293 | KIM-1 | 21.5125008096107 | In Detection Range
8 | V28 | D08 | 245 | KIM-1 | 16.730133233692801 | In Detection Range
8 | V3 | A07 | 319 | KIM-1 | 24.095059829510902 | In Detection Range
8 | V3 | A08 | 384 | KIM-1 | 30.531764004572501 | In Detection Range
8 | V7 | B08 | 4339 | KIM-1 | 409.82717821025199 | In Detection Range
8 | V7 | B07 | 2117 | KIM-1 | 198.34476156657499 | In Detection Range
9 | V0 | E08 | 159 | KIM-1 | 8.0953177998569998 | In Detection Range
9 | V0 | E07 | 150 | KIM-1 | 7.1844215072854798 | In Detection Range
9 | V1 | F07 | 207 | KIM-1 | 12.927547794877 | In Detection Range
9 | V1 | F08 | 293 | KIM-1 | 21.5125008096107 | In Detection Range
9 | V14 | B10 | 731 | KIM-1 | 64.582313796242403 | In Detection Range
9 | V14 | B09 | 923 | KIM-1 | 83.276807326759098 | In Detection Range
9 | V2 | G08 | 221 | KIM-1 | 14.3304748541028 | In Detection Range
9 | V2 | G07 | 209 | KIM-1 | 13.1281197056867 | In Detection Range
9 | V28 | C09 | 1135 | KIM-1 | 103.837084408528 | In Detection Range
9 | V28 | C10 | 818 | KIM-1 | 73.063176225458506 | In Detection Range
9 | V3 | H08 | 371 | KIM-1 | 29.246451675823199 | In Detection Range
9 | V3 | H07 | 241 | KIM-1 | 16.330624494056401 | In Detection Range
9 | V7 | A09 | 226 | KIM-1 | 14.8309369715569 | In Detection Range
9 | V7 | A10 | 205 | KIM-1 | 12.726922454938 | In Detection Range
10 | V0 | D10 | 944 | KIM-1 | 85.316925019906606 | In Detection Range
10 | V0 | D09 | 1508 | KIM-1 | 139.85394987064399 | In Detection Range
10 | V1 | E10 | 1158 | KIM-1 | 106.063334309761 | In Detection Range
10 | V1 | E09 | 2080 | KIM-1 | 194.80008924543401 | In Detection Range
10 | V14 | H10 | 223 | KIM-1 | 14.5306951067224 | In Detection Range
10 | V14 | H09 | 321 | KIM-1 | 24.293515392158501 | In Detection Range
10 | V2 | F09 | 462 | KIM-1 | 38.225514589830901 | In Detection Range
10 | V2 | F10 | 323 | KIM-1 | 24.491943234351801 | In Detection Range
10 | V28 | A11 | 199 | KIM-1 | 12.124716964676701 | In Detection Range
10 | V28 | A12 | 288 | KIM-1 | 21.015264557259599 | In Detection Range
10 | V7 | G10 | 781 | KIM-1 | 69.458519058335995 | In Detection Range
10 | V7 | G09 | 848 | KIM-1 | 75.983668388245306 | In Detection Range
11 | V0 | B12 | 42054 | KIM-1 | 3925.35383906982 | In Detection Range
11 | V0 | B11 | 23254 | KIM-1 | 2178.0190150440599 | In Detection Range
11 | V1 | C11 | 11068 | KIM-1 | 1042.4138067647 | In Detection Range
11 | V1 | C12 | 17451 | KIM-1 | 1638.0448782067399 | In Detection Range
11 | V14 | G12 | 3778 | KIM-1 | 356.639592508649 | In Detection Range
11 | V14 | G11 | 2252 | KIM-1 | 211.26952082028799 | In Detection Range
11 | V2 | D12 | 11103 | KIM-1 | 1045.6877740116599 | In Detection Range
11 | V2 | D11 | 10249 | KIM-1 | 965.76899995572296 | In Detection Range
11 | V3 | E12 | 5199 | KIM-1 | 491.167885561741 | In Detection Range
11 | V3 | E11 | 3262 | KIM-1 | 307.61187863094102 | In Detection Range
11 | V7 | F11 | 3092 | KIM-1 | 291.43379114352899 | In Detection Range
11 | V7 | F12 | 6243 | KIM-1 | 589.65370695391096 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
6 | V14 | KIM-1 | 12.8842367464145 | 2 | S1 | KIM-1 | 7.0428136233719103 | 2 | QC | KIM-1 | 10.0314 | 4
6 | V28 | KIM-1 | 17.4775955117364 | 2 | S2 | KIM-1 | 1.32197462607029 | 2
6 | V3 | KIM-1 | 19.780148500065501 | 2 | S3 | KIM-1 | 1.8530763366585301 | 2
6 | V7 | KIM-1 | 26.471984598257102 | 2 | S4 | KIM-1 | 0.13415085386307399 | 2
7 | V0 | KIM-1 | 11.3603787343147 | 2 | S5 | KIM-1 | 3.98897677281122 | 2
7 | V1 | KIM-1 | 8.8047508978323599 | 2 | S6 | KIM-1 | 1.2852669474287199 | 2
7 | V10 | KIM-1 | 55.254192650777803 | 2 | S7 | KIM-1 | 4.5322286993116698 | 2
7 | V14 | KIM-1 | 8.84061358125639 | 2 | S8 | KIM-1 | NaN | 2
7 | V2 | KIM-1 | 12.093122229132501 | 2
7 | V28 | KIM-1 | 36.030280021388698 | 2
7 | V3 | KIM-1 | 9.90349975352302 | 2
7 | V7 | KIM-1 | 33.892366820982602 | 2
8 | V0 | KIM-1 | 1.1152309577966799 | 2
8 | V1 | KIM-1 | 11.9550437907155 | 2
8 | V14 | KIM-1 | 31.267766017122501 | 2
8 | V2 | KIM-1 | 26.966891661132198 | 2
8 | V28 | KIM-1 | 17.685207243983399 | 2
8 | V3 | KIM-1 | 16.663744480190498 | 2
8 | V7 | KIM-1 | 49.177096518243602 | 2
9 | V0 | KIM-1 | 8.4307844850981404 | 2
9 | V1 | KIM-1 | 35.252438593219999 | 2
9 | V14 | KIM-1 | 17.8805379686785 | 2
9 | V2 | KIM-1 | 6.1925491269285198 | 2
9 | V28 | KIM-1 | 24.6019300162409 | 2
9 | V3 | KIM-1 | 40.0765900419754 | 2
9 | V7 | KIM-1 | 10.7973765987481 | 2
10 | V0 | KIM-1 | 34.252653782546801 | 2
10 | V1 | KIM-1 | 41.710860306016599 | 2
10 | V14 | KIM-1 | 35.5621213600026 | 2
10 | V2 | KIM-1 | 30.967777624507299 | 2
10 | V28 | KIM-1 | 37.939468898109503 | 2
10 | V7 | KIM-1 | 6.34475790063094 | 2
11 | V0 | KIM-1 | 40.4875249343227 | 2
11 | V1 | KIM-1 | 31.425574440933101 | 2
11 | V14 | KIM-1 | 36.200216217652603 | 2
11 | V2 | KIM-1 | 5.6189233405804604 | 2
11 | V3 | KIM-1 | 32.497993325976203 | 2
11 | V7 | KIM-1 | 47.8666023998179 | 2

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].