## ReadMe Template
Parameter | Field
Identification of assay, plates and operators
Cohort
Assays performed by
Total # of plates
Plate #1 assay
Plate #1 ID | ID is barcode
Plate #1 run date
Plate #2 assay
Plate #2 ID
Plate #2 run date
Plate #3 assay
Plate #3 ID
Plate #3 run date
Units of measure
Eotaxin | pg/mL
Eotaxin-3 | pg/mL
IL-8 | pg/mL
IP-10 | pg/mL
MCP-1 | pg/mL
MCP-4 | pg/mL
MDC | pg/mL
MIP-1α | pg/mL
MIP-1β | pg/mL
TARC | pg/mL
Experiement files
MSD Instrument Data
Plate Layout
Protocol
Raw data
Graphs
Dilution summary
Dilution BALF samples
Dilution QC_1_1_22
Freeze/thaw summary
Freeze/thaws samples
Freeze/ thaw QC_1_1_22 | ask for how QC was named
Antibody Lots
Plate ID
*** lot
*** lot
*** lot
*** lot
*** lot
*** lot
*** lot
Tabs
LongData
WideData | Pivoted data with columns in assay_sample_visit format (see key below for out of range and missing values)
WideDataImputed | Imputed version of WideData, LLOD = lowest sample concentration / 2
QC Summary | QC summary information for each assay
Plate QC | QC summary information for each plate
Definitions
Below Fit Curve Range | Signal is below the bottom of the bottom of the curve fit. No concentration is given.
Below Detection Range | Signal is above the bottom of the curve, but below the detection limit as defined by the Detection Limit Properties
Above Fit Curve Range | Signal is above the top of the curve fit. No concentration is given
Above Detection Range | Signal is above the top of detection range as defined by the Detection Limit Properties
Intraplate CV | 100*(std/mean) of QC well concentrations
Interplate CV | 100*(std/mean) of mean of QC well concentrations
Key for missingness and out of range values (WideData tab)
missing (not measured) | NA
Below Fit Curve Range | -99
Above Fit Curve Range | -89
Report generation
Prepared by | Jordan Lo
Date of report generation