## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14ASH63_Set11 | 178_V1 | TNF-RI | B03 | 1 | 10 |  | 44507 | 44507 | 44507 | 44507 | NaN |  |  | 2597.6967399063901 | 2597.6967399063901 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 179_V2 | TNF-RI | C03 | 1 | 10 |  | 30558 | 30558 | 30558 | 30558 | NaN |  |  | 1786.94471140167 | 1786.94471140167 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 180_V1 | TNF-RI | D03 | 1 | 10 |  | 235231 | 235231 | 235231 | 235231 | NaN |  |  | 14001.3308809072 | 14001.3308809072 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 181_V1 | TNF-RI | E03 | 1 | 10 |  | 68578 | 68578 | 68578 | 68578 | NaN |  |  | 4000.2140866352702 | 4000.2140866352702 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 181_V2 | TNF-RI | F03 | 1 | 10 |  | 55321 | 55321 | 55321 | 55321 | NaN |  |  | 3227.02267421442 | 3227.02267421442 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 182_V1 | TNF-RI | G03 | 1 | 10 |  | 40982 | 40982 | 40982 | 40982 | NaN |  |  | 2392.7493045446499 | 2392.7493045446499 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 182_V2 | TNF-RI | H03 | 1 | 10 |  | 34787 | 34787 | 34787 | 34787 | NaN |  |  | 2032.69837735653 | 2032.69837735653 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 183_V1 | TNF-RI | B04 | 1 | 10 |  | 128893 | 128893 | 128893 | 128893 | NaN |  |  | 7552.9947231907699 | 7552.9947231907699 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 183_V2 | TNF-RI | C04 | 1 | 10 |  | 144352 | 144352 | 144352 | 144352 | NaN |  |  | 8474.7131650642896 | 8474.7131650642896 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 184_V1 | TNF-RI | D04 | 1 | 10 |  | 49009 | 49009 | 49009 | 49009 | NaN |  |  | 2859.5701447065298 | 2859.5701447065298 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 185_V1 | TNF-RI | E04 | 1 | 10 |  | 517576 | 517576 | 517576 | 517576 | NaN |  |  | 32585.061830617298 | 32585.061830617298 | NaN | Above Fit Curve Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 186_V1 | TNF-RI | F04 | 1 | 10 |  | 80917 | 80917 | 80917 | 80917 | NaN |  |  | 4721.9959992595504 | 4721.9959992595504 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 186_V2 | TNF-RI | G04 | 1 | 10 |  | 53518 | 53518 | 53518 | 53518 | NaN |  |  | 3122.0218809405701 | 3122.0218809405701 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 187_V1 | TNF-RI | H04 | 1 | 10 |  | 45826 | 45826 | 45826 | 45826 | NaN |  |  | 2674.4049976300698 | 2674.4049976300698 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 187_V2 | TNF-RI | A05 | 1 | 10 |  | 47755 | 47755 | 47755 | 47755 | NaN |  |  | 2786.61147006387 | 2786.61147006387 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 188_V1 | TNF-RI | B05 | 1 | 10 |  | 25080 | 25080 | 25080 | 25080 | NaN |  |  | 1468.5354346664001 | 1468.5354346664001 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 188_V2 | TNF-RI | C05 | 1 | 10 |  | 30815 | 30815 | 30815 | 30815 | NaN |  |  | 1801.8798732432199 | 1801.8798732432199 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 189_V1 | TNF-RI | D05 | 1 | 10 |  | 20293 | 20293 | 20293 | 20293 | NaN |  |  | 1190.0843214461399 | 1190.0843214461399 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 190_V2 | TNF-RI | E05 | 1 | 10 |  | 51061 | 51061 | 51061 | 51061 | NaN |  |  | 2978.9860412052199 | 2978.9860412052199 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 192_V1 | TNF-RI | F05 | 1 | 10 |  | 88823 | 88823 | 88823 | 88823 | NaN |  |  | 5185.6999471573999 | 5185.6999471573999 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 193_V1 | TNF-RI | G05 | 1 | 10 |  | 44363 | 44363 | 44363 | 44363 | NaN |  |  | 2589.32293941342 | 2589.32293941342 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 195_V1 | TNF-RI | H05 | 1 | 10 |  | 40526 | 40526 | 40526 | 40526 | NaN |  |  | 2366.2419138383202 | 2366.2419138383202 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 195_V2 | TNF-RI | A06 | 1 | 10 |  | 36244 | 36244 | 36244 | 36244 | NaN |  |  | 2117.3687899662 | 2117.3687899662 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 196_V1 | TNF-RI | B06 | 1 | 10 |  | 102913 | 102913 | 102913 | 102913 | NaN |  |  | 6014.7324119773202 | 6014.7324119773202 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 196_V2 | TNF-RI | C06 | 1 | 10 |  | 110547 | 110547 | 110547 | 110547 | NaN |  |  | 6465.3958492574302 | 6465.3958492574302 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 366_V1 | TNF-RI | D06 | 1 | 10 |  | 103187 | 103187 | 103187 | 103187 | NaN |  |  | 6030.8890492886303 | 6030.8890492886303 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 367_V1 | TNF-RI | E06 | 1 | 10 |  | 75214 | 75214 | 75214 | 75214 | NaN |  |  | 4388.1144911754 | 4388.1144911754 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 367_V2 | TNF-RI | F06 | 1 | 10 |  | 62524 | 62524 | 62524 | 62524 | NaN |  |  | 3646.8581733013102 | 3646.8581733013102 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 368_V2 | TNF-RI | G06 | 1 | 10 |  | 48656 | 48656 | 48656 | 48656 | NaN |  |  | 2839.0310239929399 | 2839.0310239929399 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 369_V1 | TNF-RI | H06 | 1 | 10 |  | 121772 | 121772 | 121772 | 121772 | NaN |  |  | 7130.0579037540501 | 7130.0579037540501 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 369_V2 | TNF-RI | A07 | 1 | 10 |  | 102911 | 102911 | 102911 | 102911 | NaN |  |  | 6014.6144853460601 | 6014.6144853460601 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 370_V1 | TNF-RI | B07 | 1 | 10 |  | 42310 | 42310 | 42310 | 42310 | NaN |  |  | 2469.9523103807701 | 2469.9523103807701 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 371_V1 | TNF-RI | C07 | 1 | 10 |  | 36240 | 36240 | 36240 | 36240 | NaN |  |  | 2117.1363332168798 | 2117.1363332168798 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 372_V1 | TNF-RI | D07 | 1 | 10 |  | 19452 | 19452 | 19452 | 19452 | NaN |  |  | 1141.13136705689 | 1141.13136705689 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 373_V1 | TNF-RI | E07 | 1 | 10 |  | 61266 | 61266 | 61266 | 61266 | NaN |  |  | 3573.4904913297601 | 3573.4904913297601 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 373_V2 | TNF-RI | F07 | 1 | 10 |  | 66489 | 66489 | 66489 | 66489 | NaN |  |  | 3878.2305268218201 | 3878.2305268218201 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 374_V1 | TNF-RI | G07 | 1 | 10 |  | 17056 | 17056 | 17056 | 17056 | NaN |  |  | 1001.58825376031 | 1001.58825376031 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 374_V2 | TNF-RI | H07 | 1 | 10 |  | 20380 | 20380 | 20380 | 20380 | NaN |  |  | 1195.1477268211499 | 1195.1477268211499 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 375_V1 | TNF-RI | A08 | 1 | 10 |  | 28086 | 28086 | 28086 | 28086 | NaN |  |  | 1643.2781248267099 | 1643.2781248267099 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 375_V2 | TNF-RI | B08 | 1 | 10 |  | 29526 | 29526 | 29526 | 29526 | NaN |  |  | 1726.9699339061201 | 1726.9699339061201 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 376_V1 | TNF-RI | C08 | 1 | 10 |  | 337974 | 337974 | 337974 | 337974 | NaN |  |  | 20498.444515569601 | 20498.444515569601 | NaN | Above Fit Curve Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 377_V1 | TNF-RI | D08 | 1 | 10 |  | 67824 | 67824 | 67824 | 67824 | NaN |  |  | 3956.1787882563299 | 3956.1787882563299 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 377_V2 | TNF-RI | E08 | 1 | 10 |  | 58762 | 58762 | 58762 | 58762 | NaN |  |  | 3427.5113121761901 | 3427.5113121761901 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 378_V2 | TNF-RI | F08 | 1 | 10 |  | 47247 | 47247 | 47247 | 47247 | NaN |  |  | 2757.0592561293201 | 2757.0592561293201 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 380_V1 | TNF-RI | G08 | 1 | 10 |  | 27771 | 27771 | 27771 | 27771 | NaN |  |  | 1624.9693332551799 | 1624.9693332551799 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 380_V2 | TNF-RI | H08 | 1 | 10 |  | 20894 | 20894 | 20894 | 20894 | NaN |  |  | 1225.0600629242199 | 1225.0600629242199 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 381_V1 | TNF-RI | A09 | 1 | 10 |  | 211120 | 211120 | 211120 | 211120 | NaN |  |  | 12516.096753440601 | 12516.096753440601 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 382_V1 | TNF-RI | B09 | 1 | 10 |  | 26118 | 26118 | 26118 | 26118 | NaN |  |  | 1528.88259583994 | 1528.88259583994 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 383_V2 | TNF-RI | C09 | 1 | 10 |  | 35349 | 35349 | 35349 | 35349 | NaN |  |  | 2065.35738101579 | 2065.35738101579 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 605_V1 | TNF-RI | D09 | 1 | 10 |  | 99197 | 99197 | 99197 | 99197 | NaN |  |  | 5795.7495651770196 | 5795.7495651770196 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 605_V2 | TNF-RI | E09 | 1 | 10 |  | 65225 | 65225 | 65225 | 65225 | NaN |  |  | 3804.4495406316801 | 3804.4495406316801 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 606_V1 | TNF-RI | F09 | 1 | 10 |  | 39510 | 39510 | 39510 | 39510 | NaN |  |  | 2307.1850372673098 | 2307.1850372673098 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 606_V2 | TNF-RI | G09 | 1 | 10 |  | 32324 | 32324 | 32324 | 32324 | NaN |  |  | 1889.5708778641199 | 1889.5708778641199 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 607_V1 | TNF-RI | H09 | 1 | 10 |  | 34837 | 34837 | 34837 | 34837 | NaN |  |  | 2035.6039657640999 | 2035.6039657640999 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 608_V1 | TNF-RI | A10 | 1 | 10 |  | 59052 | 59052 | 59052 | 59052 | NaN |  |  | 3444.4140978164 | 3444.4140978164 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 609_V1 | TNF-RI | B10 | 1 | 10 |  | 119302 | 119302 | 119302 | 119302 | NaN |  |  | 6983.5927313205202 | 6983.5927313205202 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 609_V2 | TNF-RI | C10 | 1 | 10 |  | 82600 | 82600 | 82600 | 82600 | NaN |  |  | 4820.6232255688701 | 4820.6232255688701 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 610_V1 | TNF-RI | D10 | 1 | 10 |  | 28926 | 28926 | 28926 | 28926 | NaN |  |  | 1692.0993453928099 | 1692.0993453928099 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 610_V2 | TNF-RI | E10 | 1 | 10 |  | 27254 | 27254 | 27254 | 27254 | NaN |  |  | 1594.9185474875501 | 1594.9185474875501 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 611_V1 | TNF-RI | F10 | 1 | 10 |  | 62323 | 62323 | 62323 | 62323 | NaN |  |  | 3635.13437339355 | 3635.13437339355 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 611_V2 | TNF-RI | G10 | 1 | 10 |  | 76130 | 76130 | 76130 | 76130 | NaN |  |  | 4441.7083932129299 | 4441.7083932129299 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 612_V1 | TNF-RI | H10 | 1 | 10 |  | 44602 | 44602 | 44602 | 44602 | NaN |  |  | 2603.2211974781899 | 2603.2211974781899 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 612_V2 | TNF-RI | A11 | 1 | 10 |  | 47061 | 47061 | 47061 | 47061 | NaN |  |  | 2746.2394622239899 | 2746.2394622239899 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 613_V1 | TNF-RI | B11 | 1 | 10 |  | 101090 | 101090 | 101090 | 101090 | NaN |  |  | 5907.27241531865 | 5907.27241531865 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | E12 | 1 |  |  | 57 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | B12 | 1 |  |  | 59 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | F12 | 1 |  |  | 62 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | A12 | 1 |  |  | 58 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | D11 | 1 |  |  | 60 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | E11 | 1 |  |  | 64 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | C11 | 1 |  |  | 64 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | G12 | 1 |  |  | 63 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | F11 | 1 |  |  | 56 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | G11 | 1 |  |  | 68 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | D12 | 1 |  |  | 61 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK | TNF-RI | C12 | 1 |  |  | 58 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | QC | TNF-RI | H11 | 1 | 10 |  | 69258 | 70974 | 69258 | 70974 | 3.41926687664811 |  |  | 4039.9342608984098 | 4140.2184305044202 | 3.42550121759793 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | QC | TNF-RI | A03 | 1 | 10 |  | 71497 | 70810 | 71497 | 70810 | 1.37207275434305 |  |  | 4170.7640540666798 | 4130.6169573441803 | 1.37452998574244 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | QC | TNF-RI | A04 | 1 | 10 |  | 70123 | 70810 | 70123 | 70810 | 1.37207275434305 |  |  | 4090.4698606216798 | 4130.6169573441803 | 1.37452998574244 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | QC | TNF-RI | H12 | 1 | 10 |  | 72690 | 70974 | 72690 | 70974 | 3.41926687664811 |  |  | 4240.5026001104297 | 4140.2184305044202 | 3.42550121759793 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 333308 | 330757 | 333308 | 330756.5 | 1.0909433085653499 | 100.986 | 100.16406434661801 | 2019.7195934647 | 2003.28128693237 | 1.16045990106925 | Above Fit Curve Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 328205 | 330757 | 328205 | 330756.5 | 1.0909433085653499 | 99.3421 | 100.16406434661801 | 1986.84298040003 | 2003.28128693237 | 1.16045990106925 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD2 | TNF-RI | B01 | 1 |  | 500 | 87267 | 84909 | 87267 | 84908.5 | 3.9282553417584101 | 101.8871 | 99.120490842565204 | 509.43566066382499 | 495.60245421282599 | 3.9473388414072601 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD2 | TNF-RI | B02 | 1 |  | 500 | 82550 | 84909 | 82550 | 84908.5 | 3.9282553417584101 | 96.3538 | 99.120490842565204 | 481.76924776182602 | 495.60245421282599 | 3.9473388414072601 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD3 | TNF-RI | C02 | 1 |  | 125 | 21183 | 21580 | 21183 | 21580 | 2.6016811133554998 | 99.3501 | 101.197965535911 | 124.187667263108 | 126.497456919889 | 2.5822936985350302 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD3 | TNF-RI | C01 | 1 |  | 125 | 21977 | 21580 | 21977 | 21580 | 2.6016811133554998 | 103.0458 | 101.197965535911 | 128.80724657667099 | 126.497456919889 | 2.5822936985350302 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 5148 | 5288 | 5148 | 5288 | 3.7441357551481298 | 97.4719 | 100.114237815693 | 30.459954467414502 | 31.285699317404202 | 3.73263053533719 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 5428 | 5288 | 5428 | 5288 | 3.7441357551481298 | 102.7566 | 100.114237815693 | 32.111444167393898 | 31.285699317404202 | 3.73263053533719 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1397 | 1348 | 1397 | 1348 | 5.1406872816232596 | 104.6405 | 100.87054317060399 | 8.17504077660859 | 7.8805111852034599 | 5.2855421798958302 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1299 | 1348 | 1299 | 1348 | 5.1406872816232596 | 97.1006 | 100.87054317060399 | 7.5859815937983299 | 7.8805111852034599 | 5.2855421798958302 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 371 | 357 | 371 | 357 | 5.5459355387180196 | 100.4433 | 96.042976354697998 | 1.9617832890919 | 1.87583938192769 | 6.4793947864584798 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 343 | 357 | 343 | 357 | 5.5459355387180196 | 91.6426 | 96.042976354697998 | 1.7898954747634801 | 1.87583938192769 | 6.4793947864584798 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 134 | 137 | 134 | 137 | 3.0968180197950899 | 101.6327 | 105.47781071555001 | 0.49625334018557099 | 0.51502837263452395 | 5.1554257850852396 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 140 | 137 | 140 | 137 | 3.0968180197950899 | 109.3229 | 105.47781071555001 | 0.53380340508347801 | 0.51502837263452395 | 5.1554257850852396 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD8 | TNF-RI | H02 | 1 |  | 0 | 57 | 56 | 57 | 55.5 | 3.8221988172245802 |  | NaN | 7.3233089381381797E-3 | NaN | NaN | Below Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD8 | TNF-RI | H01 | 1 |  | 0 | 54 | 56 | 54 | 55.5 | 3.8221988172245802 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.24093

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14ASH63_Set11 | 178 | V1 | TNF-RI | B03 | 1 | 10 |  | 44507 | 44507 | 44507 | 44507 | NaN |  |  | 2597.6967399063901 | 2597.6967399063901 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 179 | V2 | TNF-RI | C03 | 1 | 10 |  | 30558 | 30558 | 30558 | 30558 | NaN |  |  | 1786.94471140167 | 1786.94471140167 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 180 | V1 | TNF-RI | D03 | 1 | 10 |  | 235231 | 235231 | 235231 | 235231 | NaN |  |  | 14001.3308809072 | 14001.3308809072 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 181 | V1 | TNF-RI | E03 | 1 | 10 |  | 68578 | 68578 | 68578 | 68578 | NaN |  |  | 4000.2140866352702 | 4000.2140866352702 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 181 | V2 | TNF-RI | F03 | 1 | 10 |  | 55321 | 55321 | 55321 | 55321 | NaN |  |  | 3227.02267421442 | 3227.02267421442 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 182 | V1 | TNF-RI | G03 | 1 | 10 |  | 40982 | 40982 | 40982 | 40982 | NaN |  |  | 2392.7493045446499 | 2392.7493045446499 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 182 | V2 | TNF-RI | H03 | 1 | 10 |  | 34787 | 34787 | 34787 | 34787 | NaN |  |  | 2032.69837735653 | 2032.69837735653 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 183 | V1 | TNF-RI | B04 | 1 | 10 |  | 128893 | 128893 | 128893 | 128893 | NaN |  |  | 7552.9947231907699 | 7552.9947231907699 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 183 | V2 | TNF-RI | C04 | 1 | 10 |  | 144352 | 144352 | 144352 | 144352 | NaN |  |  | 8474.7131650642896 | 8474.7131650642896 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 184 | V1 | TNF-RI | D04 | 1 | 10 |  | 49009 | 49009 | 49009 | 49009 | NaN |  |  | 2859.5701447065298 | 2859.5701447065298 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 185 | V1 | TNF-RI | E04 | 1 | 10 |  | 517576 | 517576 | 517576 | 517576 | NaN |  |  | 32585.061830617298 | 32585.061830617298 | NaN | Above Fit Curve Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 186 | V1 | TNF-RI | F04 | 1 | 10 |  | 80917 | 80917 | 80917 | 80917 | NaN |  |  | 4721.9959992595504 | 4721.9959992595504 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 186 | V2 | TNF-RI | G04 | 1 | 10 |  | 53518 | 53518 | 53518 | 53518 | NaN |  |  | 3122.0218809405701 | 3122.0218809405701 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 187 | V1 | TNF-RI | H04 | 1 | 10 |  | 45826 | 45826 | 45826 | 45826 | NaN |  |  | 2674.4049976300698 | 2674.4049976300698 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 187 | V2 | TNF-RI | A05 | 1 | 10 |  | 47755 | 47755 | 47755 | 47755 | NaN |  |  | 2786.61147006387 | 2786.61147006387 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 188 | V1 | TNF-RI | B05 | 1 | 10 |  | 25080 | 25080 | 25080 | 25080 | NaN |  |  | 1468.5354346664001 | 1468.5354346664001 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 188 | V2 | TNF-RI | C05 | 1 | 10 |  | 30815 | 30815 | 30815 | 30815 | NaN |  |  | 1801.8798732432199 | 1801.8798732432199 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 189 | V1 | TNF-RI | D05 | 1 | 10 |  | 20293 | 20293 | 20293 | 20293 | NaN |  |  | 1190.0843214461399 | 1190.0843214461399 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 190 | V2 | TNF-RI | E05 | 1 | 10 |  | 51061 | 51061 | 51061 | 51061 | NaN |  |  | 2978.9860412052199 | 2978.9860412052199 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 192 | V1 | TNF-RI | F05 | 1 | 10 |  | 88823 | 88823 | 88823 | 88823 | NaN |  |  | 5185.6999471573999 | 5185.6999471573999 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 193 | V1 | TNF-RI | G05 | 1 | 10 |  | 44363 | 44363 | 44363 | 44363 | NaN |  |  | 2589.32293941342 | 2589.32293941342 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 195 | V1 | TNF-RI | H05 | 1 | 10 |  | 40526 | 40526 | 40526 | 40526 | NaN |  |  | 2366.2419138383202 | 2366.2419138383202 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 195 | V2 | TNF-RI | A06 | 1 | 10 |  | 36244 | 36244 | 36244 | 36244 | NaN |  |  | 2117.3687899662 | 2117.3687899662 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 196 | V1 | TNF-RI | B06 | 1 | 10 |  | 102913 | 102913 | 102913 | 102913 | NaN |  |  | 6014.7324119773202 | 6014.7324119773202 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 196 | V2 | TNF-RI | C06 | 1 | 10 |  | 110547 | 110547 | 110547 | 110547 | NaN |  |  | 6465.3958492574302 | 6465.3958492574302 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 366 | V1 | TNF-RI | D06 | 1 | 10 |  | 103187 | 103187 | 103187 | 103187 | NaN |  |  | 6030.8890492886303 | 6030.8890492886303 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 367 | V1 | TNF-RI | E06 | 1 | 10 |  | 75214 | 75214 | 75214 | 75214 | NaN |  |  | 4388.1144911754 | 4388.1144911754 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 367 | V2 | TNF-RI | F06 | 1 | 10 |  | 62524 | 62524 | 62524 | 62524 | NaN |  |  | 3646.8581733013102 | 3646.8581733013102 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 368 | V2 | TNF-RI | G06 | 1 | 10 |  | 48656 | 48656 | 48656 | 48656 | NaN |  |  | 2839.0310239929399 | 2839.0310239929399 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 369 | V1 | TNF-RI | H06 | 1 | 10 |  | 121772 | 121772 | 121772 | 121772 | NaN |  |  | 7130.0579037540501 | 7130.0579037540501 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 369 | V2 | TNF-RI | A07 | 1 | 10 |  | 102911 | 102911 | 102911 | 102911 | NaN |  |  | 6014.6144853460601 | 6014.6144853460601 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 370 | V1 | TNF-RI | B07 | 1 | 10 |  | 42310 | 42310 | 42310 | 42310 | NaN |  |  | 2469.9523103807701 | 2469.9523103807701 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 371 | V1 | TNF-RI | C07 | 1 | 10 |  | 36240 | 36240 | 36240 | 36240 | NaN |  |  | 2117.1363332168798 | 2117.1363332168798 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 372 | V1 | TNF-RI | D07 | 1 | 10 |  | 19452 | 19452 | 19452 | 19452 | NaN |  |  | 1141.13136705689 | 1141.13136705689 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 373 | V1 | TNF-RI | E07 | 1 | 10 |  | 61266 | 61266 | 61266 | 61266 | NaN |  |  | 3573.4904913297601 | 3573.4904913297601 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 373 | V2 | TNF-RI | F07 | 1 | 10 |  | 66489 | 66489 | 66489 | 66489 | NaN |  |  | 3878.2305268218201 | 3878.2305268218201 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 374 | V1 | TNF-RI | G07 | 1 | 10 |  | 17056 | 17056 | 17056 | 17056 | NaN |  |  | 1001.58825376031 | 1001.58825376031 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 374 | V2 | TNF-RI | H07 | 1 | 10 |  | 20380 | 20380 | 20380 | 20380 | NaN |  |  | 1195.1477268211499 | 1195.1477268211499 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 375 | V1 | TNF-RI | A08 | 1 | 10 |  | 28086 | 28086 | 28086 | 28086 | NaN |  |  | 1643.2781248267099 | 1643.2781248267099 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 375 | V2 | TNF-RI | B08 | 1 | 10 |  | 29526 | 29526 | 29526 | 29526 | NaN |  |  | 1726.9699339061201 | 1726.9699339061201 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 376 | V1 | TNF-RI | C08 | 1 | 10 |  | 337974 | 337974 | 337974 | 337974 | NaN |  |  | 20498.444515569601 | 20498.444515569601 | NaN | Above Fit Curve Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 377 | V1 | TNF-RI | D08 | 1 | 10 |  | 67824 | 67824 | 67824 | 67824 | NaN |  |  | 3956.1787882563299 | 3956.1787882563299 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 377 | V2 | TNF-RI | E08 | 1 | 10 |  | 58762 | 58762 | 58762 | 58762 | NaN |  |  | 3427.5113121761901 | 3427.5113121761901 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 378 | V2 | TNF-RI | F08 | 1 | 10 |  | 47247 | 47247 | 47247 | 47247 | NaN |  |  | 2757.0592561293201 | 2757.0592561293201 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 380 | V1 | TNF-RI | G08 | 1 | 10 |  | 27771 | 27771 | 27771 | 27771 | NaN |  |  | 1624.9693332551799 | 1624.9693332551799 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 380 | V2 | TNF-RI | H08 | 1 | 10 |  | 20894 | 20894 | 20894 | 20894 | NaN |  |  | 1225.0600629242199 | 1225.0600629242199 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 381 | V1 | TNF-RI | A09 | 1 | 10 |  | 211120 | 211120 | 211120 | 211120 | NaN |  |  | 12516.096753440601 | 12516.096753440601 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 382 | V1 | TNF-RI | B09 | 1 | 10 |  | 26118 | 26118 | 26118 | 26118 | NaN |  |  | 1528.88259583994 | 1528.88259583994 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 383 | V2 | TNF-RI | C09 | 1 | 10 |  | 35349 | 35349 | 35349 | 35349 | NaN |  |  | 2065.35738101579 | 2065.35738101579 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 605 | V1 | TNF-RI | D09 | 1 | 10 |  | 99197 | 99197 | 99197 | 99197 | NaN |  |  | 5795.7495651770196 | 5795.7495651770196 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 605 | V2 | TNF-RI | E09 | 1 | 10 |  | 65225 | 65225 | 65225 | 65225 | NaN |  |  | 3804.4495406316801 | 3804.4495406316801 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 606 | V1 | TNF-RI | F09 | 1 | 10 |  | 39510 | 39510 | 39510 | 39510 | NaN |  |  | 2307.1850372673098 | 2307.1850372673098 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 606 | V2 | TNF-RI | G09 | 1 | 10 |  | 32324 | 32324 | 32324 | 32324 | NaN |  |  | 1889.5708778641199 | 1889.5708778641199 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 607 | V1 | TNF-RI | H09 | 1 | 10 |  | 34837 | 34837 | 34837 | 34837 | NaN |  |  | 2035.6039657640999 | 2035.6039657640999 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 608 | V1 | TNF-RI | A10 | 1 | 10 |  | 59052 | 59052 | 59052 | 59052 | NaN |  |  | 3444.4140978164 | 3444.4140978164 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 609 | V1 | TNF-RI | B10 | 1 | 10 |  | 119302 | 119302 | 119302 | 119302 | NaN |  |  | 6983.5927313205202 | 6983.5927313205202 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 609 | V2 | TNF-RI | C10 | 1 | 10 |  | 82600 | 82600 | 82600 | 82600 | NaN |  |  | 4820.6232255688701 | 4820.6232255688701 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 610 | V1 | TNF-RI | D10 | 1 | 10 |  | 28926 | 28926 | 28926 | 28926 | NaN |  |  | 1692.0993453928099 | 1692.0993453928099 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 610 | V2 | TNF-RI | E10 | 1 | 10 |  | 27254 | 27254 | 27254 | 27254 | NaN |  |  | 1594.9185474875501 | 1594.9185474875501 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 611 | V1 | TNF-RI | F10 | 1 | 10 |  | 62323 | 62323 | 62323 | 62323 | NaN |  |  | 3635.13437339355 | 3635.13437339355 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 611 | V2 | TNF-RI | G10 | 1 | 10 |  | 76130 | 76130 | 76130 | 76130 | NaN |  |  | 4441.7083932129299 | 4441.7083932129299 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 612 | V1 | TNF-RI | H10 | 1 | 10 |  | 44602 | 44602 | 44602 | 44602 | NaN |  |  | 2603.2211974781899 | 2603.2211974781899 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 612 | V2 | TNF-RI | A11 | 1 | 10 |  | 47061 | 47061 | 47061 | 47061 | NaN |  |  | 2746.2394622239899 | 2746.2394622239899 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | 613 | V1 | TNF-RI | B11 | 1 | 10 |  | 101090 | 101090 | 101090 | 101090 | NaN |  |  | 5907.27241531865 | 5907.27241531865 | NaN | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | E12 | 1 |  |  | 57 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | B12 | 1 |  |  | 59 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | F12 | 1 |  |  | 62 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | A12 | 1 |  |  | 58 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | D11 | 1 |  |  | 60 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | E11 | 1 |  |  | 64 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | C11 | 1 |  |  | 64 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | G12 | 1 |  |  | 63 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | F11 | 1 |  |  | 56 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | G11 | 1 |  |  | 68 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | D12 | 1 |  |  | 61 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | BLANK |  | TNF-RI | C12 | 1 |  |  | 58 | 61 |  |  | 5.77296096046725 | [5 empty] | Unknown Range
Plate_23M14ASH63_Set11 | QC |  | TNF-RI | H11 | 1 | 10 |  | 69258 | 70974 | 69258 | 70974 | 3.41926687664811 |  |  | 4039.9342608984098 | 4140.2184305044202 | 3.42550121759793 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | QC |  | TNF-RI | A03 | 1 | 10 |  | 71497 | 70810 | 71497 | 70810 | 1.37207275434305 |  |  | 4170.7640540666798 | 4130.6169573441803 | 1.37452998574244 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | QC |  | TNF-RI | A04 | 1 | 10 |  | 70123 | 70810 | 70123 | 70810 | 1.37207275434305 |  |  | 4090.4698606216798 | 4130.6169573441803 | 1.37452998574244 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | QC |  | TNF-RI | H12 | 1 | 10 |  | 72690 | 70974 | 72690 | 70974 | 3.41926687664811 |  |  | 4240.5026001104297 | 4140.2184305044202 | 3.42550121759793 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 333308 | 330757 | 333308 | 330756.5 | 1.0909433085653499 | 100.986 | 100.16406434661801 | 2019.7195934647 | 2003.28128693237 | 1.16045990106925 | Above Fit Curve Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 328205 | 330757 | 328205 | 330756.5 | 1.0909433085653499 | 99.3421 | 100.16406434661801 | 1986.84298040003 | 2003.28128693237 | 1.16045990106925 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 87267 | 84909 | 87267 | 84908.5 | 3.9282553417584101 | 101.8871 | 99.120490842565204 | 509.43566066382499 | 495.60245421282599 | 3.9473388414072601 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 82550 | 84909 | 82550 | 84908.5 | 3.9282553417584101 | 96.3538 | 99.120490842565204 | 481.76924776182602 | 495.60245421282599 | 3.9473388414072601 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 21183 | 21580 | 21183 | 21580 | 2.6016811133554998 | 99.3501 | 101.197965535911 | 124.187667263108 | 126.497456919889 | 2.5822936985350302 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 21977 | 21580 | 21977 | 21580 | 2.6016811133554998 | 103.0458 | 101.197965535911 | 128.80724657667099 | 126.497456919889 | 2.5822936985350302 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 5148 | 5288 | 5148 | 5288 | 3.7441357551481298 | 97.4719 | 100.114237815693 | 30.459954467414502 | 31.285699317404202 | 3.73263053533719 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 5428 | 5288 | 5428 | 5288 | 3.7441357551481298 | 102.7566 | 100.114237815693 | 32.111444167393898 | 31.285699317404202 | 3.73263053533719 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1397 | 1348 | 1397 | 1348 | 5.1406872816232596 | 104.6405 | 100.87054317060399 | 8.17504077660859 | 7.8805111852034599 | 5.2855421798958302 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1299 | 1348 | 1299 | 1348 | 5.1406872816232596 | 97.1006 | 100.87054317060399 | 7.5859815937983299 | 7.8805111852034599 | 5.2855421798958302 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 371 | 357 | 371 | 357 | 5.5459355387180196 | 100.4433 | 96.042976354697998 | 1.9617832890919 | 1.87583938192769 | 6.4793947864584798 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 343 | 357 | 343 | 357 | 5.5459355387180196 | 91.6426 | 96.042976354697998 | 1.7898954747634801 | 1.87583938192769 | 6.4793947864584798 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 134 | 137 | 134 | 137 | 3.0968180197950899 | 101.6327 | 105.47781071555001 | 0.49625334018557099 | 0.51502837263452395 | 5.1554257850852396 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 140 | 137 | 140 | 137 | 3.0968180197950899 | 109.3229 | 105.47781071555001 | 0.53380340508347801 | 0.51502837263452395 | 5.1554257850852396 | In Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 57 | 56 | 57 | 55.5 | 3.8221988172245802 |  | NaN | 7.3233089381381797E-3 | NaN | NaN | Below Detection Range | 2000 | 0.24093
Plate_23M14ASH63_Set11 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 54 | 56 | 54 | 55.5 | 3.8221988172245802 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.24093

## WideData
Sample | TNF-RI_V1 | TNF-RI_V2 | Sample | TNF-RI | Sample | TNF-RI
178 | 2597.6967399063901 |  | STD1 | 2003.28128693237 | QC | 4135.4177
179 |  | 1786.94471140167 | STD2 | 495.60245421282599
180 | 14001.3308809072 |  | STD3 | 126.497456919889
181 | 4000.2140866352702 | 3227.02267421442 | STD4 | 31.285699317404202
182 | 2392.7493045446499 | 2032.69837735653 | STD5 | 7.8805111852034599
183 | 7552.9947231907699 | 8474.7131650642896 | STD6 | 1.87583938192769
184 | 2859.5701447065298 |  | STD7 | 0.51502837263452395
185 | 32585.061830617298 |  | STD8 | NaN
186 | 4721.9959992595504 | 3122.0218809405701
187 | 2674.4049976300698 | 2786.61147006387
188 | 1468.5354346664001 | 1801.8798732432199
189 | 1190.0843214461399
190 |  | 2978.9860412052199
192 | 5185.6999471573999
193 | 2589.32293941342
195 | 2366.2419138383202 | 2117.3687899662
196 | 6014.7324119773202 | 6465.3958492574302
366 | 6030.8890492886303
367 | 4388.1144911754 | 3646.8581733013102
368 |  | 2839.0310239929399
369 | 7130.0579037540501 | 6014.6144853460601
370 | 2469.9523103807701
371 | 2117.1363332168798
372 | 1141.13136705689
373 | 3573.4904913297601 | 3878.2305268218201
374 | 1001.58825376031 | 1195.1477268211499
375 | 1643.2781248267099 | 1726.9699339061201
376 | 20498.444515569601
377 | 3956.1787882563299 | 3427.5113121761901
378 |  | 2757.0592561293201
380 | 1624.9693332551799 | 1225.0600629242199
381 | 12516.096753440601
382 | 1528.88259583994
383 |  | 2065.35738101579
605 | 5795.7495651770196 | 3804.4495406316801
606 | 2307.1850372673098 | 1889.5708778641199
607 | 2035.6039657640999
608 | 3444.4140978164
609 | 6983.5927313205202 | 4820.6232255688701
610 | 1692.0993453928099 | 1594.9185474875501
611 | 3635.13437339355 | 4441.7083932129299
612 | 2603.2211974781899 | 2746.2394622239899
613 | 5907.27241531865

## WideSampleData
Sample | TNF-RI_V1 | TNF-RI_V2
178 | 2597.6967399063901
179 |  | 1786.94471140167
180 | 14001.3308809072
181 | 4000.2140866352702 | 3227.02267421442
182 | 2392.7493045446499 | 2032.69837735653
183 | 7552.9947231907699 | 8474.7131650642896
184 | 2859.5701447065298
185 | 32585.061830617298
186 | 4721.9959992595504 | 3122.0218809405701
187 | 2674.4049976300698 | 2786.61147006387
188 | 1468.5354346664001 | 1801.8798732432199
189 | 1190.0843214461399
190 |  | 2978.9860412052199
192 | 5185.6999471573999
193 | 2589.32293941342
195 | 2366.2419138383202 | 2117.3687899662
196 | 6014.7324119773202 | 6465.3958492574302
366 | 6030.8890492886303
367 | 4388.1144911754 | 3646.8581733013102
368 |  | 2839.0310239929399
369 | 7130.0579037540501 | 6014.6144853460601
370 | 2469.9523103807701
371 | 2117.1363332168798
372 | 1141.13136705689
373 | 3573.4904913297601 | 3878.2305268218201
374 | 1001.58825376031 | 1195.1477268211499
375 | 1643.2781248267099 | 1726.9699339061201
376 | 20498.444515569601
377 | 3956.1787882563299 | 3427.5113121761901
378 |  | 2757.0592561293201
380 | 1624.9693332551799 | 1225.0600629242199
381 | 12516.096753440601
382 | 1528.88259583994
383 |  | 2065.35738101579
605 | 5795.7495651770196 | 3804.4495406316801
606 | 2307.1850372673098 | 1889.5708778641199
607 | 2035.6039657640999
608 | 3444.4140978164
609 | 6983.5927313205202 | 4820.6232255688701
610 | 1692.0993453928099 | 1594.9185474875501
611 | 3635.13437339355 | 4441.7083932129299
612 | 2603.2211974781899 | 2746.2394622239899
613 | 5907.27241531865

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | Above Fit Curve Range | In Detection Range
178 | V1 | B03 | 44507 | TNF-RI | 2597.6967399063901 | In Detection Range | STD1 | A01 | 333308 | TNF-RI | 2019.7195934647 | Above Fit Curve Range | QC | H11 | 69258 | TNF-RI | 4039.9342608984098 | In Detection Range | 2 | 62
179 | V2 | C03 | 30558 | TNF-RI | 1786.94471140167 | In Detection Range | STD1 | A02 | 328205 | TNF-RI | 1986.84298040003 | In Detection Range | QC | A03 | 71497 | TNF-RI | 4170.7640540666798 | In Detection Range
180 | V1 | D03 | 235231 | TNF-RI | 14001.3308809072 | In Detection Range | STD2 | B01 | 87267 | TNF-RI | 509.43566066382499 | In Detection Range | QC | A04 | 70123 | TNF-RI | 4090.4698606216798 | In Detection Range
181 | V1 | E03 | 68578 | TNF-RI | 4000.2140866352702 | In Detection Range | STD2 | B02 | 82550 | TNF-RI | 481.76924776182602 | In Detection Range | QC | H12 | 72690 | TNF-RI | 4240.5026001104297 | In Detection Range
181 | V2 | F03 | 55321 | TNF-RI | 3227.02267421442 | In Detection Range | STD3 | C02 | 21183 | TNF-RI | 124.187667263108 | In Detection Range
182 | V1 | G03 | 40982 | TNF-RI | 2392.7493045446499 | In Detection Range | STD3 | C01 | 21977 | TNF-RI | 128.80724657667099 | In Detection Range
182 | V2 | H03 | 34787 | TNF-RI | 2032.69837735653 | In Detection Range | STD4 | D02 | 5148 | TNF-RI | 30.459954467414502 | In Detection Range
183 | V1 | B04 | 128893 | TNF-RI | 7552.9947231907699 | In Detection Range | STD4 | D01 | 5428 | TNF-RI | 32.111444167393898 | In Detection Range
183 | V2 | C04 | 144352 | TNF-RI | 8474.7131650642896 | In Detection Range | STD5 | E01 | 1397 | TNF-RI | 8.17504077660859 | In Detection Range
184 | V1 | D04 | 49009 | TNF-RI | 2859.5701447065298 | In Detection Range | STD5 | E02 | 1299 | TNF-RI | 7.5859815937983299 | In Detection Range
185 | V1 | E04 | 517576 | TNF-RI | 32585.061830617298 | Above Fit Curve Range | STD6 | F01 | 371 | TNF-RI | 1.9617832890919 | In Detection Range
186 | V1 | F04 | 80917 | TNF-RI | 4721.9959992595504 | In Detection Range | STD6 | F02 | 343 | TNF-RI | 1.7898954747634801 | In Detection Range
186 | V2 | G04 | 53518 | TNF-RI | 3122.0218809405701 | In Detection Range | STD7 | G01 | 134 | TNF-RI | 0.49625334018557099 | In Detection Range
187 | V1 | H04 | 45826 | TNF-RI | 2674.4049976300698 | In Detection Range | STD7 | G02 | 140 | TNF-RI | 0.53380340508347801 | In Detection Range
187 | V2 | A05 | 47755 | TNF-RI | 2786.61147006387 | In Detection Range | STD8 | H02 | 57 | TNF-RI | 7.3233089381381797E-3 | Below Detection Range
188 | V1 | B05 | 25080 | TNF-RI | 1468.5354346664001 | In Detection Range | STD8 | H01 | 54 | TNF-RI | NaN | Below Fit Curve Range
188 | V2 | C05 | 30815 | TNF-RI | 1801.8798732432199 | In Detection Range
189 | V1 | D05 | 20293 | TNF-RI | 1190.0843214461399 | In Detection Range
190 | V2 | E05 | 51061 | TNF-RI | 2978.9860412052199 | In Detection Range
192 | V1 | F05 | 88823 | TNF-RI | 5185.6999471573999 | In Detection Range
193 | V1 | G05 | 44363 | TNF-RI | 2589.32293941342 | In Detection Range
195 | V1 | H05 | 40526 | TNF-RI | 2366.2419138383202 | In Detection Range
195 | V2 | A06 | 36244 | TNF-RI | 2117.3687899662 | In Detection Range
196 | V1 | B06 | 102913 | TNF-RI | 6014.7324119773202 | In Detection Range
196 | V2 | C06 | 110547 | TNF-RI | 6465.3958492574302 | In Detection Range
366 | V1 | D06 | 103187 | TNF-RI | 6030.8890492886303 | In Detection Range
367 | V1 | E06 | 75214 | TNF-RI | 4388.1144911754 | In Detection Range
367 | V2 | F06 | 62524 | TNF-RI | 3646.8581733013102 | In Detection Range
368 | V2 | G06 | 48656 | TNF-RI | 2839.0310239929399 | In Detection Range
369 | V1 | H06 | 121772 | TNF-RI | 7130.0579037540501 | In Detection Range
369 | V2 | A07 | 102911 | TNF-RI | 6014.6144853460601 | In Detection Range
370 | V1 | B07 | 42310 | TNF-RI | 2469.9523103807701 | In Detection Range
371 | V1 | C07 | 36240 | TNF-RI | 2117.1363332168798 | In Detection Range
372 | V1 | D07 | 19452 | TNF-RI | 1141.13136705689 | In Detection Range
373 | V1 | E07 | 61266 | TNF-RI | 3573.4904913297601 | In Detection Range
373 | V2 | F07 | 66489 | TNF-RI | 3878.2305268218201 | In Detection Range
374 | V1 | G07 | 17056 | TNF-RI | 1001.58825376031 | In Detection Range
374 | V2 | H07 | 20380 | TNF-RI | 1195.1477268211499 | In Detection Range
375 | V1 | A08 | 28086 | TNF-RI | 1643.2781248267099 | In Detection Range
375 | V2 | B08 | 29526 | TNF-RI | 1726.9699339061201 | In Detection Range
376 | V1 | C08 | 337974 | TNF-RI | 20498.444515569601 | Above Fit Curve Range
377 | V1 | D08 | 67824 | TNF-RI | 3956.1787882563299 | In Detection Range
377 | V2 | E08 | 58762 | TNF-RI | 3427.5113121761901 | In Detection Range
378 | V2 | F08 | 47247 | TNF-RI | 2757.0592561293201 | In Detection Range
380 | V1 | G08 | 27771 | TNF-RI | 1624.9693332551799 | In Detection Range
380 | V2 | H08 | 20894 | TNF-RI | 1225.0600629242199 | In Detection Range
381 | V1 | A09 | 211120 | TNF-RI | 12516.096753440601 | In Detection Range
382 | V1 | B09 | 26118 | TNF-RI | 1528.88259583994 | In Detection Range
383 | V2 | C09 | 35349 | TNF-RI | 2065.35738101579 | In Detection Range
605 | V1 | D09 | 99197 | TNF-RI | 5795.7495651770196 | In Detection Range
605 | V2 | E09 | 65225 | TNF-RI | 3804.4495406316801 | In Detection Range
606 | V1 | F09 | 39510 | TNF-RI | 2307.1850372673098 | In Detection Range
606 | V2 | G09 | 32324 | TNF-RI | 1889.5708778641199 | In Detection Range
607 | V1 | H09 | 34837 | TNF-RI | 2035.6039657640999 | In Detection Range
608 | V1 | A10 | 59052 | TNF-RI | 3444.4140978164 | In Detection Range
609 | V1 | B10 | 119302 | TNF-RI | 6983.5927313205202 | In Detection Range
609 | V2 | C10 | 82600 | TNF-RI | 4820.6232255688701 | In Detection Range
610 | V1 | D10 | 28926 | TNF-RI | 1692.0993453928099 | In Detection Range
610 | V2 | E10 | 27254 | TNF-RI | 1594.9185474875501 | In Detection Range
611 | V1 | F10 | 62323 | TNF-RI | 3635.13437339355 | In Detection Range
611 | V2 | G10 | 76130 | TNF-RI | 4441.7083932129299 | In Detection Range
612 | V1 | H10 | 44602 | TNF-RI | 2603.2211974781899 | In Detection Range
612 | V2 | A11 | 47061 | TNF-RI | 2746.2394622239899 | In Detection Range
613 | V1 | B11 | 101090 | TNF-RI | 5907.27241531865 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
178 | V1 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 1.16045990106925 | 2 | QC | TNF-RI | 2.4 | 4
179 | V2 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 3.9473388414072601 | 2
180 | V1 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 2.5822936985350302 | 2
181 | V1 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 3.73263053533719 | 2
181 | V2 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 5.2855421798958302 | 2
182 | V1 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 6.4793947864584798 | 2
182 | V2 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 5.1554257850852396 | 2
183 | V1 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
183 | V2 | TNF-RI | NaN | 1
184 | V1 | TNF-RI | NaN | 1
185 | V1 | TNF-RI | NaN | 1
186 | V1 | TNF-RI | NaN | 1
186 | V2 | TNF-RI | NaN | 1
187 | V1 | TNF-RI | NaN | 1
187 | V2 | TNF-RI | NaN | 1
188 | V1 | TNF-RI | NaN | 1
188 | V2 | TNF-RI | NaN | 1
189 | V1 | TNF-RI | NaN | 1
190 | V2 | TNF-RI | NaN | 1
192 | V1 | TNF-RI | NaN | 1
193 | V1 | TNF-RI | NaN | 1
195 | V1 | TNF-RI | NaN | 1
195 | V2 | TNF-RI | NaN | 1
196 | V1 | TNF-RI | NaN | 1
196 | V2 | TNF-RI | NaN | 1
366 | V1 | TNF-RI | NaN | 1
367 | V1 | TNF-RI | NaN | 1
367 | V2 | TNF-RI | NaN | 1
368 | V2 | TNF-RI | NaN | 1
369 | V1 | TNF-RI | NaN | 1
369 | V2 | TNF-RI | NaN | 1
370 | V1 | TNF-RI | NaN | 1
371 | V1 | TNF-RI | NaN | 1
372 | V1 | TNF-RI | NaN | 1
373 | V1 | TNF-RI | NaN | 1
373 | V2 | TNF-RI | NaN | 1
374 | V1 | TNF-RI | NaN | 1
374 | V2 | TNF-RI | NaN | 1
375 | V1 | TNF-RI | NaN | 1
375 | V2 | TNF-RI | NaN | 1
376 | V1 | TNF-RI | NaN | 1
377 | V1 | TNF-RI | NaN | 1
377 | V2 | TNF-RI | NaN | 1
378 | V2 | TNF-RI | NaN | 1
380 | V1 | TNF-RI | NaN | 1
380 | V2 | TNF-RI | NaN | 1
381 | V1 | TNF-RI | NaN | 1
382 | V1 | TNF-RI | NaN | 1
383 | V2 | TNF-RI | NaN | 1
605 | V1 | TNF-RI | NaN | 1
605 | V2 | TNF-RI | NaN | 1
606 | V1 | TNF-RI | NaN | 1
606 | V2 | TNF-RI | NaN | 1
607 | V1 | TNF-RI | NaN | 1
608 | V1 | TNF-RI | NaN | 1
609 | V1 | TNF-RI | NaN | 1
609 | V2 | TNF-RI | NaN | 1
610 | V1 | TNF-RI | NaN | 1
610 | V2 | TNF-RI | NaN | 1
611 | V1 | TNF-RI | NaN | 1
611 | V2 | TNF-RI | NaN | 1
612 | V1 | TNF-RI | NaN | 1
612 | V2 | TNF-RI | NaN | 1
613 | V1 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].