## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14A7H47_Set2 | 19_V1 | TNF-RI | B03 | 1 | 10 |  | 155326 | 155326 | 155326 | 155326 | NaN |  |  | 9269.0854622911593 | 9269.0854622911593 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 19_V2 | TNF-RI | C03 | 1 | 10 |  | 131815 | 131815 | 131815 | 131815 | NaN |  |  | 7886.6764825987402 | 7886.6764825987402 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 20_V1 | TNF-RI | D03 | 1 | 10 |  | 32742 | 32742 | 32742 | 32742 | NaN |  |  | 2002.08170773491 | 2002.08170773491 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 20_V2 | TNF-RI | E03 | 1 | 10 |  | 21151 | 21151 | 21151 | 21151 | NaN |  |  | 1301.51879508045 | 1301.51879508045 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 212_V1 | TNF-RI | E06 | 1 | 10 |  | 27020 | 27020 | 27020 | 27020 | NaN |  |  | 1656.8763770703199 | 1656.8763770703199 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 212_V2 | TNF-RI | F06 | 1 | 10 |  | 19078 | 19078 | 19078 | 19078 | NaN |  |  | 1175.6273354811899 | 1175.6273354811899 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 213_V1 | TNF-RI | G06 | 1 | 10 |  | 39550 | 39550 | 39550 | 39550 | NaN |  |  | 2411.5040432389801 | 2411.5040432389801 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 213_V2 | TNF-RI | H06 | 1 | 10 |  | 84643 | 84643 | 84643 | 84643 | NaN |  |  | 5100.14049289595 | 5100.14049289595 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 214_V2 | TNF-RI | A07 | 1 | 10 |  | 165192 | 165192 | 165192 | 165192 | NaN |  |  | 9848.1730023785294 | 9848.1730023785294 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 215_V1 | TNF-RI | B07 | 1 | 10 |  | 30167 | 30167 | 30167 | 30167 | NaN |  |  | 1846.8695333989399 | 1846.8695333989399 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 215_V2 | TNF-RI | C07 | 1 | 10 |  | 20477 | 20477 | 20477 | 20477 | NaN |  |  | 1260.6111049052799 | 1260.6111049052799 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 216_V1 | TNF-RI | D07 | 1 | 10 |  | 66934 | 66934 | 66934 | 66934 | NaN |  |  | 4048.0711750302098 | 4048.0711750302098 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 216_V2 | TNF-RI | E07 | 1 | 10 |  | 55766 | 55766 | 55766 | 55766 | NaN |  |  | 3382.30105070023 | 3382.30105070023 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 217_V1 | TNF-RI | F07 | 1 | 10 |  | 11363 | 11363 | 11363 | 11363 | NaN |  |  | 704.817976321522 | 704.817976321522 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 217_V2 | TNF-RI | G07 | 1 | 10 |  | 13909 | 13909 | 13909 | 13909 | NaN |  |  | 860.65083246514496 | 860.65083246514496 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 218_V1 | TNF-RI | H07 | 1 | 10 |  | 29529 | 29529 | 29529 | 29529 | NaN |  |  | 1808.3796124089199 | 1808.3796124089199 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 218_V2 | TNF-RI | A08 | 1 | 10 |  | 21417 | 21417 | 21417 | 21417 | NaN |  |  | 1317.65732157091 | 1317.65732157091 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 219_V1 | TNF-RI | B08 | 1 | 10 |  | 50974 | 50974 | 50974 | 50974 | NaN |  |  | 3095.9787668215599 | 3095.9787668215599 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 219_V2 | TNF-RI | C08 | 1 | 10 |  | 32321 | 32321 | 32321 | 32321 | NaN |  |  | 1976.71962579858 | 1976.71962579858 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 21_V1 | TNF-RI | F03 | 1 | 10 |  | 30371 | 30371 | 30371 | 30371 | NaN |  |  | 1859.17377632225 | 1859.17377632225 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 221_V2 | TNF-RI | D08 | 1 | 10 |  | 278639 | 278639 | 278639 | 278639 | NaN |  |  | 16474.5960909026 | 16474.5960909026 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 222_V1 | TNF-RI | E08 | 1 | 10 |  | 36811 | 36811 | 36811 | 36811 | NaN |  |  | 2246.9384197300301 | 2246.9384197300301 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 222_V2 | TNF-RI | F08 | 1 | 10 |  | 28005 | 28005 | 28005 | 28005 | NaN |  |  | 1716.3813935831699 | 1716.3813935831699 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 223_V1 | TNF-RI | G08 | 1 | 10 |  | 71496 | 71496 | 71496 | 71496 | NaN |  |  | 4319.4868669315301 | 4319.4868669315301 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 223_V2 | TNF-RI | H08 | 1 | 10 |  | 68175 | 68175 | 68175 | 68175 | NaN |  |  | 4121.9335300428502 | 4121.9335300428502 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 224_V1 | TNF-RI | A09 | 1 | 10 |  | 343110 | 343110 | 343110 | 343110 | NaN |  |  | 20220.706752085502 | 20220.706752085502 | NaN | Above Fit Curve Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 224_V2 | TNF-RI | B09 | 1 | 10 |  | 239656 | 239656 | 239656 | 239656 | NaN |  |  | 14203.360842959501 | 14203.360842959501 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 22_V1 | TNF-RI | G03 | 1 | 10 |  | 25006 | 25006 | 25006 | 25006 | NaN |  |  | 1535.09384031889 | 1535.09384031889 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 23_V1 | TNF-RI | H03 | 1 | 10 |  | 66312 | 66312 | 66312 | 66312 | NaN |  |  | 4011.0422914277801 | 4011.0422914277801 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 23_V2 | TNF-RI | B04 | 1 | 10 |  | 80644 | 80644 | 80644 | 80644 | NaN |  |  | 4862.9093878486201 | 4862.9093878486201 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 24_V1 | TNF-RI | C04 | 1 | 10 |  | 38824 | 38824 | 38824 | 38824 | NaN |  |  | 2367.9032446091801 | 2367.9032446091801 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 24_V2 | TNF-RI | D04 | 1 | 10 |  | 43472 | 43472 | 43472 | 43472 | NaN |  |  | 2646.8206851721302 | 2646.8206851721302 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 26_V1 | TNF-RI | E04 | 1 | 10 |  | 33933 | 33933 | 33933 | 33933 | NaN |  |  | 2073.8013025227501 | 2073.8013025227501 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 26_V2 | TNF-RI | F04 | 1 | 10 |  | 42115 | 42115 | 42115 | 42115 | NaN |  |  | 2565.4433983407098 | 2565.4433983407098 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 27_V1 | TNF-RI | G04 | 1 | 10 |  | 33311 | 33311 | 33311 | 33311 | NaN |  |  | 2036.3510552791199 | 2036.3510552791199 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 30_V1 | TNF-RI | H04 | 1 | 10 |  | 42778 | 42778 | 42778 | 42778 | NaN |  |  | 2605.2078774961701 | 2605.2078774961701 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 30_V2 | TNF-RI | A05 | 1 | 10 |  | 43168 | 43168 | 43168 | 43168 | NaN |  |  | 2628.5939628369201 | 2628.5939628369201 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 31_V1 | TNF-RI | B05 | 1 | 10 |  | 35867 | 35867 | 35867 | 35867 | NaN |  |  | 2190.1742028011699 | 2190.1742028011699 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 31_V2 | TNF-RI | C05 | 1 | 10 |  | 20396 | 20396 | 20396 | 20396 | NaN |  |  | 1255.6933937015301 | 1255.6933937015301 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 32_V1 | TNF-RI | D05 | 1 | 10 |  | 13798 | 13798 | 13798 | 13798 | NaN |  |  | 853.86758033301396 | 853.86758033301396 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 33_V1 | TNF-RI | E05 | 1 | 10 |  | 104056 | 104056 | 104056 | 104056 | NaN |  |  | 6249.3257559985605 | 6249.3257559985605 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 33_V2 | TNF-RI | F05 | 1 | 10 |  | 99938 | 99938 | 99938 | 99938 | NaN |  |  | 6005.8682725254703 | 6005.8682725254703 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 34_V1 | TNF-RI | G05 | 1 | 10 |  | 155471 | 155471 | 155471 | 155471 | NaN |  |  | 9277.6003883446992 | 9277.6003883446992 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 34_V2 | TNF-RI | H05 | 1 | 10 |  | 81822 | 81822 | 81822 | 81822 | NaN |  |  | 4932.8109268426697 | 4932.8109268426697 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 35_V1 | TNF-RI | A06 | 1 | 10 |  | 12998 | 12998 | 12998 | 12998 | NaN |  |  | 804.95162278912699 | 804.95162278912699 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 35_V2 | TNF-RI | B06 | 1 | 10 |  | 17845 | 17845 | 17845 | 17845 | NaN |  |  | 1100.64085795389 | 1100.64085795389 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 36_V1 | TNF-RI | C06 | 1 | 10 |  | 41246 | 41246 | 41246 | 41246 | NaN |  |  | 2513.3079851216598 | 2513.3079851216598 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 36_V2 | TNF-RI | D06 | 1 | 10 |  | 34066 | 34066 | 34066 | 34066 | NaN |  |  | 2081.8076620809102 | 2081.8076620809102 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 406_V2 | TNF-RI | C09 | 1 | 10 |  | 39426 | 39426 | 39426 | 39426 | NaN |  |  | 2404.0580231383401 | 2404.0580231383401 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 407_V2 | TNF-RI | D09 | 1 | 10 |  | 22300 | 22300 | 22300 | 22300 | NaN |  |  | 1371.2061026382 | 1371.2061026382 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 408_V1 | TNF-RI | E09 | 1 | 10 |  | 13527 | 13527 | 13527 | 13527 | NaN |  |  | 837.30279189980797 | 837.30279189980797 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 410_V2 | TNF-RI | F09 | 1 | 10 |  | 44554 | 44554 | 44554 | 44554 | NaN |  |  | 2711.6763863618298 | 2711.6763863618298 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 411_V1 | TNF-RI | G09 | 1 | 10 |  | 33491 | 33491 | 33491 | 33491 | NaN |  |  | 2047.18993548545 | 2047.18993548545 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 412_V1 | TNF-RI | H09 | 1 | 10 |  | 172553 | 172553 | 172553 | 172553 | NaN |  |  | 10279.8727884699 | 10279.8727884699 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 413_V1 | TNF-RI | A10 | 1 | 10 |  | 20073 | 20073 | 20073 | 20073 | NaN |  |  | 1236.0799915069099 | 1236.0799915069099 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 414_V1 | TNF-RI | B10 | 1 | 10 |  | 25582 | 25582 | 25582 | 25582 | NaN |  |  | 1569.93959363567 | 1569.93959363567 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 414_V2 | TNF-RI | C10 | 1 | 10 |  | 33013 | 33013 | 33013 | 33013 | NaN |  |  | 2018.4045395758901 | 2018.4045395758901 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 415_V1 | TNF-RI | D10 | 1 | 10 |  | 29223 | 29223 | 29223 | 29223 | NaN |  |  | 1789.9140228961301 | 1789.9140228961301 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 415_V2 | TNF-RI | E10 | 1 | 10 |  | 29083 | 29083 | 29083 | 29083 | NaN |  |  | 1781.4646399576 | 1781.4646399576 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 416_V1 | TNF-RI | F10 | 1 | 10 |  | 54044 | 54044 | 54044 | 54044 | NaN |  |  | 3279.4601016830402 | 3279.4601016830402 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 416_V2 | TNF-RI | G10 | 1 | 10 |  | 38476 | 38476 | 38476 | 38476 | NaN |  |  | 2346.9989004017498 | 2346.9989004017498 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 417_V1 | TNF-RI | H10 | 1 | 10 |  | 39477 | 39477 | 39477 | 39477 | NaN |  |  | 2407.12054616973 | 2407.12054616973 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 417_V2 | TNF-RI | A11 | 1 | 10 |  | 26380 | 26380 | 26380 | 26380 | NaN |  |  | 1618.1938695956801 | 1618.1938695956801 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 418_V2 | TNF-RI | B11 | 1 | 10 |  | 62438 | 62438 | 62438 | 62438 | NaN |  |  | 3780.2848509805399 | 3780.2848509805399 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 419_V1 | TNF-RI | C11 | 1 | 10 |  | 132775 | 132775 | 132775 | 132775 | NaN |  |  | 7943.1953589210898 | 7943.1953589210898 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 419_V2 | TNF-RI | D11 | 1 | 10 |  | 99756 | 99756 | 99756 | 99756 | NaN |  |  | 5995.10467951393 | 5995.10467951393 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 420_V1 | TNF-RI | E11 | 1 | 10 |  | 35242 | 35242 | 35242 | 35242 | NaN |  |  | 2152.5783228884802 | 2152.5783228884802 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 421_V1 | TNF-RI | F11 | 1 | 10 |  | 12686 | 12686 | 12686 | 12686 | NaN |  |  | 785.86081455065198 | 785.86081455065198 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 421_V2 | TNF-RI | G11 | 1 | 10 |  | 15064 | 15064 | 15064 | 15064 | NaN |  |  | 931.18057855409302 | 931.18057855409302 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 423_V1 | TNF-RI | A12 | 1 | 10 |  | 61613 | 61613 | 61613 | 61613 | NaN |  |  | 3731.1132478557502 | 3731.1132478557502 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 423_V2 | TNF-RI | B12 | 1 | 10 |  | 45644 | 45644 | 45644 | 45644 | NaN |  |  | 2776.9852248832099 | 2776.9852248832099 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | BLANK | TNF-RI | E12 | 1 |  |  | 64 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | BLANK | TNF-RI | F12 | 1 |  |  | 64 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | BLANK | TNF-RI | G12 | 1 |  |  | 62 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | BLANK | TNF-RI | D12 | 1 |  |  | 66 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | BLANK | TNF-RI | C12 | 1 |  |  | 62 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | QC | TNF-RI | H11 | 1 | 10 |  | 64663 | 65265 | 64663 | 65265 | 1.3044611423406101 |  |  | 3912.8463328852399 | 3948.6967017686902 | 1.2839699202106001 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | QC | TNF-RI | A03 | 1 | 10 |  | 70330 | 70751 | 70330 | 70751 | 0.84152013365051104 |  |  | 4250.14357184249 | 4275.1818379896104 | 0.828256128169919 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | QC | TNF-RI | A04 | 1 | 10 |  | 71172 | 70751 | 71172 | 70751 | 0.84152013365051104 |  |  | 4300.2201041367198 | 4275.1818379896104 | 0.828256128169919 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | QC | TNF-RI | H12 | 1 | 10 |  | 65867 | 65265 | 65867 | 65265 | 1.3044611423406101 |  |  | 3984.5470706521501 | 3948.6967017686902 | 1.2839699202106001 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 332073 | 348074 | 332073 | 348074 | 6.5011552748932404 | 97.9009 | 102.54189736521499 | 1958.0189358277701 | 2050.8379473043101 | 6.4005985967218297 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 364075 | 348074 | 364075 | 348074 | 6.5011552748932404 | 107.1828 | 102.54189736521499 | 2143.6569587808599 | 2050.8379473043101 | 6.4005985967218297 | Above Fit Curve Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD2 | TNF-RI | B01 | 1 |  | 500 | 77405 | 81535 | 77405 | 81534.5 | 7.1626058978956104 | 93.4125 | 98.313024387081697 | 467.062316976815 | 491.565121935408 | 7.0493608155499503 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD2 | TNF-RI | B02 | 1 |  | 500 | 85664 | 81535 | 85664 | 81534.5 | 7.1626058978956104 | 103.2136 | 98.313024387081697 | 516.06792689400095 | 491.565121935408 | 7.0493608155499503 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD3 | TNF-RI | C02 | 1 |  | 125 | 20176 | 20306 | 20176 | 20305.5 | 0.90192635654042397 | 99.3868 | 100.01584848595 | 124.23349907789201 | 125.019810607438 | 0.889468976101223 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD3 | TNF-RI | C01 | 1 |  | 125 | 20435 | 20306 | 20435 | 20305.5 | 0.90192635654042397 | 100.6449 | 100.01584848595 | 125.80612213698301 | 125.019810607438 | 0.889468976101223 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 5093 | 4915 | 5093 | 4914.5 | 5.1365778997577998 | 101.7922 | 98.239779354846902 | 31.810062651152599 | 30.699931048389601 | 5.11389802853863 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 4736 | 4915 | 4736 | 4914.5 | 5.1365778997577998 | 94.6874 | 98.239779354846902 | 29.589799445626699 | 30.699931048389601 | 5.11389802853863 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1237 | 1246 | 1237 | 1246 | 1.0215025731426799 | 97.5001 | 98.233808693628603 | 7.6171984896091001 | 7.67451630418973 | 1.0562181059053699 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1255 | 1246 | 1255 | 1246 | 1.0215025731426799 | 98.9675 | 98.233808693628603 | 7.7318341187703599 | 7.67451630418973 | 1.0562181059053699 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 364 | 369 | 364 | 369 | 1.9162785398009401 | 102.7434 | 104.41126574639 | 2.0067075942561399 | 2.0392825341091898 | 2.2590259546253599 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 374 | 369 | 374 | 369 | 1.9162785398009401 | 106.0791 | 104.41126574639 | 2.07185747396223 | 2.0392825341091898 | 2.2590259546253599 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 129 | 133 | 129 | 133 | 4.2532738717987799 | 94.307 | 99.776705322296806 | 0.46048318741157002 | 0.48719094395652701 | 7.7527039438991103 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 137 | 133 | 137 | 133 | 4.2532738717987799 | 105.2465 | 99.776705322296806 | 0.51389870050148401 | 0.48719094395652701 | 7.7527039438991103 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD8 | TNF-RI | H02 | 1 |  | 0 | 58 | 61 | 58 | 61 | 6.9551486674086602 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD8 | TNF-RI | H01 | 1 |  | 0 | 64 | 61 | 64 | 61 | 6.9551486674086602 |  | NaN | 1.9652128262202199E-2 | NaN | NaN | Below Detection Range | 2000 | 0.25748

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14A7H47_Set2 | 19 | V1 | TNF-RI | B03 | 1 | 10 |  | 155326 | 155326 | 155326 | 155326 | NaN |  |  | 9269.0854622911593 | 9269.0854622911593 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 19 | V2 | TNF-RI | C03 | 1 | 10 |  | 131815 | 131815 | 131815 | 131815 | NaN |  |  | 7886.6764825987402 | 7886.6764825987402 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 20 | V1 | TNF-RI | D03 | 1 | 10 |  | 32742 | 32742 | 32742 | 32742 | NaN |  |  | 2002.08170773491 | 2002.08170773491 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 20 | V2 | TNF-RI | E03 | 1 | 10 |  | 21151 | 21151 | 21151 | 21151 | NaN |  |  | 1301.51879508045 | 1301.51879508045 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 212 | V1 | TNF-RI | E06 | 1 | 10 |  | 27020 | 27020 | 27020 | 27020 | NaN |  |  | 1656.8763770703199 | 1656.8763770703199 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 212 | V2 | TNF-RI | F06 | 1 | 10 |  | 19078 | 19078 | 19078 | 19078 | NaN |  |  | 1175.6273354811899 | 1175.6273354811899 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 213 | V1 | TNF-RI | G06 | 1 | 10 |  | 39550 | 39550 | 39550 | 39550 | NaN |  |  | 2411.5040432389801 | 2411.5040432389801 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 213 | V2 | TNF-RI | H06 | 1 | 10 |  | 84643 | 84643 | 84643 | 84643 | NaN |  |  | 5100.14049289595 | 5100.14049289595 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 214 | V2 | TNF-RI | A07 | 1 | 10 |  | 165192 | 165192 | 165192 | 165192 | NaN |  |  | 9848.1730023785294 | 9848.1730023785294 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 215 | V1 | TNF-RI | B07 | 1 | 10 |  | 30167 | 30167 | 30167 | 30167 | NaN |  |  | 1846.8695333989399 | 1846.8695333989399 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 215 | V2 | TNF-RI | C07 | 1 | 10 |  | 20477 | 20477 | 20477 | 20477 | NaN |  |  | 1260.6111049052799 | 1260.6111049052799 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 216 | V1 | TNF-RI | D07 | 1 | 10 |  | 66934 | 66934 | 66934 | 66934 | NaN |  |  | 4048.0711750302098 | 4048.0711750302098 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 216 | V2 | TNF-RI | E07 | 1 | 10 |  | 55766 | 55766 | 55766 | 55766 | NaN |  |  | 3382.30105070023 | 3382.30105070023 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 217 | V1 | TNF-RI | F07 | 1 | 10 |  | 11363 | 11363 | 11363 | 11363 | NaN |  |  | 704.817976321522 | 704.817976321522 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 217 | V2 | TNF-RI | G07 | 1 | 10 |  | 13909 | 13909 | 13909 | 13909 | NaN |  |  | 860.65083246514496 | 860.65083246514496 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 218 | V1 | TNF-RI | H07 | 1 | 10 |  | 29529 | 29529 | 29529 | 29529 | NaN |  |  | 1808.3796124089199 | 1808.3796124089199 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 218 | V2 | TNF-RI | A08 | 1 | 10 |  | 21417 | 21417 | 21417 | 21417 | NaN |  |  | 1317.65732157091 | 1317.65732157091 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 219 | V1 | TNF-RI | B08 | 1 | 10 |  | 50974 | 50974 | 50974 | 50974 | NaN |  |  | 3095.9787668215599 | 3095.9787668215599 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 219 | V2 | TNF-RI | C08 | 1 | 10 |  | 32321 | 32321 | 32321 | 32321 | NaN |  |  | 1976.71962579858 | 1976.71962579858 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 21 | V1 | TNF-RI | F03 | 1 | 10 |  | 30371 | 30371 | 30371 | 30371 | NaN |  |  | 1859.17377632225 | 1859.17377632225 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 221 | V2 | TNF-RI | D08 | 1 | 10 |  | 278639 | 278639 | 278639 | 278639 | NaN |  |  | 16474.5960909026 | 16474.5960909026 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 222 | V1 | TNF-RI | E08 | 1 | 10 |  | 36811 | 36811 | 36811 | 36811 | NaN |  |  | 2246.9384197300301 | 2246.9384197300301 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 222 | V2 | TNF-RI | F08 | 1 | 10 |  | 28005 | 28005 | 28005 | 28005 | NaN |  |  | 1716.3813935831699 | 1716.3813935831699 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 223 | V1 | TNF-RI | G08 | 1 | 10 |  | 71496 | 71496 | 71496 | 71496 | NaN |  |  | 4319.4868669315301 | 4319.4868669315301 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 223 | V2 | TNF-RI | H08 | 1 | 10 |  | 68175 | 68175 | 68175 | 68175 | NaN |  |  | 4121.9335300428502 | 4121.9335300428502 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 224 | V1 | TNF-RI | A09 | 1 | 10 |  | 343110 | 343110 | 343110 | 343110 | NaN |  |  | 20220.706752085502 | 20220.706752085502 | NaN | Above Fit Curve Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 224 | V2 | TNF-RI | B09 | 1 | 10 |  | 239656 | 239656 | 239656 | 239656 | NaN |  |  | 14203.360842959501 | 14203.360842959501 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 22 | V1 | TNF-RI | G03 | 1 | 10 |  | 25006 | 25006 | 25006 | 25006 | NaN |  |  | 1535.09384031889 | 1535.09384031889 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 23 | V1 | TNF-RI | H03 | 1 | 10 |  | 66312 | 66312 | 66312 | 66312 | NaN |  |  | 4011.0422914277801 | 4011.0422914277801 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 23 | V2 | TNF-RI | B04 | 1 | 10 |  | 80644 | 80644 | 80644 | 80644 | NaN |  |  | 4862.9093878486201 | 4862.9093878486201 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 24 | V1 | TNF-RI | C04 | 1 | 10 |  | 38824 | 38824 | 38824 | 38824 | NaN |  |  | 2367.9032446091801 | 2367.9032446091801 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 24 | V2 | TNF-RI | D04 | 1 | 10 |  | 43472 | 43472 | 43472 | 43472 | NaN |  |  | 2646.8206851721302 | 2646.8206851721302 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 26 | V1 | TNF-RI | E04 | 1 | 10 |  | 33933 | 33933 | 33933 | 33933 | NaN |  |  | 2073.8013025227501 | 2073.8013025227501 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 26 | V2 | TNF-RI | F04 | 1 | 10 |  | 42115 | 42115 | 42115 | 42115 | NaN |  |  | 2565.4433983407098 | 2565.4433983407098 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 27 | V1 | TNF-RI | G04 | 1 | 10 |  | 33311 | 33311 | 33311 | 33311 | NaN |  |  | 2036.3510552791199 | 2036.3510552791199 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 30 | V1 | TNF-RI | H04 | 1 | 10 |  | 42778 | 42778 | 42778 | 42778 | NaN |  |  | 2605.2078774961701 | 2605.2078774961701 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 30 | V2 | TNF-RI | A05 | 1 | 10 |  | 43168 | 43168 | 43168 | 43168 | NaN |  |  | 2628.5939628369201 | 2628.5939628369201 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 31 | V1 | TNF-RI | B05 | 1 | 10 |  | 35867 | 35867 | 35867 | 35867 | NaN |  |  | 2190.1742028011699 | 2190.1742028011699 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 31 | V2 | TNF-RI | C05 | 1 | 10 |  | 20396 | 20396 | 20396 | 20396 | NaN |  |  | 1255.6933937015301 | 1255.6933937015301 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 32 | V1 | TNF-RI | D05 | 1 | 10 |  | 13798 | 13798 | 13798 | 13798 | NaN |  |  | 853.86758033301396 | 853.86758033301396 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 33 | V1 | TNF-RI | E05 | 1 | 10 |  | 104056 | 104056 | 104056 | 104056 | NaN |  |  | 6249.3257559985605 | 6249.3257559985605 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 33 | V2 | TNF-RI | F05 | 1 | 10 |  | 99938 | 99938 | 99938 | 99938 | NaN |  |  | 6005.8682725254703 | 6005.8682725254703 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 34 | V1 | TNF-RI | G05 | 1 | 10 |  | 155471 | 155471 | 155471 | 155471 | NaN |  |  | 9277.6003883446992 | 9277.6003883446992 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 34 | V2 | TNF-RI | H05 | 1 | 10 |  | 81822 | 81822 | 81822 | 81822 | NaN |  |  | 4932.8109268426697 | 4932.8109268426697 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 35 | V1 | TNF-RI | A06 | 1 | 10 |  | 12998 | 12998 | 12998 | 12998 | NaN |  |  | 804.95162278912699 | 804.95162278912699 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 35 | V2 | TNF-RI | B06 | 1 | 10 |  | 17845 | 17845 | 17845 | 17845 | NaN |  |  | 1100.64085795389 | 1100.64085795389 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 36 | V1 | TNF-RI | C06 | 1 | 10 |  | 41246 | 41246 | 41246 | 41246 | NaN |  |  | 2513.3079851216598 | 2513.3079851216598 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 36 | V2 | TNF-RI | D06 | 1 | 10 |  | 34066 | 34066 | 34066 | 34066 | NaN |  |  | 2081.8076620809102 | 2081.8076620809102 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 406 | V2 | TNF-RI | C09 | 1 | 10 |  | 39426 | 39426 | 39426 | 39426 | NaN |  |  | 2404.0580231383401 | 2404.0580231383401 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 407 | V2 | TNF-RI | D09 | 1 | 10 |  | 22300 | 22300 | 22300 | 22300 | NaN |  |  | 1371.2061026382 | 1371.2061026382 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 408 | V1 | TNF-RI | E09 | 1 | 10 |  | 13527 | 13527 | 13527 | 13527 | NaN |  |  | 837.30279189980797 | 837.30279189980797 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 410 | V2 | TNF-RI | F09 | 1 | 10 |  | 44554 | 44554 | 44554 | 44554 | NaN |  |  | 2711.6763863618298 | 2711.6763863618298 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 411 | V1 | TNF-RI | G09 | 1 | 10 |  | 33491 | 33491 | 33491 | 33491 | NaN |  |  | 2047.18993548545 | 2047.18993548545 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 412 | V1 | TNF-RI | H09 | 1 | 10 |  | 172553 | 172553 | 172553 | 172553 | NaN |  |  | 10279.8727884699 | 10279.8727884699 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 413 | V1 | TNF-RI | A10 | 1 | 10 |  | 20073 | 20073 | 20073 | 20073 | NaN |  |  | 1236.0799915069099 | 1236.0799915069099 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 414 | V1 | TNF-RI | B10 | 1 | 10 |  | 25582 | 25582 | 25582 | 25582 | NaN |  |  | 1569.93959363567 | 1569.93959363567 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 414 | V2 | TNF-RI | C10 | 1 | 10 |  | 33013 | 33013 | 33013 | 33013 | NaN |  |  | 2018.4045395758901 | 2018.4045395758901 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 415 | V1 | TNF-RI | D10 | 1 | 10 |  | 29223 | 29223 | 29223 | 29223 | NaN |  |  | 1789.9140228961301 | 1789.9140228961301 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 415 | V2 | TNF-RI | E10 | 1 | 10 |  | 29083 | 29083 | 29083 | 29083 | NaN |  |  | 1781.4646399576 | 1781.4646399576 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 416 | V1 | TNF-RI | F10 | 1 | 10 |  | 54044 | 54044 | 54044 | 54044 | NaN |  |  | 3279.4601016830402 | 3279.4601016830402 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 416 | V2 | TNF-RI | G10 | 1 | 10 |  | 38476 | 38476 | 38476 | 38476 | NaN |  |  | 2346.9989004017498 | 2346.9989004017498 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 417 | V1 | TNF-RI | H10 | 1 | 10 |  | 39477 | 39477 | 39477 | 39477 | NaN |  |  | 2407.12054616973 | 2407.12054616973 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 417 | V2 | TNF-RI | A11 | 1 | 10 |  | 26380 | 26380 | 26380 | 26380 | NaN |  |  | 1618.1938695956801 | 1618.1938695956801 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 418 | V2 | TNF-RI | B11 | 1 | 10 |  | 62438 | 62438 | 62438 | 62438 | NaN |  |  | 3780.2848509805399 | 3780.2848509805399 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 419 | V1 | TNF-RI | C11 | 1 | 10 |  | 132775 | 132775 | 132775 | 132775 | NaN |  |  | 7943.1953589210898 | 7943.1953589210898 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 419 | V2 | TNF-RI | D11 | 1 | 10 |  | 99756 | 99756 | 99756 | 99756 | NaN |  |  | 5995.10467951393 | 5995.10467951393 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 420 | V1 | TNF-RI | E11 | 1 | 10 |  | 35242 | 35242 | 35242 | 35242 | NaN |  |  | 2152.5783228884802 | 2152.5783228884802 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 421 | V1 | TNF-RI | F11 | 1 | 10 |  | 12686 | 12686 | 12686 | 12686 | NaN |  |  | 785.86081455065198 | 785.86081455065198 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 421 | V2 | TNF-RI | G11 | 1 | 10 |  | 15064 | 15064 | 15064 | 15064 | NaN |  |  | 931.18057855409302 | 931.18057855409302 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 423 | V1 | TNF-RI | A12 | 1 | 10 |  | 61613 | 61613 | 61613 | 61613 | NaN |  |  | 3731.1132478557502 | 3731.1132478557502 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | 423 | V2 | TNF-RI | B12 | 1 | 10 |  | 45644 | 45644 | 45644 | 45644 | NaN |  |  | 2776.9852248832099 | 2776.9852248832099 | NaN | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | BLANK |  | TNF-RI | E12 | 1 |  |  | 64 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | BLANK |  | TNF-RI | F12 | 1 |  |  | 64 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | BLANK |  | TNF-RI | G12 | 1 |  |  | 62 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | BLANK |  | TNF-RI | D12 | 1 |  |  | 66 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | BLANK |  | TNF-RI | C12 | 1 |  |  | 62 | 64 |  |  | 2.6310063727486601 | [5 empty] | Unknown Range
Plate_23M14A7H47_Set2 | QC |  | TNF-RI | H11 | 1 | 10 |  | 64663 | 65265 | 64663 | 65265 | 1.3044611423406101 |  |  | 3912.8463328852399 | 3948.6967017686902 | 1.2839699202106001 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | QC |  | TNF-RI | A03 | 1 | 10 |  | 70330 | 70751 | 70330 | 70751 | 0.84152013365051104 |  |  | 4250.14357184249 | 4275.1818379896104 | 0.828256128169919 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | QC |  | TNF-RI | A04 | 1 | 10 |  | 71172 | 70751 | 71172 | 70751 | 0.84152013365051104 |  |  | 4300.2201041367198 | 4275.1818379896104 | 0.828256128169919 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | QC |  | TNF-RI | H12 | 1 | 10 |  | 65867 | 65265 | 65867 | 65265 | 1.3044611423406101 |  |  | 3984.5470706521501 | 3948.6967017686902 | 1.2839699202106001 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 332073 | 348074 | 332073 | 348074 | 6.5011552748932404 | 97.9009 | 102.54189736521499 | 1958.0189358277701 | 2050.8379473043101 | 6.4005985967218297 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 364075 | 348074 | 364075 | 348074 | 6.5011552748932404 | 107.1828 | 102.54189736521499 | 2143.6569587808599 | 2050.8379473043101 | 6.4005985967218297 | Above Fit Curve Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 77405 | 81535 | 77405 | 81534.5 | 7.1626058978956104 | 93.4125 | 98.313024387081697 | 467.062316976815 | 491.565121935408 | 7.0493608155499503 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 85664 | 81535 | 85664 | 81534.5 | 7.1626058978956104 | 103.2136 | 98.313024387081697 | 516.06792689400095 | 491.565121935408 | 7.0493608155499503 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 20176 | 20306 | 20176 | 20305.5 | 0.90192635654042397 | 99.3868 | 100.01584848595 | 124.23349907789201 | 125.019810607438 | 0.889468976101223 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 20435 | 20306 | 20435 | 20305.5 | 0.90192635654042397 | 100.6449 | 100.01584848595 | 125.80612213698301 | 125.019810607438 | 0.889468976101223 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 5093 | 4915 | 5093 | 4914.5 | 5.1365778997577998 | 101.7922 | 98.239779354846902 | 31.810062651152599 | 30.699931048389601 | 5.11389802853863 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 4736 | 4915 | 4736 | 4914.5 | 5.1365778997577998 | 94.6874 | 98.239779354846902 | 29.589799445626699 | 30.699931048389601 | 5.11389802853863 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1237 | 1246 | 1237 | 1246 | 1.0215025731426799 | 97.5001 | 98.233808693628603 | 7.6171984896091001 | 7.67451630418973 | 1.0562181059053699 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1255 | 1246 | 1255 | 1246 | 1.0215025731426799 | 98.9675 | 98.233808693628603 | 7.7318341187703599 | 7.67451630418973 | 1.0562181059053699 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 364 | 369 | 364 | 369 | 1.9162785398009401 | 102.7434 | 104.41126574639 | 2.0067075942561399 | 2.0392825341091898 | 2.2590259546253599 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 374 | 369 | 374 | 369 | 1.9162785398009401 | 106.0791 | 104.41126574639 | 2.07185747396223 | 2.0392825341091898 | 2.2590259546253599 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 129 | 133 | 129 | 133 | 4.2532738717987799 | 94.307 | 99.776705322296806 | 0.46048318741157002 | 0.48719094395652701 | 7.7527039438991103 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 137 | 133 | 137 | 133 | 4.2532738717987799 | 105.2465 | 99.776705322296806 | 0.51389870050148401 | 0.48719094395652701 | 7.7527039438991103 | In Detection Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 58 | 61 | 58 | 61 | 6.9551486674086602 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.25748
Plate_23M14A7H47_Set2 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 64 | 61 | 64 | 61 | 6.9551486674086602 |  | NaN | 1.9652128262202199E-2 | NaN | NaN | Below Detection Range | 2000 | 0.25748

## WideData
Sample | TNF-RI_V1 | TNF-RI_V2 | Sample | TNF-RI | Sample | TNF-RI
19 | 9269.0854622911593 | 7886.6764825987402 | STD1 | 2050.8379473043101 | QC | 4111.9393
20 | 2002.08170773491 | 1301.51879508045 | STD2 | 491.565121935408
21 | 1859.17377632225 |  | STD3 | 125.019810607438
22 | 1535.09384031889 |  | STD4 | 30.699931048389601
23 | 4011.0422914277801 | 4862.9093878486201 | STD5 | 7.67451630418973
24 | 2367.9032446091801 | 2646.8206851721302 | STD6 | 2.0392825341091898
26 | 2073.8013025227501 | 2565.4433983407098 | STD7 | 0.48719094395652701
27 | 2036.3510552791199 |  | STD8 | NaN
30 | 2605.2078774961701 | 2628.5939628369201
31 | 2190.1742028011699 | 1255.6933937015301
32 | 853.86758033301396
33 | 6249.3257559985605 | 6005.8682725254703
34 | 9277.6003883446992 | 4932.8109268426697
35 | 804.95162278912699 | 1100.64085795389
36 | 2513.3079851216598 | 2081.8076620809102
212 | 1656.8763770703199 | 1175.6273354811899
213 | 2411.5040432389801 | 5100.14049289595
214 |  | 9848.1730023785294
215 | 1846.8695333989399 | 1260.6111049052799
216 | 4048.0711750302098 | 3382.30105070023
217 | 704.817976321522 | 860.65083246514496
218 | 1808.3796124089199 | 1317.65732157091
219 | 3095.9787668215599 | 1976.71962579858
221 |  | 16474.5960909026
222 | 2246.9384197300301 | 1716.3813935831699
223 | 4319.4868669315301 | 4121.9335300428502
224 | 20220.706752085502 | 14203.360842959501
406 |  | 2404.0580231383401
407 |  | 1371.2061026382
408 | 837.30279189980797
410 |  | 2711.6763863618298
411 | 2047.18993548545
412 | 10279.8727884699
413 | 1236.0799915069099
414 | 1569.93959363567 | 2018.4045395758901
415 | 1789.9140228961301 | 1781.4646399576
416 | 3279.4601016830402 | 2346.9989004017498
417 | 2407.12054616973 | 1618.1938695956801
418 |  | 3780.2848509805399
419 | 7943.1953589210898 | 5995.10467951393
420 | 2152.5783228884802
421 | 785.86081455065198 | 931.18057855409302
423 | 3731.1132478557502 | 2776.9852248832099

## WideSampleData
Sample | TNF-RI_V1 | TNF-RI_V2
19 | 9269.0854622911593 | 7886.6764825987402
20 | 2002.08170773491 | 1301.51879508045
21 | 1859.17377632225
22 | 1535.09384031889
23 | 4011.0422914277801 | 4862.9093878486201
24 | 2367.9032446091801 | 2646.8206851721302
26 | 2073.8013025227501 | 2565.4433983407098
27 | 2036.3510552791199
30 | 2605.2078774961701 | 2628.5939628369201
31 | 2190.1742028011699 | 1255.6933937015301
32 | 853.86758033301396
33 | 6249.3257559985605 | 6005.8682725254703
34 | 9277.6003883446992 | 4932.8109268426697
35 | 804.95162278912699 | 1100.64085795389
36 | 2513.3079851216598 | 2081.8076620809102
212 | 1656.8763770703199 | 1175.6273354811899
213 | 2411.5040432389801 | 5100.14049289595
214 |  | 9848.1730023785294
215 | 1846.8695333989399 | 1260.6111049052799
216 | 4048.0711750302098 | 3382.30105070023
217 | 704.817976321522 | 860.65083246514496
218 | 1808.3796124089199 | 1317.65732157091
219 | 3095.9787668215599 | 1976.71962579858
221 |  | 16474.5960909026
222 | 2246.9384197300301 | 1716.3813935831699
223 | 4319.4868669315301 | 4121.9335300428502
224 | 20220.706752085502 | 14203.360842959501
406 |  | 2404.0580231383401
407 |  | 1371.2061026382
408 | 837.30279189980797
410 |  | 2711.6763863618298
411 | 2047.18993548545
412 | 10279.8727884699
413 | 1236.0799915069099
414 | 1569.93959363567 | 2018.4045395758901
415 | 1789.9140228961301 | 1781.4646399576
416 | 3279.4601016830402 | 2346.9989004017498
417 | 2407.12054616973 | 1618.1938695956801
418 |  | 3780.2848509805399
419 | 7943.1953589210898 | 5995.10467951393
420 | 2152.5783228884802
421 | 785.86081455065198 | 931.18057855409302
423 | 3731.1132478557502 | 2776.9852248832099

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | Above Fit Curve Range | In Detection Range
19 | V1 | B03 | 155326 | TNF-RI | 9269.0854622911593 | In Detection Range | STD1 | A01 | 332073 | TNF-RI | 1958.0189358277701 | In Detection Range | QC | H11 | 64663 | TNF-RI | 3912.8463328852399 | In Detection Range | 1 | 70
19 | V2 | C03 | 131815 | TNF-RI | 7886.6764825987402 | In Detection Range | STD1 | A02 | 364075 | TNF-RI | 2143.6569587808599 | Above Fit Curve Range | QC | A03 | 70330 | TNF-RI | 4250.14357184249 | In Detection Range
20 | V1 | D03 | 32742 | TNF-RI | 2002.08170773491 | In Detection Range | STD2 | B01 | 77405 | TNF-RI | 467.062316976815 | In Detection Range | QC | A04 | 71172 | TNF-RI | 4300.2201041367198 | In Detection Range
20 | V2 | E03 | 21151 | TNF-RI | 1301.51879508045 | In Detection Range | STD2 | B02 | 85664 | TNF-RI | 516.06792689400095 | In Detection Range | QC | H12 | 65867 | TNF-RI | 3984.5470706521501 | In Detection Range
21 | V1 | F03 | 30371 | TNF-RI | 1859.17377632225 | In Detection Range | STD3 | C02 | 20176 | TNF-RI | 124.23349907789201 | In Detection Range
22 | V1 | G03 | 25006 | TNF-RI | 1535.09384031889 | In Detection Range | STD3 | C01 | 20435 | TNF-RI | 125.80612213698301 | In Detection Range
23 | V1 | H03 | 66312 | TNF-RI | 4011.0422914277801 | In Detection Range | STD4 | D02 | 5093 | TNF-RI | 31.810062651152599 | In Detection Range
23 | V2 | B04 | 80644 | TNF-RI | 4862.9093878486201 | In Detection Range | STD4 | D01 | 4736 | TNF-RI | 29.589799445626699 | In Detection Range
24 | V1 | C04 | 38824 | TNF-RI | 2367.9032446091801 | In Detection Range | STD5 | E01 | 1237 | TNF-RI | 7.6171984896091001 | In Detection Range
24 | V2 | D04 | 43472 | TNF-RI | 2646.8206851721302 | In Detection Range | STD5 | E02 | 1255 | TNF-RI | 7.7318341187703599 | In Detection Range
26 | V1 | E04 | 33933 | TNF-RI | 2073.8013025227501 | In Detection Range | STD6 | F01 | 364 | TNF-RI | 2.0067075942561399 | In Detection Range
26 | V2 | F04 | 42115 | TNF-RI | 2565.4433983407098 | In Detection Range | STD6 | F02 | 374 | TNF-RI | 2.07185747396223 | In Detection Range
27 | V1 | G04 | 33311 | TNF-RI | 2036.3510552791199 | In Detection Range | STD7 | G01 | 129 | TNF-RI | 0.46048318741157002 | In Detection Range
30 | V1 | H04 | 42778 | TNF-RI | 2605.2078774961701 | In Detection Range | STD7 | G02 | 137 | TNF-RI | 0.51389870050148401 | In Detection Range
30 | V2 | A05 | 43168 | TNF-RI | 2628.5939628369201 | In Detection Range | STD8 | H02 | 58 | TNF-RI | NaN | Below Fit Curve Range
31 | V1 | B05 | 35867 | TNF-RI | 2190.1742028011699 | In Detection Range | STD8 | H01 | 64 | TNF-RI | 1.9652128262202199E-2 | Below Detection Range
31 | V2 | C05 | 20396 | TNF-RI | 1255.6933937015301 | In Detection Range
32 | V1 | D05 | 13798 | TNF-RI | 853.86758033301396 | In Detection Range
33 | V1 | E05 | 104056 | TNF-RI | 6249.3257559985605 | In Detection Range
33 | V2 | F05 | 99938 | TNF-RI | 6005.8682725254703 | In Detection Range
34 | V1 | G05 | 155471 | TNF-RI | 9277.6003883446992 | In Detection Range
34 | V2 | H05 | 81822 | TNF-RI | 4932.8109268426697 | In Detection Range
35 | V1 | A06 | 12998 | TNF-RI | 804.95162278912699 | In Detection Range
35 | V2 | B06 | 17845 | TNF-RI | 1100.64085795389 | In Detection Range
36 | V1 | C06 | 41246 | TNF-RI | 2513.3079851216598 | In Detection Range
36 | V2 | D06 | 34066 | TNF-RI | 2081.8076620809102 | In Detection Range
212 | V1 | E06 | 27020 | TNF-RI | 1656.8763770703199 | In Detection Range
212 | V2 | F06 | 19078 | TNF-RI | 1175.6273354811899 | In Detection Range
213 | V1 | G06 | 39550 | TNF-RI | 2411.5040432389801 | In Detection Range
213 | V2 | H06 | 84643 | TNF-RI | 5100.14049289595 | In Detection Range
214 | V2 | A07 | 165192 | TNF-RI | 9848.1730023785294 | In Detection Range
215 | V1 | B07 | 30167 | TNF-RI | 1846.8695333989399 | In Detection Range
215 | V2 | C07 | 20477 | TNF-RI | 1260.6111049052799 | In Detection Range
216 | V1 | D07 | 66934 | TNF-RI | 4048.0711750302098 | In Detection Range
216 | V2 | E07 | 55766 | TNF-RI | 3382.30105070023 | In Detection Range
217 | V1 | F07 | 11363 | TNF-RI | 704.817976321522 | In Detection Range
217 | V2 | G07 | 13909 | TNF-RI | 860.65083246514496 | In Detection Range
218 | V1 | H07 | 29529 | TNF-RI | 1808.3796124089199 | In Detection Range
218 | V2 | A08 | 21417 | TNF-RI | 1317.65732157091 | In Detection Range
219 | V1 | B08 | 50974 | TNF-RI | 3095.9787668215599 | In Detection Range
219 | V2 | C08 | 32321 | TNF-RI | 1976.71962579858 | In Detection Range
221 | V2 | D08 | 278639 | TNF-RI | 16474.5960909026 | In Detection Range
222 | V1 | E08 | 36811 | TNF-RI | 2246.9384197300301 | In Detection Range
222 | V2 | F08 | 28005 | TNF-RI | 1716.3813935831699 | In Detection Range
223 | V1 | G08 | 71496 | TNF-RI | 4319.4868669315301 | In Detection Range
223 | V2 | H08 | 68175 | TNF-RI | 4121.9335300428502 | In Detection Range
224 | V1 | A09 | 343110 | TNF-RI | 20220.706752085502 | Above Fit Curve Range
224 | V2 | B09 | 239656 | TNF-RI | 14203.360842959501 | In Detection Range
406 | V2 | C09 | 39426 | TNF-RI | 2404.0580231383401 | In Detection Range
407 | V2 | D09 | 22300 | TNF-RI | 1371.2061026382 | In Detection Range
408 | V1 | E09 | 13527 | TNF-RI | 837.30279189980797 | In Detection Range
410 | V2 | F09 | 44554 | TNF-RI | 2711.6763863618298 | In Detection Range
411 | V1 | G09 | 33491 | TNF-RI | 2047.18993548545 | In Detection Range
412 | V1 | H09 | 172553 | TNF-RI | 10279.8727884699 | In Detection Range
413 | V1 | A10 | 20073 | TNF-RI | 1236.0799915069099 | In Detection Range
414 | V1 | B10 | 25582 | TNF-RI | 1569.93959363567 | In Detection Range
414 | V2 | C10 | 33013 | TNF-RI | 2018.4045395758901 | In Detection Range
415 | V1 | D10 | 29223 | TNF-RI | 1789.9140228961301 | In Detection Range
415 | V2 | E10 | 29083 | TNF-RI | 1781.4646399576 | In Detection Range
416 | V1 | F10 | 54044 | TNF-RI | 3279.4601016830402 | In Detection Range
416 | V2 | G10 | 38476 | TNF-RI | 2346.9989004017498 | In Detection Range
417 | V1 | H10 | 39477 | TNF-RI | 2407.12054616973 | In Detection Range
417 | V2 | A11 | 26380 | TNF-RI | 1618.1938695956801 | In Detection Range
418 | V2 | B11 | 62438 | TNF-RI | 3780.2848509805399 | In Detection Range
419 | V1 | C11 | 132775 | TNF-RI | 7943.1953589210898 | In Detection Range
419 | V2 | D11 | 99756 | TNF-RI | 5995.10467951393 | In Detection Range
420 | V1 | E11 | 35242 | TNF-RI | 2152.5783228884802 | In Detection Range
421 | V1 | F11 | 12686 | TNF-RI | 785.86081455065198 | In Detection Range
421 | V2 | G11 | 15064 | TNF-RI | 931.18057855409302 | In Detection Range
423 | V1 | A12 | 61613 | TNF-RI | 3731.1132478557502 | In Detection Range
423 | V2 | B12 | 45644 | TNF-RI | 2776.9852248832099 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
19 | V1 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 6.4005985967218297 | 2 | QC | TNF-RI | 1.0561 | 4
19 | V2 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 7.0493608155499503 | 2
20 | V1 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 0.889468976101223 | 2
20 | V2 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 5.11389802853863 | 2
21 | V1 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 1.0562181059053699 | 2
22 | V1 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 2.2590259546253599 | 2
23 | V1 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 7.7527039438991103 | 2
23 | V2 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
24 | V1 | TNF-RI | NaN | 1
24 | V2 | TNF-RI | NaN | 1
26 | V1 | TNF-RI | NaN | 1
26 | V2 | TNF-RI | NaN | 1
27 | V1 | TNF-RI | NaN | 1
30 | V1 | TNF-RI | NaN | 1
30 | V2 | TNF-RI | NaN | 1
31 | V1 | TNF-RI | NaN | 1
31 | V2 | TNF-RI | NaN | 1
32 | V1 | TNF-RI | NaN | 1
33 | V1 | TNF-RI | NaN | 1
33 | V2 | TNF-RI | NaN | 1
34 | V1 | TNF-RI | NaN | 1
34 | V2 | TNF-RI | NaN | 1
35 | V1 | TNF-RI | NaN | 1
35 | V2 | TNF-RI | NaN | 1
36 | V1 | TNF-RI | NaN | 1
36 | V2 | TNF-RI | NaN | 1
212 | V1 | TNF-RI | NaN | 1
212 | V2 | TNF-RI | NaN | 1
213 | V1 | TNF-RI | NaN | 1
213 | V2 | TNF-RI | NaN | 1
214 | V2 | TNF-RI | NaN | 1
215 | V1 | TNF-RI | NaN | 1
215 | V2 | TNF-RI | NaN | 1
216 | V1 | TNF-RI | NaN | 1
216 | V2 | TNF-RI | NaN | 1
217 | V1 | TNF-RI | NaN | 1
217 | V2 | TNF-RI | NaN | 1
218 | V1 | TNF-RI | NaN | 1
218 | V2 | TNF-RI | NaN | 1
219 | V1 | TNF-RI | NaN | 1
219 | V2 | TNF-RI | NaN | 1
221 | V2 | TNF-RI | NaN | 1
222 | V1 | TNF-RI | NaN | 1
222 | V2 | TNF-RI | NaN | 1
223 | V1 | TNF-RI | NaN | 1
223 | V2 | TNF-RI | NaN | 1
224 | V1 | TNF-RI | NaN | 1
224 | V2 | TNF-RI | NaN | 1
406 | V2 | TNF-RI | NaN | 1
407 | V2 | TNF-RI | NaN | 1
408 | V1 | TNF-RI | NaN | 1
410 | V2 | TNF-RI | NaN | 1
411 | V1 | TNF-RI | NaN | 1
412 | V1 | TNF-RI | NaN | 1
413 | V1 | TNF-RI | NaN | 1
414 | V1 | TNF-RI | NaN | 1
414 | V2 | TNF-RI | NaN | 1
415 | V1 | TNF-RI | NaN | 1
415 | V2 | TNF-RI | NaN | 1
416 | V1 | TNF-RI | NaN | 1
416 | V2 | TNF-RI | NaN | 1
417 | V1 | TNF-RI | NaN | 1
417 | V2 | TNF-RI | NaN | 1
418 | V2 | TNF-RI | NaN | 1
419 | V1 | TNF-RI | NaN | 1
419 | V2 | TNF-RI | NaN | 1
420 | V1 | TNF-RI | NaN | 1
421 | V1 | TNF-RI | NaN | 1
421 | V2 | TNF-RI | NaN | 1
423 | V1 | TNF-RI | NaN | 1
423 | V2 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].