## RawData
Plate Name | Sample | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14AXI98_Set3 | 225_V1 | TNF-RI | D06 | 1 | 10 |  | 74782 | 74782 | 74782 | 74782 | NaN |  |  | 4354.4903517230196 | 4354.4903517230196 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 226_V1 | TNF-RI | E06 | 1 | 10 |  | 42188 | 42188 | 42188 | 42188 | NaN |  |  | 2451.78586707963 | 2451.78586707963 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 227_V1 | TNF-RI | F06 | 1 | 10 |  | 78849 | 78849 | 78849 | 78849 | NaN |  |  | 4592.1095159332799 | 4592.1095159332799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 227_V2 | TNF-RI | G06 | 1 | 10 |  | 127177 | 127177 | 127177 | 127177 | NaN |  |  | 7418.5072445173901 | 7418.5072445173901 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 228_V2 | TNF-RI | H06 | 1 | 10 |  | 30456 | 30456 | 30456 | 30456 | NaN |  |  | 1767.7973166818099 | 1767.7973166818099 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 229_V2 | TNF-RI | A07 | 1 | 10 |  | 57006 | 57006 | 57006 | 57006 | NaN |  |  | 3316.41052177658 | 3316.41052177658 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 230_V1 | TNF-RI | B07 | 1 | 10 |  | 35553 | 35553 | 35553 | 35553 | NaN |  |  | 2064.88778467159 | 2064.88778467159 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 230_V2 | TNF-RI | C07 | 1 | 10 |  | 37066 | 37066 | 37066 | 37066 | NaN |  |  | 2153.0980293254602 | 2153.0980293254602 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 231_V1 | TNF-RI | D07 | 1 | 10 |  | 31183 | 31183 | 31183 | 31183 | NaN |  |  | 1810.1650380705701 | 1810.1650380705701 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 231_V2 | TNF-RI | E07 | 1 | 10 |  | 21226 | 21226 | 21226 | 21226 | NaN |  |  | 1230.13287725892 | 1230.13287725892 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 233_V2 | TNF-RI | F07 | 1 | 10 |  | 100303 | 100303 | 100303 | 100303 | NaN |  |  | 5846.2170048197404 | 5846.2170048197404 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 234_V2 | TNF-RI | G07 | 1 | 10 |  | 21041 | 21041 | 21041 | 21041 | NaN |  |  | 1219.3612869574799 | 1219.3612869574799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 235_V1 | TNF-RI | H07 | 1 | 10 |  | 156784 | 156784 | 156784 | 156784 | NaN |  |  | 9152.2428296274593 | 9152.2428296274593 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 236_V1 | TNF-RI | A08 | 1 | 10 |  | 52327 | 52327 | 52327 | 52327 | NaN |  |  | 3043.3159207809799 | 3043.3159207809799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 236_V2 | TNF-RI | B08 | 1 | 10 |  | 41077 | 41077 | 41077 | 41077 | NaN |  |  | 2386.9897353213701 | 2386.9897353213701 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 237_V1 | TNF-RI | C08 | 1 | 10 |  | 88441 | 88441 | 88441 | 88441 | NaN |  |  | 5152.6887019914902 | 5152.6887019914902 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 238_V1 | TNF-RI | D08 | 1 | 10 |  | 29761 | 29761 | 29761 | 29761 | NaN |  |  | 1727.29681132107 | 1727.29681132107 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 238_V2 | TNF-RI | E08 | 1 | 10 |  | 36205 | 36205 | 36205 | 36205 | NaN |  |  | 2102.8992379093102 | 2102.8992379093102 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 239_V1 | TNF-RI | F08 | 1 | 10 |  | 79588 | 79588 | 79588 | 79588 | NaN |  |  | 4635.2907526030303 | 4635.2907526030303 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 239_V2 | TNF-RI | G08 | 1 | 10 |  | 83266 | 83266 | 83266 | 83266 | NaN |  |  | 4850.2228819266702 | 4850.2228819266702 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 240_V1 | TNF-RI | H08 | 1 | 10 |  | 26533 | 26533 | 26533 | 26533 | NaN |  |  | 1539.21924037903 | 1539.21924037903 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 240_V2 | TNF-RI | A09 | 1 | 10 |  | 14825 | 14825 | 14825 | 14825 | NaN |  |  | 857.57605218130595 | 857.57605218130595 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 241_V1 | TNF-RI | B09 | 1 | 10 |  | 21956 | 21956 | 21956 | 21956 | NaN |  |  | 1272.63910565787 | 1272.63910565787 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 241_V2 | TNF-RI | C09 | 1 | 10 |  | 14149 | 14149 | 14149 | 14149 | NaN |  |  | 818.24978934533794 | 818.24978934533794 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 37_V1 | TNF-RI | B03 | 1 | 10 |  | 121917 | 121917 | 121917 | 121917 | NaN |  |  | 7110.65559645762 | 7110.65559645762 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 38_V1 | TNF-RI | C03 | 1 | 10 |  | 322308 | 322308 | 322308 | 322308 | NaN |  |  | 18869.949196435799 | 18869.949196435799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 39_V1 | TNF-RI | D03 | 1 | 10 |  | 38651 | 38651 | 38651 | 38651 | NaN |  |  | 2245.51593710823 | 2245.51593710823 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 39_V2 | TNF-RI | E03 | 1 | 10 |  | 35317 | 35317 | 35317 | 35317 | NaN |  |  | 2051.1294752046301 | 2051.1294752046301 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 41_V1 | TNF-RI | F03 | 1 | 10 |  | 286105 | 286105 | 286105 | 286105 | NaN |  |  | 16741.217495603501 | 16741.217495603501 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 41_V2 | TNF-RI | G03 | 1 | 10 |  | 228976 | 228976 | 228976 | 228976 | NaN |  |  | 13385.6736417636 | 13385.6736417636 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 424_V1 | TNF-RI | D09 | 1 | 10 |  | 8044 | 8044 | 8044 | 8044 | NaN |  |  | 463.30839392827698 | 463.30839392827698 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 424_V2 | TNF-RI | E09 | 1 | 10 |  | 15133 | 15133 | 15133 | 15133 | NaN |  |  | 875.49526861727702 | 875.49526861727702 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 425_V1 | TNF-RI | F09 | 1 | 10 |  | 16795 | 16795 | 16795 | 16795 | NaN |  |  | 972.20290418489105 | 972.20290418489105 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 426_V2 | TNF-RI | G09 | 1 | 10 |  | 84053 | 84053 | 84053 | 84053 | NaN |  |  | 4896.21710078468 | 4896.21710078468 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 427_V1 | TNF-RI | H09 | 1 | 10 |  | 27290 | 27290 | 27290 | 27290 | NaN |  |  | 1583.32065508809 | 1583.32065508809 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 427_V2 | TNF-RI | A10 | 1 | 10 |  | 22831 | 22831 | 22831 | 22831 | NaN |  |  | 1323.5926972361799 | 1323.5926972361799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 429_V1 | TNF-RI | B10 | 1 | 10 |  | 74168 | 74168 | 74168 | 74168 | NaN |  |  | 4318.6202319939503 | 4318.6202319939503 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 42_V1 | TNF-RI | H03 | 1 | 10 |  | 50929 | 50929 | 50929 | 50929 | NaN |  |  | 2961.73340715208 | 2961.73340715208 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 42_V2 | TNF-RI | B04 | 1 | 10 |  | 98940 | 98940 | 98940 | 98940 | NaN |  |  | 5766.5119550711597 | 5766.5119550711597 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 430_V2 | TNF-RI | C10 | 1 | 10 |  | 37031 | 37031 | 37031 | 37031 | NaN |  |  | 2151.0573690751498 | 2151.0573690751498 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 432_V2 | TNF-RI | D10 | 1 | 10 |  | 59333 | 59333 | 59333 | 59333 | NaN |  |  | 3452.2526641730901 | 3452.2526641730901 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 433_V2 | TNF-RI | E10 | 1 | 10 |  | 112844 | 112844 | 112844 | 112844 | NaN |  |  | 6579.76433936168 | 6579.76433936168 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 434_V1 | TNF-RI | F10 | 1 | 10 |  | 196219 | 196219 | 196219 | 196219 | NaN |  |  | 11463.764343066299 | 11463.764343066299 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 435_V2 | TNF-RI | G10 | 1 | 10 |  | 24084 | 24084 | 24084 | 24084 | NaN |  |  | 1396.5662006534401 | 1396.5662006534401 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 436_V1 | TNF-RI | A11 | 1 | 10 |  | 56297 | 56297 | 56297 | 56297 | NaN |  |  | 3275.0247469578098 | 3275.0247469578098 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 437_V1 | TNF-RI | H10 | 1 | 10 |  | 43079 | 43079 | 43079 | 43079 | NaN |  |  | 2503.75436515403 | 2503.75436515403 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 438_V2 | TNF-RI | B11 | 1 | 10 |  | 32241 | 32241 | 32241 | 32241 | NaN |  |  | 1871.8269736900099 | 1871.8269736900099 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 43_V1 | TNF-RI | C04 | 1 | 10 |  | 122378 | 122378 | 122378 | 122378 | NaN |  |  | 7137.6344362110704 | 7137.6344362110704 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 43_V2 | TNF-RI | D04 | 1 | 10 |  | 70265 | 70265 | 70265 | 70265 | NaN |  |  | 4090.6276753049301 | 4090.6276753049301 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 440_V1 | TNF-RI | C11 | 1 | 10 |  | 39564 | 39564 | 39564 | 39564 | NaN |  |  | 2298.7554825920402 | 2298.7554825920402 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 440_V2 | TNF-RI | D11 | 1 | 10 |  | 25631 | 25631 | 25631 | 25631 | NaN |  |  | 1486.67435998829 | 1486.67435998829 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 441_V2 | TNF-RI | E11 | 1 | 10 |  | 34264 | 34264 | 34264 | 34264 | NaN |  |  | 1989.7446374854101 | 1989.7446374854101 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 443_V2 | TNF-RI | F11 | 1 | 10 |  | 71274 | 71274 | 71274 | 71274 | NaN |  |  | 4149.5643842765603 | 4149.5643842765603 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 444_V2 | TNF-RI | G11 | 1 | 10 |  | 36172 | 36172 | 36172 | 36172 | NaN |  |  | 2100.9753029643998 | 2100.9753029643998 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 445_V1 | TNF-RI | A12 | 1 | 10 |  | 156369 | 156369 | 156369 | 156369 | NaN |  |  | 9127.9306429333301 | 9127.9306429333301 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 445_V2 | TNF-RI | B12 | 1 | 10 |  | 150282 | 150282 | 150282 | 150282 | NaN |  |  | 8771.3658482675091 | 8771.3658482675091 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 44_V1 | TNF-RI | E04 | 1 | 10 |  | 37406 | 37406 | 37406 | 37406 | NaN |  |  | 2172.92184397352 | 2172.92184397352 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 44_V2 | TNF-RI | F04 | 1 | 10 |  | 35680 | 35680 | 35680 | 35680 | NaN |  |  | 2072.2917172861398 | 2072.2917172861398 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 45_V2 | TNF-RI | G04 | 1 | 10 |  | 40973 | 40973 | 40973 | 40973 | NaN |  |  | 2380.92444635947 | 2380.92444635947 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 47_V1 | TNF-RI | H04 | 1 | 10 |  | 461821 | 461821 | 461821 | 461821 | NaN |  |  | 27088.944048261299 | 27088.944048261299 | NaN | Above Fit Curve Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 47_V2 | TNF-RI | A05 | 1 | 10 |  | 402613 | 402613 | 402613 | 402613 | NaN |  |  | 23597.9230277151 | 23597.9230277151 | NaN | Above Fit Curve Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 48_V1 | TNF-RI | B05 | 1 | 10 |  | 86668 | 86668 | 86668 | 86668 | NaN |  |  | 5049.0543981915498 | 5049.0543981915498 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 48_V2 | TNF-RI | C05 | 1 | 10 |  | 89802 | 89802 | 89802 | 89802 | NaN |  |  | 5232.24583277082 | 5232.24583277082 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 49_V1 | TNF-RI | D05 | 1 | 10 |  | 58936 | 58936 | 58936 | 58936 | NaN |  |  | 3429.0760716241998 | 3429.0760716241998 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 49_V2 | TNF-RI | E05 | 1 | 10 |  | 35843 | 35843 | 35843 | 35843 | NaN |  |  | 2081.7945011120801 | 2081.7945011120801 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 50_V2 | TNF-RI | F05 | 1 | 10 |  | 67157 | 67157 | 67157 | 67157 | NaN |  |  | 3909.1028973075299 | 3909.1028973075299 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 51_V1 | TNF-RI | G05 | 1 | 10 |  | 54828 | 54828 | 54828 | 54828 | NaN |  |  | 3189.28102372182 | 3189.28102372182 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 51_V2 | TNF-RI | H05 | 1 | 10 |  | 49720 | 49720 | 49720 | 49720 | NaN |  |  | 2891.1853394517402 | 2891.1853394517402 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 52_V1 | TNF-RI | A06 | 1 | 10 |  | 53645 | 53645 | 53645 | 53645 | NaN |  |  | 3120.2355417293102 | 3120.2355417293102 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 52_V2 | TNF-RI | B06 | 1 | 10 |  | 40572 | 40572 | 40572 | 40572 | NaN |  |  | 2357.5384729584498 | 2357.5384729584498 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 53_V2 | TNF-RI | C06 | 1 | 10 |  | 25236 | 25236 | 25236 | 25236 | NaN |  |  | 1463.66551676002 | 1463.66551676002 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | BLANK | TNF-RI | E12 | 1 |  |  | 56 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | BLANK | TNF-RI | F12 | 1 |  |  | 62 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | BLANK | TNF-RI | G12 | 1 |  |  | 60 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | BLANK | TNF-RI | D12 | 1 |  |  | 62 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | BLANK | TNF-RI | C12 | 1 |  |  | 56 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | QC | TNF-RI | H11 | 1 | 10 |  | 66128 | 66352 | 66128 | 66352 | 0.47742922288939699 |  |  | 3849.0091029504301 | 3862.0905712574599 | 0.479014915735892 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | QC | TNF-RI | A03 | 1 | 10 |  | 80179 | 78954 | 80179 | 78953.5 | 2.1951132257445498 |  |  | 4669.8249960489002 | 4598.2173838442304 | 2.2023416444991599 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | QC | TNF-RI | A04 | 1 | 10 |  | 77728 | 78954 | 77728 | 78953.5 | 2.1951132257445498 |  |  | 4526.6097716395598 | 4598.2173838442304 | 2.2023416444991599 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | QC | TNF-RI | H12 | 1 | 10 |  | 66576 | 66352 | 66576 | 66352 | 0.47742922288939699 |  |  | 3875.1720395644902 | 3862.0905712574599 | 0.479014915735892 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD1 | TNF-RI | A01 | 1 |  | 2000 | 345975 | 343171 | 345975 | 343171 | 1.1555331974129901 | 101.3125 | 100.487387584686 | 2026.24951966446 | 2009.7477516937299 | 1.16119169919111 | Above Fit Curve Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD1 | TNF-RI | A02 | 1 |  | 2000 | 340367 | 343171 | 340367 | 343171 | 1.1555331974129901 | 99.6623 | 100.487387584686 | 1993.2459837229901 | 2009.7477516937299 | 1.16119169919111 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD2 | TNF-RI | B01 | 1 |  | 500 | 85502 | 85992 | 85502 | 85992 | 0.80584780626432295 | 99.6181 | 100.19086829052 | 498.09039754681498 | 500.95434145260401 | 0.80850248781140299 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD2 | TNF-RI | B02 | 1 |  | 500 | 86482 | 85992 | 86482 | 85992 | 0.80584780626432295 | 100.7637 | 100.19086829052 | 503.81828535839401 | 500.95434145260401 | 0.80850248781140299 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD3 | TNF-RI | C02 | 1 |  | 125 | 21746 | 21627 | 21746 | 21627 | 0.77815422352798902 | 100.8329 | 100.27854551262099 | 126.041094391653 | 125.348181890777 | 0.78176343804582804 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD3 | TNF-RI | C01 | 1 |  | 125 | 21508 | 21627 | 21508 | 21627 | 0.77815422352798902 | 99.7242 | 100.27854551262099 | 124.6552693899 | 125.348181890777 | 0.78176343804582804 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD4 | TNF-RI | D02 | 1 |  | 31.25 | 5417 | 5383 | 5417 | 5382.5 | 0.90646294290518803 | 99.4358 | 98.794901468293403 | 31.073685431815299 | 30.8734067088416 | 0.91741377605421404 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD4 | TNF-RI | D01 | 1 |  | 31.25 | 5348 | 5383 | 5348 | 5382.5 | 0.90646294290518803 | 98.154 | 98.794901468293403 | 30.673127985868 | 30.8734067088416 | 0.91741377605421404 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD5 | TNF-RI | E01 | 1 |  | 7.8125 | 1365 | 1375 | 1365 | 1374.5 | 0.97744844252778496 | 96.9839 | 97.6878594910511 | 7.5768704624587597 | 7.6318640227383598 | 1.01905168329618 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD5 | TNF-RI | E02 | 1 |  | 7.8125 | 1384 | 1375 | 1384 | 1374.5 | 0.97744844252778496 | 98.3918 | 97.6878594910511 | 7.68685758301796 | 7.6318640227383598 | 1.01905168329618 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD6 | TNF-RI | F01 | 1 |  | 1.9531 | 377 | 408 | 377 | 408 | 10.7452501062661 | 95.4265 | 104.590374057764 | 1.86379815972384 | 2.0427807433157099 | 12.3909331910658 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD6 | TNF-RI | F02 | 1 |  | 1.9531 | 439 | 408 | 439 | 408 | 10.7452501062661 | 113.7543 | 104.590374057764 | 2.22176332690759 | 2.0427807433157099 | 12.3909331910658 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD7 | TNF-RI | G01 | 1 |  | 0.48828 | 136 | 137 | 136 | 137 | 1.03227267326503 | 97.0895 | 98.268604150659201 | 0.47407005485808801 | 0.47982716870439002 | 1.6968168983741501 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD7 | TNF-RI | G02 | 1 |  | 0.48828 | 138 | 137 | 138 | 137 | 1.03227267326503 | 99.4477 | 98.268604150659201 | 0.48558428255069302 | 0.47982716870439002 | 1.6968168983741501 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD8 | TNF-RI | H02 | 1 |  | 0 | 55 | 54 | 55 | 53.5 | 3.96508475431708 |  | NaN | 8.6084152940993398E-3 | NaN | NaN | Below Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD8 | TNF-RI | H01 | 1 |  | 0 | 52 | 54 | 52 | 53.5 | 3.96508475431708 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.21512

## LongData
Plate Name | Sample | Visit | Assay | Well | Spot | Dilution | Concentration | Signal | Mean | Adjusted Signal | Adj. Sig. Mean | CV | % Recovery | % Recovery Mean | Calc. Concentration | Calc. Conc. Mean | Calc. Conc. CV | Detection Range | Detection Limits: Calc. High | Detection Limits: Calc. Low
Plate_23M14AXI98_Set3 | 225 | V1 | TNF-RI | D06 | 1 | 10 |  | 74782 | 74782 | 74782 | 74782 | NaN |  |  | 4354.4903517230196 | 4354.4903517230196 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 226 | V1 | TNF-RI | E06 | 1 | 10 |  | 42188 | 42188 | 42188 | 42188 | NaN |  |  | 2451.78586707963 | 2451.78586707963 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 227 | V1 | TNF-RI | F06 | 1 | 10 |  | 78849 | 78849 | 78849 | 78849 | NaN |  |  | 4592.1095159332799 | 4592.1095159332799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 227 | V2 | TNF-RI | G06 | 1 | 10 |  | 127177 | 127177 | 127177 | 127177 | NaN |  |  | 7418.5072445173901 | 7418.5072445173901 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 228 | V2 | TNF-RI | H06 | 1 | 10 |  | 30456 | 30456 | 30456 | 30456 | NaN |  |  | 1767.7973166818099 | 1767.7973166818099 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 229 | V2 | TNF-RI | A07 | 1 | 10 |  | 57006 | 57006 | 57006 | 57006 | NaN |  |  | 3316.41052177658 | 3316.41052177658 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 230 | V1 | TNF-RI | B07 | 1 | 10 |  | 35553 | 35553 | 35553 | 35553 | NaN |  |  | 2064.88778467159 | 2064.88778467159 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 230 | V2 | TNF-RI | C07 | 1 | 10 |  | 37066 | 37066 | 37066 | 37066 | NaN |  |  | 2153.0980293254602 | 2153.0980293254602 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 231 | V1 | TNF-RI | D07 | 1 | 10 |  | 31183 | 31183 | 31183 | 31183 | NaN |  |  | 1810.1650380705701 | 1810.1650380705701 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 231 | V2 | TNF-RI | E07 | 1 | 10 |  | 21226 | 21226 | 21226 | 21226 | NaN |  |  | 1230.13287725892 | 1230.13287725892 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 233 | V2 | TNF-RI | F07 | 1 | 10 |  | 100303 | 100303 | 100303 | 100303 | NaN |  |  | 5846.2170048197404 | 5846.2170048197404 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 234 | V2 | TNF-RI | G07 | 1 | 10 |  | 21041 | 21041 | 21041 | 21041 | NaN |  |  | 1219.3612869574799 | 1219.3612869574799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 235 | V1 | TNF-RI | H07 | 1 | 10 |  | 156784 | 156784 | 156784 | 156784 | NaN |  |  | 9152.2428296274593 | 9152.2428296274593 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 236 | V1 | TNF-RI | A08 | 1 | 10 |  | 52327 | 52327 | 52327 | 52327 | NaN |  |  | 3043.3159207809799 | 3043.3159207809799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 236 | V2 | TNF-RI | B08 | 1 | 10 |  | 41077 | 41077 | 41077 | 41077 | NaN |  |  | 2386.9897353213701 | 2386.9897353213701 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 237 | V1 | TNF-RI | C08 | 1 | 10 |  | 88441 | 88441 | 88441 | 88441 | NaN |  |  | 5152.6887019914902 | 5152.6887019914902 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 238 | V1 | TNF-RI | D08 | 1 | 10 |  | 29761 | 29761 | 29761 | 29761 | NaN |  |  | 1727.29681132107 | 1727.29681132107 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 238 | V2 | TNF-RI | E08 | 1 | 10 |  | 36205 | 36205 | 36205 | 36205 | NaN |  |  | 2102.8992379093102 | 2102.8992379093102 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 239 | V1 | TNF-RI | F08 | 1 | 10 |  | 79588 | 79588 | 79588 | 79588 | NaN |  |  | 4635.2907526030303 | 4635.2907526030303 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 239 | V2 | TNF-RI | G08 | 1 | 10 |  | 83266 | 83266 | 83266 | 83266 | NaN |  |  | 4850.2228819266702 | 4850.2228819266702 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 240 | V1 | TNF-RI | H08 | 1 | 10 |  | 26533 | 26533 | 26533 | 26533 | NaN |  |  | 1539.21924037903 | 1539.21924037903 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 240 | V2 | TNF-RI | A09 | 1 | 10 |  | 14825 | 14825 | 14825 | 14825 | NaN |  |  | 857.57605218130595 | 857.57605218130595 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 241 | V1 | TNF-RI | B09 | 1 | 10 |  | 21956 | 21956 | 21956 | 21956 | NaN |  |  | 1272.63910565787 | 1272.63910565787 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 241 | V2 | TNF-RI | C09 | 1 | 10 |  | 14149 | 14149 | 14149 | 14149 | NaN |  |  | 818.24978934533794 | 818.24978934533794 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 37 | V1 | TNF-RI | B03 | 1 | 10 |  | 121917 | 121917 | 121917 | 121917 | NaN |  |  | 7110.65559645762 | 7110.65559645762 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 38 | V1 | TNF-RI | C03 | 1 | 10 |  | 322308 | 322308 | 322308 | 322308 | NaN |  |  | 18869.949196435799 | 18869.949196435799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 39 | V1 | TNF-RI | D03 | 1 | 10 |  | 38651 | 38651 | 38651 | 38651 | NaN |  |  | 2245.51593710823 | 2245.51593710823 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 39 | V2 | TNF-RI | E03 | 1 | 10 |  | 35317 | 35317 | 35317 | 35317 | NaN |  |  | 2051.1294752046301 | 2051.1294752046301 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 41 | V1 | TNF-RI | F03 | 1 | 10 |  | 286105 | 286105 | 286105 | 286105 | NaN |  |  | 16741.217495603501 | 16741.217495603501 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 41 | V2 | TNF-RI | G03 | 1 | 10 |  | 228976 | 228976 | 228976 | 228976 | NaN |  |  | 13385.6736417636 | 13385.6736417636 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 424 | V1 | TNF-RI | D09 | 1 | 10 |  | 8044 | 8044 | 8044 | 8044 | NaN |  |  | 463.30839392827698 | 463.30839392827698 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 424 | V2 | TNF-RI | E09 | 1 | 10 |  | 15133 | 15133 | 15133 | 15133 | NaN |  |  | 875.49526861727702 | 875.49526861727702 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 425 | V1 | TNF-RI | F09 | 1 | 10 |  | 16795 | 16795 | 16795 | 16795 | NaN |  |  | 972.20290418489105 | 972.20290418489105 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 426 | V2 | TNF-RI | G09 | 1 | 10 |  | 84053 | 84053 | 84053 | 84053 | NaN |  |  | 4896.21710078468 | 4896.21710078468 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 427 | V1 | TNF-RI | H09 | 1 | 10 |  | 27290 | 27290 | 27290 | 27290 | NaN |  |  | 1583.32065508809 | 1583.32065508809 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 427 | V2 | TNF-RI | A10 | 1 | 10 |  | 22831 | 22831 | 22831 | 22831 | NaN |  |  | 1323.5926972361799 | 1323.5926972361799 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 429 | V1 | TNF-RI | B10 | 1 | 10 |  | 74168 | 74168 | 74168 | 74168 | NaN |  |  | 4318.6202319939503 | 4318.6202319939503 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 42 | V1 | TNF-RI | H03 | 1 | 10 |  | 50929 | 50929 | 50929 | 50929 | NaN |  |  | 2961.73340715208 | 2961.73340715208 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 42 | V2 | TNF-RI | B04 | 1 | 10 |  | 98940 | 98940 | 98940 | 98940 | NaN |  |  | 5766.5119550711597 | 5766.5119550711597 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 430 | V2 | TNF-RI | C10 | 1 | 10 |  | 37031 | 37031 | 37031 | 37031 | NaN |  |  | 2151.0573690751498 | 2151.0573690751498 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 432 | V2 | TNF-RI | D10 | 1 | 10 |  | 59333 | 59333 | 59333 | 59333 | NaN |  |  | 3452.2526641730901 | 3452.2526641730901 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 433 | V2 | TNF-RI | E10 | 1 | 10 |  | 112844 | 112844 | 112844 | 112844 | NaN |  |  | 6579.76433936168 | 6579.76433936168 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 434 | V1 | TNF-RI | F10 | 1 | 10 |  | 196219 | 196219 | 196219 | 196219 | NaN |  |  | 11463.764343066299 | 11463.764343066299 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 435 | V2 | TNF-RI | G10 | 1 | 10 |  | 24084 | 24084 | 24084 | 24084 | NaN |  |  | 1396.5662006534401 | 1396.5662006534401 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 436 | V1 | TNF-RI | A11 | 1 | 10 |  | 56297 | 56297 | 56297 | 56297 | NaN |  |  | 3275.0247469578098 | 3275.0247469578098 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 437 | V1 | TNF-RI | H10 | 1 | 10 |  | 43079 | 43079 | 43079 | 43079 | NaN |  |  | 2503.75436515403 | 2503.75436515403 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 438 | V2 | TNF-RI | B11 | 1 | 10 |  | 32241 | 32241 | 32241 | 32241 | NaN |  |  | 1871.8269736900099 | 1871.8269736900099 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 43 | V1 | TNF-RI | C04 | 1 | 10 |  | 122378 | 122378 | 122378 | 122378 | NaN |  |  | 7137.6344362110704 | 7137.6344362110704 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 43 | V2 | TNF-RI | D04 | 1 | 10 |  | 70265 | 70265 | 70265 | 70265 | NaN |  |  | 4090.6276753049301 | 4090.6276753049301 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 440 | V1 | TNF-RI | C11 | 1 | 10 |  | 39564 | 39564 | 39564 | 39564 | NaN |  |  | 2298.7554825920402 | 2298.7554825920402 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 440 | V2 | TNF-RI | D11 | 1 | 10 |  | 25631 | 25631 | 25631 | 25631 | NaN |  |  | 1486.67435998829 | 1486.67435998829 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 441 | V2 | TNF-RI | E11 | 1 | 10 |  | 34264 | 34264 | 34264 | 34264 | NaN |  |  | 1989.7446374854101 | 1989.7446374854101 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 443 | V2 | TNF-RI | F11 | 1 | 10 |  | 71274 | 71274 | 71274 | 71274 | NaN |  |  | 4149.5643842765603 | 4149.5643842765603 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 444 | V2 | TNF-RI | G11 | 1 | 10 |  | 36172 | 36172 | 36172 | 36172 | NaN |  |  | 2100.9753029643998 | 2100.9753029643998 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 445 | V1 | TNF-RI | A12 | 1 | 10 |  | 156369 | 156369 | 156369 | 156369 | NaN |  |  | 9127.9306429333301 | 9127.9306429333301 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 445 | V2 | TNF-RI | B12 | 1 | 10 |  | 150282 | 150282 | 150282 | 150282 | NaN |  |  | 8771.3658482675091 | 8771.3658482675091 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 44 | V1 | TNF-RI | E04 | 1 | 10 |  | 37406 | 37406 | 37406 | 37406 | NaN |  |  | 2172.92184397352 | 2172.92184397352 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 44 | V2 | TNF-RI | F04 | 1 | 10 |  | 35680 | 35680 | 35680 | 35680 | NaN |  |  | 2072.2917172861398 | 2072.2917172861398 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 45 | V2 | TNF-RI | G04 | 1 | 10 |  | 40973 | 40973 | 40973 | 40973 | NaN |  |  | 2380.92444635947 | 2380.92444635947 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 47 | V1 | TNF-RI | H04 | 1 | 10 |  | 461821 | 461821 | 461821 | 461821 | NaN |  |  | 27088.944048261299 | 27088.944048261299 | NaN | Above Fit Curve Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 47 | V2 | TNF-RI | A05 | 1 | 10 |  | 402613 | 402613 | 402613 | 402613 | NaN |  |  | 23597.9230277151 | 23597.9230277151 | NaN | Above Fit Curve Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 48 | V1 | TNF-RI | B05 | 1 | 10 |  | 86668 | 86668 | 86668 | 86668 | NaN |  |  | 5049.0543981915498 | 5049.0543981915498 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 48 | V2 | TNF-RI | C05 | 1 | 10 |  | 89802 | 89802 | 89802 | 89802 | NaN |  |  | 5232.24583277082 | 5232.24583277082 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 49 | V1 | TNF-RI | D05 | 1 | 10 |  | 58936 | 58936 | 58936 | 58936 | NaN |  |  | 3429.0760716241998 | 3429.0760716241998 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 49 | V2 | TNF-RI | E05 | 1 | 10 |  | 35843 | 35843 | 35843 | 35843 | NaN |  |  | 2081.7945011120801 | 2081.7945011120801 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 50 | V2 | TNF-RI | F05 | 1 | 10 |  | 67157 | 67157 | 67157 | 67157 | NaN |  |  | 3909.1028973075299 | 3909.1028973075299 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 51 | V1 | TNF-RI | G05 | 1 | 10 |  | 54828 | 54828 | 54828 | 54828 | NaN |  |  | 3189.28102372182 | 3189.28102372182 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 51 | V2 | TNF-RI | H05 | 1 | 10 |  | 49720 | 49720 | 49720 | 49720 | NaN |  |  | 2891.1853394517402 | 2891.1853394517402 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 52 | V1 | TNF-RI | A06 | 1 | 10 |  | 53645 | 53645 | 53645 | 53645 | NaN |  |  | 3120.2355417293102 | 3120.2355417293102 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 52 | V2 | TNF-RI | B06 | 1 | 10 |  | 40572 | 40572 | 40572 | 40572 | NaN |  |  | 2357.5384729584498 | 2357.5384729584498 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | 53 | V2 | TNF-RI | C06 | 1 | 10 |  | 25236 | 25236 | 25236 | 25236 | NaN |  |  | 1463.66551676002 | 1463.66551676002 | NaN | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | BLANK |  | TNF-RI | E12 | 1 |  |  | 56 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | BLANK |  | TNF-RI | F12 | 1 |  |  | 62 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | BLANK |  | TNF-RI | G12 | 1 |  |  | 60 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | BLANK |  | TNF-RI | D12 | 1 |  |  | 62 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | BLANK |  | TNF-RI | C12 | 1 |  |  | 56 | 59 |  |  | 5.1235644892240204 | [5 empty] | Unknown Range
Plate_23M14AXI98_Set3 | QC |  | TNF-RI | H11 | 1 | 10 |  | 66128 | 66352 | 66128 | 66352 | 0.47742922288939699 |  |  | 3849.0091029504301 | 3862.0905712574599 | 0.479014915735892 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | QC |  | TNF-RI | A03 | 1 | 10 |  | 80179 | 78954 | 80179 | 78953.5 | 2.1951132257445498 |  |  | 4669.8249960489002 | 4598.2173838442304 | 2.2023416444991599 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | QC |  | TNF-RI | A04 | 1 | 10 |  | 77728 | 78954 | 77728 | 78953.5 | 2.1951132257445498 |  |  | 4526.6097716395598 | 4598.2173838442304 | 2.2023416444991599 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | QC |  | TNF-RI | H12 | 1 | 10 |  | 66576 | 66352 | 66576 | 66352 | 0.47742922288939699 |  |  | 3875.1720395644902 | 3862.0905712574599 | 0.479014915735892 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD1 |  | TNF-RI | A01 | 1 |  | 2000 | 345975 | 343171 | 345975 | 343171 | 1.1555331974129901 | 101.3125 | 100.487387584686 | 2026.24951966446 | 2009.7477516937299 | 1.16119169919111 | Above Fit Curve Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD1 |  | TNF-RI | A02 | 1 |  | 2000 | 340367 | 343171 | 340367 | 343171 | 1.1555331974129901 | 99.6623 | 100.487387584686 | 1993.2459837229901 | 2009.7477516937299 | 1.16119169919111 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD2 |  | TNF-RI | B01 | 1 |  | 500 | 85502 | 85992 | 85502 | 85992 | 0.80584780626432295 | 99.6181 | 100.19086829052 | 498.09039754681498 | 500.95434145260401 | 0.80850248781140299 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD2 |  | TNF-RI | B02 | 1 |  | 500 | 86482 | 85992 | 86482 | 85992 | 0.80584780626432295 | 100.7637 | 100.19086829052 | 503.81828535839401 | 500.95434145260401 | 0.80850248781140299 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD3 |  | TNF-RI | C02 | 1 |  | 125 | 21746 | 21627 | 21746 | 21627 | 0.77815422352798902 | 100.8329 | 100.27854551262099 | 126.041094391653 | 125.348181890777 | 0.78176343804582804 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD3 |  | TNF-RI | C01 | 1 |  | 125 | 21508 | 21627 | 21508 | 21627 | 0.77815422352798902 | 99.7242 | 100.27854551262099 | 124.6552693899 | 125.348181890777 | 0.78176343804582804 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD4 |  | TNF-RI | D02 | 1 |  | 31.25 | 5417 | 5383 | 5417 | 5382.5 | 0.90646294290518803 | 99.4358 | 98.794901468293403 | 31.073685431815299 | 30.8734067088416 | 0.91741377605421404 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD4 |  | TNF-RI | D01 | 1 |  | 31.25 | 5348 | 5383 | 5348 | 5382.5 | 0.90646294290518803 | 98.154 | 98.794901468293403 | 30.673127985868 | 30.8734067088416 | 0.91741377605421404 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD5 |  | TNF-RI | E01 | 1 |  | 7.8125 | 1365 | 1375 | 1365 | 1374.5 | 0.97744844252778496 | 96.9839 | 97.6878594910511 | 7.5768704624587597 | 7.6318640227383598 | 1.01905168329618 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD5 |  | TNF-RI | E02 | 1 |  | 7.8125 | 1384 | 1375 | 1384 | 1374.5 | 0.97744844252778496 | 98.3918 | 97.6878594910511 | 7.68685758301796 | 7.6318640227383598 | 1.01905168329618 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD6 |  | TNF-RI | F01 | 1 |  | 1.9531 | 377 | 408 | 377 | 408 | 10.7452501062661 | 95.4265 | 104.590374057764 | 1.86379815972384 | 2.0427807433157099 | 12.3909331910658 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD6 |  | TNF-RI | F02 | 1 |  | 1.9531 | 439 | 408 | 439 | 408 | 10.7452501062661 | 113.7543 | 104.590374057764 | 2.22176332690759 | 2.0427807433157099 | 12.3909331910658 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD7 |  | TNF-RI | G01 | 1 |  | 0.48828 | 136 | 137 | 136 | 137 | 1.03227267326503 | 97.0895 | 98.268604150659201 | 0.47407005485808801 | 0.47982716870439002 | 1.6968168983741501 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD7 |  | TNF-RI | G02 | 1 |  | 0.48828 | 138 | 137 | 138 | 137 | 1.03227267326503 | 99.4477 | 98.268604150659201 | 0.48558428255069302 | 0.47982716870439002 | 1.6968168983741501 | In Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD8 |  | TNF-RI | H02 | 1 |  | 0 | 55 | 54 | 55 | 53.5 | 3.96508475431708 |  | NaN | 8.6084152940993398E-3 | NaN | NaN | Below Detection Range | 2000 | 0.21512
Plate_23M14AXI98_Set3 | STD8 |  | TNF-RI | H01 | 1 |  | 0 | 52 | 54 | 52 | 53.5 | 3.96508475431708 |  | NaN | NaN | NaN | NaN | Below Fit Curve Range | 2000 | 0.21512

## WideData
Sample | TNF-RI_V1 | TNF-RI_V2 | Sample | TNF-RI | Sample | TNF-RI
37 | 7110.65559645762 |  | STD1 | 2009.7477516937299 | QC | 4230.154
38 | 18869.949196435799 |  | STD2 | 500.95434145260401
39 | 2245.51593710823 | 2051.1294752046301 | STD3 | 125.348181890777
41 | 16741.217495603501 | 13385.6736417636 | STD4 | 30.8734067088416
42 | 2961.73340715208 | 5766.5119550711597 | STD5 | 7.6318640227383598
43 | 7137.6344362110704 | 4090.6276753049301 | STD6 | 2.0427807433157099
44 | 2172.92184397352 | 2072.2917172861398 | STD7 | 0.47982716870439002
45 |  | 2380.92444635947 | STD8 | NaN
47 | 27088.944048261299 | 23597.9230277151
48 | 5049.0543981915498 | 5232.24583277082
49 | 3429.0760716241998 | 2081.7945011120801
50 |  | 3909.1028973075299
51 | 3189.28102372182 | 2891.1853394517402
52 | 3120.2355417293102 | 2357.5384729584498
53 |  | 1463.66551676002
225 | 4354.4903517230196
226 | 2451.78586707963
227 | 4592.1095159332799 | 7418.5072445173901
228 |  | 1767.7973166818099
229 |  | 3316.41052177658
230 | 2064.88778467159 | 2153.0980293254602
231 | 1810.1650380705701 | 1230.13287725892
233 |  | 5846.2170048197404
234 |  | 1219.3612869574799
235 | 9152.2428296274593
236 | 3043.3159207809799 | 2386.9897353213701
237 | 5152.6887019914902
238 | 1727.29681132107 | 2102.8992379093102
239 | 4635.2907526030303 | 4850.2228819266702
240 | 1539.21924037903 | 857.57605218130595
241 | 1272.63910565787 | 818.24978934533794
424 | 463.30839392827698 | 875.49526861727702
425 | 972.20290418489105
426 |  | 4896.21710078468
427 | 1583.32065508809 | 1323.5926972361799
429 | 4318.6202319939503
430 |  | 2151.0573690751498
432 |  | 3452.2526641730901
433 |  | 6579.76433936168
434 | 11463.764343066299
435 |  | 1396.5662006534401
436 | 3275.0247469578098
437 | 2503.75436515403
438 |  | 1871.8269736900099
440 | 2298.7554825920402 | 1486.67435998829
441 |  | 1989.7446374854101
443 |  | 4149.5643842765603
444 |  | 2100.9753029643998
445 | 9127.9306429333301 | 8771.3658482675091

## WideSampleData
Sample | TNF-RI_V1 | TNF-RI_V2
37 | 7110.65559645762
38 | 18869.949196435799
39 | 2245.51593710823 | 2051.1294752046301
41 | 16741.217495603501 | 13385.6736417636
42 | 2961.73340715208 | 5766.5119550711597
43 | 7137.6344362110704 | 4090.6276753049301
44 | 2172.92184397352 | 2072.2917172861398
45 |  | 2380.92444635947
47 | 27088.944048261299 | 23597.9230277151
48 | 5049.0543981915498 | 5232.24583277082
49 | 3429.0760716241998 | 2081.7945011120801
50 |  | 3909.1028973075299
51 | 3189.28102372182 | 2891.1853394517402
52 | 3120.2355417293102 | 2357.5384729584498
53 |  | 1463.66551676002
225 | 4354.4903517230196
226 | 2451.78586707963
227 | 4592.1095159332799 | 7418.5072445173901
228 |  | 1767.7973166818099
229 |  | 3316.41052177658
230 | 2064.88778467159 | 2153.0980293254602
231 | 1810.1650380705701 | 1230.13287725892
233 |  | 5846.2170048197404
234 |  | 1219.3612869574799
235 | 9152.2428296274593
236 | 3043.3159207809799 | 2386.9897353213701
237 | 5152.6887019914902
238 | 1727.29681132107 | 2102.8992379093102
239 | 4635.2907526030303 | 4850.2228819266702
240 | 1539.21924037903 | 857.57605218130595
241 | 1272.63910565787 | 818.24978934533794
424 | 463.30839392827698 | 875.49526861727702
425 | 972.20290418489105
426 |  | 4896.21710078468
427 | 1583.32065508809 | 1323.5926972361799
429 | 4318.6202319939503
430 |  | 2151.0573690751498
432 |  | 3452.2526641730901
433 |  | 6579.76433936168
434 | 11463.764343066299
435 |  | 1396.5662006534401
436 | 3275.0247469578098
437 | 2503.75436515403
438 |  | 1871.8269736900099
440 | 2298.7554825920402 | 1486.67435998829
441 |  | 1989.7446374854101
443 |  | 4149.5643842765603
444 |  | 2100.9753029643998
445 | 9127.9306429333301 | 8771.3658482675091

## LLODs
Sample | Visit | Well | Signal | Assay | Calc. Concentration | Detection Range | Standard | Well_std | Signal_std | Assay_std | Calc. Concentration_std | Detection Range_std | QC | Well_qc | Signal_qc | Assay_qc | Calc. Concentration_qc | Detection Range_qc | Above Fit Curve Range | In Detection Range
37 | V1 | B03 | 121917 | TNF-RI | 7110.65559645762 | In Detection Range | STD1 | A01 | 345975 | TNF-RI | 2026.24951966446 | Above Fit Curve Range | QC | H11 | 66128 | TNF-RI | 3849.0091029504301 | In Detection Range | 2 | 69
38 | V1 | C03 | 322308 | TNF-RI | 18869.949196435799 | In Detection Range | STD1 | A02 | 340367 | TNF-RI | 1993.2459837229901 | In Detection Range | QC | A03 | 80179 | TNF-RI | 4669.8249960489002 | In Detection Range
39 | V1 | D03 | 38651 | TNF-RI | 2245.51593710823 | In Detection Range | STD2 | B01 | 85502 | TNF-RI | 498.09039754681498 | In Detection Range | QC | A04 | 77728 | TNF-RI | 4526.6097716395598 | In Detection Range
39 | V2 | E03 | 35317 | TNF-RI | 2051.1294752046301 | In Detection Range | STD2 | B02 | 86482 | TNF-RI | 503.81828535839401 | In Detection Range | QC | H12 | 66576 | TNF-RI | 3875.1720395644902 | In Detection Range
41 | V1 | F03 | 286105 | TNF-RI | 16741.217495603501 | In Detection Range | STD3 | C02 | 21746 | TNF-RI | 126.041094391653 | In Detection Range
41 | V2 | G03 | 228976 | TNF-RI | 13385.6736417636 | In Detection Range | STD3 | C01 | 21508 | TNF-RI | 124.6552693899 | In Detection Range
42 | V1 | H03 | 50929 | TNF-RI | 2961.73340715208 | In Detection Range | STD4 | D02 | 5417 | TNF-RI | 31.073685431815299 | In Detection Range
42 | V2 | B04 | 98940 | TNF-RI | 5766.5119550711597 | In Detection Range | STD4 | D01 | 5348 | TNF-RI | 30.673127985868 | In Detection Range
43 | V1 | C04 | 122378 | TNF-RI | 7137.6344362110704 | In Detection Range | STD5 | E01 | 1365 | TNF-RI | 7.5768704624587597 | In Detection Range
43 | V2 | D04 | 70265 | TNF-RI | 4090.6276753049301 | In Detection Range | STD5 | E02 | 1384 | TNF-RI | 7.68685758301796 | In Detection Range
44 | V1 | E04 | 37406 | TNF-RI | 2172.92184397352 | In Detection Range | STD6 | F01 | 377 | TNF-RI | 1.86379815972384 | In Detection Range
44 | V2 | F04 | 35680 | TNF-RI | 2072.2917172861398 | In Detection Range | STD6 | F02 | 439 | TNF-RI | 2.22176332690759 | In Detection Range
45 | V2 | G04 | 40973 | TNF-RI | 2380.92444635947 | In Detection Range | STD7 | G01 | 136 | TNF-RI | 0.47407005485808801 | In Detection Range
47 | V1 | H04 | 461821 | TNF-RI | 27088.944048261299 | Above Fit Curve Range | STD7 | G02 | 138 | TNF-RI | 0.48558428255069302 | In Detection Range
47 | V2 | A05 | 402613 | TNF-RI | 23597.9230277151 | Above Fit Curve Range | STD8 | H02 | 55 | TNF-RI | 8.6084152940993398E-3 | Below Detection Range
48 | V1 | B05 | 86668 | TNF-RI | 5049.0543981915498 | In Detection Range | STD8 | H01 | 52 | TNF-RI | NaN | Below Fit Curve Range
48 | V2 | C05 | 89802 | TNF-RI | 5232.24583277082 | In Detection Range
49 | V1 | D05 | 58936 | TNF-RI | 3429.0760716241998 | In Detection Range
49 | V2 | E05 | 35843 | TNF-RI | 2081.7945011120801 | In Detection Range
50 | V2 | F05 | 67157 | TNF-RI | 3909.1028973075299 | In Detection Range
51 | V1 | G05 | 54828 | TNF-RI | 3189.28102372182 | In Detection Range
51 | V2 | H05 | 49720 | TNF-RI | 2891.1853394517402 | In Detection Range
52 | V1 | A06 | 53645 | TNF-RI | 3120.2355417293102 | In Detection Range
52 | V2 | B06 | 40572 | TNF-RI | 2357.5384729584498 | In Detection Range
53 | V2 | C06 | 25236 | TNF-RI | 1463.66551676002 | In Detection Range
225 | V1 | D06 | 74782 | TNF-RI | 4354.4903517230196 | In Detection Range
226 | V1 | E06 | 42188 | TNF-RI | 2451.78586707963 | In Detection Range
227 | V1 | F06 | 78849 | TNF-RI | 4592.1095159332799 | In Detection Range
227 | V2 | G06 | 127177 | TNF-RI | 7418.5072445173901 | In Detection Range
228 | V2 | H06 | 30456 | TNF-RI | 1767.7973166818099 | In Detection Range
229 | V2 | A07 | 57006 | TNF-RI | 3316.41052177658 | In Detection Range
230 | V1 | B07 | 35553 | TNF-RI | 2064.88778467159 | In Detection Range
230 | V2 | C07 | 37066 | TNF-RI | 2153.0980293254602 | In Detection Range
231 | V1 | D07 | 31183 | TNF-RI | 1810.1650380705701 | In Detection Range
231 | V2 | E07 | 21226 | TNF-RI | 1230.13287725892 | In Detection Range
233 | V2 | F07 | 100303 | TNF-RI | 5846.2170048197404 | In Detection Range
234 | V2 | G07 | 21041 | TNF-RI | 1219.3612869574799 | In Detection Range
235 | V1 | H07 | 156784 | TNF-RI | 9152.2428296274593 | In Detection Range
236 | V1 | A08 | 52327 | TNF-RI | 3043.3159207809799 | In Detection Range
236 | V2 | B08 | 41077 | TNF-RI | 2386.9897353213701 | In Detection Range
237 | V1 | C08 | 88441 | TNF-RI | 5152.6887019914902 | In Detection Range
238 | V1 | D08 | 29761 | TNF-RI | 1727.29681132107 | In Detection Range
238 | V2 | E08 | 36205 | TNF-RI | 2102.8992379093102 | In Detection Range
239 | V1 | F08 | 79588 | TNF-RI | 4635.2907526030303 | In Detection Range
239 | V2 | G08 | 83266 | TNF-RI | 4850.2228819266702 | In Detection Range
240 | V1 | H08 | 26533 | TNF-RI | 1539.21924037903 | In Detection Range
240 | V2 | A09 | 14825 | TNF-RI | 857.57605218130595 | In Detection Range
241 | V1 | B09 | 21956 | TNF-RI | 1272.63910565787 | In Detection Range
241 | V2 | C09 | 14149 | TNF-RI | 818.24978934533794 | In Detection Range
424 | V1 | D09 | 8044 | TNF-RI | 463.30839392827698 | In Detection Range
424 | V2 | E09 | 15133 | TNF-RI | 875.49526861727702 | In Detection Range
425 | V1 | F09 | 16795 | TNF-RI | 972.20290418489105 | In Detection Range
426 | V2 | G09 | 84053 | TNF-RI | 4896.21710078468 | In Detection Range
427 | V1 | H09 | 27290 | TNF-RI | 1583.32065508809 | In Detection Range
427 | V2 | A10 | 22831 | TNF-RI | 1323.5926972361799 | In Detection Range
429 | V1 | B10 | 74168 | TNF-RI | 4318.6202319939503 | In Detection Range
430 | V2 | C10 | 37031 | TNF-RI | 2151.0573690751498 | In Detection Range
432 | V2 | D10 | 59333 | TNF-RI | 3452.2526641730901 | In Detection Range
433 | V2 | E10 | 112844 | TNF-RI | 6579.76433936168 | In Detection Range
434 | V1 | F10 | 196219 | TNF-RI | 11463.764343066299 | In Detection Range
435 | V2 | G10 | 24084 | TNF-RI | 1396.5662006534401 | In Detection Range
436 | V1 | A11 | 56297 | TNF-RI | 3275.0247469578098 | In Detection Range
437 | V1 | H10 | 43079 | TNF-RI | 2503.75436515403 | In Detection Range
438 | V2 | B11 | 32241 | TNF-RI | 1871.8269736900099 | In Detection Range
440 | V1 | C11 | 39564 | TNF-RI | 2298.7554825920402 | In Detection Range
440 | V2 | D11 | 25631 | TNF-RI | 1486.67435998829 | In Detection Range
441 | V2 | E11 | 34264 | TNF-RI | 1989.7446374854101 | In Detection Range
443 | V2 | F11 | 71274 | TNF-RI | 4149.5643842765603 | In Detection Range
444 | V2 | G11 | 36172 | TNF-RI | 2100.9753029643998 | In Detection Range
445 | V1 | A12 | 156369 | TNF-RI | 9127.9306429333301 | In Detection Range
445 | V2 | B12 | 150282 | TNF-RI | 8771.3658482675091 | In Detection Range

## IntraplateCVs
Sample | Visit | Assay | Calc. Conc. CV | n | Standard | Assay_std | Calc. Conc. CV_std | n_std | QC | Assay_QC | Calc. Conc. CV_QC | n_QC
37 | V1 | TNF-RI | NaN | 1 | STD1 | TNF-RI | 1.16119169919111 | 2 | QC | TNF-RI | 1.3407 | 4
38 | V1 | TNF-RI | NaN | 1 | STD2 | TNF-RI | 0.80850248781140299 | 2
39 | V1 | TNF-RI | NaN | 1 | STD3 | TNF-RI | 0.78176343804582804 | 2
39 | V2 | TNF-RI | NaN | 1 | STD4 | TNF-RI | 0.91741377605421404 | 2
41 | V1 | TNF-RI | NaN | 1 | STD5 | TNF-RI | 1.01905168329618 | 2
41 | V2 | TNF-RI | NaN | 1 | STD6 | TNF-RI | 12.3909331910658 | 2
42 | V1 | TNF-RI | NaN | 1 | STD7 | TNF-RI | 1.6968168983741501 | 2
42 | V2 | TNF-RI | NaN | 1 | STD8 | TNF-RI | NaN | 2
43 | V1 | TNF-RI | NaN | 1
43 | V2 | TNF-RI | NaN | 1
44 | V1 | TNF-RI | NaN | 1
44 | V2 | TNF-RI | NaN | 1
45 | V2 | TNF-RI | NaN | 1
47 | V1 | TNF-RI | NaN | 1
47 | V2 | TNF-RI | NaN | 1
48 | V1 | TNF-RI | NaN | 1
48 | V2 | TNF-RI | NaN | 1
49 | V1 | TNF-RI | NaN | 1
49 | V2 | TNF-RI | NaN | 1
50 | V2 | TNF-RI | NaN | 1
51 | V1 | TNF-RI | NaN | 1
51 | V2 | TNF-RI | NaN | 1
52 | V1 | TNF-RI | NaN | 1
52 | V2 | TNF-RI | NaN | 1
53 | V2 | TNF-RI | NaN | 1
225 | V1 | TNF-RI | NaN | 1
226 | V1 | TNF-RI | NaN | 1
227 | V1 | TNF-RI | NaN | 1
227 | V2 | TNF-RI | NaN | 1
228 | V2 | TNF-RI | NaN | 1
229 | V2 | TNF-RI | NaN | 1
230 | V1 | TNF-RI | NaN | 1
230 | V2 | TNF-RI | NaN | 1
231 | V1 | TNF-RI | NaN | 1
231 | V2 | TNF-RI | NaN | 1
233 | V2 | TNF-RI | NaN | 1
234 | V2 | TNF-RI | NaN | 1
235 | V1 | TNF-RI | NaN | 1
236 | V1 | TNF-RI | NaN | 1
236 | V2 | TNF-RI | NaN | 1
237 | V1 | TNF-RI | NaN | 1
238 | V1 | TNF-RI | NaN | 1
238 | V2 | TNF-RI | NaN | 1
239 | V1 | TNF-RI | NaN | 1
239 | V2 | TNF-RI | NaN | 1
240 | V1 | TNF-RI | NaN | 1
240 | V2 | TNF-RI | NaN | 1
241 | V1 | TNF-RI | NaN | 1
241 | V2 | TNF-RI | NaN | 1
424 | V1 | TNF-RI | NaN | 1
424 | V2 | TNF-RI | NaN | 1
425 | V1 | TNF-RI | NaN | 1
426 | V2 | TNF-RI | NaN | 1
427 | V1 | TNF-RI | NaN | 1
427 | V2 | TNF-RI | NaN | 1
429 | V1 | TNF-RI | NaN | 1
430 | V2 | TNF-RI | NaN | 1
432 | V2 | TNF-RI | NaN | 1
433 | V2 | TNF-RI | NaN | 1
434 | V1 | TNF-RI | NaN | 1
435 | V2 | TNF-RI | NaN | 1
436 | V1 | TNF-RI | NaN | 1
437 | V1 | TNF-RI | NaN | 1
438 | V2 | TNF-RI | NaN | 1
440 | V1 | TNF-RI | NaN | 1
440 | V2 | TNF-RI | NaN | 1
441 | V2 | TNF-RI | NaN | 1
443 | V2 | TNF-RI | NaN | 1
444 | V2 | TNF-RI | NaN | 1
445 | V1 | TNF-RI | NaN | 1
445 | V2 | TNF-RI | NaN | 1

## README
Project | ...2
Purpose
Assays Run Date
Input
MSD Instrument Data
Plate Layout
Protocol
Tabs
RawData | Data exported directly from MSD Workbench
LongData | LongData with samples, Stds and QCs
WideData | WideData with Stds and QCs for easier downstream analysis.
WideSampleData | WideData without Stds and QCs for easier downstream analysis.
LLOD | Table listing values to be imputed for samples below Detection Range. Table listing where samples fell on the calibration curve
Intra- plate CVs | Table of % Coefficient of Variance within a given plate. Calculated within MSD Workbench as =((Standard Deviation of Calc. Conc.)/(Mean of Calc. Conc.))*100
Plots | Plot showing Standard Curve with unknowns
Notes
Total Sample Number
Dilutions
Freeze/Thaws
Assays performed by
Prepared by
Methods/Results | On [Month & year], we ran [amount of plates] plate of [Project & sample type] samples. Samples were run in a [singlet or duplicate]. [Total # of smaples] patient samples. [#of samples in detection range. Include analyte] measurements were in the detection range. The average [analyte] value was [x] pg/mL with a SD of [x].